## Substation Capabilities Table
Substation Information |  |  |  | Bus 1 Information |  |  | Bus 2 Information |  |  | Bus 3 Information | Column8 | Column9 | Bus 4 Information | Column10 | Column11 | Date Updated
Name | Facility Code | TFO | Planning Area | Number | Voltage (kV) | Capability (MW) | Number | Voltage (kV) | Capability (MW) | Number | Voltage (kV) | Capability (MW) | Number | Voltage (kV) | Capability (MW)
Al Rothbauer | 321S | AltaLink | 04-Medicine Hat | 976 | 138 | 210 | [9 empty] | 2024-03-28
Amoco Empress | 163S | AltaLink | 48-Empress | 262 | 240 | 20 | 267 | 138 | 17 | [6 empty] | 2024-03-28
Anderson | 801S | ATCO | 43-Sheerness | 1484 | 240 | 272 | 1485 | 144 | 11 | [6 empty] | 2024-03-28
Ardenville Wind Farm | 418S | AltaLink | 53-Fort Macleod | 739 | 138 | 40 | [9 empty] | 2024-03-28
Badlands | 981S | ATCO | 43-Sheerness | 1632 | 138 | 5 | [9 empty] | 2024-03-28
Bardo | 197S | AltaLink | 31-Wetaskiwin | Capability Not Calculated | [11 empty] | 2024-03-28
Bassano | 435S | AltaLink | 47-Brooks | 399 | 138 | 71 | [9 empty] | 2024-03-28
Battle River | 757S | ATCO | 36-Alliance/Battle River | 1489 | 240 | 410 | 1491 | 144 | 304 | 1469 | 240 | 118 | 1492 | 72 | 99 | 2024-03-28
Battle Sands | 594S | AltaLink | 32-Wainwright | 609 | 138 | 92 | [9 empty] | 2024-03-28
Bauer | 918S | ATCO | 13-Lloydminster | 1113 | 144 | 108 | [9 empty] | 2024-03-28
Big Knife Creek | 843S | ATCO | 36-Alliance/Battle River | 1401 | 72 | 59 | [9 empty] | 2024-03-28
Big Valley | 778S | ATCO | 42-Hanna | 1442 | 72 | 9 | [9 empty] | 2024-03-28
Bigfoot | 756S | ATCO | 36-Alliance/Battle River | 1498 | 72 | 49 | [9 empty] | 2024-03-28
Bindloss | 914S | ATCO | 48-Empress | 1454 | 144 | 19 | [9 empty] | 2024-03-28
Black Diamond | 392S | AltaLink | 46-High River | 238 | 138 | 49 | 241 | 69 | 18 | [6 empty] | 2024-03-28
Blackie | 253S | AltaLink | 45-Strathmore/Blackie | 253 | 138 | 35 | [9 empty] | 2024-03-28
Blackspring Ridge | 485S | AltaLink | 49-Stavely | 736 | 240 | 166 | [9 empty] | 2024-03-28
Blue Trail | 528S | AltaLink | 53-Fort Macleod | 328 | 138 | 39 | [9 empty] | 2024-03-28
Bonnyville | 700S | ATCO | 28-Cold Lake | Capability Not Calculated | [11 empty] | 2024-03-28
Bowmanton | 244S | AltaLink | 04-Medicine Hat | 669 | 240 | 395 | 659 | 138 | 265 | 645 | 138 | 0 |  |  |  | 2024-03-28
Bowron | 674S | City of Lethbridge | 54-Lethbridge | 698 | 138 | 18 | [9 empty] | 2024-03-28
Briker | 880S | ATCO | 13-Lloydminster | 1314 | 144 | 101 | [9 empty] | 2024-03-28
Brooks | 121S | AltaLink | 47-Brooks | 256 | 138 | 0 | [9 empty] | 2024-03-28
Buffalo Bird | 601S | ATCO | 42-Hanna | 996 | 138 | 95 | [9 empty] | 2024-03-28
Buffalo Creek | 526S | AltaLink | 32-Wainwright | 79 | 138 | 121 | [9 empty] | 2024-03-28
Bullpound | 803S | ATCO | 43-Sheerness | 1463 | 144 | 6 | [9 empty] | 2024-03-28
Bullshead | 523S | AltaLink | 04-Medicine Hat | 271 | 138 | 211 | [9 empty] | 2024-03-28
Burdett | 368S | AltaLink | 52-Vauxhall | 269 | 138 | 2 | [9 empty] | 2024-03-28
Carseland | 525S | AltaLink | 45-Strathmore/Blackie | 252 | 138 | 50 | [9 empty] | 2024-03-28
Cassils | 324S | AltaLink | 47-Brooks | 918 | 240 | 382 | [9 empty] | 2024-03-28
Castle River | 239S | AltaLink | 53-Fort Macleod | 234 | 138 | 72 | [9 empty] | 2024-03-28
Castle Rock Ridge | 205S | AltaLink | 53-Fort Macleod | 221 | 240 | 355 | [9 empty] | 2024-03-28
Castor | 759S | ATCO | 42-Hanna | 1404 | 72 | 57 | [9 empty] | 2024-03-28
Cavalier |  | AltaLink | 45-Strathmore/Blackie | 247 | 138 | 13 | [9 empty] | 2024-03-28
Cavendish | 893S | ATCO | 48-Empress | 1456 | 144 | 19 | [9 empty] | 2024-03-28
Chappice Lake | 649S | AltaLink | 04-Medicine Hat | 320 | 138 | 0 | [9 empty] | 2024-03-28
Chestermere | 419S | AltaLink | 6-Calgary | 949 | 138 | 36 | [9 empty] | 2024-03-28
Chin Chute | 315S | AltaLink | 54-Lethbridge | 406 | 138 | 10 | [9 empty] | 2024-03-28
Chinook | 181S | City of Lethbridge | 54-Lethbridge | 367 | 138 | 18 | [9 empty] | 2024-03-28
Clipper | 656S | AltaLink | 32-Wainwright | 484 | 138 | 85 | [9 empty] | 2024-03-28
Coalbanks | 111S | City of Lethbridge | 54-Lethbridge | 679 | 138 | 18 | [9 empty] | 2024-03-28
Coaldale | 254S | AltaLink | 54-Lethbridge | 690 | 138 | 10 | [9 empty] | 2024-03-28
Coleman | 799S | AltaLink | 53-Fort Macleod | 232 | 138 | 156 | [9 empty] | 2024-03-28
Conrad | 135S | AltaLink | 52-Vauxhall | 291 | 138 | 2 | [9 empty] | 2024-03-28
Cordel | 755S | ATCO | 36-Alliance/Battle River | 1499 | 240 | 411 | [9 empty] | 2024-03-28
Coronation | 773S | ATCO | 42-Hanna | 1465 | 72 | 17 | [9 empty] | 2024-03-28
Cowley Ridge | 322S | AltaLink | 53-Fort Macleod | 264 | 69 | 7 | [9 empty] | 2024-03-28
Coyote Lake | 963S | ATCO | 43-Sheerness | 1447 | 240 | 180 | 1421 | 144 | 110 | [6 empty] | 2024-03-28
Cutting Lake | 227S | AltaLink | 47-Brooks | 445 | 138 | 0 | [9 empty] | 2024-03-28
Cypress | 562S | AltaLink | 48-Empress | 677 | 240 | 20 | 674 | 138 | 17 | [6 empty] | 2024-03-28
Drywood | 415S | AltaLink | 55-Glenwood | 233 | 138 | 116 | 226 | 69 | 74 | [6 empty] | 2024-03-28
Duchess | 339S | AltaLink | 47-Brooks | 250 | 138 | 0 | [9 empty] | 2024-03-28
East Stavely | 928S | AltaLink | 49-Stavely | 279 | 138 | 15 | [9 empty] | 2024-03-28
Edgerton | 899S | AltaLink | 37-Provost | 362 | 138 | 157 | [9 empty] | 2024-03-28
Elkwater | 264S | AltaLink | 04-Medicine Hat | 477 | 240 | 402 | [9 empty] | 2024-03-28
Empress | 394S | AltaLink | 48-Empress | 266 | 138 | 17 | [9 empty] | 2024-03-28
Empress Liquids | 164S | AltaLink | 48-Empress | 263 | 138 | 18 | [9 empty] | 2024-03-28
Enchant | 447S | AltaLink | 52-Vauxhall | 286 | 138 | 0 | [9 empty] | 2024-03-28
Excel | 910S | ATCO | 42-Hanna | 1459 | 144 | 92 | [9 empty] | 2024-03-28
Fidler | 312S | AltaLink | 53-Fort Macleod | 751 | 240 | 356 | 752 | 138 | 214 | [6 empty] | 2024-03-28
Fincastle | 336S | AltaLink | 52-Vauxhall | 31 | 138 | 2 | [9 empty] | 2024-03-28
Foothills | 237S | AltaLink | 46-High River | 617 | 240 | 310 | 640 | 138 | 145 | [6 empty] | 2024-03-28
Fort Macleod | 15S | AltaLink | 53-Fort Macleod | 237 | 138 | 19 | [9 empty] | 2024-03-28
Garden City | 226S | AltaLink | 55-Glenwood | 251 | 138 | 18 | [9 empty] | 2024-03-28
Garden Plain | 1045S | ATCO | 42-Hanna | 542002 | 240 | 336 | [9 empty] | 2024-03-28
Ghost Pine | 114S | ATCO | 42-Hanna | 603 | 144 | 17 | [9 empty] | 2024-03-28
Gleichen | 179S | AltaLink | 45-Strathmore/Blackie | 254 | 138 | 16 | [9 empty] | 2024-03-28
Glenwood | 229S | AltaLink | 55-Glenwood | 245 | 69 | 28 | [9 empty] | 2024-03-28
Goose Lake | 103S | AltaLink | 53-Fort Macleod | 346 | 240 | 354 | 296 | 138 | 330 | [6 empty] | 2024-03-28
Granlea | 1024S | AltaLink | 04-Medicine Hat | 994 | 240 | 266 | [9 empty] | 2024-03-28
Granum | 604S | AltaLink | 49-Stavely | 894 | 138 | 13 | [9 empty] | 2024-03-28
Grizzly Bear | 708S | ATCO | 13-Lloydminster | 1308 | 138 | 7 | [9 empty] | 2024-03-28
Halkirk | 615S | ATCO | 42-Hanna | 1435 | 240 | 118 | [9 empty] | 2024-03-28
Halsbury | 306S | AltaLink | 48-Empress | 798 | 240 | 30 | [9 empty] | 2024-03-28
Hanna | 763S | ATCO | 42-Hanna | 1408 | 72 | 31 | [9 empty] | 2024-03-28
Hansman Lake | 650S | AltaLink | 37-Provost | 649 | 240 | 431 | 648 | 138 | 417 | [6 empty] | 2024-03-28
Hardisty | 377S | AltaLink | 32-Wainwright | 73 | 138 | 216 | [9 empty] | 2024-03-28
Hartell | 512S | AltaLink | 46-High River | 243 | 138 | 49 | [9 empty] | 2024-03-28
Hays | 421S | AltaLink | 52-Vauxhall | 401 | 138 | 0 | [9 empty] | 2024-03-28
Hayter | 277S | AltaLink | 37-Provost | 220 | 138 | 187 | [9 empty] | 2024-03-28
Heatburg | 948S | ATCO | 42-Hanna | 1429 | 144 | 22 | [9 empty] | 2024-03-28
Heisler | 764S | ATCO | 36-Alliance/Battle River | 1464 | 144 | 127 | 1400 | 72 | 40 | [6 empty] | 2024-03-28
High River | 65S | AltaLink | 46-High River | 242 | 138 | 82 | 236 | 69 | 23 | [6 empty] | 2024-03-28
Highland | 572S | ATCO | 42-Hanna | 549045 | 138 | 25 | [9 empty] | 2024-03-28
Hilda | 662S | AltaLink | 48-Empress | 540004 | 138 | 0 | [9 empty] | 2024-03-28
Hill | 751S | ATCO | 13-Lloydminster | 1393 | 144 | 173 | [9 empty] | 2024-03-28
Hillridge | 139S | AltaLink | 54-Lethbridge | 389 | 138 | 8 | [9 empty] | 2024-03-28
HRT Express | 329S | AltaLink | 32-Wainwright | 37 | 138 | 94 | [9 empty] | 2024-03-28
Hughenden | 213S | AltaLink | 37-Provost | 75 | 138 | 134 | [9 empty] | 2024-03-28
Hull | 257S | AltaLink | 52-Vauxhall | 2400 | 138 | 7 | [9 empty] | 2024-03-28
Hussar | 431S | AltaLink | 45-Strathmore/Blackie | 315 | 138 | 13 | [9 empty] | 2024-03-28
Irish Creek | 706S | ATCO | 13-Lloydminster | 1377 | 144 | 145 | [9 empty] | 2024-03-28
Janet | 74S | AltaLink | 6-Calgary | Capability Not Calculated | [11 empty] | 2024-03-28
Jarrow | 252S | AltaLink | 32-Wainwright | 72 | 138 | 97 | [9 empty] | 2024-03-28
Jenner | 275S | AltaLink | 48-Empress | 260 | 240 | 30 | 292 | 138 | 30 | [6 empty] | 2024-03-28
Kettle's Hill | 383S | AltaLink | 53-Fort Macleod | 402 | 138 | 113 | [9 empty] | 2024-03-28
Killarney Lake | 267S | AltaLink | 37-Provost | 219 | 138 | 157 | [9 empty] | 2024-03-28
Kitscoty | 705S | ATCO | 13-Lloydminster | 1387 | 144 | 153 | [9 empty] | 2024-03-28
Lac La Biche | 157S | AltaLink | 27-Athabasca/Lac La Biche | Capability Not Calculated | [11 empty] | 2024-03-28
Lakesend | 508S | AltaLink | 42-Hanna | 716 | 138 | 87 | [9 empty] | 2024-03-28
Lakeview | 593S | City of Lethbridge | 54-Lethbridge | 697 | 138 | 18 | [9 empty] | 2024-03-28
Lanes Lake | 973S | ATCO | 42-Hanna | 1418 | 240 | 118 | [9 empty] | 2024-03-28
Lanfine | 959S | ATCO | 42-Hanna | 1438 | 240 | 305 | 19438 | 144 | 178 | [6 empty] | 2024-03-28
Langdon | 102S | AltaLink | 6-Calgary | Capability Not Calculated | [11 empty] | 2024-03-28
Lindbergh | 969S | ATCO | 28-Cold Lake | Capability Not Calculated | [11 empty] | 2024-03-28
Little Bow | 991S | AltaLink | 49-Stavely | 549026 | 240 | 1 | [9 empty] | 2024-03-28
Lloydminster | 716S | ATCO | 13-Lloydminster | 1455 | 144 | 165 | [9 empty] | 2024-03-28
Loyalist | 903S | ATCO | 42-Hanna | 1458 | 144 | 86 | [9 empty] | 2024-03-28
Lundbreck | 513S | AltaLink | 53-Fort Macleod | 347 | 69 | 7 | [9 empty] | 2024-03-28
Macdonald | 146S | City of Lethbridge | 54-Lethbridge | 696 | 138 | 18 | [9 empty] | 2024-03-28
Magcan | 142S | AltaLink | 46-High River | 240 | 138 | 79 | [9 empty] | 2024-03-28
Magrath | 225S | AltaLink | 55-Glenwood | 694 | 138 | 18 | 693 | 69 | 16 | [6 empty] | 2024-03-28
Mannix Mine | 765S | ATCO | 36-Alliance/Battle River | 1488 | 72 | 58 | [9 empty] | 2024-03-28
Marion Lake | 873S | ATCO | 42-Hanna | 1437 | 72 | 79 | [9 empty] | 2024-03-28
McBride Lake | 240S | AltaLink | 53-Fort Macleod | 901 | 138 | 20 | [9 empty] | 2024-03-28
McNeill Station | 840S | AltaLink | 48-Empress | Capability Not Calculated | [11 empty] | 2024-03-28
Metiskow | 648S | AltaLink | 37-Provost | 74 | 138 | 415 | 87 | 240 | 386 | [6 empty] | 2024-03-28
Michichi Creek | 802S | ATCO | 42-Hanna | 1448 | 144 | 37 | 1449 | 72 | 38 | [6 empty] | 2024-03-28
Milo | 356S | AltaLink | 47-Brooks | 943 | 240 | 541 | [9 empty] | 2024-03-28
Monarch | 492S | AltaLink | 54-Lethbridge | 400 | 138 | 18 | [9 empty] | 2024-03-28
Monitor | 774S | ATCO | 42-Hanna | 1471 | 144 | 222 | 1472 | 72 | 24 | [6 empty] | 2024-03-28
Murray Lake | 326S | AltaLink | 04-Medicine Hat | 838 | 240 | 406 | [9 empty] | 2024-03-28
Namaka | 428S | AltaLink | 45-Strathmore/Blackie | 340 | 138 | 13 | [9 empty] | 2024-03-28
Nevis | 766S | ATCO | 42-Hanna | 1422 | 240 | 366 | 1423 | 144 | 42 | [6 empty] | 2024-03-28
Newell | 2075S | AltaLink | 47-Brooks | 1012 | 240 | 390 | [9 empty] | 2024-03-28
Nilrem | 574S | AltaLink | 32-Wainwright | 1427 | 240 | 335 | 19427 | 138 | 270 | [6 empty] | 2024-03-28
North Holden | 395S | AltaLink | 56-Vegreville | 68 | 138 | 29 | [9 empty] | 2024-03-28
North Lethbridge | 370S | AltaLink | 54-Lethbridge | 167 | 240 | 244 | 692 | 138 | 18 | [6 empty] | 2024-03-28
Oakland | 946S | ATCO | 43-Sheerness | 1440 | 240 | 260 | [9 empty] | 2024-03-28
Okotoks | 678S | AltaLink | 46-High River | 239 | 138 | 83 | [9 empty] | 2024-03-28
Oldman River | 806S | AltaLink | 53-Fort Macleod | 230 | 138 | 65 | [9 empty] | 2024-03-28
Oyen | 767S | ATCO | 42-Hanna | 1474 | 144 | 40 | 1475 | 72 | 28 | [6 empty] | 2024-03-28
Paintearth Creek | 863S | ATCO | 36-Alliance/Battle River | 1403 | 240 | 422 | [9 empty] | 2024-03-28
Peace Butte | 404S | AltaLink | 04-Medicine Hat | 284 | 138 | 111 | [9 empty] | 2024-03-28
Peigan | 59S | AltaLink | 53-Fort Macleod | 165 | 240 | 350 | 166 | 138 | 207 | [6 empty] | 2024-03-28
Pemukan | 932S | ATCO | 42-Hanna | 1419 | 240 | 472 | 19419 | 144 | 234 | [6 empty] | 2024-03-28
Picture Butte | 120S | AltaLink | 54-Lethbridge | 451 | 240 | 170 | [9 empty] | 2024-03-28
Pincher Creek | 396S | AltaLink | 53-Fort Macleod | 224 | 138 | 153 | 223 | 69 | 54 | [6 empty] | 2024-03-28
Provost | 545S | AltaLink | 37-Provost | 86 | 138 | 130 | [9 empty] | 2024-03-28
Queenstown | 504S | AltaLink | 45-Strathmore/Blackie | 333 | 138 | 26 | [9 empty] | 2024-03-28
Rangeland Yarrow | 995S | AltaLink | 55-Glenwood | 228 | 69 | 24 | [9 empty] | 2024-03-28
Rattlesnake Ridge | 719S | AltaLink | 04-Medicine Hat | 873 | 138 | 2 | [9 empty] | 2024-03-28
Raymond Reservoir | 313S | AltaLink | 55-Glenwood | 413 | 69 | 9 | [9 empty] | 2024-03-28
Red Coat | 967S | AltaLink | 54-Lethbridge | 1630 | 138 | 11 | [9 empty] | 2024-03-28
Red Deer | 63S | AltaLink | 35-Red Deer | Capability Not Calculated | [11 empty] | 2024-03-28
Ribstone Creek | 892S | ATCO | 42-Hanna | 1477 | 144 | 104 | [9 empty] | 2024-03-28
Richdale | 776S | ATCO | 42-Hanna | 1478 | 72 | 20 | [9 empty] | 2024-03-28
Riverbend | 618S | AltaLink | 54-Lethbridge | 699 | 138 | 18 | [9 empty] | 2024-03-28
Rosyth | 296S | AltaLink | 32-Wainwright | 373 | 138 | 77 | [9 empty] | 2024-03-28
Rowley | 768S | ATCO | 42-Hanna | 1436 | 144 | 29 | [9 empty] | 2024-03-28
Russell | 632S | AltaLink | 53-Fort Macleod | 656 | 138 | 154 | [9 empty] | 2024-03-28
Saddlebrook | 303S | AltaLink | 46-High River | 557240 | 138 | 79 | [9 empty] | 2024-03-28
Sand Hills Sub | 341S | AltaLink | 48-Empress | 111 | 138 | 17 | [9 empty] | 2024-03-28
Sandy Point | 204S | AltaLink | 48-Empress | 53 | 138 | 17 | [9 empty] | 2024-03-28
SC1 | 266S | AltaLink | 49-Stavely | Capability Not Calculated | [11 empty] | 2024-03-28
Sedalia | 363S | ATCO | 42-Hanna | 831 | 240 | 169 | [9 empty] | 2024-03-28
Sedgewick | 137S | AltaLink | 32-Wainwright | 78 | 138 | 96 | [9 empty] | 2024-03-28
Shamrock | 1018S | AltaLink | 04-Medicine Hat | 990 | 240 | 113 | [9 empty] | 2024-03-28
Sheerness | 807S | ATCO | 43-Sheerness | 1481 | 240 | 65 | 1486 | 240 | 65 | [6 empty] | 2024-03-28
Shell Waterton | 502S | AltaLink | 55-Glenwood | 231 | 69 | 45 | [9 empty] | 2024-03-28
Soderglen | 243S | AltaLink | 53-Fort Macleod | 358 | 138 | 44 | [9 empty] | 2024-03-28
Spring Coulee | 385S | AltaLink | 55-Glenwood | 246 | 69 | 19 | [9 empty] | 2024-03-28
SS-65 |  | ENMAX | 6-Calgary | Capability Not Calculated | [11 empty] | 2024-03-28
St. Paul | 707S | ATCO | 56-Vegreville | 1372 | 144 | 151 | [9 empty] | 2024-03-28
Stavely | 349S | AltaLink | 49-Stavely | 235 | 138 | 15 | [9 empty] | 2024-03-28
Stettler | 769S | ATCO | 42-Hanna | 1428 | 144 | 45 | 1439 | 72 | 56 | [6 empty] | 2024-03-28
Stirling | 67S | AltaLink | 55-Glenwood | 293 | 138 | 11 | 280 | 69 | 12 | [6 empty] | 2024-03-28
Strathmore | 151S | AltaLink | 45-Strathmore/Blackie | 259 | 138 | 11 | [9 empty] | 2024-03-28
Strome | 223S | AltaLink | 56-Vegreville | 76 | 138 | 60 | [9 empty] | 2024-03-28
Suffield | 895S | AltaLink | 04-Medicine Hat | 270 | 138 | 0 | [9 empty] | 2024-03-28
Sullivan Lake | 775S | ATCO | 42-Hanna | 1406 | 72 | 50 | [9 empty] | 2024-03-28
Summerview | 354S | AltaLink | 53-Fort Macleod | 336 | 138 | 17 | [9 empty] | 2024-03-28
Sunken Lake | 221S | AltaLink | 37-Provost | 112 | 138 | 87 | [9 empty] | 2024-03-28
Taber | 83S | AltaLink | 52-Vauxhall | 272 | 138 | 5 | [9 empty] | 2024-03-28
Taber Wind Farm | 134S | AltaLink | 52-Vauxhall | 343 | 138 | 2 | [9 empty] | 2024-03-28
Taylor Hydro Plant |  | AltaLink | 55-Glenwood | 670 | 69 | 16 | [9 empty] | 2024-03-28
Three Hills | 770S | ATCO | 42-Hanna | 1433 | 144 | 19 | [9 empty] | 2024-03-28
Tilley | 498S | AltaLink | 47-Brooks | 275 | 138 | 0 | [9 empty] | 2024-03-28
Tinchebray | 972S | ATCO | 36-Alliance/Battle River | 1431 | 240 | 227 | [9 empty] | 2024-03-28
Travers | 554S | AltaLink | 49-Stavely | 737 | 240 | 251 | [9 empty] | 2024-03-28
Tucuman | 478S | AltaLink | 32-Wainwright | 483 | 138 | 244 | [9 empty] | 2024-03-28
Uplands | 241S | City of Lethbridge | 54-Lethbridge | 691 | 138 | 18 | [9 empty] | 2024-03-28
Vauxhall | 158S | AltaLink | 52-Vauxhall | 274 | 138 | 16 | [9 empty] | 2024-03-28
Vegreville | 709S | ATCO | 56-Vegreville | 1367 | 144 | 17 | [9 empty] | 2024-03-28
Vermilion | 710S | ATCO | 13-Lloydminster | 1383 | 144 | 178 | [9 empty] | 2024-03-28
Veteran | 771S | ATCO | 42-Hanna | 1470 | 144 | 109 | [9 empty] | 2024-03-28
Vilna | 777S | ATCO | 56-Vegreville | 1357 | 144 | 35 | [9 empty] | 2024-03-28
Vulcan | 255S | AltaLink | 49-Stavely | 244 | 138 | 17 | [9 empty] | 2024-03-28
Wainwright | 51S | AltaLink | 32-Wainwright | 297 | 138 | 109 | [9 empty] | 2024-03-28
Wardlow | 230S | AltaLink | 48-Empress | 344 | 138 | 30 | [9 empty] | 2024-03-28
Ware Junction | 132S | AltaLink | 47-Brooks | 225 | 240 | 329 | [9 empty] | 2024-03-28
Warner | 344S | AltaLink | 55-Glenwood | 278 | 69 | 12 | [9 empty] | 2024-03-28
Waterton | 379S | AltaLink | 55-Glenwood | 227 | 69 | 66 | [9 empty] | 2024-03-28
Watt Lake | 956S | ATCO | 56-Vegreville | 1361 | 144 | 23 | [9 empty] | 2024-03-28
West Brooks | 28S | AltaLink | 47-Brooks | 430 | 240 | 381 | 276 | 138 | 201 | [6 empty] | 2024-03-28
Westfield | 107S | AltaLink | 52-Vauxhall | 277 | 138 | 2 | [9 empty] | 2024-03-28
Wheatcrest | 1039S | AltaLink | 52-Vauxhall | 549039 | 138 | 0 | [9 empty] | 2024-03-28
Wheatland | 609S | ATCO | 43-Sheerness | 759 | 144 | 5 | [9 empty] | 2024-03-28
Whitbylake | 819S | ATCO | 56-Vegreville | 1350 | 144 | 39 | [9 empty] | 2024-03-28
Whitla | 251S | AltaLink | 04-Medicine Hat | 662 | 240 | 407 | [9 empty] | 2024-03-28
Windrise | 1063S | AltaLink | 53-Fort Macleod | 549031 | 138 | 30 | [9 empty] | 2024-03-28
Windy Flats | 138S | AltaLink | 53-Fort Macleod | 746 | 240 | 349 | 654 | 138 | 207 | 745 | 138 | 203 |  |  |  | 2024-03-28
Windy Point | 112S | AltaLink | 53-Fort Macleod | 543 | 138 | 65 | [9 empty] | 2024-03-28
Wintering Hills | 804S | ATCO | 43-Sheerness | 1460 | 144 | 5 | [9 empty] | 2024-03-28
Woolchester | 1019S | AltaLink | 04-Medicine Hat | 549003 | 240 | 224 | [9 empty] | 2024-03-28
Wyndham | 269S | AltaLink | 45-Strathmore/Blackie | 5251 | 138 | 50 | [9 empty] | 2024-03-28
Youngstown | 772S | ATCO | 42-Hanna | 1476 | 72 | 21 | [9 empty] | 2024-03-28
Youngstown Express | 2037S | ATCO | 42-Hanna | 1480 | 72 | 17 | [9 empty] | 2024-03-28

## Line Capabilities Table
Line Name | Voltage (kV) | Substation Name | Facility Code | Planning Area | TFO | Capability* (MW) | Date Updated | *The T-tap connection capability for transmission lines will vary along the line depending on the T-tap location. As the T-tap location nears each substation, the T-tap capability approaches the MW value shown.
1002L | 240 | Amoco Empress | 163S | 48-Empress | AltaLink | 20 | 2024-03-28
1002L | 240 | Jenner | 275S | 48-Empress | AltaLink | 30 | 2024-03-28
1005AL | 240 | Little Bow | 991S | 49-Stavely | AltaLink | 1 | 2024-03-28
1005L | 240 | Picture Butte | 120S | 54-Lethbridge | AltaLink | 1 | 2024-03-28
1005L | 240 | Milo | 356S | 47-Brooks | AltaLink | 1 | 2024-03-28
100L | 138 | Tilley | 498S | 47-Brooks | AltaLink | 0 | 2024-03-28
100L | 138 | Suffield | 895S | 04-Medicine Hat | AltaLink | 0 | 2024-03-28
1011L | 240 | Amoco Empress | 163S | 48-Empress | AltaLink | 20 | 2024-03-28
1011L | 240 | Cypress | 562S | 48-Empress | AltaLink | 20 | 2024-03-28
1034L | 240 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 395 | 2024-03-28
1034L | 240 | Cassils | 324S | 47-Brooks | AltaLink | 382 | 2024-03-28
1035L | 240 | Newell | 2075S | 47-Brooks | AltaLink | 390 | 2024-03-28
1035L | 240 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 395 | 2024-03-28
1036L | 240 | Milo | 356S | 47-Brooks | AltaLink | 165 | 2024-03-28
1036L | 240 | Travers | 554S | 49-Stavely | AltaLink | 251 | 2024-03-28
1037L | 240 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 349 | 2024-03-28
1037L | 240 | Foothills | 237S | 46-High River | AltaLink | 310 | 2024-03-28
1038L | 240 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 349 | 2024-03-28
1038L | 240 | Foothills | 237S | 46-High River | AltaLink | 310 | 2024-03-28
1041L | 240 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 244 | 2024-03-28
1041L | 240 | Travers | 554S | 49-Stavely | AltaLink | 251 | 2024-03-28
1042L | 240 | Blackspring Ridge | 485S | 49-Stavely | AltaLink | 166 | 2024-03-28
1042L | 240 | Travers | 554S | 49-Stavely | AltaLink | 166 | 2024-03-28
1047L | 240 | Nilrem | 574S | 32-Wainwright | AltaLink | 335 | 2024-03-28
1047L | 240 | Hansman Lake | 650S | 37-Provost | AltaLink | 431 | 2024-03-28
1048L | 240 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 349 | 2024-03-28
1048L | 240 | Peigan | 59S | 53-Fort Macleod | AltaLink | 350 | 2024-03-28
1049L | 240 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 349 | 2024-03-28
1049L | 240 | Peigan | 59S | 53-Fort Macleod | AltaLink | 350 | 2024-03-28
1051L | 240 | West Brooks | 28S | 47-Brooks | AltaLink | 381 | 2024-03-28
1051L | 240 | Cassils | 324S | 47-Brooks | AltaLink | 382 | 2024-03-28
1052L | 240 | West Brooks | 28S | 47-Brooks | AltaLink | 381 | 2024-03-28
1052L | 240 | Cassils | 324S | 47-Brooks | AltaLink | 382 | 2024-03-28
1053L | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 329 | 2024-03-28
1053L | 240 | Cassils | 324S | 47-Brooks | AltaLink | 382 | 2024-03-28
1071L | 240 | Castle Rock Ridge | 205S | 53-Fort Macleod | AltaLink | 355 | 2024-03-28
1071L | 240 | Fidler | 312S | 53-Fort Macleod | AltaLink | 356 | 2024-03-28
1072L | 240 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 354 | 2024-03-28
1072L | 240 | Castle Rock Ridge | 205S | 53-Fort Macleod | AltaLink | 355 | 2024-03-28
1074AL | 240 | Woolchester | 1019S | 04-Medicine Hat | AltaLink | 224 | 2024-03-28
1074L | 240 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 224 | 2024-03-28
1074L | 240 | Elkwater | 264S | 04-Medicine Hat | AltaLink | 224 | 2024-03-28
1075L | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 329 | 2024-03-28
1075L | 240 | West Brooks | 28S | 47-Brooks | AltaLink | 374 | 2024-03-28
1087L | 240 | Newell | 2075S | 47-Brooks | AltaLink | 317 | 2024-03-28
1087L | 240 | Cassils | 324S | 47-Brooks | AltaLink | 382 | 2024-03-28
1088L | 240 | Newell | 2075S | 47-Brooks | AltaLink | 390 | 2024-03-28
1088L | 240 | Cassils | 324S | 47-Brooks | AltaLink | 382 | 2024-03-28
1106L | 240 | Foothills | 237S | 46-High River | AltaLink | 310 | 2024-03-28
1106L | 240 |  | SS-65 | 6-Calgary | Enmax | 466 | 2024-03-28
1107L | 240 | Foothills | 237S | 46-High River | AltaLink | 310 | 2024-03-28
1107L | 240 |  | SS-65 | 6-Calgary | Enmax | 466 | 2024-03-28
1148L | 240 | Shamrock | 1018S | 04-Medicine Hat | AltaLink | 113 | 2024-03-28
1148L | 240 | Whitla | 251S | 04-Medicine Hat | AltaLink | 113 | 2024-03-28
13L/158L | 69 | Black Diamond | 392S | 46-High River | AltaLink | 18 | 2024-03-28
13L/158L | 69 | High River | 65S | 46-High River | AltaLink | 18 | 2024-03-28
161L | 138 | Vulcan | 255S | 49-Stavely | AltaLink | 17 | 2024-03-28
161L | 138 | Queenstown | 504S | 45-Strathmore/Blackie | AltaLink | 26 | 2024-03-28
162L | 69 | Glenwood | 229S | 55-Glenwood | AltaLink | 28 | 2024-03-28
162L | 69 | Drywood | 415S | 55-Glenwood | AltaLink | 36 | 2024-03-28
164L | 138 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 99 | 2024-03-28
164L | 138 | Drywood | 415S | 55-Glenwood | AltaLink | 116 | 2024-03-28
170L | 138 | Coleman | 799S | 53-Fort Macleod | AltaLink | 156 | 2024-03-28
170L | 138 | Russell | 632S | 53-Fort Macleod | AltaLink | 154 | 2024-03-28
172EL | 138 | Hillridge | 139S | 54-Lethbridge | AltaLink | 8 | 2024-03-28
172L | 138 | Chinook | 181S | 54-Lethbridge | City of Lethbridge | 18 | 2024-03-28
172L | 138 | Coaldale | 254S | 54-Lethbridge | AltaLink | 10 | 2024-03-28
172L | 138 | Coaldale | 254S | 54-Lethbridge | AltaLink | 10 | 2024-03-28
172L | 138 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 18 | 2024-03-28
172L | 138 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 18 | 2024-03-28
172L | 138 | Taber | 83S | 52-Vauxhall | AltaLink | 5 | 2024-03-28
174L | 138 | Bardo | 197S | 31-Wetaskiwin | AltaLink | 35 | 2024-03-28
174L | 138 | North Holden | 395S | 56-Vegreville | AltaLink | 29 | 2024-03-28
180AL | 138 | Granum | 604S | 49-Stavely | AltaLink | 13 | 2024-03-28
180L | 138 | Fort Macleod | 15S | 53-Fort Macleod | AltaLink | 12 | 2024-03-28
180L | 138 | Vulcan | 255S | 49-Stavely | AltaLink | 17 | 2024-03-28
180L | 138 | East Stavely | 928S | 49-Stavely | AltaLink | 15 | 2024-03-28
180L | 138 | East Stavely | 928S | 49-Stavely | AltaLink | 15 | 2024-03-28
185AL | 69 | Drywood | 415S | 55-Glenwood | AltaLink | 24 | 2024-03-28
185AL | 69 | Rangeland Yarrow | 995S | 55-Glenwood | AltaLink | 24 | 2024-03-28
185L | 69 | Waterton | 379S | 55-Glenwood | AltaLink | 65 | 2024-03-28
185L | 69 | Waterton | 379S | 55-Glenwood | AltaLink | 65 | 2024-03-28
185L | 69 | Pincher Creek | 396S | 53-Fort Macleod | AltaLink | 48 | 2024-03-28
185L | 69 | Drywood | 415S | 55-Glenwood | AltaLink | 49 | 2024-03-28
197L | 138 | Stavely | 349S | 49-Stavely | AltaLink | 15 | 2024-03-28
197L | 138 | East Stavely | 928S | 49-Stavely | AltaLink | 15 | 2024-03-28
207L | 138 | Coalbanks | 111S | 54-Lethbridge | City of Lethbridge | 18 | 2024-03-28
207L | 138 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 18 | 2024-03-28
225AL | 69 | Raymond Reservoir | 313S | 55-Glenwood | AltaLink | 9 | 2024-03-28
225L | 69 | Magrath | 225S | 55-Glenwood | AltaLink | 16 | 2024-03-28
225L | 69 | Magrath | 225S | 55-Glenwood | AltaLink | 16 | 2024-03-28
225L | 69 | Glenwood | 229S | 55-Glenwood | AltaLink | 24 | 2024-03-28
225L | 69 | Spring Coulee | 385S | 55-Glenwood | AltaLink | 17 | 2024-03-28
225L | 69 | Spring Coulee | 385S | 55-Glenwood | AltaLink | 17 | 2024-03-28
225L | 69 | Stirling | 67S | 55-Glenwood | AltaLink | 4 | 2024-03-28
300L/725BL | 138 | McBride Lake | 240S | 53-Fort Macleod | AltaLink | 20 | 2024-03-28
398L | 138 | Hayter | 277S | 37-Provost | AltaLink | 186 | 2024-03-28
398L | 138 | Provost | 545S | 37-Provost | AltaLink | 130 | 2024-03-28
408L | 138 | Jarrow | 252S | 32-Wainwright | AltaLink | 67 | 2024-03-28
408L | 138 | Wainwright | 51S | 32-Wainwright | AltaLink | 94 | 2024-03-28
412L | 138 | Pincher Creek | 396S | 53-Fort Macleod | AltaLink | 153 | 2024-03-28
412L | 138 | Russell | 632S | 53-Fort Macleod | AltaLink | 154 | 2024-03-28
413L | 138 | Castle River | 239S | 53-Fort Macleod | AltaLink | 72 | 2024-03-28
413L | 138 | Russell | 632S | 53-Fort Macleod | AltaLink | 72 | 2024-03-28
434L | 138 | Foothills | 237S | 46-High River | AltaLink | 145 | 2024-03-28
434L | 138 | High River | 65S | 46-High River | AltaLink | 82 | 2024-03-28
463AL | 138 | Monarch | 492S | 54-Lethbridge | AltaLink | 18 | 2024-03-28
463L | 138 | Fort Macleod | 15S | 53-Fort Macleod | AltaLink | 19 | 2024-03-28
463L | 138 | Chinook | 181S | 54-Lethbridge | City of Lethbridge | 18 | 2024-03-28
472AL | 138 | Sunken Lake | 221S | 37-Provost | AltaLink | 87 | 2024-03-28
472L | 138 | Hughenden | 213S | 37-Provost | AltaLink | 133 | 2024-03-28
472L | 138 | Metiskow | 648S | 37-Provost | AltaLink | 143 | 2024-03-28
491L | 138 | Jarrow | 252S | 32-Wainwright | AltaLink | 97 | 2024-03-28
497L | 138 | Windrise | 1063S | 53-Fort Macleod | AltaLink | 30 | 2024-03-28
497L | 138 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 31 | 2024-03-28
507L | 138 | Hull | 257S | 52-Vauxhall | AltaLink | 7 | 2024-03-28
507L | 138 | Taber | 83S | 52-Vauxhall | AltaLink | 5 | 2024-03-28
508L | 69 | Warner | 344S | 55-Glenwood | AltaLink | 12 | 2024-03-28
508L | 69 | Stirling | 67S | 55-Glenwood | AltaLink | 12 | 2024-03-28
514BL | 69 | Cowley Ridge | 322S | 53-Fort Macleod | AltaLink | 7 | 2024-03-28
514L | 69 | Pincher Creek | 396S | 53-Fort Macleod | AltaLink | 7 | 2024-03-28
514L | 69 | Lundbreck | 513S | 53-Fort Macleod | AltaLink | 7 | 2024-03-28
591L | 69 | Waterton | 379S | 55-Glenwood | AltaLink | 45 | 2024-03-28
591L | 69 | Shell Waterton | 502S | 55-Glenwood | AltaLink | 45 | 2024-03-28
600L | 138 | Peace Butte | 404S | 04-Medicine Hat | AltaLink | 111 | 2024-03-28
600L | 138 | Bullshead | 523S | 04-Medicine Hat | AltaLink | 109 | 2024-03-28
601L | 138 | Wardlow | 230S | 48-Empress | AltaLink | 30 | 2024-03-28
601L | 138 | Jenner | 275S | 48-Empress | AltaLink | 30 | 2024-03-28
603L | 138 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 44 | 2024-03-28
603L | 138 | Soderglen | 243S | 53-Fort Macleod | AltaLink | 44 | 2024-03-28
607AL | 138 | Taber Wind Farm | 134S | 52-Vauxhall | AltaLink | 2 | 2024-03-28
607L | 138 | Conrad | 135S | 52-Vauxhall | AltaLink | 2 | 2024-03-28
607L | 138 | Fincastle | 336S | 52-Vauxhall | AltaLink | 2 | 2024-03-28
608AL | 138 | Blue Trail | 528S | 53-Fort Macleod | AltaLink | 39 | 2024-03-28
608L | 138 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 39 | 2024-03-28
608L | 138 | Ardenville Wind Farm | 418S | 53-Fort Macleod | AltaLink | 40 | 2024-03-28
610L | 138 | Fincastle | 336S | 52-Vauxhall | AltaLink | 2 | 2024-03-28
610L | 138 | Taber | 83S | 52-Vauxhall | AltaLink | 1 | 2024-03-28
612L | 138 | Fincastle | 336S | 52-Vauxhall | AltaLink | 2 | 2024-03-28
612L | 138 | Burdett | 368S | 52-Vauxhall | AltaLink | 2 | 2024-03-28
613L | 138 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 116 | 2024-03-28
613L | 138 | Pincher Creek | 396S | 53-Fort Macleod | AltaLink | 153 | 2024-03-28
616AL | 138 | Kettle's Hill | 383S | 53-Fort Macleod | AltaLink | 113 | 2024-03-28
616L | 138 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 141 | 2024-03-28
616L | 138 | Peigan | 59S | 53-Fort Macleod | AltaLink | 98 | 2024-03-28
624L | 138 | Fidler | 312S | 53-Fort Macleod | AltaLink | 17 | 2024-03-28
624L | 138 | Summerview | 354S | 53-Fort Macleod | AltaLink | 17 | 2024-03-28
646L | 138 | Foothills | 237S | 46-High River | AltaLink | 145 | 2024-03-28
646L | 138 | Okotoks | 678S | 46-High River | AltaLink | 83 | 2024-03-28
658AL | 138 | Hilda | 662S | 48-Empress | AltaLink | 0 | 2024-03-28
658L | 138 | Cypress | 562S | 48-Empress | AltaLink | 1 | 2024-03-28
658L | 138 | Chappice Lake | 649S | 04-Medicine Hat | AltaLink | 0 | 2024-03-28
666L | 138 | West Brooks | 28S | 47-Brooks | AltaLink | 98 | 2024-03-28
666L | 138 | Tilley | 498S | 47-Brooks | AltaLink | 0 | 2024-03-28
667L | 138 | Macdonald | 146S | 54-Lethbridge | City of Lethbridge | 18 | 2024-03-28
667L | 138 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 18 | 2024-03-28
668L | 138 | Empress | 394S | 48-Empress | AltaLink | 17 | 2024-03-28
668L | 138 | Cypress | 562S | 48-Empress | AltaLink | 17 | 2024-03-28
669L | 138 | Amoco Empress | 163S | 48-Empress | AltaLink | 17 | 2024-03-28
669L | 138 | Cypress | 562S | 48-Empress | AltaLink | 17 | 2024-03-28
674L | 138 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 0 | 2024-03-28
674L | 138 | Chappice Lake | 649S | 04-Medicine Hat | AltaLink | 0 | 2024-03-28
675L | 138 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 265 | 2024-03-28
675L | 138 | Al Rothbauer | 321S | 04-Medicine Hat | AltaLink | 210 | 2024-03-28
676L | 138 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 265 | 2024-03-28
676L | 138 | Bullshead | 523S | 04-Medicine Hat | AltaLink | 211 | 2024-03-28
679L | 138 | Tucuman | 478S | 32-Wainwright | AltaLink | 164 | 2024-03-28
679L | 138 | Nilrem | 574S | 32-Wainwright | AltaLink | 224 | 2024-03-28
680L | 138 | Tucuman | 478S | 32-Wainwright | AltaLink | 164 | 2024-03-28
680L | 138 | Nilrem | 574S | 32-Wainwright | AltaLink | 224 | 2024-03-28
681L | 138 | Hardisty | 377S | 32-Wainwright | AltaLink | 216 | 2024-03-28
681L | 138 | Tucuman | 478S | 32-Wainwright | AltaLink | 209 | 2024-03-28
691L | 138 | Chestermere | 419S | 6-Calgary | AltaLink | 36 | 2024-03-28
691L | 138 | Janet | 74S | 6-Calgary | AltaLink | 35 | 2024-03-28
696L/7L696 | 138 | Lakesend | 508S | 42-Hanna | AltaLink | 87 | 2024-03-28
696L/7L696 | 138 | Ribstone Creek | 892S | 42-Hanna | ATCO | 85 | 2024-03-28
6L02 | 69 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 56 | 2024-03-28
6L02 | 69 | Mannix Mine | 765S | 36-Alliance/Battle River | ATCO | 55 | 2024-03-28
6L02 | 69 | Mannix Mine | 765S | 36-Alliance/Battle River | ATCO | 55 | 2024-03-28
6L02 | 69 | Stettler | 769S | 42-Hanna | ATCO | 56 | 2024-03-28
6L02 | 69 | Marion Lake | 873S | 42-Hanna | ATCO | 78 | 2024-03-28
6L02 | 69 | Marion Lake | 873S | 42-Hanna | ATCO | 78 | 2024-03-28
6L03 | 69 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 49 | 2024-03-28
6L03 | 69 | Sullivan Lake | 775S | 42-Hanna | ATCO | 50 | 2024-03-28
6L05 | 69 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 58 | 2024-03-28
6L05 | 69 | Heisler | 764S | 36-Alliance/Battle River | ATCO | 40 | 2024-03-28
6L05 | 69 | Big Knife Creek | 843S | 36-Alliance/Battle River | ATCO | 59 | 2024-03-28
6L05 | 69 | Big Knife Creek | 843S | 36-Alliance/Battle River | ATCO | 59 | 2024-03-28
6L08 | 69 | Bigfoot | 756S | 36-Alliance/Battle River | ATCO | 49 | 2024-03-28
6L08 | 69 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 48 | 2024-03-28
6L09 | 69 | Hanna | 763S | 42-Hanna | ATCO | 17 | 2024-03-28
6L09 | 69 | Oyen | 767S | 42-Hanna | ATCO | 18 | 2024-03-28
6L09 | 69 | Youngstown | 772S | 42-Hanna | ATCO | 21 | 2024-03-28
6L09 | 69 | Youngstown | 772S | 42-Hanna | ATCO | 21 | 2024-03-28
6L09 | 69 | Richdale | 776S | 42-Hanna | ATCO | 20 | 2024-03-28
6L09 | 69 | Richdale | 776S | 42-Hanna | ATCO | 20 | 2024-03-28
6L12 | 69 | Sullivan Lake | 775S | 42-Hanna | ATCO | 18 | 2024-03-28
6L15 | 69 | Hanna | 763S | 42-Hanna | ATCO | 27 | 2024-03-28
6L15 | 69 | Sullivan Lake | 775S | 42-Hanna | ATCO | 16 | 2024-03-28
6L17 | 69 | Castor | 759S | 42-Hanna | ATCO | 57 | 2024-03-28
6L21 | 69 | Youngstown Express | 2037S | 42-Hanna | ATCO | 17 | 2024-03-28
6L25 | 69 | Coronation | 773S | 42-Hanna | ATCO | 17 | 2024-03-28
6L44 | 69 | Stettler | 769S | 42-Hanna | ATCO | 9 | 2024-03-28
6L44 | 69 | Big Valley | 778S | 42-Hanna | ATCO | 9 | 2024-03-28
6L56 | 69 | Hanna | 763S | 42-Hanna | ATCO | 16 | 2024-03-28
6L56 | 69 | Michichi Creek | 802S | 42-Hanna | ATCO | 33 | 2024-03-28
701L | 138 | Strome | 223S | 56-Vegreville | AltaLink | 60 | 2024-03-28
701L | 138 | North Holden | 395S | 56-Vegreville | AltaLink | 28 | 2024-03-28
701L/7L701 | 138 | Strome | 223S | 56-Vegreville | AltaLink | 60 | 2024-03-28
702L | 138 | Sedgewick | 137S | 32-Wainwright | AltaLink | 96 | 2024-03-28
702L | 138 | Hardisty | 377S | 32-Wainwright | AltaLink | 64 | 2024-03-28
702L/7L702 | 138 | Sedgewick | 137S | 32-Wainwright | AltaLink | 96 | 2024-03-28
702L/7L702 | 138 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 112 | 2024-03-28
703BL | 138 | HRT Express | 329S | 32-Wainwright | AltaLink | 94 | 2024-03-28
703L | 138 | Hughenden | 213S | 37-Provost | AltaLink | 134 | 2024-03-28
703L | 138 | Hardisty | 377S | 32-Wainwright | AltaLink | 92 | 2024-03-28
704L | 138 | Tucuman | 478S | 32-Wainwright | AltaLink | 76 | 2024-03-28
704L | 138 | Wainwright | 51S | 32-Wainwright | AltaLink | 68 | 2024-03-28
715AL | 138 | Hansman Lake | 650S | 37-Provost | AltaLink | 105 | 2024-03-28
715L | 138 | Provost | 545S | 37-Provost | AltaLink | 130 | 2024-03-28
722L | 138 | Westfield | 107S | 52-Vauxhall | AltaLink | 2 | 2024-03-28
722L | 138 | Burdett | 368S | 52-Vauxhall | AltaLink | 2 | 2024-03-28
725AL | 138 | Riverbend | 618S | 54-Lethbridge | AltaLink | 18 | 2024-03-28
725L | 138 | Coalbanks | 111S | 54-Lethbridge | City of Lethbridge | 18 | 2024-03-28
725L | 138 | Fort Macleod | 15S | 53-Fort Macleod | AltaLink | 19 | 2024-03-28
725L | 138 | Bowron | 674S | 54-Lethbridge | City of Lethbridge | 18 | 2024-03-28
725L | 138 | Bowron | 674S | 54-Lethbridge | City of Lethbridge | 18 | 2024-03-28
727A1L | 138 | Saddlebrook | 303S | 46-High River | AltaLink | 79 | 2024-03-28
727AL | 138 | Magcan | 142S | 46-High River | AltaLink | 79 | 2024-03-28
727L | 138 | High River | 65S | 46-High River | AltaLink | 82 | 2024-03-28
727L | 138 | Okotoks | 678S | 46-High River | AltaLink | 83 | 2024-03-28
733L | 138 | Strathmore | 151S | 45-Strathmore/Blackie | AltaLink | 11 | 2024-03-28
733L | 138 | Gleichen | 179S | 45-Strathmore/Blackie | AltaLink | 16 | 2024-03-28
733L | 138 | Namaka | 428S | 45-Strathmore/Blackie | AltaLink | 13 | 2024-03-28
733L | 138 | Namaka | 428S | 45-Strathmore/Blackie | AltaLink | 13 | 2024-03-28
734L | 138 | Uplands | 241S | 54-Lethbridge | City of Lethbridge | 18 | 2024-03-28
734L | 138 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 18 | 2024-03-28
748L | 138 | Killarney Lake | 267S | 37-Provost | AltaLink | 134 | 2024-03-28
748L | 138 | Hayter | 277S | 37-Provost | AltaLink | 187 | 2024-03-28
749AL | 138 | Killarney Lake | 267S | 37-Provost | AltaLink | 157 | 2024-03-28
749L | 138 | Metiskow | 648S | 37-Provost | AltaLink | 133 | 2024-03-28
749L | 138 | Edgerton | 899S | 37-Provost | AltaLink | 157 | 2024-03-28
749L/7L749 | 138 | Edgerton | 899S | 37-Provost | AltaLink | 146 | 2024-03-28
753L | 138 | Blackie | 253S | 45-Strathmore/Blackie | AltaLink | 35 | 2024-03-28
753L | 138 | High River | 65S | 46-High River | AltaLink | 82 | 2024-03-28
760AL | 138 | Empress Liquids | 164S | 48-Empress | AltaLink | 18 | 2024-03-28
760L | 138 | Amoco Empress | 163S | 48-Empress | AltaLink | 17 | 2024-03-28
760L | 138 | Amoco Empress | 163S | 48-Empress | AltaLink | 17 | 2024-03-28
760L | 138 | Empress | 394S | 48-Empress | AltaLink | 17 | 2024-03-28
763A1L | 138 | Wheatcrest | 1039S | 52-Vauxhall | AltaLink | 0 | 2024-03-28
763AL | 138 | Enchant | 447S | 52-Vauxhall | AltaLink | 0 | 2024-03-28
763L | 138 | Vauxhall | 158S | 52-Vauxhall | AltaLink | 16 | 2024-03-28
763L | 138 | Vauxhall | 158S | 52-Vauxhall | AltaLink | 16 | 2024-03-28
763L | 138 | Hull | 257S | 52-Vauxhall | AltaLink | 7 | 2024-03-28
763L | 138 | West Brooks | 28S | 47-Brooks | AltaLink | 33 | 2024-03-28
765L | 138 | Strathmore | 151S | 45-Strathmore/Blackie | AltaLink | 11 | 2024-03-28
765L | 138 | Chestermere | 419S | 6-Calgary | AltaLink | 11 | 2024-03-28
769AL | 138 | Clipper | 656S | 32-Wainwright | AltaLink | 85 | 2024-03-28
769BL | 138 | Battle Sands | 594S | 32-Wainwright | AltaLink | 92 | 2024-03-28
769L | 138 | Rosyth | 296S | 32-Wainwright | AltaLink | 77 | 2024-03-28
769L | 138 | Hardisty | 377S | 32-Wainwright | AltaLink | 92 | 2024-03-28
770L | 138 | Coaldale | 254S | 54-Lethbridge | AltaLink | 10 | 2024-03-28
770L | 138 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 18 | 2024-03-28
782L | 138 | Wyndham | 269S | 45-Strathmore/Blackie | AltaLink | 50 | 2024-03-28
782L | 138 | Carseland | 525S | 45-Strathmore/Blackie | AltaLink | 50 | 2024-03-28
786L | 138 | Coleman | 799S | 53-Fort Macleod | AltaLink | 124 | 2024-03-28
794L/7L794 | 138 | Lac La Biche | 157S | 27-Athabasca/Lac La Biche | AltaLink | 68 | 2024-03-28
794L/7L794 | 138 | Whitbylake | 819S | 56-Vegreville | ATCO | 39 | 2024-03-28
795L | 138 | Brooks | 121S | 47-Brooks | AltaLink | 0 | 2024-03-28
795L | 138 | Hays | 421S | 52-Vauxhall | AltaLink | 0 | 2024-03-28
7L110 | 138 | Monitor | 774S | 42-Hanna | ATCO | 86 | 2024-03-28
7L110 | 138 | Loyalist | 903S | 42-Hanna | ATCO | 86 | 2024-03-28
7L116 | 138 | Excel | 910S | 42-Hanna | ATCO | 92 | 2024-03-28
7L116 | 138 | Lanfine | 959S | 42-Hanna | ATCO | 92 | 2024-03-28
7L117 | 138 | Irish Creek | 706S | 13-Lloydminster | ATCO | 117 | 2024-03-28
7L117 | 138 | Vermilion | 710S | 13-Lloydminster | ATCO | 121 | 2024-03-28
7L127 | 138 | Monitor | 774S | 42-Hanna | ATCO | 222 | 2024-03-28
7L127 | 138 | Pemukan | 932S | 42-Hanna | ATCO | 233 | 2024-03-28
7L128 | 138 | Michichi Creek | 802S | 42-Hanna | ATCO | 37 | 2024-03-28
7L128 | 138 | Coyote Lake | 963S | 43-Sheerness | ATCO | 27 | 2024-03-28
7L129 | 138 | Buffalo Creek | 526S | 32-Wainwright | AltaLink | 121 | 2024-03-28
7L129 | 138 | Vermilion | 710S | 13-Lloydminster | ATCO | 103 | 2024-03-28
7L130 | 138 | Kitscoty | 705S | 13-Lloydminster | ATCO | 153 | 2024-03-28
7L130 | 138 | Vermilion | 710S | 13-Lloydminster | ATCO | 118 | 2024-03-28
7L132 | 138 | Oyen | 767S | 42-Hanna | ATCO | 40 | 2024-03-28
7L132 | 138 | Lanfine | 959S | 42-Hanna | ATCO | 121 | 2024-03-28
7L137 | 138 | Rowley | 768S | 42-Hanna | ATCO | 29 | 2024-03-28
7L137 | 138 | Three Hills | 770S | 42-Hanna | ATCO | 19 | 2024-03-28
7L139 | 138 | St. Paul | 707S | 56-Vegreville | ATCO | 131 | 2024-03-28
7L139 | 138 | Whitbylake | 819S | 56-Vegreville | ATCO | 39 | 2024-03-28
7L14 | 138 | Kitscoty | 705S | 13-Lloydminster | ATCO | 147 | 2024-03-28
7L14 | 138 | Hill | 751S | 13-Lloydminster | ATCO | 147 | 2024-03-28
7L143 | 138 | Nevis | 766S | 42-Hanna | ATCO | 42 | 2024-03-28
7L143 | 138 | Stettler | 769S | 42-Hanna | ATCO | 45 | 2024-03-28
7L153 | 138 | Wheatland | 609S | 43-Sheerness | ATCO | 5 | 2024-03-28
7L153 | 138 | Wintering Hills | 804S | 43-Sheerness | ATCO | 5 | 2024-03-28
7L159 | 138 | Three Hills | 770S | 42-Hanna | ATCO | 19 | 2024-03-28
7L159 | 138 | Heatburg | 948S | 42-Hanna | ATCO | 16 | 2024-03-28
7L16 | 138 | Nevis | 766S | 42-Hanna | ATCO | 19 | 2024-03-28
7L16 | 138 | Heatburg | 948S | 42-Hanna | ATCO | 22 | 2024-03-28
7L171 | 138 | Michichi Creek | 802S | 42-Hanna | ATCO | 5 | 2024-03-28
7L171 | 138 | Wintering Hills | 804S | 43-Sheerness | ATCO | 5 | 2024-03-28
7L224 | 138 | Hansman Lake | 650S | 37-Provost | AltaLink | 81 | 2024-03-28
7L224 | 138 | Monitor | 774S | 42-Hanna | ATCO | 144 | 2024-03-28
7L238 | 138 | Buffalo Bird | 601S | 42-Hanna | ATCO | 95 | 2024-03-28
7L238 | 138 | Lanfine | 959S | 42-Hanna | ATCO | 95 | 2024-03-28
7L25 | 138 | Rowley | 768S | 42-Hanna | ATCO | 29 | 2024-03-28
7L25 | 138 | Michichi Creek | 802S | 42-Hanna | ATCO | 37 | 2024-03-28
7L42 | 138 | Lloydminster | 716S | 13-Lloydminster | ATCO | 165 | 2024-03-28
7L42 | 138 | Hill | 751S | 13-Lloydminster | ATCO | 158 | 2024-03-28
7L50 | 138 | Buffalo Creek | 526S | 32-Wainwright | AltaLink | 71 | 2024-03-28
7L50 | 138 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 115 | 2024-03-28
7L53 | 138 | Bonnyville | 700S | 28-Cold Lake | ATCO | 84 | 2024-03-28
7L53 | 138 | Irish Creek | 706S | 13-Lloydminster | ATCO | 136 | 2024-03-28
7L65 | 138 | Vegreville | 709S | 56-Vegreville | ATCO | 17 | 2024-03-28
7L65 | 138 | Vermilion | 710S | 13-Lloydminster | ATCO | 7 | 2024-03-28
7L70 | 138 | Bonnyville | 700S | 28-Cold Lake | ATCO | 107 | 2024-03-28
7L70 | 138 | St. Paul | 707S | 56-Vegreville | ATCO | 151 | 2024-03-28
7L701 | 138 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 173 | 2024-03-28
7L749 | 138 | Lloydminster | 716S | 13-Lloydminster | ATCO | 108 | 2024-03-28
7L760 | 138 | Oyen | 767S | 42-Hanna | ATCO | 40 | 2024-03-28
7L77 | 138 | North Holden | 395S | 56-Vegreville | AltaLink | 29 | 2024-03-28
7L77 | 138 | Vegreville | 709S | 56-Vegreville | ATCO | 17 | 2024-03-28
7L79 | 138 | Veteran | 771S | 42-Hanna | ATCO | 109 | 2024-03-28
7L79 | 138 | Veteran | 771S | 42-Hanna | ATCO | 109 | 2024-03-28
7L79 | 138 | Ribstone Creek | 892S | 42-Hanna | ATCO | 104 | 2024-03-28
7L79 | 138 | Pemukan | 932S | 42-Hanna | ATCO | 107 | 2024-03-28
7L85 | 138 | Anderson | 801S | 43-Sheerness | ATCO | 11 | 2024-03-28
7L85 | 138 | Bullpound | 803S | 43-Sheerness | ATCO | 6 | 2024-03-28
7L85 | 138 | Bullpound | 803S | 43-Sheerness | ATCO | 6 | 2024-03-28
7L85 | 138 | Wintering Hills | 804S | 43-Sheerness | ATCO | 5 | 2024-03-28
7L85AL | 138 | Badlands | 981S | 43-Sheerness | ATCO | 5 | 2024-03-28
7L92 | 138 | Vegreville | 709S | 56-Vegreville | ATCO | 17 | 2024-03-28
7L92 | 138 | Vilna | 777S | 56-Vegreville | ATCO | 35 | 2024-03-28
7L92 | 138 | Vilna | 777S | 56-Vegreville | ATCO | 35 | 2024-03-28
7L92 | 138 | Whitbylake | 819S | 56-Vegreville | ATCO | 39 | 2024-03-28
7LA128 | 138 | Highland | 572S | 42-Hanna | AltaLink | 25 | 2024-03-28
7LA129 | 138 | Bauer | 918S | 13-Lloydminster | ATCO | 108 | 2024-03-28
7LA159 | 138 | Ghost Pine | 114S | 42-Hanna | ATCO | 17 | 2024-03-28
7LA53 | 138 | Lindbergh | 969S | 28-Cold Lake | ATCO | 79 | 2024-03-28
7LA65 | 138 | Grizzly Bear | 708S | 13-Lloydminster | ATCO | 7 | 2024-03-28
7LA701 | 138 | Heisler | 764S | 36-Alliance/Battle River | ATCO | 127 | 2024-03-28
7LA760 | 138 | Bindloss | 914S | 48-Empress | ATCO | 19 | 2024-03-28
7LA92 | 138 | Watt Lake | 956S | 56-Vegreville | ATCO | 23 | 2024-03-28
7LB749 | 138 | Briker | 880S | 13-Lloydminster | ATCO | 101 | 2024-03-28
7LB760 | 138 | Cavendish | 893S | 48-Empress | ATCO | 19 | 2024-03-28
812AL | 138 | Hartell | 512S | 46-High River | AltaLink | 49 | 2024-03-28
812L | 138 | Black Diamond | 392S | 46-High River | AltaLink | 49 | 2024-03-28
812L | 138 | High River | 65S | 46-High River | AltaLink | 48 | 2024-03-28
813L | 138 | Macdonald | 146S | 54-Lethbridge | City of Lethbridge | 18 | 2024-03-28
813L | 138 | Uplands | 241S | 54-Lethbridge | City of Lethbridge | 18 | 2024-03-28
814L | 138 | Brooks | 121S | 47-Brooks | AltaLink | 0 | 2024-03-28
814L | 138 | West Brooks | 28S | 47-Brooks | AltaLink | 147 | 2024-03-28
820AL | 138 | Chin Chute | 315S | 54-Lethbridge | AltaLink | 10 | 2024-03-28
820BL | 138 | Red Coat | 967S | 54-Lethbridge | AltaLink | 11 | 2024-03-28
820L | 138 | Coaldale | 254S | 54-Lethbridge | AltaLink | 10 | 2024-03-28
820L | 138 | Stirling | 67S | 55-Glenwood | AltaLink | 11 | 2024-03-28
821L | 138 | Vauxhall | 158S | 52-Vauxhall | AltaLink | 16 | 2024-03-28
821L | 138 | Hays | 421S | 52-Vauxhall | AltaLink | 0 | 2024-03-28
823L | 138 | Macdonald | 146S | 54-Lethbridge | City of Lethbridge | 18 | 2024-03-28
823L | 138 | Lakeview | 593S | 54-Lethbridge | City of Lethbridge | 18 | 2024-03-28
824L | 138 | Lakeview | 593S | 54-Lethbridge | City of Lethbridge | 18 | 2024-03-28
824L | 138 | Riverbend | 618S | 54-Lethbridge | AltaLink | 18 | 2024-03-28
827L | 138 | Brooks | 121S | 47-Brooks | AltaLink | 0 | 2024-03-28
827L | 138 | West Brooks | 28S | 47-Brooks | AltaLink | 147 | 2024-03-28
830L | 138 | Cypress | 562S | 48-Empress | AltaLink | 1 | 2024-03-28
831AL | 138 | Cutting Lake | 227S | 47-Brooks | AltaLink | 0 | 2024-03-28
831L | 138 | Brooks | 121S | 47-Brooks | AltaLink | 0 | 2024-03-28
831L | 138 | Duchess | 339S | 47-Brooks | AltaLink | 0 | 2024-03-28
850L | 138 | Carseland | 525S | 45-Strathmore/Blackie | AltaLink | 50 | 2024-03-28
850L | 138 | Okotoks | 678S | 46-High River | AltaLink | 49 | 2024-03-28
851L | 138 | Blackie | 253S | 45-Strathmore/Blackie | AltaLink | 35 | 2024-03-28
851L | 138 | Carseland | 525S | 45-Strathmore/Blackie | AltaLink | 50 | 2024-03-28
853AL | 138 | Bassano | 435S | 47-Brooks | AltaLink | 71 | 2024-03-28
853L | 138 | West Brooks | 28S | 47-Brooks | AltaLink | 67 | 2024-03-28
853L | 138 | Queenstown | 504S | 45-Strathmore/Blackie | AltaLink | 26 | 2024-03-28
863L | 138 | Magrath | 225S | 55-Glenwood | AltaLink | 18 | 2024-03-28
863L | 138 | Riverbend | 618S | 54-Lethbridge | AltaLink | 18 | 2024-03-28
869L | 138 | Amoco Empress | 163S | 48-Empress | AltaLink | 17 | 2024-03-28
869L | 138 | Sandy Point | 204S | 48-Empress | AltaLink | 17 | 2024-03-28
871L | 138 | Amoco Empress | 163S | 48-Empress | AltaLink | 17 | 2024-03-28
871L | 138 | Sand Hills Sub | 341S | 48-Empress | AltaLink | 17 | 2024-03-28
876L | 138 | Gleichen | 179S | 45-Strathmore/Blackie | AltaLink | 16 | 2024-03-28
876L | 138 | Blackie | 253S | 45-Strathmore/Blackie | AltaLink | 35 | 2024-03-28
879AL | 138 | Rattlesnake Ridge | 719S | 04-Medicine Hat | AltaLink | 2 | 2024-03-28
879L | 138 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 0 | 2024-03-28
879L | 138 | Burdett | 368S | 52-Vauxhall | AltaLink | 2 | 2024-03-28
880L | 138 | Al Rothbauer | 321S | 04-Medicine Hat | AltaLink | 154 | 2024-03-28
880L | 138 | Bullshead | 523S | 04-Medicine Hat | AltaLink | 124 | 2024-03-28
885L | 138 | Metiskow | 648S | 37-Provost | AltaLink | 409 | 2024-03-28
885L | 138 | Hansman Lake | 650S | 37-Provost | AltaLink | 417 | 2024-03-28
886L | 138 | Namaka | 428S | 45-Strathmore/Blackie | AltaLink | 13 | 2024-03-28
886L | 138 | Hussar | 431S | 45-Strathmore/Blackie | AltaLink | 13 | 2024-03-28
891L | 138 | Garden City | 226S | 55-Glenwood | AltaLink | 18 | 2024-03-28
892L | 138 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 0 | 2024-03-28
892L | 138 | Suffield | 895S | 04-Medicine Hat | AltaLink | 0 | 2024-03-28
893AL | 138 | Windy Point | 112S | 53-Fort Macleod | AltaLink | 65 | 2024-03-28
893L | 138 | Fidler | 312S | 53-Fort Macleod | AltaLink | 93 | 2024-03-28
893L | 138 | Oldman River | 806S | 53-Fort Macleod | AltaLink | 65 | 2024-03-28
912L | 240 | Red Deer | 63S | 35-Red Deer | AltaLink | 267 | 2024-03-28
912L | 240 | Nevis | 766S | 42-Hanna | ATCO | 366 | 2024-03-28
923L | 240 | Newell | 2075S | 47-Brooks | AltaLink | 352 | 2024-03-28
923L | 240 | Milo | 356S | 47-Brooks | AltaLink | 466 | 2024-03-28
924L | 240 | Langdon | 102S | 6-Calgary | AltaLink | 304 | 2024-03-28
924L | 240 | Milo | 356S | 47-Brooks | AltaLink | 466 | 2024-03-28
927L | 240 | Langdon | 102S | 6-Calgary | AltaLink | 333 | 2024-03-28
927L | 240 | Milo | 356S | 47-Brooks | AltaLink | 466 | 2024-03-28
931L | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 329 | 2024-03-28
931L | 240 | West Brooks | 28S | 47-Brooks | AltaLink | 374 | 2024-03-28
933L/9L933 | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 329 | 2024-03-28
933L/9L933 | 240 | Anderson | 801S | 43-Sheerness | ATCO | 272 | 2024-03-28
934L/9L934 | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 274 | 2024-03-28
934L/9L934 | 240 | Anderson | 801S | 43-Sheerness | ATCO | 272 | 2024-03-28
935L | 240 | Cassils | 324S | 47-Brooks | AltaLink | 362 | 2024-03-28
935L | 240 | Milo | 356S | 47-Brooks | AltaLink | 458 | 2024-03-28
940L | 240 | Picture Butte | 120S | 54-Lethbridge | AltaLink | 170 | 2024-03-28
940L | 240 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 225 | 2024-03-28
944L | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 329 | 2024-03-28
944L | 240 | Jenner | 275S | 48-Empress | AltaLink | 30 | 2024-03-28
945L | 240 | Jenner | 275S | 48-Empress | AltaLink | 30 | 2024-03-28
945L | 240 | Cypress | 562S | 48-Empress | AltaLink | 20 | 2024-03-28
948L/9L948 | 240 | Hansman Lake | 650S | 37-Provost | AltaLink | 305 | 2024-03-28
948L/9L948 | 240 | Paintearth Creek | 863S | 36-Alliance/Battle River | ATCO | 403 | 2024-03-28
949L | 240 | Jenner | 275S | 48-Empress | AltaLink | 30 | 2024-03-28
949L | 240 | Halsbury | 306S | 48-Empress | AltaLink | 30 | 2024-03-28
950L/9L950 | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 275 | 2024-03-28
950L/9L950 | 240 | Anderson | 801S | 43-Sheerness | ATCO | 272 | 2024-03-28
951L | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 329 | 2024-03-28
951L | 240 | Jenner | 275S | 48-Empress | AltaLink | 30 | 2024-03-28
953L/9L953 | 240 | Nilrem | 574S | 32-Wainwright | AltaLink | 335 | 2024-03-28
953L/9L953 | 240 | Cordel | 755S | 36-Alliance/Battle River | ATCO | 411 | 2024-03-28
954L | 240 | Metiskow | 648S | 37-Provost | AltaLink | 386 | 2024-03-28
954L | 240 | Hansman Lake | 650S | 37-Provost | AltaLink | 385 | 2024-03-28
955L | 240 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 354 | 2024-03-28
955L | 240 | Peigan | 59S | 53-Fort Macleod | AltaLink | 350 | 2024-03-28
956L | 240 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 354 | 2024-03-28
956L | 240 | Peigan | 59S | 53-Fort Macleod | AltaLink | 350 | 2024-03-28
964AL | 240 | Granlea | 1024S | 04-Medicine Hat | AltaLink | 266 | 2024-03-28
964L | 240 | Whitla | 251S | 04-Medicine Hat | AltaLink | 266 | 2024-03-28
964L | 240 | Murray Lake | 326S | 04-Medicine Hat | AltaLink | 266 | 2024-03-28
965L | 240 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 395 | 2024-03-28
965L | 240 | Murray Lake | 326S | 04-Medicine Hat | AltaLink | 406 | 2024-03-28
966L/9L966 | 240 | Hansman Lake | 650S | 37-Provost | AltaLink | 365 | 2024-03-28
966L/9L966 | 240 | Pemukan | 932S | 42-Hanna | ATCO | 466 | 2024-03-28
967L | 240 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 349 | 2024-03-28
967L | 240 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 244 | 2024-03-28
968L | 240 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 349 | 2024-03-28
968L | 240 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 244 | 2024-03-28
983L | 240 | Whitla | 251S | 04-Medicine Hat | AltaLink | 407 | 2024-03-28
983L | 240 | Elkwater | 264S | 04-Medicine Hat | AltaLink | 402 | 2024-03-28
994L | 240 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 354 | 2024-03-28
994L | 240 | Fidler | 312S | 53-Fort Macleod | AltaLink | 356 | 2024-03-28
9L100 | 240 | Anderson | 801S | 43-Sheerness | ATCO | 65 | 2024-03-28
9L100 | 240 | Sheerness | 807S | 43-Sheerness | ATCO | 65 | 2024-03-28
9L16 | 240 | Cordel | 755S | 36-Alliance/Battle River | ATCO | 212 | 2024-03-28
9L16 | 240 | Tinchebray | 972S | 36-Alliance/Battle River | ATCO | 227 | 2024-03-28
9L20 | 240 | Cordel | 755S | 36-Alliance/Battle River | ATCO | 411 | 2024-03-28
9L20 | 240 | Nevis | 766S | 36-Alliance/Battle River | ATCO | 279 | 2024-03-28
9L24 | 240 | Oakland | 946S | 43-Sheerness | ATCO | 260 | 2024-03-28
9L24 | 240 | Lanfine | 959S | 42-Hanna | ATCO | 305 | 2024-03-28
9L27 | 240 | Cordel | 755S | 36-Alliance/Battle River | ATCO | 411 | 2024-03-28
9L27 | 240 | Paintearth Creek | 863S | 36-Alliance/Battle River | ATCO | 422 | 2024-03-28
9L29 | 240 | Oakland | 946S | 43-Sheerness | ATCO | 260 | 2024-03-28
9L29 | 240 | Coyote Lake | 963S | 43-Sheerness | ATCO | 180 | 2024-03-28
9L46 | 240 | Pemukan | 932S | 42-Hanna | ATCO | 169 | 2024-03-28
9L46 | 240 | Lanfine | 959S | 42-Hanna | ATCO | 169 | 2024-03-28
9L46AL | 240 | Sedalia | 363S | 42-Hanna | ATCO | 169 | 2024-03-28
9L59 | 240 | Anderson | 801S | 43-Sheerness | ATCO | 272 | 2024-03-28
9L59 | 240 | Tinchebray | 972S | 36-Alliance/Battle River | ATCO | 227 | 2024-03-28
9L59AL | 240 | Garden Plain | 1045S | 42-Hanna | ATCO | 336 | 2024-03-28
9L70 | 240 | Anderson | 801S | 43-Sheerness | ATCO | 272 | 2024-03-28
9L70 | 240 | Oakland | 946S | 43-Sheerness | ATCO | 260 | 2024-03-28
9L79 | 240 | Cordel | 755S | 36-Alliance/Battle River | ATCO | 118 | 2024-03-28
9L79 | 240 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 118 | 2024-03-28
9L80 | 240 | Cordel | 755S | 36-Alliance/Battle River | ATCO | 411 | 2024-03-28
9L80 | 240 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 410 | 2024-03-28
9L93 | 240 | Halkirk | 615S | 42-Hanna | ATCO | 118 | 2024-03-28
9L93 | 240 | Tinchebray | 972S | 36-Alliance/Battle River | ATCO | 118 | 2024-03-28
9L97 | 240 | Anderson | 801S | 43-Sheerness | ATCO | 272 | 2024-03-28
9L97 | 240 | Oakland | 946S | 43-Sheerness | ATCO | 260 | 2024-03-28
9L99 | 240 | Anderson | 801S | 43-Sheerness | ATCO | 66 | 2024-03-28
9L99 | 240 | Sheerness | 807S | 43-Sheerness | ATCO | 65 | 2024-03-28
9LA93 | 240 | Lanes Lake | 973S | 42-Hanna | ATCO | 118 | 2024-03-28
CHD-1 | 69 | Magrath | 225S | 55-Glenwood | AltaLink | 16 | 2024-03-28
CHD-1 | 69 | Taylor Hydro Plant |  | 55-Glenwood | AltaLink | 16 | 2024-03-28
PCES01L | 138 | Namaka | 428S | 45-Strathmore/Blackie | AltaLink | 13 | 2024-03-28
PCES01L | 138 | Cavalier |  | 45-Strathmore/Blackie | AltaLink | 13 | 2024-03-28