| Date of Request for Comment:; September 9, 2022. Period of Consultation:; September 9, 2022; through; October 7, 2022. Comments From:; Company Name. Date [yyyy/mm/dd]:. | Contact:; Company Contact. Email:. |
| --- | --- |

## Instructions

- Please fill out the section above as indicated.

- Please respond to the questions below and provide your specific comments.

- Please submit one completed comment matrix per organization.

- Stakeholder comment matrices will be published on aeso.ca, in their original state.

- Email your completed comment matrix to tariffdesign@aeso.ca by Oct. 7, 2022.

## Request for feedback

Listed below is the summary description of changes for proposed new and amended definitions related to proposed 2022 Tariff Modernization Application. Please refer back to the engagement page to view related materials. Please place your comments/reasons for position underneath (if any).

| Definitions – New |  |  |  |
| --- | --- | --- | --- |
| Existing | Proposed | AESO Rationale | Stakeholder Comments and/or Alternate Proposal |
| No definition currently exists for use in the ISO Tariff | "permit and licence" means a permit and licence the Commission issues to construct and operate a transmission facility or any part of a transmission facility. | This definition is needed to more clearly distinguish between tariff provisions that apply to connection projects for which new or amended permit and licence are required, and connection projects that do now require new or amended permit and licence. |  |
| No definition currently exists for use in the ISO Tariff | “system transmission facilities” means transmission facilities or the portion of a transmission facility that the ISO determines to be required for the benefit of many market participants. | The content of this definition is already contained and repeated in the ISO tariff. This definition is being proposed in order to eliminate that repetition. |  |
| Definitions – Amended |  |  |  |
| Existing | Proposed | AESO Rationale | Stakeholder Comments and/or Alternate Proposal |
| “radial circuit” means an arrangement of contiguous system elements extending from a single system element on the networked transmission system in a linear or branching configuration to the facilities of one or more market participants, which is the only circuit for power to flow between the networked transmission system and the facilities of one or more market participants under normal operating conditions, including when the circuit is connected to another circuit through a switching device that is operated normally open. [Tariff (2021-01-01)] | “radial circuit” means an arrangement of contiguous system elements energized at 50 kV or higher that: (a) extend from a system element on the networked transmission system in a linear or branching configuration; (b) connect to one or more of a load facility, a generating unit, or an aggregated generating facility; and (c) comprise the only circuit by which power can flow between the networked transmission system and the facilities identified in item (b) under normal operating conditions, and includes an arrangement where the circuit energized at 50 kV or higher is connected to another circuit energized at 50 kV or higher, either through a switching device that is operated normally open or through facilities energized at less than 50 kV where the circuit would be a radial circuit if the connection did not exist. | Changing ISO Tariff CADG definition of “radial circuit” to align with the existing CADG Alberta Reliability Standards definition of “radial circuit” [Alberta Reliability Standards (2020-08-06)] |  |