## Contents
Alberta Electric System Operator
2018 ISO Tariff Application
September 14, 2017
Appendix H — 2018 Rate Calculations
Contents
Appendix H
Updated 2018 Rate Calculations
H-1 | AESO 2018 Forecast Revenue Requirement
H-2 | 2018 Forecast Transmission Facility Owner Wires Costs
H-3 | Revenue Requirement Allocation to Demand and Supply Transmission Service
H-4 | Tariff Revenue Offsets
H-5 | Demand Transmission Service Costs Classified to Demand, Usage, and Customers
H-6 | POD Cost Function and POD Cost Classification
H-7 | Demand Transmission Service Cost Recovery
H-8 | Demand Transmission Service Rate Calculation
H-9 | Supply Transmission Service Costs Classified to Demand and Usage
H-10 | Supply Transmission Service Rate Calculation
H-11 | Opportunity Service Rate Calculations
H-12 | 2018 Billing Determinants
H-13 | Rate Change Impact Compared to 2017 Approved Rates
H-14 | Fort Nelson Demand Transmission Service Rate Calculation
H-15 | 2018 Fort Nelson Billing Determinants
H-16 | Bill Impact Estimator

## H-1 Rev Req
Alberta Electric System Operator | [8 empty] | Table H-1
2018 ISO Tariff Application | [8 empty] | September 14, 2017
Appendix H — 2018 Rate Calculations
AESO 2018 Forecast Revenue Requirement, $ 000 000
[5 empty] | A | B | C | D | E
[5 empty] | 2018 | 2017 | 2016 | 2015 | 2014
Updated
[5 empty] | Forecast | Forecast | Recorded | Recorded | Recorded
No. | Description |  |  |  | Costs | Costs | Costs | Costs | Costs
WIRES
TFO Wires-Related Costs
1 |  | AltaLink |  |  | 892.1387 | 866.1512 | 822.3071 | 732.3517 | 511.6793
2 |  | ATCO Electric |  |  | 625.3762 | 664.8135 | 691.263 | 644.1765 | 567.1705
3 |  |  | Isolated Generation |  | -3.1011 | -1.7106 | -1.3177 | -2.43 | -3.6954
4 |  |  |  | Subtotal ATCO Costs | 622.2751 | 663.1028 | 689.9454 | 641.7465 | 563.4751
5 |  | ENMAX Power Corporation |  |  | 80.0561 | 79.6684 | 74.8444 | 74.133 | 65.422
6 |  | EPCOR Distribution & Transmission |  |  | 98.5913 | 98.5913 | 99.8161 | 93.8673 | 90.1056
7 |  | City of Lethbridge |  |  | 7.1215 | 7.1215 | 6.3025 | 6.3167 | 6.0918
8 |  | TransAlta Utilities Corporation |  |  | 4.9345 | 4.9345 | 4.4561 | 4.9345 | 4.9345
9 |  | City of Red Deer |  |  | 4.3005 | 4.3005 | 3.8914 | 3.453 | 3.8846
10 |  | FortisAlberta (Farm Transmission) |  |  | 4.694 | 4.694 | 4.7859 | 4.7432 | 4.6505
11 |  |  | Subtotal TFO Wires-Related Costs |  | 1714.1118 | 1728.5644 | 1706.3489 | 1561.546 | 1250.2435
Non-Wires Costs
12 |  | Invitation to Bid on Credits (IBOC) |  |  | 1.9 | 1.9 | 1.7855 | 1.3681 | 1.4925
13 |  | Location Based Credit Standing Offer (LBC SO) |  |  | 3.5 | 3.5 | 3.2412 | 3.7087 | 4.1382
14 |  |  | Subtotal IBOC/LBC SO Costs |  | 5.4 | 5.4 | 5.0267 | 5.0768 | 5.6307
15 |  |  |  | TOTAL WIRES COSTS | 1719.5118 | 1733.9644 | 1711.3756 | 1566.6227 | 1255.8742
ANCILLARY SERVICES
Operating Reserves
Active
16 |  |  | Regulating |  | 37.6068 | 21.3374 | 29.3775 | 32.9999 | 41.7967
17 |  |  | Spinning |  | 55.6519 | 33.7962 | 16.0773 | 42.036 | 72.0328
18 |  |  | Supplemental |  | 32.1986 | 13.6945 | 7.1859 | 30.2078 | 53.9641
19 |  |  |  | Subtotal Active Reserves | 125.4573 | 68.8281 | 52.6407 | 105.2438 | 167.7936
Standby
20 |  |  | Regulating |  | 4.6223 | 5.2228 | 8.1007 | 5.0013 | 5.199
21 |  |  | Spinning |  | 12.9087 | 11.214 | 4.8199 | 19.805 | 8.8334
22 |  |  | Supplemental |  | 4.8926 | 3.4127 | 1.1719 | 8.273 | 2.7397
23 |  |  |  | Subtotal Standby Reserves | 22.4235 | 19.8496 | 14.0925 | 33.0793 | 16.7722
24 |  | Trading Fees and Other Related Charges |  |  | -1.2355 | -0.49104 | -0.23046 | -1.0028 | -3.6569
25 |  |  | Subtotal Operating Reserves |  | 146.6454 | 88.1866 | 66.5028 | 137.3021 | 180.9089
Other Ancillary Services
26 |  | Black Start |  |  | 4.2631 | 2.0804 | 2.0945 | 2.1274 | 1.0369
27 |  | Transmission Must Run (TMR) |  |  | 5.2837 | 4.796 | 0.67551 | 9.6022 | 4.629
28 |  | Load Shed Service for Imports (LSSi) |  |  | 17.3047 | 18.0632 | 18.2287 | 17.4067 | 24.3948
29 |  | Reliability Services from BC |  |  | 2.8571 | 2.8571 | 2.8571 | 2.1429 | 0
30 |  | Transmission Constraint Rebalancing (TCR) |  |  | 0.1 | 0.1 | 0.0074994 | 0 | 0
31 |  | Poplar Hill |  |  | 2.7905 | 2.796 | 2.8432 | 2.5688 | 2.8422
32 |  | Interruptible Load Remedial Action Scheme (ILRAS) |  |  | 0 | 0 | 0 | 0 | 0
33 |  | Generator Remedial Action Scheme (RAS) |  |  | 0 | 0 | 0 | 0 | 0
34 |  |  | Subtotal Other Ancilary Services |  | 32.5992 | 30.6928 | 26.7066 | 33.848 | 32.9029
35 |  |  |  | TOTAL ANCILLARY SERVICES | 179.2445 | 118.8794 | 93.2093 | 171.1501 | 213.8118
8.55%
LOSSES
36 |  | Pool Payment |  |  | 96.8 | 74.0569 | 41.0559 | 77.4 | 111.9
37 |  |  | TOTAL LOSSES COSTS |  | 96.8 | 74.0569 | 41.0559 | 77.4 | 111.9
4.617%
OTHER INDUSTRY COSTS
38 |  | Regulatory Process Costs |  |  | 0.45 | 0.75 | 0.41174 | 0.44867 | 0.86803
39 |  | Western Electricity Coordination Council (WECC) |  |  | 2.2 | 2.2 | 2.3998 | 1.8724 | 1.0891
40 |  | Share of Commission Costs |  |  | 12.8 | 12.6 | 12.099 | 12.4951 | 13.391
41 |  |  | TOTAL OTHER INDUSTRY COSTS |  | 15.45 | 15.55 | 14.9106 | 14.8161 | 15.3482
GENERAL AND ADMINISTRATIVE COSTS
Administrative Costs
42 |  | Staff and Benefits |  |  | 49.0373 | 47.7301 | 49.4267 | 47.7027 | 45.0312
43 |  | Contract Services and Consultants |  |  | 4.4085 | 5.8789 | 4.9079 | 4.9339 | 10.2559
44 |  | Administration |  |  | 3.1784 | 3.0351 | 3.1757 | 3.023 | 3.7057
45 |  | Facilities |  |  | 5.4347 | 5.1516 | 5.1053 | 5.4525 | 4.6231
46 |  | Computer and Telecom Services and Maintenance |  |  | 8.5776 | 8.3238 | 7.2981 | 6.3631 | 6.0687
47 |  | IT Wind Forecasting |  |  | 0.30456 | 0.30456 | 0.30456 | 0.30456 | 0.30456
48 |  |  | Subtotal Administrative Costs |  | 70.6366 | 70.1195 | 69.9137 | 67.4752 | 69.6847
General Costs
49 |  | Market Systems Replacement |  |  | 0 | 0 | 0 | 0 | 0.87591
50 |  | Interest |  |  | 0.65 | 0.28 | 0.073036 | -0.061661 | -0.67228
51 |  | Amortization and Depreciation |  |  | 14.1 | 12.73 | 15.509 | 16.2576 | 15.7751
52 |  |  | Subtotal General Costs |  | 14.75 | 13.01 | 15.582 | 16.1959 | 15.9788
53 |  |  |  | TOTAL G&A COSTS | 85.3866 | 83.1295 | 85.4958 | 83.6712 | 85.6635
54 | TOTAL G&A AND OTHER INDUSTRY COSTS |  |  |  | 100.8366 | 98.6795 | 100.4063 | 98.4873 | 101.0116
55 | TOTAL REVENUE REQUIREMENT |  |  |  | 2096.3929 | 2025.5802 | 1946.0472 | 1913.6601 | 1682.5976
Notes: numbers may not add due to rounding

## H-2 TFO Rev Req
Alberta Electric System Operator | [11 empty] | Table H-2
2018 ISO Tariff Application | [11 empty] | September 14, 2017
Appendix H — 2018 Rate Calculations
2018 Forecast Transmission Facility Owner Wires Costs
| A | B | C | D | E | F | G | H | I | J | K | L
|  | Last Approved Revenue Requirement |  |  | Latest TFO Application |  |  | 2018 TFO Revenue Requirement Forecast
| TFO | Type | Amount | Year | Type | Amount | Proceeding ID | Basis | Source | Increase / (Decrease) | 72% of Increase / (Decrease) | Forecast Revenue Requirement
1 | AltaLink | Final approval | 892.1387 | 2018 | Approved 2018 | 892.1387 | 21341 | 2018 Approved | X0211 and 21341-D01-2017 | NA | NA | 892.1387
2 | ATCO Electric | Final approval | 579 | 20141 | Filed 2018 | 606.6206 | 22742 | 2018 Filed (one step decrease from 2017 compliance filing) | X0002, Schedule 3-1, H29, I29 | -66.9842 | -48.2287 | 625.3762
3 | ENMAX | Final approval | 75.3147 | 2015 | Filed 2017 | 81.9 | 22238 | 2017 Filed (one step increase from 2015 final approved, including 72% of 2015 DAR) | Exhibit 0001 - Table 3-1 | 6.5853 | 4.7414 | 80.0561
4 | EPCOR | Final approval | 98.5913 | 2017 | Filed 2017 | 98.5913 | 21229 | 2017 Final Approved | 21229-D01-2016 | NA | NA | 98.5913
5 | City of Lethbridge | Final approval | 6.0918 | 2017 | Filed 2017 | 7.1215 | 22136 | 2017 Final Approved | 22136-D01-2016 | NA | NA | 7.1215
6 | TransAlta Corporation | Final approval | 4.9345 | 2014 | Filed 2017 | 4.9345 | 20524 | 2017 Interim Approved | 20524-D01-2015 | NA | NA | 4.9345
7 | City of Red Deer | Final approval | 4.3005 | 2017 | Filed 2017 | 4.3005 | 20802 | 2017 Final Approved | 20802-D01-2015 | NA | NA | 4.3005
8 | FortisAlberta | Final approval | 4.7859 | 2017 | Filed 2017 | 4.694 | 21980 | 2017 Final Approved | 21980-D01-2016 | NA | NA | 4.694
Note: “NA” means not applicable
¹ 2014 amount includes 72% of applied for 2014 deferral account reconcilliation amount
² 2017 amounts reflect production year allocation estimates and amounts filed in AltaLink's 2012-2013 Deferral Account Reconciliation application (Proceeding 3585)
³ 2017 amounts reflect production year allocations resulting from ATCO Electric's 2013-2014 Deferral Account Reconciliation application (Proceeding 21206)

## H-3 Allocation
Alberta Electric System Operator | [8 empty] | Table H-3
2018 ISO Tariff Application | [8 empty] | September 14, 2017
Appendix H — 2018 Rate Calculations
Revenue Requirement Allocation to Demand and Supply Transmission Service
|  |  | A |  | B | C | D | E | F
|  |  | Updated |  | Allocation to DTS |  | Allocation to STS |  | Functionalization
| Description |  | Forecast $ 000 000 |  | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000 | From 2018 TCCS
1 | Wires
2 | Bulk System |  | 883.9306 |  | 100% | 883.9306 | 0% | 0 | 51.41%
3 | Regional System |  | 442.9272 |  | 100% | 442.9272 |  | 0 | 25.76%
4 | Point of Delivery |  | 392.6539 |  | 100% | 392.6539 | 0% | 0 | 22.84%
5 | Total Wires |  | 1719.5118 |  | 100% | 1719.5118 | 0% | 0 | 100%
6 | Ancillary Services
7 | Operating Reserves |  | 146.6454 |  | 100% | 146.6454 | 0% | 0
8 | Other Ancillary Services
9 |  | Black Start | 4.2631 |  | 100% | 4.2631 | 0% | 0
10 |  | Transmission Must Run (TMR) | 5.2837 |  | 100% | 5.2837 | 0% | 0
11 |  | Under Frequency Mitigation | 2.7905 |  | 100% | 2.7905 | 0% | 0
12 |  | Poplar Hill | 0 |  | 100% | 0 | 0% | 0
13 |  | ILRAS | 0 |  | 100% | 0 | 0% | 0
14 |  | LSSi | 17.3047 |  | 100% | 17.3047 | 0%
15 |  | Reliability Services from BC | 2.8571 |  | 100% | 2.8571 | 0%
16 |  | Transmission Constraint Rebalancing (TCR) | 0.1 |  | 100% | 0.1
17 | Total Ancillary Services |  | 179.2445 |  | 100% | 179.2445 | 0% | 0
18 | Losses |  | 96.8 |  | 0% | 0 | 100% | 96.8
19 | Other Industry |  | 15.45 |  | 100% | 15.45 | 0% | 0
20 | General and Administrative |  | 85.6911 |  | 100% | 85.6911 | 0% | 0
21 | Total Revenue Requirement |  | 2096.6975 |  | 95.38% | 1999.8975 | 4.617% | 96.8
22 | Tariff Revenue Offsets |  |  |  |  | 17.5569 |  | -3.714
23 | Regulated Generating Unit Connection Costs |  |  |  |  | 0 |  | 4.3697
24 | Net DTS and STS Revenue Requirement |  |  |  |  | 2017.4544 |  | 97.4557
Note: | 2018 Updated Forecast amounts, other than Wires amounts, are as approved in the 2017-2018 BRP
Table C-1, Column A
103.2354

## H-4 Offsets
Alberta Electric System Operator | [8 empty] | Table H-4
2018 ISO Tariff Application | [8 empty] | September 14, 2017
Appendix H — 2018 Rate Calculations
Tariff Revenue Offsets
Copy as values into column titled A until variance is zero
|  |  | A | B | C | D | E | F | G
|  |  | Updated | Allocation to DTS |  | Allocation to STS |  | Forecasting Calculation |  | Updated | Variance
| Description |  | Forecast $ 000 000 | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000 | Volume | Rate | Forecast $ 000 000 | $ 000 000
1 | DTS Tariff Revenue Offsets
2 | Power Factor Deficiency Revenue |  | -1.5001 | 100% | -1.5001 |  |  | 1250.0493 | 1200 | -1.5001 | 0
3 | Demand Opportunity Service Revenue |  |  |  | 0
|  | Rate | -0.031446 | 100% | -0.031446 |  |  | 6893.3591 | 4.5618 | -0.031446 | 0
|  | Transaction | -0.0005 | 100% | -0.0005 |  |  | 1 | 500 | -0.0005 | 0
4 | Export Opportunity Service Revenue |  |  |  | 0
|  | Rate | -7.2957 | 100% | -7.2957 |  |  | 1048228.9079 | 6.96 | -7.2957 | 0
|  | Transaction | -0.065 | 100% | -0.065 |  |  | 130 | 500 | -0.065 | 0
5 | UFLS Credits |  | 2.6516 | 100% | 2.6516 |  |  | NA | NA | 2.6516 | 0
6 | Primary Service Credits |  |  |  | 0
|  | Customer Charge × SF | 1.5147 | 100% | 1.5147 |  |  | 189.4521 | 7995 | 1.5147 | 0
|  | Billing Capacity ≤ (7.5×SF) MW | 4.2743 | 100% | 4.2743 |  |  | 1317.2068 | 3245 | 4.2743 | 0
|  | BC > (7.5×SF) to ≤ (17×SF) MW | 2.8637 | 100% | 2.8637 |  |  | 1409.2856 | 2032 | 2.8637 | 0
|  | BC > (17×SF) to ≤ (40×SF) MW | 3.987 | 100% | 3.987 |  |  | 2805.7702 | 1421 | 3.987 | 0
|  | Billing Capacity > (40×SF) MW | 17.5873 | 100% | 17.5873 |  |  | 15135.3879 | 1162 | 17.5873 | 0
7 | RGU Connection Costs |  | -4.3697 | 100% | -4.3697 |  |  | 58262.4 | 75 | -4.3697 | 0
8 | Fort Nelson Service Revenue |  | -1.5349 | 100% | -1.5349 |  |  | NA | NA | -1.5349 | 0
9 | Duplication Avoidance Adjustments |  | -0.52436 | 100% | -0.52436 |  |  | NA | NA | -0.52436 | 0
10 | Total DTS Offsets |  | 17.5569 | 100% | 17.5569 | 0% | 0 |  |  | 17.5569
11 | STS Tariff Revenue Offsets
12 | Demand Opportunity Service Losses |  | -0.0076609 |  |  | 100% | -0.0076609 | 6893.3591 | 2.61% | -0.0076609 | 0
13 | Export Opportunity Service Losses
|  | BC Losses | -0.21199 |  |  | 100% | -0.21199 | 646564.5 | 0.77% | -0.21199 | 0
|  | SK Losses | -0.21106 |  |  | 100% | -0.21106 | 215514.25 | 2.3% | -0.21106 | 0
14 | Import Opportunity Service Losses
|  | BC Losses | -0.86412 |  |  | 100% | -0.86412 | 792732 | 2.56% | -0.86412 | 0
|  | MT Losses | -0.23036 |  |  | 100% | -0.23036 | 213835.6023 | 2.53% | -0.23036 | 0
|  | SK Losses | -0.017217 |  |  | 100% | -0.017217 | 6318 | 6.4% | -0.017217 | 0
|  | Transaction Revenue | -2.1716 |  |  | 100% | -2.1716 | 102 | 500 | -2.1716 | 0
15 | Total STS Offsets |  | -3.714 | 0 | 0 | 100% | -3.714 |  |  | -3.714
16 | Total Tariff Revenue Offsets |  | 13.843 | 126.8% | 17.5569 | -26.83% | -3.714

## H-5 DTS Classification
Alberta Electric System Operator | [13 empty] | Table H-5
2018 ISO Tariff Application | [13 empty] | September 14, 2017
Appendix H — 2018 Rate Calculations
Demand Transmission Service Costs Classified to Demand, Usage, and Customer
|  |  | A | B | C |  | D | E | F | G | H | I | J | K
|  |  | DTS | Classification to Rate Component
|  |  | Amount | Coincident Demand |  |  | Non-Coincident Dem’d |  | Flat Usage |  | Varying Usage |  | Customer
Line No. | Description |  | [Table C-3] $ 000 000 | Allocator % | Amount $ 000 000 |  | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000
1 | Wires
2 | Bulk System |  | 883.9306 | 93.45% | 826.0006 |  | 0% | 0 | 6.554% | 57.9301 | 0% | 0 | 0% | 0
3 | Regional System |  | 442.9272 | 0% | 0 |  | 89.54% | 396.613 | 10.46% | 46.3142 | 0% | 0 | 0% | 0
4 | Point of Delivery |  | 392.6539 | 0% | 0 |  | 87.2% | 342.3946 | 0% | 0 |  |  | 12.8% | 50.2593
5 | Total Wires |  | 1719.5118 | 48.04% | 826.0006 |  | 42.98% | 739.0076 | 6.062% | 104.2443 | 0% | 0 | 2.923% | 50.2593
6 | Ancillary Services
7 | Operating Reserves |  | 146.6454 | 0% | 0 |  | 0% | 0 | 0% | 0 | 100% | 146.6454 | 0% | 0
8 | Other Ancillary Services
9 |  | Black Start | 4.2631 | 0% | 0 |  | 0% | 0 | 0% | 0 | 100% | 4.2631 | 0% | 0
10 |  | Transmission Must Run (TMR) | 5.2837 | 0% | 0 |  | 0% | 0 | 100% | 5.2837 | 0% | 0 | 0% | 0
11 |  | Under Frequency Mitigation | 2.7905 | 0% | 0 |  | 100% | 2.7905 | 0% | 0 | 0% | 0 | 0% | 0
12 |  | Poplar Hill | 0 | 0% | 0 |  | 100% | 0 | 0% | 0 | 0% | 0 | 0% | 0
13 |  | ILRAS | 0 | 93.45% | 0 |  | 0% | 0 | 6.554% | 0 | 0% | 0 | 0% | 0
14 |  | LSSi | 17.3047 | 0% | 0 | 0 | 0% | 0 | 0% | 0 | 100% | 17.3047 | 0% | 0
15 |  | Reliability Services from BC | 2.8571 | 0% | 0 |  | 100% | 2.8571 | 0% | 0 | 0% | 0 | 0% | 0
16 |  | Transmission Constraint Rebalancing (TCR) | 0.1 | [7 empty] | 100% | 0.1
17 | Total Ancillary Services |  | 179.2445 | 0% | 0 |  | 3.151% | 5.6477 | 2.948% | 5.2837 | 93.9% | 168.3131 | 0% | 0
18 | Losses |  | 0 | 0% | 0 |  | 0% | 0 | 0% | 0 | 0% | 0 | 0% | 0
19 | Other Industry |  | 15.45 | 48.04% | 7.4217 |  | 42.98% | 6.6401 | 6.062% | 0.93665 | 0% | 0 | 2.923% | 0.45159
20 | General and Administrative |  | 85.6911 | 48.04% | 41.1634 |  | 42.98% | 36.8281 | 6.062% | 5.195 | 0% | 0 | 2.923% | 2.5047
21 | Total Revenue Requirement |  | 1999.8975 | 43.73% | 874.5857 |  | 39.41% | 788.1235 | 5.783% | 115.6596 | 8.416% | 168.3131 | 2.661% | 53.2156
22 | DTS Tariff Revenue Offsets |  | 17.5569 | 48.04% | 8.4338 |  | 42.98% | 7.5456 | 6.062% | 1.0644 | 0% | 0 | 2.923% | 0.51317
23 | Net DTS Revenue Requirement |  | 2017.4544 | 43.77% | 883.0195 |  | 39.44% | 795.6691 | 5.786% | 116.724 | 8.343% | 168.3131 | 2.663% | 53.7287

## H-6 POD Classification
Alberta Electric System Operator | [13 empty] | Table H-6
2018 ISO Tariff Application | [13 empty] | September 14, 2017
Appendix H — 2018 Rate Calculations
POD Cost Function and POD Cost Classification
|  |  |  | A |  |  | B |  | C |  | D |  | E | F
Line
No. | Description |  | Reference | Customer |  |  | Demand | [6 empty] | Total
1 | Power Function |  | As applied for | Costs ($ million) = |  |  | 2.5542 | x | MW ^ | 0.5726
2 | Data Points (MW) |  | 2007-106 | 1.5 |  |  | 7.5 |  | 17 |  | 40 |  | 122.8
3 | Calculated Values ($ 000 000) |  | Lines 1 and 2 | 3.2217 | 0 | 0 | 8.0968 | 0 | 12.9363 |  | 21.1152 | 0 | 40.1356
Demand
|  |  |  | Customer |  |  |  |  | > (7.5×SF) MW |  | > (17×SF) MW
| POD Cost Classification |  |  | Fixed |  |  | ≤ (7.5×SF) MW |  | ≤ (17×SF) MW |  | ≤ (40×SF) MW |  | > (40×SF) MW | Total
4 | Intercept and Slopes ($ 000 000) |  | Lines 2 and 3 | 2.003 |  |  | 0.813 |  | 0.509 |  | 0.356 |  | 0.23
5 | Determinants (cust-months, MW-months) |  | Table C-10 | 5308.963 |  |  | 36498.3657 |  | 34526.0983 |  | 43063.6762 |  | 42896.2521
6 | Total Cost Function Costs ($ 000 000) |  | Line 4 × Line 5 | 10633.8528 |  |  | 29673.1713 |  | 17573.7841 |  | 15330.6687 |  | 9866.138 | 83077.6149
7 | Cost Classification (%) |  | Line 6 ÷ Col F | 12.8% |  |  | 35.72% |  | 21.15% |  | 18.45% |  | 11.88% | 100%
Note: | 1. | The “Customer” billing determinant at Line 5 Col A is the sum over all Rate DTS market participants of the substation fraction for each Rate DTS market participant
| 2. | The “Demand” billing determinants at Line 5 Cols B-E are the sums over all Rate DTS market participants of billing capacity within the bounds indicated as
(amounts × substation fraction) for each Rate DTS market participant

## H-7 DTS Costs
Alberta Electric System Operator | [18 empty] | Table H-7
2018 ISO Tariff Application | [18 empty] | September 14, 2017
Appendix H — 2018 Rate Calculations
Demand Transmission Service Cost Recovery
|  |  |  | A |  |  | B |  |  | C |  |  | D |  |  | E |  |  | F
|  |  |  | Coincident |  |  | Non-Coincident |  |  | Flat |  |  | Varying
|  |  |  | Demand |  |  | Demand |  |  | Usage |  |  | Usage |  |  | Customer |  |  | Total
Line No. | Description |  | Table C-5 Reference | Amount [D-5 Col C] $ 000 000 |  |  | Amount [D-5 Col E] $ 000 000 |  |  | Amount [D-5 Col G] $ 000 000 |  |  | Amount [D-5 Col I] $ 000 000 |  |  | Amount [D-5 Col K] $ 000 000 |  |  | Amount [A+B+C+D+E] $ 000 000
1 | DTS Connection Charge
2 | Wires
3 |  | Bulk System | Line 2 | 826.0006 |  |  | 0 |  |  | 57.9301 |  |  | 0 |  |  | 0 |  |  | 883.9306
4 |  | Regional System | Line 3 | 0 |  |  | 396.613 |  |  | 46.3142 |  |  | 0 |  |  | 0 |  |  | 442.9272
5 |  | Point of Delivery | Line 4 | 0 |  |  | 342.3946 |  |  | 0 |  |  | 0 |  |  | 50.2593 |  |  | 392.6539
6 | Non-Wires
7 |  | ILRAS | Line 13 | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
8 |  | Other Industry | Line 19 | 7.4217 |  |  | 6.6401 |  |  | 0.93665 |  |  | 0 |  |  | 0.45159 |  |  | 15.45
9 |  | General and Administrative | Line 20 | 41.1634 |  |  | 36.8281 |  |  | 5.195 |  |  | 0 |  |  | 2.5047 |  |  | 85.6911
10 |  | DTS Tariff Revenue Offsets | Line 22 | 8.4338 |  |  | 7.5456 |  |  | 1.0644 |  |  | 0 |  |  | 0.51317 |  |  | 17.5569
11 | DTS Connection Charge |  |  | 883.0195 |  |  | 790.0214 |  |  | 111.4403 |  |  | 0 |  |  | 53.7287 |  |  | 1838.2099
12 | DTS Operating Reserve Charge
13 | Operating Reserves |  | Line 7 | 0 |  |  | 0 |  |  | 0 |  |  | 146.6454 |  |  | 0 |  |  | 146.6454
14 | Black Start |  | Line 9 | 0 |  |  | 0 |  |  | 0 |  |  | 4.2631 |  |  | 0 |  |  | 4.2631
15 | LSSi |  | Line 14 | 0 |  |  | 0 |  |  | 0 |  |  | 17.3047 |  |  | 0 |  |  | 17.3047
16 | DTS Operating Reserve Charge |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 168.2131 |  |  | 0 |  |  | 168.2131
17 | Transmission Constraint Rebalacing Charge |  | Line 16 | 0 |  |  | 0 |  |  | 0 |  |  | 0.1 | [5 empty] | 0.1
18 | Voltage Control (TMR) Charge |  | Line 10 | 0 |  |  | 0 |  |  | 5.2837 |  |  | 0 |  |  | 0 |  |  | 5.2837
19 | DTS Other System Support Services Charge
20 | Under Frequency Mitigation |  | Line 11 | 0 |  |  | 2.7905 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 2.7905
21 | Poplar Hill |  | Line 12 | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
22 | Reliability Services from BC |  | Line 15 | 0 |  |  | 2.8571 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 2.8571
23 | DTS OSS Services Charge |  |  | 0 |  |  | 5.6477 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 5.6477
24 | Total DTS Tariff |  |  | 883.0195 | 0 | 0 | 795.6691 | 0 | 0 | 116.724 | 0 | 0 | 168.3131 | 0 | 0 | 53.7287 | 0 | 0 | 2017.4544

## H-8 DTS Rate
Alberta Electric System Operator | [11 empty] | Table H-8
2018 ISO Tariff Application | [11 empty] | September 14, 2017
Appendix H — 2018 Rate Calculations
Demand Transmission Service Rate Calculation
|  |  |  | A | B | C | D | E | F | G | H | I
|  |  | Table C-7 | Costs, $ 000 000 |  |  | Billing Determinant |  | Rate
No. | Description |  | Reference | Wires | Non-Wires | Total | Quantity | Unit | Wires | Non-Wires | Total | Unit
1 | DTS Bulk System Charge
2 | Coincident Demand Charge |  | Lines 3, 7-10 | 826.0006 | 57.0189 | 883.0195 | 97697.5205 | MW-months | 8455 | 584 | 9038 | /MW
3 | Flat Usage Charge |  | Lines 3, 7-10 | 57.9301 | 3.9989 | 61.929 | 61303 | GWh | 0.94 | 0.07 | 1.01 | /MWh
4 | DTS Regional System Charge
5 | Billing Capacity Charge |  | Lines 4, 7-10 | 396.613 | 27.3782 | 423.9913 | 156984.3924 | MW-months | 2526 | 174 | 2701 | /MW
6 | Flat Usage Charge |  | Lines 4, 7-10 | 46.3142 | 3.1971 | 49.5113 | 61303 | GWh | 0.76 | 0.05 | 0.81 | /MWh
7 | DTS POD Charge (Note 1) | [11 empty] | PSC
8 | Customer Charge × SF |  | Lines 5, 7-10 | 50.2593 | 3.4694 | 53.7287 | 5308.963 | customer-months | 9467 | 653 | 10120 | /month | 7995
9 | Billing Capacity ≤ (7.5×SF) MW |  | Lines 5, 7-10 | 140.2458 | 9.6812 | 149.927 | 36498.3657 | MW-months | 3843 | 265 | 4108 | /MW | 3245
10 | BC > (7.5×SF) to ≤ (17×SF) MW |  | Lines 5, 7-10 | 83.0599 | 5.7336 | 88.7935 | 34526.0983 | MW-months | 2406 | 166 | 2572 | /MW | 2032
11 | BC > (17×SF) to ≤ (40×SF) MW |  | Lines 5, 7-10 | 72.4581 | 5.0018 | 77.4599 | 43063.6762 | MW-months | 1683 | 116 | 1799 | /MW | 1421
12 | Billing Capacity > (40×SF) MW |  | Lines 5, 7-10 | 46.6308 | 3.2189 | 49.8498 | 42896.2521 | MW-months | 1087 | 75 | 1162 | /MW | 1162
13 | DTS Operating Reserve Charge
14 | Varying Usage Charge (Note 2) |  | Line 16 | 168.2131 | 0 | 168.2131 | 61303 | GWh | 6.44% | 0% | 6.44% | × Pool Price
15 | DTS Transmission Constraint Rebalancing Charge
16 | Varying Usage Charge |  | Line 17 | 0.1 | 0 | 0.1 | 61303 | GWh | 0.002 | 0 | 0.002 | /MWh
17 | DTS Voltage Control (TMR) Charge
18 | Flat Usage Charge |  | Line 18 | 5.2837 | 0 | 5.2837 | 61303 | GWh | 0.09 | 0 | 0.09 | /MWh
19 | DTS Other System Support Services Charge
20 | Highest Metered Demand Charge |  | Line 22 | 5.6477 | 0 | 5.6477 | 122370.2552 | MW-months | 46 | 0 | 46 | /MW
21 | Total DTS Cost Recovery |  |  | 1898.7563 | 118.6981 | 2017.4544
Note: | 1. | “SF” refers to substation fraction; the charges provided in lines 8 to 12 are applied to billing capacity within the bounds defined as amounts multiplied by the substation fraction for
each Rate DTS customer
| 2. | The 2017 ISO Tariff Update pool price is the same as the 2016 BRP forecast pool price, $42.58/MWh

## H-9 STS Classification
Alberta Electric System Operator | [14 empty] | Table H-9
2018 ISO Tariff Application | [14 empty] | September 14, 2017
Appendix H — 2018 Rate Calculations
Supply Transmission Service Costs Classified to Demand and Usage
|  |  |  | A | B | C | D | E | F | G |  | H | I | J | K
|  |  |  | STS | Classification to Rate Component
|  |  |  | Amount | Coincident Demand |  | Non-Coincident Dem’d |  | Flat Usage |  |  | Varying Usage |  | Customer
Line No. | Description |  | [Table C-5] $ 000 000 |  | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000 |  | Allocator % | Amount $ 000 000 | Allocator % | Amount $ 000 000
1 | Wires
2 | Bulk System |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
3 | Regional System |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
4 | Point of Delivery |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
5 | Total Wires |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
6 | Ancillary Services
7 | Operating Reserves |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
8 | Other Ancillary Services
9 |  | Black Start |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
10 |  | Transmission Must Run (TMR) |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
11 |  | Under Frequency Mitigation |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
12 |  | Poplar Hill |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
13 |  | ILRAS |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
14 |  | LSSi |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 | 0 | 0% | 0 | 0% | 0
15 | Total Ancillary Services |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
16 | Losses |  |  | 96.8 | 0% | 0 | 0% | 0 | 0% | 0 |  | 100% | 96.8 | 0% | 0
17 | Other Industry |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
18 | General and Administrative |  |  | 0 | 0% | 0 | 0% | 0 | 0% | 0 |  | 0% | 0 | 0% | 0
19 | Total Revenue Requirement |  |  | 96.8 | 0% | 0 | 0% | 0 | 0% | 0 |  | 100% | 96.8 | 0% | 0
20 | STS Tariff Revenue Offsets |  |  | -3.714 | 0% | 0 | 0% | 0 | 0% | 0 |  | 100% | -3.714 | 0% | 0
21 | RGU Connection Costs |  |  | 4.3697 | 0% | 0 | 100% | 4.3697 | 0% | 0 |  | 0% | 0 | 0% | 0
22 | Net DTS Revenue Requirement |  |  | 97.4557 | 0% | 0 | 4.484% | 4.3697 | 0% | 0 |  | 95.52% | 93.086 | 0% | 0

## H-10 STS Rate
Alberta Electric System Operator | [10 empty] | Table H-10
2018 ISO Tariff Application | [10 empty] | September 14, 2017
Appendix H — 2018 Rate Calculations
Supply Transmission Service Rate Calculation
|  |  | A | B | C | D | E | F | G | H | I
Line |  | Table C-9 | Costs, $ 000 000 |  |  | Billing Determinant |  | Rate
| Description | Reference | Losses | Other | Total | Quantity | Unit | Losses | Other | Total | Unit
1 | STS Losses Charge (Notes 1 and 2)
2 | Losses Charge | Lines 16, 20 | 96.8 | -3.714 | 93.086 | 61303 | GWh | 3.71% | -0.14% | 3.57% | × Pool Price
3 | RGU Connection Costs (Note 3)
4 | RGU Connection Costs | Line 21 | 0 | 4.3697 | 4.3697 | 58262.4 | MW-months | 0 | 75 | 75 | /MW
5 | Total STS Cost Recovery |  | 96.8 | 0.6557 | 97.4557
Notes: | 1. The 2018 ISO Tariff pool price is the sames as the 2017-2018 BRP forecast pool price for 2018, $42.58/MWh
2. Facility loss factors are determined by the AESO for each Rate STS market participant, and the value calculated is an illustrative average only
3. RGU (Regulated Generating Unit) Connection Costs charge is applicable only to regulated generating units as listed in Appendix A to the ISO Tariff

## H-11 Other Rates
Alberta Electric System Operator | [12 empty] | Table H-11
2018 ISO Tariff Application | [12 empty] | September 14, 2017
Appendix H — 2018 Rate Calculations
Opportunity Service Rate Calculations
|  | A | B | C | D | E | F | G | H | I | J | K | L
Line
| Component | Fixed | Usage | Total | Fixed | Usage | Total | Fixed | Usage | Total | Fixed | Usage | Total
1 | DTS Revenue Requirement |  | 2018 DTS Costs, $ 000 000 |  | 2018 DTS Rates, $/MWh
2 | Connection – Bulk System | 883.0195 | 61.929 | 944.9485 | 14.4042 | 1.0102 | 15.4144
3 | Connection – Regional System | 423.9913 | 49.5113 | 473.5025 | 6.9163 | 0.80765 | 7.724
4 | Connection – POD | 366.0302 | 0 | 366.0302 | 5.9708 | 0 | 5.9708
5 | Operating Reserve | 0 | 168.2131 | 168.2131 | 0 | 2.744 | 2.744
6 | Voltage Control | 0 | 5.2837 | 5.2837 | 0 | 0.08619 | 0.08619
7 | Other System Support | 5.6477 | 0 | 5.6477 | 0.092127 | 0 | 0.092127
8 | Total DTS Costs | 1678.6886 | 284.9371 | 1963.6257 | 27.3835 | 4.648 | 32.0315
9 | Demand Opportunity Service (DOS) Rates |  |  |  |  | DOS 7 Minutes, $/MWh |  |  | DOS 1 Hour, $/MWh |  |  | DOS Term, $/MWh
10 | Connection – Bulk System |  |  |  | 0 | 1.0102 | 1.0102 | 7.2021 | 1.0102 | 8.2123 | 14.4042 | 1.0102 | 15.4144
11 | Connection – Regional System |  |  |  | 0 | 0.80765 | 0.80765 | 3.4582 | 0.80765 | 4.2658 | 82.9959 | 0.80765 | 83.8035
12 | Connection – POD |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Operating Reserve |  |  |  | 0 | 2.744 | 2.744 | 0 | 2.744 | 2.744 | 0 | 2.744 | 2.744
14 | Voltage Control |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | Other System Support |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | Total DOS Costs |  |  |  | 0 | 4.5618 | 4.5618 | 10.6603 | 4.5618 | 15.2221 | 97.4 | 4.5618 | 101.9619
17 | Export Opportunity Service (XOS/XOM) Rates |  |  |  |  | XOS/XOM, $/MWh
18 | Connection – Bulk System |  |  |  | 2.8808 | 1.0102 | 3.891
19 | Connection – Regional System |  |  |  | 1.3833 | 0.80765 | 2.1909
20 | Connection – POD |  |  |  | 0 | 0 | 0
21 | Operating Reserve |  |  |  | 0 | 0.87807 | 0.87807
22 | Voltage Control |  |  |  | 0 | 0 | 0
23 | Other System Support |  |  |  | 0 | 0 | 0
24 | Total XOS Costs |  |  |  | 4.2641 | 2.6959 | 6.96

## H-12 Determinants
Alberta Electric System Operator | [5 empty] | Table H-12
2018 ISO Tariff Application | [5 empty] | September 14, 2017
Appendix H — 2018 Rate Calculations
2018 Billing Determinants
|  |  | A | B | C | D
Line |  |  | Rate DTS |  | Rate STS
| Determinant |  | Quantity | Unit | Quantity | Unit
1 | DTS Coincident Metered Demand |  | 97697.5205 | MW-months | —
2 | DTS Billing Capacity (Total) |  | 156984.3924 | MW-months | —
3 | DTS Billing Capacity up to (7.5×SF) MW |  | 36498.3657 | MW-months | —
4 | DTS Billing Capacity Greater Than (7.5×SF) MW up to (17×SF) MW |  | 34526.0983 | MW-months | —
5 | DTS Billing Capacity Greater Than (17×SF) MW up to (40×SF) MW |  | 43063.6762 | MW-months | —
6 | DTS Billing Capacity in Excess of (40×SF) MW |  | 42896.2521 | MW-months | —
7 | DTS Highest Monthly Metered Demands |  | 122370.2552 | MW-months | —
8 | Metered Energy (All Hours) |  | 61303 | GWh | 61303 | GWh
9 | DTS Market Participants (Equivalent) (Note 2) |  | 5308.963 | customer-months | —
10 | Pool Price (Note 3) |  | 42.58 | /MWh | 42.58 | /MWh
11 | RGU Maximum Continuous Rating (MCR) |  | — |  | 58262.4 | MW-months
Note: | 1. | DTS Billing Capacity within each tier is the sum over all Rate DTS market participants of the Rate DTS billing capacity within the
bounds defined as amounts multiplied by the substation fraction for each Rate DTS market participant
| 2. | DTS Market Participants (Equivalent) is the sum over all Rate DTS market participants of the substation fraction for each Rate DTS
market participant
| 3. | The 2018 ISO Tariff pool price as approved in the 2017-2018 BRP, $42.58/MWh

## H-13 Impact
Alberta Electric System Operator | [9 empty] | Table H-13
2018 ISO Tariff Application | [9 empty] | September 14, 2017
Appendix H — 2018 Rate Calculations
Rate Change Impact Compared to 2017 Approved Rates
|  |  | A | B | C | D | E | F | G | H
|  |  | 2017 Approved Rates |  |  | 2018 Proposed Rates |  |  | Increase (Decrease)
| Description |  | 2017 Rate | 2018 Determinant | Amount $ 000 000 | 2018 Rate | 2018 Determinant | Amount $ 000 000 | Amount $ 000 000 | Percent %
1 | DTS Tariff
2 | Connection Charge
3 |  | Bulk System Charge — Demand | 10670 | 97697.5205 | 1042.4325 | 9038 | 97697.5205 | 882.9902 | -159.4424 | -15.3%
4 |  | Bulk System Charge — Usage | 1.25 | 61303 | 76.6287 | 1.01 | 61303 | 61.916 | -14.7127 | -19.2%
5 |  | Regional System Charge — Demand | 2356 | 156984.3924 | 369.8552 | 2701 | 156984.3924 | 424.0148 | 54.1596 | 14.64%
6 |  | Regional System Charge — Usage | 0.87 | 61303 | 53.3336 | 0.81 | 61303 | 49.6554 | -3.6782 | -6.897%
7 |  | POD Charge — Customer × SF | 8789 | 5308.963 | 46.6605 | 10120 | 5308.963 | 53.7267 | 7.0662 | 15.14%
8 |  | POD — Demand ≤ (7.5×SF) MW | 3559 | 36498.3657 | 129.8977 | 4108 | 36498.3657 | 149.9353 | 20.0376 | 15.43%
9 |  | POD — Demand > (7.5×SF) to ≤ (17×SF) MW | 2229 | 34526.0983 | 76.9587 | 2572 | 34526.0983 | 88.8011 | 11.8425 | 15.39%
10 |  | POD — Demand > (17×SF) to ≤ (40×SF) MW | 1555 | 43063.6762 | 66.964 | 1799 | 43063.6762 | 77.4716 | 10.5075 | 15.69%
11 |  | POD — Demand > (40×SF) MW | 1007 | 42896.2521 | 43.1965 | 1162 | 42896.2521 | 49.8454 | 6.6489 | 15.39%
12 |  | Total Connection Charge | — | — | 1905.9275 | — | — | 1838.3566 | -67.5709 | -3.545%
13 | Operating Reserve Charge — % of PP |  | 6.99% | 61303 | 182.4587 | 6.44% | 61303 | 168.1021 | -14.3565 | -7.868%
14 | Transmission Constraint Rebalacing Charge — Usage |  | 0.07 | 61303 | 4.2912 | 0.002 | 61303 | 0.12261 | -4.1686 | -97.14%
15 | Voltage Control Charge — Usage |  | 0.07 | 61303 | 4.2912 | 0.09 | 61303 | 5.5173 | 1.2261 | 28.57%
16 | OSS Service Charge — Demand |  | 46 | 122370.2552 | 5.629 | 46 | 122370.2552 | 5.629 | 0 | 0%
17 | Total DTS Tariff |  |  |  | 2102.5977 |  |  | 2017.7277 | -84.87 | -4.036%
18 | STS Tariff
19 | Losses Charge — % of PP |  | 4.22% | 61303 | 110.1539 | 3.57% | 61303 | 93.1871 | -16.9668 | -15.4%
20 | RGU Connection Costs — Demand |  | 95 | 58262.4 | 5.5349 | 75 | 58262.4 | 4.3697 | -1.1652 | -21.05%
21 | Total STS Tariff |  |  |  | 115.6888 |  |  | 97.5567 | -18.1321 | -15.67%
22 | Total DTS and STS Tariffs |  |  |  | 2218.2865 |  |  | 2115.2844 | -103.0021 | -4.643%
Notes: | 1. | “SF” refers to substation fraction; the tiers provided in lines 7 through 11 are within bounds defined by amounts multiplied by the substation fraction for each Rate DTS
market participant
| 2. | The 2018 ISO Tariff pool price foreast is approved in the 2017-2018 BRP, $42.58/MWh
| 3. | 2017 rates (Column A) are as approved in the AUC Decision 22093-D02-2017, issued on April 4, 2017

## H-14 FTS Rate
Alberta Electric System Operator | [9 empty] | Table H-14
2018 ISO Tariff Application | [9 empty] | September 14, 2017
Appendix H — 2018 Rate Calculations
Fort Nelson Demand Transmission Service Rate Calculation
|  |  |  | A | B |  | C | D |  | E
Line |  |  | Table C-8 | Rate |  |  | Billing Determinant |  |  | Revenue
| Description |  | Reference | Amount | Unit |  | Quantity | Unit |  | $ 000
1 | FTS Bulk System Charge
2 | Coincident Demand Charge |  | Line 2 | 9038 | /MW |  | 34.4 | MW-months |  | 310.9072
3 | Flat Usage Charge |  | Line 3 | 1.01 | /MWh |  | 20.9531 | GWh |  | 21.1626
4 | FTS Regional System Charge
5 | Non-Coincident Demand Charge |  | Note 1 | 2701 | /MW |  | 415.8 | MW-months |  | 1123.0758
6 | Flat Usage charge |  | Note 1 | 0.81 | /MWh |  | 20.9531 | GWh |  | 16.972
7 | FTS Operating Reserve Charge
8 | Varying Usage Charge |  | Line 14 | 6.44% | × Pool Price (Note 2) |  | 20.9531 | GWh |  | 57.4566
9 | FTS Transmission Constraint Rebalancing Charge
10 | Varying Usage Charge |  | Line 16 | 0.002 | /MWh |  | 20.9531 | GWh |  | 0.041906
11 | FTS Voltage Control (TMR) Charge
12 | Flat Usage Charge |  | Line 18 | 0.09 | /MWh |  | 20.9531 | GWh |  | 1.8858
13 | FTS Other System Support Services Charge
14 | Highest Metered Demand Charge |  | Line 20 | 46 | /MW |  | 74.1249 | MW-months |  | 3.4097
15 | Total FTS Cost Recovery | [8 empty] | 1534.9117
Notes: | 1. | Direction 7 of Decision 2005-096 established the Fort Nelson local system charge to be “the greater of the postage stamp rate for local wires
costs or the actual cost of the AE line providing service to Fort Nelson.” Based on the Rate DTS Regional System Charge from Table D-6:
|  | DTS Regional System Wires Demand Charge |  | 2526 | /MW | × | 415.8 | MW-months | = | 1050310.8
|  | DTS Regional System Wires Usage Charge |  | 0.76 | /MWh | × | 20.9531 | GWh | = | 15924.356
|  | Total postage stamp rate for regional wires costs | [7 empty] | 1066235.156
The actual cost of the AE line providing service to Fort Nelson, as provided in Information Response BCH.AESO-005 in the AESO’s 2005-2006
GTA, is $410,139 per year. Rate DTS therefore determines the Rate FTS Regional System Charge (in conjunction with non-wires costs from
Table 5-6):
|  |  |  | Wires | Non-Wires |  | Total | Units
|  | FTS Regional System Demand Charge |  | 2526 | 174 |  | 2701 | /MW
|  | FTS Regional System Usage Charge |  | 0.76 | 0.05 |  | 0.81 | /MWh
| 2. | The 2018 ISO Tariff pool price foreast is as approved in the 2017-2018 BRP, $42.58/MWh

## H-15 FTS Determinants
Alberta Electric System Operator |  |  | Table H-15
2018 ISO Tariff Application |  |  | September 14, 2017
Appendix H — 2018 Rate Calculations
2018 Fort Nelson Billing Determinants
|  | A | B
Line |  | Rate FTS
| Determinant | Quantity | Unit
1 | FTS Coincident Metered Demand | 34.4 | MW-months
2 | FTS Billing Capacity | 415.8 | MW-months
3 | Metered Energy (All Hours) | 20.9531 | GWh
4 | Pool Price (Note) | 42.58 | /MWh
Note: | The 2018 ISO Tariff pool price is as approved in the 2017-2018 BRP, $42.58/MWh

## H-16 Bill Estimator
Alberta Electric System Operator | [6 empty] | Table H-16
2018 ISO Tariff Application | [6 empty] | September 14, 2017
Appendix H — 2018 Rate Calculations
Bill Impact Estimator
Name: | Name |  |  |  |  | ID: | Account ID
2017 and 2018 BILL ESTIMATES (MONTHLY)
Description |  |  |  |  | DTS | Commodity | Total
(1) | Approved AESO 2017 Rates |  |  |  | 319104.89 | 404084.2 | 723189.09
(2) | Proposed AESO 2018 Rates |  |  |  | 305438.9 | 404084.2 | 709523.1
(3) | Increase (Decrease) |  |  |  | -13665.99 | 0 | -13665.99
(4) | Percentage Increase (Decrease) |  |  |  | -4.283% | 0% | -1.89%
INPUTS
Billing Determinants |  |  |  | Units | DTS
(a) | Contract Capacity |  |  | MW | 20
(b) | Highest Metered Demand in Billing Period |  |  | MW | 20
(c) | Coincidence Factor with 15-minute system peak |  |  | % | 75%
(d) | Coincident Metered Demand |  |  | MW | 15
(e) | Highest Metered Demand in previous 24 months |  |  | MW | 22
(f) | Billing Capacity (highest of 90% × (a), (b), or 90% × (e)) |  |  | MW | 20
(g) | Load Factor |  |  | % | 65%
(h) | Hours in Month |  |  | hours | 730
(i) | Metered Energy |  |  | MWh | 9490
(j) | Substation Fraction |  |  |  | 1
(k) | Pool Price |  |  | $/MWh | 42.58
Notes: | Billing determinant values should be entered above only in cells indicated with yellow shading and red text. All other values are calculated.
Coincidence Factor in (c) is the percentage of Highest Metered Demand in (b) which is on-line at the time of system peak.
Load Factor in (g) is average demand during the month as a percentage of Highest Metered Demand during the month.
Impacts of Primary Service Credit, Deferral Account Adjustment Rider C, and other credits and riders are not included.
For additional definitions see Demand Transmission Service Rate DTS in the tariff posted on the AESO web site.
This calculator provides estimates only. Actual AESO bills are based on hourly settlement information rather than monthly averages.
For confirmation of billing information or for questions relating to an actual AESO bill, please contact the AESO.
In the event of differences between this workbook and the AESO’s approved tariff, the approved tariff prevails.
DTS BILL PER PROPOSED AESO 2018 RATES
Rate Component |  |  | Rate Level |  | Determinant |  | Amount
Connection Charge
(1) | Bulk System charge
(1)(a) | Coincident Metered Demand |  | 9038 | /MW | 15 | MW | 135570
(1)(b) | Metered Energy |  | 1.01 | /MWh | 9490 | MWh | 9584.9
(2) | Regional System Charge
(2)(a) | Billing Capacity |  | 2701 | /MW | 20 | MW | 54020
(2)(b) | Metered Energy |  | 0.81 | /MWh | 9490 | MWh | 7686.9
(3) | Point of Delivery Charge
(3)(a) | Substation × Substation Fraction |  | 10120 | /month | 1 |  | 10120
(3)(b) | First (7.5 × Sub Fraction) MW of Billing Capacity |  | 4108 | /MW | 7.5 | MW | 30810
(3)(c) | Next (9.5 × Sub Fraction) MW of Billing Capacity |  | 2572 | /MWh | 9.5 | MWh | 24434
(3)(d) | Next (23 × Sub Fraction) MW of Billing Capacity |  | 1799 | /month | 3 | MW | 5397
(3)(e) | All Remaining MW of Billing Capacity | ≤ 5 MW | 1162 | /MW | 0 | MW | 0
Operating Reserve Charge
(4) | Metered Energy × Pool Price |  | 6.44% | × Pool Price | 9490 | MWh | 26023.02
Transmission Constraint Rebalancing Charge
(5) | Metered Energy |  | 0.002 | /MWh | 9490 | MWh | 18.98
Voltage Control Charge
(6) | Metered Energy |  | 0.09 | /MWh | 9490 | MWh | 854.1
Other System Support Services Charge
(7) | Highest Metered Demand |  | 46 | /MW | 20 | MW | 920
Total DTS Bill Estimate | [5 empty] | Monthly: | 305438.9
[6 empty] | Annual: | 3665266.8
DTS BILL PER APPROVED 2017 RATES
Rate Component |  |  | Rate Level |  | Determinant |  | Amount
Connection Charge
(1) | Bulk System Charge
(1)(a) | Coincident Metered Demand |  | 10670 | /MW | 15 | MW | 160050
(1)(b) | Metered Energy |  | 1.25 | /MWh | 9490 | MWh | 11862.5
(2) | Local System Charge
(2)(a) | Billing Capacity |  | 2356 | /MW | 20 | MW | 47120
(2)(b) | Metered Energy |  | 0.87 | /MWh | 9490 | MWh | 8256.3
(3) | Point of Delivery Charge
(3)(a) | Substation × Substation Fraction |  | 8789 | /month | 1 |  | 8789
(3)(b) | First (7.5 × Sub Fraction) MW of Billing Capacity |  | 3559 | /MW | 7.5 | MW | 26692.5
(3)(c) | Next (9.5 × Sub Fraction) MW of Billing Capacity |  | 2229 | /MW | 9.5 | MW | 21175.5
(3)(d) | Next (23 × Sub Fraction) MW of Billing Capacity |  | 1555 | /MW | 3 | MW | 4665
(3)(e) | All Remaining MW of Billing Capacity |  | 1007 | /MW | 0 | MW | 0
Operating Reserve Charge
(3) | Metered Energy × Pool Price |  | 6.99% | × Pool Price | 9490 | MWh | 28245.49
Transmission Constraint Rebalancing Charge
(4) | Metered Energy |  | 0.07 | /MWh | 9490 | MWh | 664.3
Voltage Control Charge
(5) | Metered Energy |  | 0.07 | /MWh | 9490 | MWh | 664.3
Other System Support Services Charge
(6) | Highest Metered Demand |  | 46 | /MW | 20 | MW | 920
Total DTS Bill Estimate | [5 empty] | Monthly: | 319104.89
[6 empty] | Annual: | 3829258.68