## Information
This bill impact tool is not authoritative and is for information purposes only and intended to provide guidance. In the event of any discrepancy between this tool and any authoritative document1 in effect, the authoritative document governs.
1 Purpose
This bill impact tool is intended to allow ratepayers to assess historical annual impact with respect to the AESO's preferred bulk and regional tariff rate design ("Preferred Rate Design") described in the AESO's Bulk and Regional Tariff Design Stakeholder Engagement Session 5 published on March 18, 2021 and presented in the corresponding AESO's Stakeholder Session 5 on March 25, 2021.
The purpose of this bill impact tool is to allow a market participant to estimate the annual historical charges for system access service under the AESO's Preferred Rate Design, including Rate DTS, Demand Transmission Service, and Rate PSC, Primary Service Credit.
The calculations in this bill impact tool provide estimated charges under the Preferred Rate Design only. The AESO calculates certain actual charges on an hourly basis rather than on average annual amounts, and actual charges under any future tariff design may differ from the estimated amounts presented in this bill impact tool.
2 Current Design and Preferred Rate Design Rate Calculations
Current Design (Test Year 2019) and Preferred Rate Design (Test Year Future) rates are calculated using actual 2019 billing detemrinants for all sites and 2019 revenue requirement. The rates only differ by changing the functionalizaiton and classification from current approved in the 2021 ISO tariff to the preferred rate design.
3 Completing the Individual Site Bill Impact Tool
This section describes how a market participant may complete the bill impact tool to estimate and compare annual charges (based on historical load information) for system access service under the existing 2021 ISO Tariff bulk and regional tariff design and under the AESO's Preferred Rate Design.
Initial Steps
Paste single site annual billing determinants on cell "A2" of the 'Site Data Input' tab.
This summary data can be provided by the AESO (in coordination with the DFO if necessary)
In the Technical Information Session on March 31, 2021, the AESO will provide examples and a detailed walk through of the bill impact tool.
The information included in the 'Site Data Input' tab will allow calculations on the 'Annual Summary' tab and will provide annual summary of bill impact resulting from the preferred rate design.
Adjusting Input Data
The 'Adjust Load Profile' tab provides the opportunity to override historical load profile or billing determinant
information.
For assistance with this tool and Site Data Input data, please contact the AESO at: |  | tariffdesign@aeso.ca
Attachments
Annual Summary - Summary of bill impact by year
Adjust Load Profile - Allow ratepayers to override input values to assess impact
Site Data Input - Tab to allow annual billing or load profile information by year
Revision History
Date | Description
2021-03-18 | v 0.1 - Initial release with draft Test Year 2019 values
2021-03-22 | v 0.2 - Fixed to work with all Excel versions and Contract Capacity to pull appropriate year selected (not just 2019)
2021-03-30 | v 0.3 - Fixed to ensure adjusted load profile data aligned with results from 'Adjust Load Profile' data
2021-04-06 | v 0.4 - Fixed to pull actual annual average pool price into 'Adjust Load Profile' tab
1 “Authoritative document” is the general name given by the AESO to categories of documents made by the AESO
under the authority of the Electric Utilities Act and associated regulations, and that contain binding legal requirements for
either market participants or the AESO, or both. Authoritative documents include: the ISO rules, the reliability standards
and the ISO tariff.
Individual Site Bill Impact Tool

## Annual Summary
Market Participant: | DFO
Site Description: | Sample Site
Account ID: | 1000XXXXX
Date: | 2021-04-06
Threshold for targeted mitigation engagement*:
2019 Load Profile Year: | No
2017-2020 Average: | No
*Sites with greater than 10% impact (estimated transmission
costs) will be invited to targeted mitigation engagement
Estimated Transmission Costs
Load Profile Year | Contract Capacity (MW) | Annual Billing Capacity (MW) | Annual Coincident Peak (MW) | Coincidence Factor (%) | Annual Energy (MWh) | Load Factor (%) | Estimated Current Rate Design ($) | Estimated Preferred Rate Design ($) | Estimated Impact ($) | Estimated Impact (%)
2016 | 43.4 | 468.72 | 299.6945 | 83.7% | 237024.7712 | 90.43% | 6635891.4489 | 7016289.3775 | 380397.9286 | 5.732%
2017 | 43.4 | 468.72 | 315.4844 | 79.49% | 261944.0189 | 90.41% | 6965784.733 | 7480936.733 | 515151.9999 | 7.395%
2018 | 43.4 | 468.72 | 321.4507 | 82.39% | 251907.243 | 88.44% | 7674997.072 | 8085250.847 | 410253.775 | 5.345%
2019 | 43.4 | 468.72 | 246.9978 | 73.28% | 207359.7508 | 84.27% | 6353886.6159 | 6713092.8434 | 359206.2275 | 5.653%
2020 | 43.4 | 468.72 | 214.2986 | 67.91% | 199592.5594 | 86.41% | 5883626.0232 | 6314912.593 | 431286.5698 | 7.33%
Average (2017 - 2020) | [6 empty] | 6719573.611 | 7148548.2541 | 428974.6431 | 6.384%
Adjusted Load Profile - 2019 | 43.4 | 468.72 | 246.9978 | 73.28% | 207359.7508 | 84.27% | 6353886.6159 | 6713092.7792 | 359206.1633 | 5.653%
Estimated Total Bill (Includes energy settlement costs)
Load Profile Year | [6 empty] | Estimated Current Rate Design ($) | Estimated Preferred Rate Design ($) | Estimated Impact ($) | Estimated Impact (%)
2016 | [6 empty] | 10977762.2208 | 11358160.1494 | 380397.9286 | 3.465%
2017 | [6 empty] | 12727994.3954 | 13243146.3953 | 515151.9999 | 4.047%
2018 | [6 empty] | 19718430.5032 | 20128684.2783 | 410253.775 | 2.081%
2019 | [6 empty] | 17110779.7235 | 17469985.951 | 359206.2275 | 2.099%
2020 | [6 empty] | 14844783.1831 | 15276069.7529 | 431286.5698 | 2.905%
Average (2017 - 2020) | [6 empty] | 16100496.9513 | 16529471.5944 | 428974.6431 | 2.664%
Adjusted Load Profile - 2019 | [6 empty] | 17110779.7235 | 17469985.8868 | 359206.1633 | 2.099%

## Adjust Load Profile
Market Participant: |  | DFO | [7 empty] | Estimated Total Bill Impact |  |  |  | 2.099%
Site Description: |  | Sample Site | [7 empty] | Estimated Transmission Costs Impact |  |  |  | 5.653%
Account: |  | 1000XXXXX
Date: |  | 2021-04-06
[8 empty] | Tariff: | Test Year 2019 |  |  |  | Tariff: | Test Year Future
[13 empty] | Load Consumption Profile Year: | 2019
Overrides
| Billing Quantity |  |  |  | Factor | Monthly Average | Applicable Volumes |  |  | Factor | Monthly Average | Applicable Volumes
| (a) | Substation fraction (SF) |  |  |  |  | 1 |  |  |  |  | 1
| (b) | Rate PSC Applicable |  |  |  |  | No |  |  |  |  | No
| (c) | Highest metered demand |  |  |  | 28.0892 | 337.07 | MW |  |  |  | 337.07 | MW
| (d) | Average coincident metered demand |  |  | 73.28% | 20.5832 | 246.9978 | MW |  | 73.28% |  | 246.9978 | MW
| (e) | Contract Capacity |  |  |  | 43.4 | 43.4 | MW |  |  |  | 43.4 | MW
| (f) | Metered energy |  |  | 84.27% | 17279.9792 | 207359.7508 | MWh |  |  |  | 207359.7508 | MWh
| (g) | Billing capacity |  |  |  | 39.06 | 468.72 | MW |  |  |  | 468.72 | MW
| (h) | % of pool price for operating reserve charge |  |  |  |  | 6.448% |  |  |  |  | 6.448%
| (i) | Apparent power factor difference |  |  |  |  | 0 | MVA |  |  |  | 0 | MVA
| (k) | Site Average Pool Price on Energy Settlement |  |  |  |  | 51.8755 | /MWh |  |  |  | 51.8755 | /MWh
| (l) | Annual Average Pool Price |  |  |  |  | 54.88 | /MWh |  |  |  | 54.88 | /MWh
Rate or Rider Component |  |  |  |  | Rate |  | Volume |  | Amount | Rate |  | Volume |  | Amount
Rate DTS: Demand Transmission Service | [9 empty] | Rate DTS: Demand Transmission Service
Connection Charge
Bulk System Charge
3(a) | Coincident metered demand |  |  |  | 10087 | /MW/month | 246.9978 | MW | 2491467.0932 | 5980 | /MW/month | 246.9978 | MW | 1477047.0127
Regional System Charge
3(b) | Billing capacity |  |  |  | 2668 | /MW/month | 468.72 | MW | 1250544.96 | 2055 | /MW/month | 468.72 | MW | 963219.6
Energy Charge
3(c) | Metered energy |  |  |  | 2.18 | /MWh | 207359.7508 | MWh | 452044.2567 | 10.19 | /MWh | 207359.7508 | MWh | 2112995.8605
Point of Delivery Charge
3(e) | Substation fraction |  |  |  | 11278 | /month | 1 |  | 135336 | 11278 | /month | 1 |  | 135336
3(f) | First (7.5 × SF) MW of billing capacity |  |  |  | 4566 | /MW/month | 7.5 | MW | 410940 | 4566 | /MW/month | 7.5 | MW | 410940
3(g) | Next (9.5 × SF) MW of billing capacity |  |  |  | 2860 | /MW/month | 9.5 | MW | 326040 | 2860 | /MW/month | 9.5 | MW | 326040
3(h) | Next (23 × SF) MW of billing capacity |  |  |  | 1995 | /MW/month | 22.06 | MW | 528116.4 | 1995 | /MW/month | 22.06 | MW | 528116.4
3(i) | All remaining MW of billing capacity |  |  |  | 1292 | /MW/month | 0 | MW | 0 | 1292 | /MW/month | 0 | MW | 0
Total Wires | [8 empty] | 5594488.7099 | Total Wires |  |  |  | 5953694.8732
Operating Reserve Charge Estimate
4 | Metered energy |  | pool price | 6.448% | 54.88 | /MWh | 207359.7508 | MWh | 733732.94 | 54.88 | /MWh | 207359.7508 | MWh | 733732.94
Transmission Constraint Rebalancing Charge Estimate
5 | Metered energy |  |  |  | 0.002 | /MWh | 207359.7508 | MW | 414.7195 | 0.002 | /MWh | 207359.7508 | MWh | 414.7195
Voltage Control Charge
6 | Metered energy |  |  |  | 0.06 | /MWh | 207359.7508 | MWh | 12441.585 | 0.06 | /MWh | 207359.7508 | MWh | 12441.585
Other System Support Services Charge
7(a) | Highest metered demand |  |  |  | 38 | /MW/month | 337.07 | MW | 12808.6614 | 38 | /MW/month | 337.07 | MW | 12808.6614
7(b) | Apparent power difference |  |  |  | 400 | /MVA/month | 0 | MVA | 0 | 400 | /MVA/month | 0 | MVA | 0
Total Rate DTS | [8 empty] | 6353886.6159 | Total Rate DTS |  |  |  | 6713092.7792
Rate Primary Service Credit
| Substation fraction |  |  |  | -8910 | /month | 1 |  | 0 | -8910 | /month | 1 |  | 0
| First (7.5 × SF) MW of billing capacity |  |  |  | -3607 | /MW/month | 7.5 | MWh | 0 | -3607 | /MW/month | 7.5 | MWh | 0
| Next (9.5 × SF) MW of billing capacity |  |  |  | -2259 | /MW/month | 9.5 | MWh | 0 | -2259 | /MW/month | 9.5 | MWh | 0
| Next (23 × SF) MW of billing capacity |  |  |  | -1576 | /MW/month | 22.06 | MWh | 0 | -1576 | /MW/month | 22.06 | MWh | 0
| All remaining MW of billing capacity |  |  |  | -1292 | /MW/month | 0 | MWh | 0 | -1292 | /MW/month | 0 | MWh | 0
Total Rate PSC Credit | [8 empty] | 0 | Total Rate PSC Credit |  |  |  | 0
Transmission Costs | [8 empty] | 6353886.6159 | Transmission Costs |  |  |  | 6713092.7792
[10 empty] | Transmission Costs Impact |  |  |  | 5.653%
Energy Market Settlement | [8 empty] | 10756893.1076 | Energy Market Settlement |  | 207359.7508 | MWh | 10756893.1076
Total Bill | [8 empty] | 17110779.7235 | Total Bill |  |  |  | 17469985.8868
[10 empty] | Total Bill Impact |  |  |  | 2.099%

## Site Data Input
Year | Market Participant | Site Description | Account_ID | Substation Fraction | Rate PSC (Yes/No) | CONTRACT CAPACITY (MW) | ENERGY (MWh) | CMD (MW) | BILLING CAPACITY (MW) | MAX HMD (MW) | ACTUAL HMD (MW) | Energy Settlement ($) | Operating Reserve Charges ($) | Transmission Constraint Reblancing Charge ($) | Voltage Control Charges ($) | Other System Support Services Charge ($) | Power Factor Deficiency Charge ($)
2016 | DFO | Sample Site | 1000XXXXX | 1 | No | 43.4 | 237024.7712 | 299.6945 | 468.72 | 33.5943 | 358.0573 | 4341870.7719 | 416880.25 | 27.66 | 12370.7657 | 14538.5385 | 0
2017 | DFO | Sample Site | 1000XXXXX | 1 | No | 43.4 | 261944.0189 | 315.4844 | 468.72 | 37.9762 | 396.8866 | 5762209.6623 | 530156.34 | 47.5 | 16603.8709 | 16297.2813 | 0
2018 | DFO | Sample Site | 1000XXXXX | 1 | No | 43.4 | 251907.243 | 321.4507 | 468.72 | 35.1201 | 390.1628 | 12043433.4312 | 1201944.47 | 123.77 | 20529.8599 | 16251.9903 | 0
2019 | DFO | Sample Site | 1000XXXXX | 1 | No | 43.4 | 207359.7508 | 246.9978 | 468.72 | 33.2038 | 337.07 | 10756893.1076 | 733732.94 | 720.77 | 9388.5233 | 10988.1726 | 0
2020 | DFO | Sample Site | 1000XXXXX | 1 | No | 43.4 | 199592.5594 | 214.2986 | 468.72 | 29.2684 | 315.5658 | 8961157.1598 | 611540.37 | 1238.85 | 9036.8521 | 10287.1542 | 0
*Input annual data into Cell A2 for years 2016, 2017, 2018, 2019 and 2020

## Year 2020 (hidden)
Market Participant: |  | DFO | [7 empty] | Transmission Costs Impact |  |  |  | 7.33%
Site Description: |  | Sample Site
Account: |  | 1000XXXXX
Date: |  | 2021-04-06
[8 empty] | Tariff: | Test Year 2019 |  |  |  | Tariff: | Test Year Future
[13 empty] | Load Consumption Profile Year: | 2020
| Billing Quantity |  |  |  | Factor | Monthly Average | Annual Volumes |  |  |  | Monthly Average | Annual Volumes
| (a) | Substation fraction (SF) |  |  |  |  | 1 |  |  |  |  | 1
| (b) | Rate PSC Applicable |  |  |  |  | No |  |  |  |  | No
| (c) | Highest metered demand |  |  |  | 26.2971 | 315.5658 | MW |  |  |  | 315.5658 | MW
| (d) | Coincident metered demand |  |  | 67.91% | 17.8582 | 214.2986 | MW |  |  |  | 214.2986 | MW
| (e) | Contract Capacity |  |  |  | 43.4 | 43.4 | MW |  |  |  | 43.4 | MW
| (f) | Metered energy |  |  | 86.41% | 16632.7133 | 199592.5594 | MWh |  |  |  | 199592.5594 | MWh
| (g) | Billing capacity |  |  |  | 39.06 | 468.72 | MW |  |  |  | 468.72 | MW
| (h) | % of pool price for operating reserve charge |  |  |  |  | 6.558% |  |  |  |  | 6.558%
| (i) | Apparent power factor difference |  |  |  |  | 0 | MVA |  |  |  | 0 | MVA
| (j) | Site Average Pool Price on Energy Settlement |  |  |  |  | 44.8973 | /MWh |  |  |  | 44.8973 | /MWh
| (k) | Annual Average Pool Price |  |  |  |  | 46.72 | /MWh |  |  |  | 46.72 | /MWh
Rate or Rider Component |  |  |  |  | Rate |  | Volume |  | Amount | Rate |  | Volume |  | Amount
Rate DTS: Demand Transmission Service | [9 empty] | Rate DTS: Demand Transmission Service
Connection Charge
Bulk System Charge
3(a) | Coincident metered demand |  |  |  | 10087 | /MW/month | 214.2986 | MW | 2161630.2747 | 5980 | /MW/month | 214.2986 | MW | 1281505.8038
Regional System Charge
3(b) | Billing capacity |  |  |  | 2668 | /MW/month | 468.72 | MW | 1250544.96 | 2055 | /MW/month | 468.72 | MW | 963219.6
Energy Charge
3(c) | Metered energy |  |  |  | 2.18 | /MWh | 199592.5594 | MWh | 435111.7795 | 10.19 | /MWh | 199592.5594 | MWh | 2033848.1802
Point of Delivery Charge
3(e) | Substation fraction |  |  |  | 11278 | /month | 1 |  | 135336 | 11278 | /month | 1 |  | 135336
3(f) | First (7.5 × SF) MW of billing capacity |  |  |  | 4566 | /MW/month | 7.5 | MW | 410940 | 4566 | /MW/month | 7.5 | MW | 410940
3(g) | Next (9.5 × SF) MW of billing capacity |  |  |  | 2860 | /MW/month | 9.5 | MW | 326040 | 2860 | /MW/month | 9.5 | MW | 326040
3(h) | Next (23 × SF) MW of billing capacity |  |  |  | 1995 | /MW/month | 22.06 | MW | 528116.4 | 1995 | /MW/month | 22.06 | MW | 528116.4
3(i) | All remaining MW of billing capacity |  |  |  | 1292 | /MW/month | 0 | MW | 0 | 1292 | /MW/month | 0 | MW | 0
Total Wires | [8 empty] | 5247719.4142 | Total Wires |  |  |  | 5679005.984
Operating Reserve Charge Estimate
4 | Metered energy |  | pool price | 6.558% | 46.72 | /MWh | 199592.5594 | MWh | 611540.37 | 46.72 | /MWh | 199592.5594 | MWh | 611540.37
Transmission Constraint Rebalancing Charge Estimate
5 | Metered energy |  |  |  | 0.002 | /MWh | 199592.5594 | MWh | 399.1851 | 0.002 | /MWh | 199592.5594 | MWh | 399.1851
Voltage Control Charge
6 | Metered energy |  |  |  | 0.06 | /MWh | 199592.5594 | MWh | 11975.5536 | 0.06 | /MWh | 199592.5594 | MWh | 11975.5536
Other System Support Services Charge
7(a) | Highest metered demand |  |  |  | 38 | /MW/month | 315.5658 | MW | 11991.5004 | 38 | /MW/month | 315.5658 | MW | 11991.5004
7(b) | Apparent power difference |  |  |  | 400 | /MVA/month | 0 | MVA | 0 | 400 | /MVA/month | 0 | MVA | 0
Total Rate DTS | [8 empty] | 5883626.0232 | Total Rate DTS |  |  |  | 6314912.593
Rate Primary Service Credit
| Substation fraction |  |  |  | -8910 | /month | 1 |  | 0 | -8910 | /month | 1 |  | 0
| First (7.5 × SF) MW of billing capacity |  |  |  | -3607 | /MW/month | 7.5 | MWh | 0 | -3607 | /MW/month | 7.5 | MWh | 0
| Next (9.5 × SF) MW of billing capacity |  |  |  | -2259 | /MW/month | 9.5 | MWh | 0 | -2259 | /MW/month | 9.5 | MWh | 0
| Next (23 × SF) MW of billing capacity |  |  |  | -1576 | /MW/month | 22.06 | MWh | 0 | -1576 | /MW/month | 22.06 | MWh | 0
| All remaining MW of billing capacity |  |  |  | -1292 | /MW/month | 0 | MWh | 0 | -1292 | /MW/month | 0 | MWh | 0
Total Rate PSC Credit | [8 empty] | 0 | Total Rate PSC Credit |  |  |  | 0
Transmission Costs | [8 empty] | 5883626.0232 | Transmission Costs |  |  |  | 6314912.593
[10 empty] | Transmission Costs Impact |  |  |  | 7.33%
Energy Market Settlement | [8 empty] | 8961157.1598 | Energy Market Settlement |  | 199592.5594 | MWh | 8961157.1598
Total Bill | [8 empty] | 14844783.1831 | Total Bill |  |  |  | 15276069.7529
[10 empty] | Total Bill Impact |  |  |  | 2.905%

## Year 2019 (hidden)
Market Participant: |  | DFO | [7 empty] | Total Transmission Bill Impact |  |  |  | 5.653%
Site Description: |  | Sample Site
Account: |  | 1000XXXXX
Date: |  | 2021-04-06
[8 empty] | Tariff: | Test Year 2019 |  |  |  | Tariff: | Test Year Future
[13 empty] | Load Consumption Profile Year: | 2019
Monthly Average
| Billing Quantity |  |  |  | Factor | Monthly Average | Annual Volumes |  |  | LF | Overrides | Annual Volumes
| (a) | Substation fraction (SF) |  |  |  |  | 1 |  |  |  |  | 1
| (b) | Rate PSC Applicable |  |  |  |  | No |  |  |  |  | No
| (c) | Highest metered demand |  |  |  | 28.0892 | 337.07 | MW |  |  |  | 337.07 | MW
| (d) | Coincident metered demand |  |  | 73.28% | 20.5832 | 246.9978 | MW |  |  |  | 246.9978 | MW
| (f) | Contract Capacity |  |  |  | 43.4 | 43.4 | MW |  |  |  | 43.4 | MW
| (g) | Metered energy |  |  | 84.27% | 17279.9792 | 207359.7508 | MWh |  |  |  | 207359.7508 | MWh
| (h) | Billing capacity |  |  |  | 39.06 | 468.72 | MW |  |  |  | 468.72 | MW
| (i) | % of pool price for operating reserve charge |  |  |  |  | 6.448% |  |  |  |  | 6.448%
| (j) | Apparent power factor difference |  |  |  |  | 0 | MVA |  |  |  | 0 | MVA
| (k) | Site Average Pool Price on Energy Settlement |  |  |  |  | 51.8755 | /MWh |  |  |  | 51.8755 | /MWh
| (l) | Annual Average Pool Price |  |  |  |  | 54.88 | /MWh |  |  |  | 54.88 | /MWh
Rate or Rider Component |  |  |  |  | Rate |  | Volume |  | Amount | Rate |  | Volume |  | Amount
Rate DTS: Demand Transmission Service | [9 empty] | Rate DTS: Demand Transmission Service
Connection Charge
Bulk System Charge
3(a) | Coincident metered demand |  |  |  | 10087 | /MW/month | 246.9978 | MW | 2491467.0932 | 5980 | /MW/month | 246.9978 | MW | 1477047.0127
Regional System Charge
3(b) | Billing capacity |  |  |  | 2668 | /MW/month | 468.72 | MW | 1250544.96 | 2055 | /MW/month | 468.72 | MW | 963219.6
Energy Charge
3(c) | Metered energy |  |  |  | 2.18 | /MWh | 207359.7508 | MWh | 452044.2567 | 10.19 | /MWh | 207359.7508 | MWh | 2112995.8605
Point of Delivery Charge
3(e) | Substation fraction |  |  |  | 11278 | /month | 1 |  | 135336 | 11278 | /month | 1 |  | 135336
3(f) | First (7.5 × SF) MW of billing capacity |  |  |  | 4566 | /MW/month | 7.5 | MW | 410940 | 4566 | /MW/month | 7.5 | MW | 410940
3(g) | Next (9.5 × SF) MW of billing capacity |  |  |  | 2860 | /MW/month | 9.5 | MW | 326040 | 2860 | /MW/month | 9.5 | MW | 326040
3(h) | Next (23 × SF) MW of billing capacity |  |  |  | 1995 | /MW/month | 22.06 | MW | 528116.4 | 1995 | /MW/month | 22.06 | MW | 528116.4
3(i) | All remaining MW of billing capacity |  |  |  | 1292 | /MW/month | 0 | MW | 0 | 1292 | /MW/month | 0 | MW | 0
Total Wires | [8 empty] | 5594488.7099 | Total Wires |  |  |  | 5953694.8732
[10 empty] | Wires Bill Impact: |  |  |  | 6.421%
Operating Reserve Charge Estimate
4 | Metered energy |  | pool price | 6.448% | 54.88 | /MWh | 207359.7508 | MWh | 733732.94 | 54.88 | /MWh | 207359.7508 | MWh | 733732.94
Transmission Constraint Rebalancing Charge Estimate
5 | Metered energy |  |  |  | 0.002 | /MWh | 207359.7508 | MWh | 414.7195 | 0.002 | /MWh | 207359.7508 | MWh | 414.7195
Voltage Control Charge
6 | Metered energy |  |  |  | 0.06 | /MWh | 207359.7508 | MWh | 12441.585 | 0.06 | /MWh | 207359.7508 | MWh | 12441.585
Other System Support Services Charge
7(a) | Highest metered demand |  |  |  | 38 | /MW/month | 337.07 | MW | 12808.6614 | 38 | /MW/month | 337.07 | MW | 12808.6614
7(b) | Apparent power difference |  |  |  | 400 | /MVA/month | 0 | MVA | 0 | 400 | /MVA/month | 0 | MVA | 0
Total Rate DTS | [8 empty] | 6353886.6159 | Total Rate DTS |  |  |  | 6713092.8434
Rate Primary Service Credit
| Substation fraction |  |  |  | -8910 | /month | 1 |  | 0 | -8910 | /month | 1 |  | 0
| First (7.5 × SF) MW of billing capacity |  |  |  | -3607 | /MW/month | 7.5 | MWh | 0 | -3607 | /MW/month | 7.5 | MWh | 0
| Next (9.5 × SF) MW of billing capacity |  |  |  | -2259 | /MW/month | 9.5 | MWh | 0 | -2259 | /MW/month | 9.5 | MWh | 0
| Next (23 × SF) MW of billing capacity |  |  |  | -1576 | /MW/month | 22.06 | MWh | 0 | -1576 | /MW/month | 22.06 | MWh | 0
| All remaining MW of billing capacity |  |  |  | -1292 | /MW/month | 0 | MWh | 0 | -1292 | /MW/month | 0 | MWh | 0
Total Rate PSC Credit | [8 empty] | 0 | Total Rate PSC Credit |  |  |  | 0
Transmission Costs | [8 empty] | 6353886.6159 | Transmission Costs |  |  |  | 6713092.8434
[10 empty] | Transmission Costs Impact |  |  |  | 5.653%
Energy Market Settlement | [8 empty] | 10756893.1076 | Energy Market Settlement |  | 207359.7508 | MWh | 10756893.1076
Total Bill | [8 empty] | 17110779.7235 | Total Bill |  |  |  | 17469985.951
[10 empty] | Total Bill Impact |  |  |  | 2.099%

## Year 2018 (hidden)
Market Participant: |  | DFO | [7 empty] | Total Transmission Bill Impact |  |  |  | 5.345%
Site Description: |  | Sample Site
Account: |  | 1000XXXXX
Date: |  | 2021-04-06
[8 empty] | Tariff: | Test Year 2019 |  |  |  | Tariff: | Test Year Future
[13 empty] | Load Consumption Profile Year: | 2018
Monthly Average
| Billing Quantity |  |  |  | Factor | Monthly Average | Annual Volumes |  |  | LF | Overrides | Annual Volumes
| (a) | Substation fraction (SF) |  |  |  |  | 1 |  |  |  |  | 1
| (b) | Rate PSC Applicable |  |  |  |  | No |  |  |  |  | No
| (c) | Highest metered demand |  |  |  | 32.5136 | 390.1628 | MW |  |  |  | 390.1628 | MW
| (d) | Coincident metered demand |  |  | 82.39% | 26.7876 | 321.4507 | MW |  |  |  | 321.4507 | MW
| (f) | Contract Capacity |  |  |  | 43.4 | 43.4 | MW |  |  |  | 43.4 | MW
| (g) | Metered energy |  |  | 88.44% | 20992.2703 | 251907.243 | MWh |  |  |  | 251907.243 | MWh
| (h) | Billing capacity |  |  |  | 39.06 | 468.72 | MW |  |  |  | 468.72 | MW
| (i) | % of pool price for operating reserve charge |  |  |  |  | 9.476% |  |  |  |  | 9.476%
| (j) | Apparent power factor difference |  |  |  |  | 0 | MVA |  |  |  | 0 | MVA
| (k) | Site Average Pool Price on Energy Settlement |  |  |  |  | 47.809 | /MWh |  |  |  | 47.809 | /MWh
| (l) | Annual Average Pool Price |  |  |  |  | 50.35 | /MWh |  |  |  | 50.35 | /MWh
Rate or Rider Component |  |  |  |  | Rate |  | Volume |  | Amount | Rate |  | Volume |  | Amount
Rate DTS: Demand Transmission Service | [9 empty] | Rate DTS: Demand Transmission Service
Connection Charge
Bulk System Charge
3(a) | Coincident metered demand |  |  |  | 10087 | /MW/month | 321.4507 | MW | 3242473.0153 | 5980 | /MW/month | 321.4507 | MW | 1922275.0701
Regional System Charge
3(b) | Billing capacity |  |  |  | 2668 | /MW/month | 468.72 | MW | 1250544.96 | 2055 | /MW/month | 468.72 | MW | 963219.6
Energy Charge
3(c) | Metered energy |  |  |  | 2.18 | /MWh | 251907.243 | MWh | 549157.7898 | 10.19 | /MWh | 251907.243 | MWh | 2566934.8064
Point of Delivery Charge
3(e) | Substation fraction |  |  |  | 11278 | /month | 1 |  | 135336 | 11278 | /month | 1 |  | 135336
3(f) | First (7.5 × SF) MW of billing capacity |  |  |  | 4566 | /MW/month | 7.5 | MW | 410940 | 4566 | /MW/month | 7.5 | MW | 410940
3(g) | Next (9.5 × SF) MW of billing capacity |  |  |  | 2860 | /MW/month | 9.5 | MW | 326040 | 2860 | /MW/month | 9.5 | MW | 326040
3(h) | Next (23 × SF) MW of billing capacity |  |  |  | 1995 | /MW/month | 22.06 | MW | 528116.4 | 1995 | /MW/month | 22.06 | MW | 528116.4
3(i) | All remaining MW of billing capacity |  |  |  | 1292 | /MW/month | 0 | MW | 0 | 1292 | /MW/month | 0 | MW | 0
Total Wires | [8 empty] | 6442608.1651 | Total Wires |  |  |  | 6852861.8764
[10 empty] | Wires Bill Impact: |  |  |  | 6.368%
Operating Reserve Charge Estimate
4 | Metered energy |  | pool price | 9.476% | 50.35 | /MWh | 251907.243 | MWh | 1201944.47 | 50.35 | /MWh | 251907.243 | MWh | 1201944.47
Transmission Constraint Rebalancing Charge Estimate
5 | Metered energy |  |  |  | 0.002 | /MWh | 251907.243 | MWh | 503.8145 | 0.002 | /MWh | 251907.243 | MWh | 503.8145
Voltage Control Charge
6 | Metered energy |  |  |  | 0.06 | /MWh | 251907.243 | MWh | 15114.4346 | 0.06 | /MWh | 251907.243 | MWh | 15114.4346
Other System Support Services Charge
7(a) | Highest metered demand |  |  |  | 38 | /MW/month | 390.1628 | MW | 14826.1878 | 38 | /MW/month | 390.1628 | MW | 14826.1878
7(b) | Apparent power difference |  |  |  | 400 | /MVA/month | 0 | MVA | 0 | 400 | /MVA/month | 0 | MVA | 0
Total Rate DTS | [8 empty] | 7674997.072 | Total Rate DTS |  |  |  | 8085250.847
Rate Primary Service Credit
| Substation fraction |  |  |  | -8910 | /month | 1 |  | 0 | -8910 | /month | 1 |  | 0
| First (7.5 × SF) MW of billing capacity |  |  |  | -3607 | /MW/month | 7.5 | MWh | 0 | -3607 | /MW/month | 7.5 | MWh | 0
| Next (9.5 × SF) MW of billing capacity |  |  |  | -2259 | /MW/month | 9.5 | MWh | 0 | -2259 | /MW/month | 9.5 | MWh | 0
| Next (23 × SF) MW of billing capacity |  |  |  | -1576 | /MW/month | 22.06 | MWh | 0 | -1576 | /MW/month | 22.06 | MWh | 0
| All remaining MW of billing capacity |  |  |  | -1292 | /MW/month | 0 | MWh | 0 | -1292 | /MW/month | 0 | MWh | 0
Total Rate PSC Credit | [8 empty] | 0 | Total Rate PSC Credit |  |  |  | 0
Transmission Costs | [8 empty] | 7674997.072 | Transmission Costs |  |  |  | 8085250.847
[10 empty] | Transmission Costs Impact |  |  |  | 5.345%
Energy Market Settlement | [8 empty] | 12043433.4312 | Energy Market Settlement |  | 251907.243 | MWh | 12043433.4312
Total Bill | [8 empty] | 19718430.5032 | Total Bill |  |  |  | 20128684.2783
[10 empty] | Total Bill Impact |  |  |  | 2.081%

## Year 2017 (hidden)
Market Participant: |  | DFO | [7 empty] | Total Transmission Bill Impact |  |  |  | 7.395%
Site Description: |  | Sample Site
Account: |  | 1000XXXXX
Date: |  | 2021-04-06
[8 empty] | Tariff: | Test Year 2019 |  |  |  | Tariff: | Test Year Future
[13 empty] | Load Consumption Profile Year: | 2017
| Billing Quantity |  |  |  | Factor | Monthly Average | Annual Volumes |  |  |  |  | Annual Volumes
| (a) | Substation fraction (SF) |  |  |  |  | 1 |  |  |  |  | 1
| (b) | Rate PSC Applicable |  |  |  |  | No |  |  |  |  | No
| (c) | Highest metered demand |  |  |  | 33.0739 | 396.8866 | MW |  |  |  | 396.8866 | MW
| (d) | Coincident metered demand |  |  | 79.49% | 26.2904 | 315.4844 | MW |  |  |  | 315.4844 | MW
| (f) | Contract Capacity |  |  |  | 43.4 | 43.4 | MW |  |  |  | 43.4 | MW
| (g) | Metered energy |  |  | 90.41% | 21828.6682 | 261944.0189 | MWh |  |  |  | 261944.0189 | MWh
| (h) | Billing capacity |  |  |  | 39.06 | 468.72 | MW |  |  |  | 468.72 | MW
| (i) | % of pool price for operating reserve charge |  |  |  |  | 9.121% |  |  |  |  | 9.121%
| (j) | Apparent power factor difference |  |  |  |  | 0 | MVA |  |  |  | 0 | MVA
| (k) | Site Average Pool Price on Energy Settlement |  |  |  |  | 21.9979 | /MWh |  |  |  | 21.9979 | /MWh
| (l) | Annual Average Pool Price |  |  |  |  | 22.19 | /MWh |  |  |  | 22.19 | /MWh
Rate or Rider Component |  |  |  |  | Rate |  | Volume |  | Amount | Rate |  | Volume |  | Amount
Rate DTS: Demand Transmission Service | [9 empty] | Rate DTS: Demand Transmission Service
Connection Charge
Bulk System Charge
3(a) | Coincident metered demand |  |  |  | 10087 | /MW/month | 315.4844 | MW | 3182290.851 | 5980 | /MW/month | 315.4844 | MW | 1886596.539
Regional System Charge
3(b) | Billing capacity |  |  |  | 2668 | /MW/month | 468.72 | MW | 1250544.96 | 2055 | /MW/month | 468.72 | MW | 963219.6
Energy Charge
3(c) | Metered energy |  |  |  | 2.18 | /MWh | 261944.0189 | MWh | 571037.9612 | 10.19 | /MWh | 261944.0189 | MWh | 2669209.5527
Point of Delivery Charge
3(e) | Substation fraction |  |  |  | 11278 | /month | 1 |  | 135336 | 11278 | /month | 1 |  | 135336
3(f) | First (7.5 × SF) MW of billing capacity |  |  |  | 4566 | /MW/month | 7.5 | MW | 410940 | 4566 | /MW/month | 7.5 | MW | 410940
3(g) | Next (9.5 × SF) MW of billing capacity |  |  |  | 2860 | /MW/month | 9.5 | MW | 326040 | 2860 | /MW/month | 9.5 | MW | 326040
3(h) | Next (23 × SF) MW of billing capacity |  |  |  | 1995 | /MW/month | 22.06 | MW | 528116.4 | 1995 | /MW/month | 22.06 | MW | 528116.4
3(i) | All remaining MW of billing capacity |  |  |  | 1292 | /MW/month | 0 | MW | 0 | 1292 | /MW/month | 0 | MW | 0
Total Wires | [8 empty] | 6404306.1722 | Total Wires |  |  |  | 6919458.0917
[10 empty] | Wires Bill Impact: |  |  |  | 8.044%
Operating Reserve Charge Estimate
4 | Metered energy |  | pool price | 9.121% | 22.19 | /MWh | 261944.0189 | MWh | 530156.34 | 22.19 | /MWh | 261944.0189 | MWh | 530156.34
Transmission Constraint Rebalancing Charge Estimate
5 | Metered energy |  |  |  | 0.002 | /MWh | 261944.0189 | MWh | 523.888 | 0.002 | /MWh | 261944.0189 | MWh | 523.888
Voltage Control Charge
6 | Metered energy |  |  |  | 0.06 | /MWh | 261944.0189 | MWh | 15716.6411 | 0.06 | /MWh | 261944.0189 | MWh | 15716.6411
Other System Support Services Charge
7(a) | Highest metered demand |  |  |  | 38 | /MW/month | 396.8866 | MW | 15081.6916 | 38 | /MW/month | 396.8866 | MW | 15081.6916
7(b) | Apparent power difference |  |  |  | 400 | /MVA/month | 0 | MVA | 0 | 400 | /MVA/month | 0 | MVA | 0
Total Rate DTS | [8 empty] | 6965784.733 | Total Rate DTS |  |  |  | 7480936.733
Rate Primary Service Credit
| Substation fraction |  |  |  | -8910 | /month | 1 |  | 0 | -8910 | /month | 1 |  | 0
| First (7.5 × SF) MW of billing capacity |  |  |  | -3607 | /MW/month | 7.5 | MWh | 0 | -3607 | /MW/month | 7.5 | MWh | 0
| Next (9.5 × SF) MW of billing capacity |  |  |  | -2259 | /MW/month | 9.5 | MWh | 0 | -2259 | /MW/month | 9.5 | MWh | 0
| Next (23 × SF) MW of billing capacity |  |  |  | -1576 | /MW/month | 22.06 | MWh | 0 | -1576 | /MW/month | 22.06 | MWh | 0
| All remaining MW of billing capacity |  |  |  | -1292 | /MW/month | 0 | MWh | 0 | -1292 | /MW/month | 0 | MWh | 0
Total Rate PSC Credit | [8 empty] | 0 | Total Rate PSC Credit |  |  |  | 0
Transmission Costs | [8 empty] | 6965784.733 | Transmission Costs |  |  |  | 7480936.733
[10 empty] | Transmission Costs Impact |  |  |  | 7.395%
Energy Market Settlement | [8 empty] | 5762209.6623 | Energy Market Settlement |  | 261944.0189 | MWh | 5762209.6623
Total Bill | [8 empty] | 12727994.3954 | Total Bill |  |  |  | 13243146.3953
[10 empty] | Total Bill Impact |  |  |  | 4.047%

## Year 2016 (hidden)
Market Participant: |  | DFO | [7 empty] | Total Transmission Bill Impact |  |  |  | 5.732%
Site Description: |  | Sample Site
Account: |  | 1000XXXXX
Date: |  | 2021-04-06
[8 empty] | Tariff: | Test Year 2019 |  |  |  | Tariff: | Test Year Future
[13 empty] | Load Consumption Profile Year: | 2016
| Billing Quantity |  |  |  | Factor | Monthly Average | Annual Volumes |  |  |  |  | Annual Volumes
| (a) | Substation fraction (SF) |  |  |  |  | 1 |  |  |  |  | 1
| (b) | Rate PSC Applicable |  |  |  |  | No |  |  |  |  | No
| (c) | Highest metered demand |  |  |  | 29.8381 | 358.0573 | MW |  |  |  | 358.0573 | MW
| (d) | Coincident metered demand |  |  | 83.7% | 24.9745 | 299.6945 | MW |  |  |  | 299.6945 | MW
| (f) | Contract Capacity |  |  |  | 43.4 | 43.4 | MW |  |  |  | 43.4 | MW
| (g) | Metered energy |  |  | 90.43% | 19752.0643 | 237024.7712 | MWh |  |  |  | 237024.7712 | MWh
| (h) | Billing capacity |  |  |  | 39.06 | 468.72 | MW |  |  |  | 468.72 | MW
| (i) | % of pool price for operating reserve charge |  |  |  |  | 9.621% |  |  |  |  | 9.621%
| (j) | Apparent power factor difference |  |  |  |  | 0 | MVA |  |  |  | 0 | MVA
| (k) | Site Average Pool Price on Energy Settlement |  |  |  |  | 18.3182 | /MWh |  |  |  | 18.3182 | /MWh
| (l) | Annual Average Pool Price |  |  |  |  | 18.28 | /MWh |  |  |  | 18.28 | /MWh
Rate or Rider Component |  |  |  |  | Rate |  | Volume |  | Amount | Rate |  | Volume |  | Amount
Rate DTS: Demand Transmission Service | [9 empty] | Rate DTS: Demand Transmission Service
Connection Charge
Bulk System Charge
3(a) | Coincident metered demand |  |  |  | 10087 | /MW/month | 299.6945 | MW | 3023018.1233 | 5980 | /MW/month | 299.6945 | MW | 1792172.9332
Regional System Charge
3(b) | Billing capacity |  |  |  | 2668 | /MW/month | 468.72 | MW | 1250544.96 | 2055 | /MW/month | 468.72 | MW | 963219.6
Energy Charge
3(c) | Metered energy |  |  |  | 2.18 | /MWh | 237024.7712 | MWh | 516714.0012 | 10.19 | /MWh | 237024.7712 | MWh | 2415282.4184
Point of Delivery Charge
3(e) | Substation fraction |  |  |  | 11278 | /month | 1 |  | 135336 | 11278 | /month | 1 |  | 135336
3(f) | First (7.5 × SF) MW of billing capacity |  |  |  | 4566 | /MW/month | 7.5 | MW | 410940 | 4566 | /MW/month | 7.5 | MW | 410940
3(g) | Next (9.5 × SF) MW of billing capacity |  |  |  | 2860 | /MW/month | 9.5 | MW | 326040 | 2860 | /MW/month | 9.5 | MW | 326040
3(h) | Next (23 × SF) MW of billing capacity |  |  |  | 1995 | /MW/month | 22.06 | MW | 528116.4 | 1995 | /MW/month | 22.06 | MW | 528116.4
3(i) | All remaining MW of billing capacity |  |  |  | 1292 | /MW/month | 0 | MW | 0 | 1292 | /MW/month | 0 | MW | 0
Total Wires | [8 empty] | 6190709.4844 | Total Wires |  |  |  | 6571107.3516
[10 empty] | Wires Bill Impact: |  |  |  | 6.145%
Operating Reserve Charge Estimate
4 | Metered energy |  | pool price | 9.621% | 18.28 | /MWh | 237024.7712 | MWh | 416880.25 | 18.28 | /MWh | 237024.7712 | MWh | 416880.25
Transmission Constraint Rebalancing Charge Estimate
5 | Metered energy |  |  |  | 0.002 | /MWh | 237024.7712 | MWh | 474.0495 | 0.002 | /MWh | 237024.7712 | MWh | 474.0495
Voltage Control Charge
6 | Metered energy |  |  |  | 0.06 | /MWh | 237024.7712 | MWh | 14221.4863 | 0.06 | /MWh | 237024.7712 | MWh | 14221.4863
Other System Support Services Charge
7(a) | Highest metered demand |  |  |  | 38 | /MW/month | 358.0573 | MW | 13606.1786 | 38 | /MW/month | 358.0573 | MW | 13606.1786
7(b) | Apparent power difference |  |  |  | 400 | /MVA/month | 0 | MVA | 0 | 400 | /MVA/month | 0 | MVA | 0
Total Rate DTS | [8 empty] | 6635891.4489 | Total Rate DTS |  |  |  | 7016289.3775
Rate Primary Service Credit
| Substation fraction |  |  |  | -8910 | /month | 1 |  | 0 | -8910 | /month | 1 |  | 0
| First (7.5 × SF) MW of billing capacity |  |  |  | -3607 | /MW/month | 7.5 | MWh | 0 | -3607 | /MW/month | 7.5 | MWh | 0
| Next (9.5 × SF) MW of billing capacity |  |  |  | -2259 | /MW/month | 9.5 | MWh | 0 | -2259 | /MW/month | 9.5 | MWh | 0
| Next (23 × SF) MW of billing capacity |  |  |  | -1576 | /MW/month | 22.06 | MWh | 0 | -1576 | /MW/month | 22.06 | MWh | 0
| All remaining MW of billing capacity |  |  |  | -1292 | /MW/month | 0 | MWh | 0 | -1292 | /MW/month | 0 | MWh | 0
Total Rate PSC Credit | [8 empty] | 0 | Total Rate PSC Credit |  |  |  | 0
Transmission Costs | [8 empty] | 6635891.4489 | Transmission Costs |  |  |  | 7016289.3775
[10 empty] | Transmission Costs Impact |  |  |  | 5.732%
Energy Market Settlement | [8 empty] | 4341870.7719 | Energy Market Settlement |  | 237024.7712 | MWh | 4341870.7719
Total Bill | [8 empty] | 10977762.2208 | Total Bill |  |  |  | 11358160.1494
[10 empty] | Total Bill Impact |  |  |  | 3.465%

## Lookup (hidden)
| Tariff | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Test Year 2019 | Test Year Future
| Effective On | 2016-01-01 | 2016-04-01 | 2017-01-01 | 2018-01-01 | 2019-01-01 | 2020-04-01 | 2021-01-01
| End Date | 2016-03-31 | 2016-12-31 | 2017-12-31 | 2018-12-31 | 2020-03-31 | 2020-12-31 | Current
Bulk System Charge | Coincident metered demand | 9305 | 10175 | 10670 | 10177 | 10524 | 10814 | 11085 | 10087 | 5980
Bulk System Charge | metered energy | 1.09 | 1.17 | 1.25 | 1.2 | 1.26 | 1.13 | 1.22 | 0
Regional System Charge | Billing capacity | 2162 | 2333 | 2356 | 2281 | 2359 | 2799 | 2893 | 2668 | 2055
Regional System Charge | Metered Energy | 0.76 | 0.81 | 0.87 | 0.84 | 0.87 | 0.86 | 0.93 | 2.18 | 10.19
Rate DTS Charge | (e) Substation fraction (SF) | 7865 | 8604 | 8789 | 8635 | 9062 | 14291 | 14860 | 11278 | 11278
Rate DTS Charge | (f) First (7.5 × SF) MW of billing capacity | 3184 | 3484 | 3559 | 3496 | 3669 | 4703 | 4891 | 4566 | 4566
Rate DTS Charge | (g) Next (9.5 × SF) MW of billing capacity | 1994 | 2182 | 2229 | 2190 | 2298 | 2789 | 2900 | 2860 | 2860
Rate DTS Charge | (h) Next (23 × SF) MW of billing capacity | 1391 | 1522 | 1555 | 1527 | 1603 | 1867 | 1942 | 1995 | 1995
Rate DTS Charge | (i) All remaining MW of billing capacity | 901 | 986 | 1007 | 989 | 1038 | 1150 | 1195 | 1292 | 1292
Rate PSC Credit | (e) Substation fraction (SF) | -6213 | -6797 | -6943 | -6822 | -7159 | -11290 | -11739 | -8910 | -8910
Rate PSC Credit | (f) First (7.5 × SF) MW of billing capacity | -2515 | -2752 | -2812 | -2762 | -2899 | -3715 | -3864 | -3607 | -3607
Rate PSC Credit | (g) Next (9.5 × SF) MW of billing capacity | -1575 | -1724 | -1761 | -1730 | -1815 | -2203 | -2291 | -2259 | -2259
Rate PSC Credit | (h) Next (23 × SF) MW of billing capacity | -1099 | -1202 | -1228 | -1206 | -1266 | -1475 | -1534 | -1576 | -1576
Rate PSC Credit | (i) All remaining MW of billing capacity | -901 | -986 | -1007 | -989 | -1038 | -1150 | -1195 | -1292 | -1292
Operating Reserve Charge | Pool price (Actual) | 33.34 | 18.28 | 22.19 | 50.35 | 54.88 | 46.72 | 53.93 | 54.88 | 54.88
Operating Reserve Charge | Multiplier | 6.41% | 6.66% | 6.99% | 6.44% | 8.5% | 7.13% | 6.19% | 9.33% | 9.33%
Transmission Constraint Rebalancing Charge | Metered energy | 0 | 0.06 | 0.07 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002 | 0.002
Voltage Control Charge | Metered energy | 0.05 | 0.06 | 0.07 | 0.09 | 0.05 | 0.05 | 0.01 | 0.06 | 0.06
Other System Support Services Charge | Highest metered demand | 41 | 46 | 46 | 46 | 36 | 24 | 25 | 38 | 38
Other System Support Services Charge | Regulated Generating Unit Connection Cost | 149 | 122 | 95 | 75 | 45 | 15 | 0 | 45 | 45
Other System Support Services Charge | Apparent Power Difference | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400
Rider F | Rider F | -3.25 | -3.25 | 1.1 | 3.1 | 2.9 | 2.5 | 2.3 | 2.9 | 2.9
| Year | 2016-03-31: Hours
| 2020 | 2016-03-31: 8784
| 2019 | 2016-03-31: 8760
| 2018 | 2016-03-31: 8760
| 2017 | 2016-03-31: 8760
| 2016 | 2016-03-31: 8784