## Description
April 9th 2018 Technical Workgroup Meeting Requested Data
This workbook contains information presented in the "Preliminary Asset Specific Statistics" section of the April 9th 2018 technical workgroup presentation. (https://www.aeso.ca/assets/Uploads/TechnicalWorkgroup-2-April6-2018.pdf)
These calculations represent preliminary availability factor or capacity factor calculations by individual resources and as such are subject to change as the design and/or data get refined.
The preliminary calculations used metered volumes, available capability and maximum capability values as submitted by participants to the AESO
Ancillary service volumes and undispatched MW for capacity factor resources are not included in these calculations
Definitions for this analysis
Term | Definition
Supply Cushion | The difference between the dispatch level and undispatched MW based on the 30th minute snapshot
Capacity Interval | A season year between November and following October
Evaluation set | The set of top 100 hours in each capacity interval
Base Case | Evaluation set that uses 5 years historical data with 100 tightest hours in each capacity interval
Frontier | Evaluation set that uses 5 years historical data with 30 to 100 tightest hours in each capacity interval, with a maximum supply cushion of 500 MW
Description of data
Column name | Description
Generation technology | Technology types based on the current supply and demand page (http://ets.aeso.ca/ets_web/ip/Market/Reports/CSDReportServlet)
Generation Resource | Short name of the resource e.g. Battle River 3 will be denoted as BR3
Hours in evaluation set | For the base case, the available top 100 hours in a capacity interval, for a generation resource. Some generation resources may have less then the 100 hours in the dataset
Capacity (MW) | The Maximum Capability of the asset as submitted via the Energy Trading System (ETS)
Performance Factor (%) | Either the availability factor, or capacity factor for the generation resource, whichever is applicable
Qualified Capacity (MW) | Capacity * Performance Factor
Change in qualified capacity | The difference in qualified capacity between the two scenarios, base case and frontier

## UCAP by Capacity Resource
Generation Technology | Generation Resource | Base Case (100 observations per capacity interval) |  |  |  | Frontier (500 MW max; 30 to 100 observations per capacity interval) |  |  |  | Change in pre-qualified Capacity (MW)
|  | Hours in Evaluation Set | Capacity (MW) | Performance Factor | Pre-Qualified Capacity (MW) | Hours in Evaluation Set | Capacity (MW) | Performance Factor | Pre-Qualified Capacity (MW)
Coal | GN3 | 500 | 466 | 94.3% | 440 | 302 | 466 | 95.8% | 446 | 7
| SH1 | 500 | 400 | 89.7% | 359 | 302 | 400 | 90.2% | 361 | 2
| GN2 | 500 | 400 | 89.3% | 357 | 302 | 400 | 88.1% | 353 | -5
| KH3 | 500 | 463 | 72.9% | 337 | 302 | 463 | 68.9% | 319 | -18
| SH2 | 500 | 390 | 85.3% | 333 | 302 | 390 | 80.9% | 316 | -17
| BR5 | 500 | 385 | 83.5% | 322 | 302 | 385 | 86% | 331 | 9
| GN1 | 500 | 400 | 76.7% | 307 | 302 | 400 | 74.9% | 299 | -7
| SD4 | 500 | 406 | 72% | 292 | 302 | 406 | 74.3% | 302 | 9
| SD3 | 500 | 368 | 75.8% | 279 | 302 | 368 | 77.5% | 285 | 6
| SD6 | 500 | 401 | 69.3% | 278 | 302 | 401 | 64.4% | 258 | -19
| SD5 | 500 | 406 | 67.2% | 273 | 302 | 406 | 69.4% | 282 | 9
| KH2 | 500 | 395 | 68.2% | 270 | 302 | 395 | 68.6% | 271 | 2
| KH1 | 500 | 395 | 64.2% | 254 | 302 | 395 | 58.3% | 230 | -23
| SD2 | 500 | 280 | 60.8% | 170 | 302 | 280 | 50.8% | 142 | -28
| SD1 | 500 | 280 | 59.3% | 166 | 302 | 280 | 48% | 135 | -32
| BR4 | 500 | 155 | 85.6% | 133 | 302 | 155 | 87.9% | 136 | 4
| BR3 | 500 | 149 | 81.4% | 121 | 302 | 149 | 77.6% | 116 | -6
| HRM | 418 | 144 | 63% | 91 | 220 | 144 | 62.9% | 91 | 0
Coal |  |  | 6283 |  | 4780 |  | 6283 | 74.38% | 4673 | -107
Cogen | SUNCOR | 500 | 899 | 30.9% | 278 | 302 | 899 | 30.2% | 271 | -7
| JOF1 | 500 | 474 | 41% | 194 | 302 | 474 | 41.4% | 196 | 2
| MKRC | 500 | 205 | 73.4% | 150 | 302 | 205 | 70.1% | 144 | -7
| MEG1 | 500 | 202 | 54.3% | 110 | 302 | 202 | 54.3% | 110 | 0
| IMPOIL | 500 | 375 | 28.2% | 106 | 302 | 375 | 26.8% | 101 | -5
| DOWG | 500 | 326 | 28.1% | 91 | 302 | 326 | 27.2% | 89 | -3
| TC01 | 500 | 95 | 71.8% | 68 | 302 | 95 | 69.7% | 66 | -2
| BCRK | 500 | 64 | 78.6% | 50 | 302 | 64 | 79.9% | 51 | 1
| NX02 | 500 | 220 | 20.1% | 44 | 302 | 220 | 26.5% | 58 | 14
| BCR2 | 500 | 36 | 73.5% | 26 | 302 | 36 | 79.1% | 28 | 2
| RL1 | 500 | 47 | 54.2% | 25 | 302 | 47 | 45% | 21 | -4
| MKR1 | 500 | 202 | 9.5% | 19 | 302 | 202 | 8.2% | 17 | -3
| SCL1 | 500 | 510 | 3.3% | 17 | 302 | 510 | 3% | 15 | -2
| HMT1 | 500 | 45 | 33.1% | 15 | 302 | 45 | 37% | 17 | 2
| UOC1 | 500 | 12 | 85.5% | 10 | 302 | 12 | 86.7% | 10 | 0
| EC04 | 500 | 98 | 10.1% | 10 | 302 | 98 | 8.5% | 8 | -2
| TLM2 | 500 | 13 | 70% | 9 | 302 | 13 | 69.7% | 9 | 0
| CL01 | 167 | 101 | 7.5% | 8 | 122 | 101 | 10.3% | 10 | 3
| PEC1 | 300 | 16 | 34.9% | 6 | 170 | 16 | 22.5% | 4 | -2
| PW01 | 500 | 5 | 100% | 5 | 302 | 5 | 100% | 5 | 0
| TC02 | 500 | 46 | 10.1% | 5 | 302 | 46 | 9.5% | 4 | 0
| CNR5 | 500 | 203 | 2.2% | 4 | 302 | 203 | 2.4% | 5 | 0
| PR1 | 500 | 100 | 1.7% | 2 | 302 | 100 | 1.2% | 1 | -1
| CRG1 | 282 | 10 | 12% | 1 | 162 | 10 | 14% | 1 | 0
| FH1 | 71 | 199 | 0.2% | 0 | 71 | 199 | 0.2% | 0 | 0
| SHCG | 500 | 19 | 0.2% | 0 | 302 | 19 | 0.1% | 0 | 0
| IOR3 | 287 | 84 | 0% | 0 | 162 | 84 | 0% | 0 | 0
| SHELL | 500 | 291 | 0% | 0 | 302 | 291 | 0% | 0 | 0
| UOA1 | 500 | 39 | 0% | 0 | 302 | 39 | 0% | 0 | 0
Cogen |  |  | 4936 |  | 1255 |  | 4936 |  | 1243 | -12
CC | EC01 | 500 | 120 | 91.9% | 110 | 302 | 120 | 93.3% | 112 | 2
| NX01 | 500 | 120 | 78.8% | 95 | 302 | 120 | 77.6% | 93 | -1
| CAL1 | 500 | 320 | 75% | 240 | 302 | 320 | 79.6% | 255 | 15
| EGC1 | 270 | 860 | 74.9% | 645 | 159 | 860 | 76.2% | 655 | 11
| FNG1 | 500 | 73 | 19% | 14 | 302 | 73 | 20.6% | 15 | 1
| MEDHAT | 500 | 252 | 17.8% | 45 | 302 | 252 | 20.1% | 51 | 6
CC |  |  | 1761 |  | 1148 |  | 1761 |  | 1181 | 33
SC | DRW1 | 500 | 6 | 100% | 6 | 302 | 6 | 100% | 6 | 0
| NPC1 | 500 | 11 | 100% | 11 | 302 | 11 | 100% | 11 | 0
| NPC2 | 285 | 9 | 100% | 9 | 162 | 9 | 100% | 9 | 0
| ME04 | 500 | 6 | 99.8% | 6 | 302 | 6 | 99.7% | 6 | 0
| ME03 | 500 | 7 | 99.7% | 7 | 302 | 7 | 99.8% | 7 | 0
| ME02 | 500 | 8 | 98.4% | 8 | 302 | 8 | 100% | 8 | 0
| GEN5 | 368 | 15 | 94.4% | 14 | 195 | 15 | 93.4% | 14 | 0
| WCD1 | 287 | 20 | 90.1% | 18 | 162 | 20 | 95.2% | 19 | 1
| GEN6 | 356 | 15 | 88.7% | 13 | 195 | 15 | 85.9% | 13 | 0
| ALP1 | 500 | 7 | 88.4% | 6 | 302 | 7 | 87.2% | 6 | 0
| ENC2 | 500 | 101 | 85.4% | 86 | 302 | 101 | 84.8% | 86 | -1
| VVW2 | 500 | 50 | 85.3% | 43 | 302 | 50 | 82.9% | 41 | -1
| ENC3 | 500 | 101 | 83.5% | 84 | 302 | 101 | 83.9% | 85 | 0
| VVW1 | 500 | 50 | 81.9% | 41 | 302 | 50 | 78.3% | 39 | -2
| CRS2 | 500 | 48 | 80.4% | 39 | 302 | 48 | 81.1% | 39 | 0
| HSM1 | 269 | 6 | 78.9% | 5 | 158 | 6 | 71.7% | 4 | 0
| NPP1 | 500 | 105 | 78.1% | 82 | 302 | 105 | 77.3% | 81 | -1
| RB5 | 500 | 50 | 77.7% | 39 | 302 | 50 | 79.3% | 40 | 1
| CRS3 | 500 | 48 | 75.6% | 36 | 302 | 48 | 76.3% | 37 | 0
| CRS1 | 500 | 48 | 75.1% | 36 | 302 | 48 | 73% | 35 | -1
| NAT1 | 261 | 20 | 74.6% | 15 | 155 | 20 | 87.6% | 18 | 3
| ENC1 | 500 | 48 | 72.4% | 35 | 302 | 48 | 73.3% | 35 | 0
| PH1 | 500 | 48 | 70.4% | 34 | 302 | 48 | 70.1% | 34 | 0
| ALP2 | 500 | 10 | 63.2% | 6 | 302 | 10 | 64.2% | 6 | 0
| MFG1 | 269 | 16 | 39.3% | 6 | 158 | 16 | 23.5% | 4 | -3
| ANC1 | 376 | 63 | 11.5% | 7 | 195 | 63 | 16.7% | 11 | 3
SC |  |  | 1006 |  | 693 |  | 1006 |  | 693 | 0
Hydro | BIG | 500 | 120 | 83.3% | 100 | 302 | 120 | 89.6% | 107 | 7
| BOW1 | 500 | 320 | 69% | 221 | 302 | 320 | 67.5% | 216 | -5
| BRA | 500 | 350 | 93.3% | 326 | 302 | 350 | 90.5% | 317 | -10
| CHIN | 500 | 15 | 51.3% | 8 | 302 | 15 | 57.8% | 9 | 1
| DKSN | 500 | 15 | 50.4% | 8 | 302 | 15 | 49% | 7 | 0
| ICP1 | 500 | 7 | 60% | 4 | 302 | 7 | 66.1% | 5 | 0
| OMRH | 500 | 32 | 61.2% | 20 | 302 | 32 | 64.6% | 21 | 1
| RYMD | 500 | 21 | 57.4% | 12 | 302 | 21 | 60.2% | 13 | 1
| TAY1 | 500 | 14 | 53.2% | 7 | 302 | 14 | 60.3% | 8 | 1
Hydro |  |  | 894 |  | 706 |  | 894 |  | 703 | -3
Wind | BUL1 | 200 | 13 | 23.8% | 3 | 140 | 13 | 22.4% | 3 | 0
| BUL2 | 200 | 16 | 20.6% | 3 | 140 | 16 | 19.4% | 3 | 0
| SCR4 | 500 | 88 | 18.5% | 16 | 302 | 88 | 17% | 15 | -1
| HAL1 | 500 | 150 | 15% | 23 | 302 | 150 | 14.2% | 21 | -1
| NEP1 | 500 | 82 | 14.2% | 12 | 302 | 82 | 13.7% | 11 | 0
| BSR1 | 368 | 300 | 13% | 39 | 195 | 300 | 12.2% | 36 | -3
| CRR1 | 500 | 77 | 12% | 9 | 302 | 77 | 11.1% | 9 | -1
| CR1 | 500 | 39 | 11.9% | 5 | 302 | 39 | 10.6% | 4 | -1
| OWF1 | 365 | 46 | 11.2% | 5 | 195 | 46 | 11.4% | 5 | 0
| KHW1 | 500 | 63 | 10.7% | 7 | 302 | 63 | 10.9% | 7 | 0
| GWW1 | 500 | 71 | 10% | 7 | 302 | 71 | 9.5% | 7 | 0
| CRW1 | 500 | 20 | 9.5% | 2 | 302 | 20 | 8.7% | 2 | 0
| IEW1 | 500 | 66 | 8.3% | 5 | 302 | 66 | 8.5% | 6 | 0
| ARD1 | 500 | 68 | 8.2% | 6 | 302 | 68 | 7.6% | 5 | 0
| SCR2 | 500 | 30 | 8.1% | 2 | 302 | 30 | 7.5% | 2 | 0
| BTR1 | 500 | 66 | 7.9% | 5 | 302 | 66 | 7.7% | 5 | 0
| SCR3 | 500 | 30 | 7.8% | 2 | 302 | 30 | 7.3% | 2 | 0
| IEW2 | 500 | 66 | 7.7% | 5 | 302 | 66 | 7.9% | 5 | 0
| AKE1 | 500 | 73 | 7.3% | 5 | 302 | 73 | 7.1% | 5 | 0
| TAB1 | 500 | 81 | 6.7% | 5 | 302 | 81 | 6.2% | 5 | 0
Wind |  |  | 1445 |  | 167 |  | 1445 |  | 159 | -9
Other | EAGL | 500 | 25 | 86.7% | 22 | 302 | 25 | 80.1% | 20 | -2
| WST1 | 500 | 18 | 59.2% | 11 | 302 | 18 | 56.5% | 10 | 0
| DV1 | 399 | 11 | 58% | 6 | 202 | 11 | 66.5% | 7 | 1
| DAI1 | 500 | 52 | 36.1% | 19 | 302 | 52 | 35% | 18 | -1
| NRG3 | 428 | 16 | 27.1% | 4 | 230 | 16 | 35.3% | 6 | 1
| AFG1 | 500 | 131 | 25.3% | 33 | 302 | 131 | 24.4% | 32 | -1
| GPEC | 500 | 27 | 22% | 6 | 302 | 27 | 21.3% | 6 | 0
| WWD1 | 500 | 50 | 18% | 9 | 302 | 50 | 20.1% | 10 | 1
| WEY1 | 500 | 48 | 3.3% | 2 | 302 | 48 | 3.4% | 2 | 0
| GOC1 | 500 | 5 | 2.8% | 0 | 302 | 5 | 4.6% | 0 | 0
| SLP1 | 200 | 9 | 0.9% | 0 | 140 | 9 | 1.3% | 0 | 0
| WWD2 | 230 | 30 | 0% | 0 | 143 | 30 | 0% | 0 | 0
Other |  |  | 422 |  | 112 |  | 422 |  | 111 | -1
|  |  | 16747 |  | 8861 |  | 16747 |  | 8762 | -99