## EEA Events
Year | Count of Events | Month | Quarter | Start Date | End Date | Highest Level Declared | Comment(s)
2006 |  | July | Q3 | 2006-07-24 09:19 | 2006-07-24 11:10 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2006 |  | July | Q3 | 2006-07-24 11:10 | 2006-07-24 15:16 | EEA2 | Energy Emergency Alert 2 (Operating reserves are being used to supply energy requirements. Power service is maintained to all firm load customers.)
2006 |  | July | Q3 | 2006-07-24 15:16 | 2006-07-24 16:15 | EEA1 | Downgraded to Emergency Alert 1.
2006 |  | July | Q3 | 2006-07-24 16:15 | 2006-07-24 16:34 | EEA2 | Energy Emergency Alert 2 (Operating reserves are being used to supply energy requirements. Power service is maintained to all firm load customers.)
2006 | 1 | July | Q3 | 2006-07-24 16:34 | 2006-07-24 17:25 | EEA3 | Energy Emergency Alert 3 (Power service is interrupted for some firm load customers to maintain the minimum required regulating reserve and the integrity of the overall system.)
2006 |  | July | Q3 | 2006-07-24 17:25 | 2006-07-24 17:36 | EEA2 | Downgraded to Energy Emergency Alert 2.
2006 | 2 | September | Q3 | 2006-09-05 15:41 | 2006-09-05 17:33 | EEA1 | Emergency Energy Alert 1 requested from PNSC
2006 | 3 | October | Q4 | 2006-10-04 21:01 | 2006-10-04 22:18 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2006 | 4 | October | Q4 | 2006-10-05 07:01 | 2006-10-05 12:11 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2006 | 5 | October | Q4 | 2006-10-05 19:33 | 2006-10-05 21:31 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2006 | 6 | October | Q4 | 2006-10-09 20:40 | 2006-10-09 21:25 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2006 | 7 | November | Q4 | 2006-11-22 16:21 | 2006-11-22 18:20 | EEA1 | Energy Emergency Alert 1 issued for AIES.
2007 | 8 | July | Q3 | 2007-07-13 12:46 | 2007-07-13 13:43 | EEA1 | AESO requested PNSC to issue an EEA1 and they complied
2007 | 9 | July | Q3 | 2007-07-16 12:24 | 2007-07-16 18:21 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2007 | 10 | July | Q3 | 2007-07-17 14:27 | 2007-07-17 16:35 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2007 | 11 | July | Q3 | 2007-07-23 12:14 | 2007-07-23 14:58 | EEA1 | EEA1 issued for Alberta
2007 |  | July | Q3 | 2007-07-23 15:54 | 2007-07-23 16:28 | EEA1 | EEA1 issued for Alberta
2007 | 12 | July | Q3 | 2007-07-23 16:28 | 2007-07-23 16:34 | EEA2 | EEA2 issued for Alberta
2007 |  | July | Q3 | 2007-07-23 16:34 | 2007-07-23 19:09 | EEA1 | EEA2 cancelled. Back to EEA1
2008 | 13 | September | Q3 | 2008-09-16 14:20 | 2008-09-16 19:24 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2008 | 14 | September | Q3 | 2008-09-16 20:16 | 2008-09-16 20:54 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2008 | 15 | September | Q3 | 2008-09-30 13:13 | 2008-09-30 14:55 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2008 | 16 | October | Q4 | 2008-10-01 15:23 | 2008-10-01 17:25 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2008 | 17 | November | Q4 | 2008-11-04 17:20 | 2008-11-04 19:00 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2008 | 18 | December | Q4 | 2008-12-14 17:50 | 2008-12-14 18:44 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2008 | 19 | December | Q4 | 2008-12-18 17:52 | 2008-12-18 18:03 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2009 | 20 | January | Q1 | 2009-01-21 17:24 | 2009-01-21 18:36 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2009 | 21 | January | Q1 | 2009-01-23 07:59 | 2009-01-23 08:55 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2009 |  | September | Q3 | 2009-09-23 13:07 | 2009-09-23 13:40 | EEA1 | AIES in Energy Emergency Alert 1.
2009 | 22 | September | Q3 | 2009-09-23 13:40 | 2009-09-23 14:45 | EEA2 | AIES in Energy Emergency Alert 2.
2009 |  | September | Q3 | 2009-09-23 14:45 | 2009-09-23 16:31 | EEA1 | AIES in Energy Emergency Alert 1.
2010 | 23 | May | Q2 | 2010-05-17 10:51 | 2010-05-17 11:21 | EEA1 | EEA1 declared for AIES
2010 | 24 | May | Q2 | 2010-05-17 14:18 | 2010-05-17 18:08 | EEA1 | AIES in EEA1
2010 | 25 | May | Q2 | 2010-05-18 12:31 | 2010-05-18 17:04 | EEA1 | AIES in EEA1..EEA1 declared by VRC per AESO request..
2011 | 26 | January | Q1 | 2011-01-29 17:29 | 2011-01-29 18:37 | EEA1 | AIES in EEA1..AIES requested VRC to declare EEA1..
2011 | 27 | February | Q1 | 2011-02-16 18:17 | 2011-02-16 20:00 | EEA1 | Alberta is in Energy Emergency Alert 1 VRC notified, as well as BC, SPC and Alberta TFOs
2011 | 28 | June | Q2 | 2011-06-22 10:13 | 2011-06-22 12:16 | EEA1 | EEA1 asked for and declared from WECC RC for AESO.
2011 | 29 | June | Q2 | 2011-06-29 11:52 | 2011-06-29 12:18 | EEA1 | Energy Emergency Alert 1 issued Energy Emergency Alert 1 requested from WECC RC. Wecc RC complied with request.
2011 | 30 | September | Q3 | 2011-09-07 13:26 | 2011-09-07 17:12 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.) WECC RC contacted.
2011 | 31 | November | Q4 | 2011-11-07 17:23 | 2011-11-07 18:22 | EEA1 | AESO has declared an Energy Emergency Alert Level 1. (EEA1) Declaration as per Step 14 in OPP 801. WECC RC notified.
2011 | 32 | November | Q4 | 2011-11-08 17:12 | 2011-11-08 18:42 | EEA1 | AESO has declared an Energy Emergency Alert Level 1. (EEA1) Declaration as per Step 14 in OPP 801. WECC RC notified.
2011 | 33 | December | Q4 | 2011-12-14 16:57 | 2011-12-14 19:26 | EEA1 | Energy Emergency Alert 1 declared
2012 | 34 | January | Q1 | 2012-01-17 17:20 | 2012-01-17 19:28 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2012 | 35 | January | Q1 | 2012-01-18 17:44 | 2012-01-18 18:12 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2012 |  | July | Q3 | 2012-07-09 13:38 | 2012-07-09 14:11 | EEA1 | WECC declares; AIES in EEA1.
2012 | 36 | July | Q3 | 2012-07-09 14:11 | 2012-07-09 17:05 | EEA3 | WECC declares; AIES in EEA3.
2012 |  | July | Q3 | 2012-07-09 17:05 | 2012-07-09 17:42 | EEA2 | WECC declares; AIES in EEA2.
2012 |  | July | Q3 | 2012-07-09 17:42 | 2012-07-09 18:48 | EEA1 | WECC declares; AIES in EEA1.
2012 | 37 | November | Q4 | 2012-11-20 16:43 | 2012-11-20 18:15 | EEA1 | WECC declares; AIES in EEA1.
2013 | 38 | May | Q2 | 2013-05-04 09:41 | 2013-05-04 14:09 | EEA1 | WECC declares; AIES in EEA1 (supply shortfall), 4 thermal units offline
2013 | 39 | May | Q2 | 2013-05-09 14:51 | 2013-05-09 17:58 | EEA1 | WECC declares; AIES in EEA1 (supply shortfall), 4 thermal units offline
2013 | 40 | June | Q2 | 2013-06-28 10:28 | 2013-06-28 19:00 | EEA2 | WECC declares; AIES in EEA1 (supply shortfall), 4 thermal units offline
2013 | 41 | June | Q2 | 2013-06-29 11:08 | 2013-06-29 13:52 | EEA2 | WECC declares; AIES in EEA1 (supply shortfall), 4 thermal units offline
2013 | 42 | July | Q3 | 2013-07-02 11:22 | 2013-07-02 18:04 | EEA3 | WECC declares; AIES in EEA1 (supply shortfall), 201MW of firm load shed
2013 | 43 | September | Q3 | 2013-09-03 14:49 | 2013-09-03 18:05 | EEA1 | 1201L on scheduled maintenance, Sheerness offline, high load and temperatures
2013 | 44 | September | Q3 | 2013-09-04 12:47 | 2013-09-04 18:50 | EEA2 | 1201L on scheduled maintenance, Sask tie tripped, now wind and high temperatures
2013 | 45 | September | Q3 | 2013-09-05 13:41 | 2013-09-05 18:00 | EEA2 | 1201L on scheduled outage, high temperatures and demand, low wind and coal outages; Sask Power is short of reserves and is not supplying energy to AB
2014 |  | July | Q3 | 2014-07-30 10:36 | 2014-07-30 10:54 | EEA1 | AESO declares; AIES in EEA1
2014 | 46 | July | Q3 | 2014-07-30 10:54 | 2014-07-30 16:42 | EEA2 | AESO declares; AIES in EEA1
2017 |  | July | Q3 | 2017-07-26 16:00 | 2017-07-26 16:08 | EEA1 | EEA 1 Declared for the AIES
2017 | 47 | July | Q3 | 2017-07-26 16:08 | 2017-07-26 19:00 | EEA2 | EEA 2 Declared for the AIES