## Hourly vs 15min CMD
Date and Hour Ending (HE) Comparison | [7 empty] | MW Comparison
Year | Month | Hourly CMD (Day)1 | 15 Minute CMD (Day)2 | Hourly CMD (HE)1 | 15 Minute CMD (HE)2 | Difference HE | Difference Day | Year | Month | Hourly CMD (MW)1 | 15 Minute CMD (MW)2 | Difference MW
2016 | 9 | 1 | 1 | 13 | 12 | 1 | 0 | 2016 | 9 | 7255.171 | 7267.5992 | -12.4282
2016 | 10 | 24 | 24 | 10 | 10 | 0 | 0 | 2016 | 10 | 7472.332 | 7483.8602 | -11.5282
2016 | 11 | 28 | 29 | 18 | 18 | 0 | -1 | 2016 | 11 | 8108.447 | 8134.3783 | -25.9313
2016 | 12 | 16 | 16 | 18 | 18 | 0 | 0 | 2016 | 12 | 8628.7967 | 8643.5224 | -14.7257
2017 | 1 | 9 | 9 | 18 | 18 | 0 | 0 | 2017 | 1 | 8422.8122 | 8438.7183 | -15.9061
2017 | 2 | 7 | 6 | 19 | 18 | 1 | 1 | 2017 | 2 | 8157.8307 | 8195.7136 | -37.8828
2017 | 3 | 8 | 8 | 20 | 20 | 0 | 0 | 2017 | 3 | 7816.559 | 7837.334 | -20.775
2017 | 4 | 24 | 26 | 17 | 11 | 6 | -2 | 2017 | 4 | 7056.8469 | 7069.2594 | -12.4126
2017 | 5 | 31 | 31 | 17 | 17 | 0 | 0 | 2017 | 5 | 7584.636 | 7597.6574 | -13.0214
2017 | 6 | 26 | 26 | 16 | 16 | 0 | 0 | 2017 | 6 | 7742.383 | 7743.5521 | -1.1691
2017 | 7 | 27 | 27 | 16 | 16 | 0 | 0 | 2017 | 7 | 8091.622 | 8106.833 | -15.211
2017 | 8 | 28 | 28 | 17 | 17 | 0 | 0 | 2017 | 8 | 7864.8841 | 7881.1228 | -16.2388
2017 | 9 | 7 | 7 | 17 | 18 | -1 | 0 | 2017 | 9 | 7936.219 | 7961.8429 | -25.6239
2017 | 10 | 30 | 30 | 19 | 8 | 11 | 0 | 2017 | 10 | 7332.342 | 7383.823 | -51.481
2017 | 11 | 15 | 21 | 18 | 18 | 0 | -6 | 2017 | 11 | 8208.3762 | 8222.8474 | -14.4712
2017 | 12 | 28 | 28 | 18 | 18 | 0 | 0 | 2017 | 12 | 8382.153 | 8400.612 | -18.459
2018 | 1 | 11 | 11 | 18 | 18 | 0 | 0 | 2018 | 1 | 8643.2988 | 8664.302 | -21.0032
2018 | 2 | 5 | 5 | 19 | 18 | 1 | 0 | 2018 | 2 | 8333.161 | 8366.7082 | -33.5472
2018 | 3 | 5 | 5 | 20 | 19 | 1 | 0 | 2018 | 3 | 7877.157 | 7913.8967 | -36.7397
2018 | 4 | 5 | 5 | 9 | 9 | 0 | 0 | 2018 | 4 | 7540.739 | 7560.6823 | -19.9433
2018 | 5 | 28 | 28 | 17 | 17 | 0 | 0 | 2018 | 5 | 7776.82 | 7806.4303 | -29.6103
2018 | 6 | 25 | 25 | 15 | 15 | 0 | 0 | 2018 | 6 | 7899.49 | 7915.7011 | -16.2111
2018 | 7 | 17 | 17 | 17 | 17 | 0 | 0 | 2018 | 7 | 8303.7296 | 8318.1784 | -14.4487
2018 | 8 | 10 | 10 | 15 | 14 | 1 | 0 | 2018 | 8 | 8449.7223 | 8468.9837 | -19.2614
2018 | 9 | 14 | 14 | 14 | 13 | 1 | 0 | 2018 | 9 | 7319.6249 | 7340.0557 | -20.4308
2018 | 10 | 15 | 21 | 16 | 19 | -3 | -6 | 2018 | 10 | 7499.782 | 7519.5526 | -19.7706
2018 | 11 | 5 | 5 | 18 | 18 | 0 | 0 | 2018 | 11 | 8030.421 | 8061.3295 | -30.9085
2018 | 12 | 3 | 12 | 18 | 17 | 1 | -9 | 2018 | 12 | 8079.406 | 8108.6023 | -29.1963
2019 | 1 | 8 | 8 | 18 | 18 | 0 | 0 | 2019 | 1 | 8174.88 | 8188.6359 | -13.7559
2019 | 2 | 5 | 5 | 19 | 18 | 1 | 0 | 2019 | 2 | 8413.522 | 8476.7917 | -63.2697
2019 | 3 | 6 | 6 | 20 | 19 | 1 | 0 | 2019 | 3 | 7929.663 | 7972.1803 | -42.5173
2019 | 4 | 18 | 18 | 18 | 17 | 1 | 0 | 2019 | 4 | 6970.796 | 6998.3782 | -27.5822
2019 | 5 | 29 | 29 | 17 | 17 | 0 | 0 | 2019 | 5 | 7419.3036 | 7444.5302 | -25.2267
2019 | 6 | 13 | 13 | 15 | 15 | 0 | 0 | 2019 | 6 | 7575.076 | 7587.5784 | -12.5024
2019 | 7 | 23 | 23 | 17 | 17 | 0 | 0 | 2019 | 7 | 7922.914 | 7934.2642 | -11.3502
2019 | 8 | 2 | 2 | 16 | 16 | 0 | 0 | 2019 | 8 | 7851.7015 | 7864.0624 | -12.3609
2019 | 9 | 3 | 3 | 18 | 18 | 0 | 0 | 2019 | 9 | 7342.574 | 7354.4616 | -11.8876
2019 | 10 | 28 | 28 | 19 | 19 | 0 | 0 | 2019 | 10 | 7562.516 | 7597.4848 | -34.9688
2019 | 11 | 27 | 27 | 18 | 18 | 0 | 0 | 2019 | 11 | 7902.658 | 7924.8185 | -22.1605
2019 | 12 | 9 | 9 | 18 | 18 | 0 | 0 | 2019 | 12 | 8088.622 | 8111.706 | -23.084
2020 | 1 | 14 | 14 | 18 | 18 | 0 | 0 | 2020 | 1 | 8468.378 | 8496.1202 | -27.7422
2020 | 2 | 18 | 3 | 19 | 18 | 1 | 15 | 2020 | 2 | 7915.7879 | 7959.7124 | -43.9245
2020 | 3 | 13 | 13 | 12 | 12 | 0 | 0 | 2020 | 3 | 7678.284 | 7684.3326 | -6.0486
2020 | 4 | 1 | 1 | 11 | 11 | 0 | 0 | 2020 | 4 | 7216.78 | 7232.0386 | -15.2586
2020 | 5 | 21 | 21 | 13 | 12 | 1 | 0 | 2020 | 5 | 6589.4833 | 6616.6964 | -27.2132
2020 | 6 | 23 | 23 | 17 | 17 | 0 | 0 | 2020 | 6 | 7117.1486 | 7122.0375 | -4.8889
2020 | 7 | 28 | 28 | 17 | 16 | 1 | 0 | 2020 | 7 | 7769.1003 | 7785.3336 | -16.2333
2020 | 8 | 18 | 18 | 17 | 16 | 1 | 0 | 2020 | 8 | 7951.9828 | 7966.0725 | -14.0897
2020 | 9 | 10 | 10 | 18 | 18 | 0 | 0 | 2020 | 9 | 7021.5185 | 7046.8336 | -25.3151
2020 | 10 | 29 | 22 | 11 | 19 | -8 | 7 | 2020 | 10 | 7408.4171 | 7434.312 | -25.8948
1Source: |  | Operating Reserve Charge Supplement - Updated April 15, 2021
https://www.aeso.ca/index.php/rules-standards-and-tariff/tariff/operating-reserve-charge-supplement-2/
2Source: |  | Coincident Metered Demand Supplement - Updated April 15, 2021
https://www.aeso.ca/rules-standards-and-tariff/tariff/coincident-metered-demand-supplement/
Revision History
Date |  | Description
2021-05-03 |  | v 1.0 - Initial release