## 2006 - 2037 Summary
Transmission Projects Costs 2006 - 2037
AESO Website | AUC Proceeding No. | AESO Project ID | Project Description | Driver | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2028 | 2037 | Total
not on website | 14339 | 246 | Cordel-Metiskow / Hansman Lake | Load | 2006: 44.7 | 44.7
not on website | 13628 | 301 | Michichi Creek - Three Hills | Load | 2007: 12.8 | 12.8
not on website | 15727 | 388 | 500 KV KEG Conversion | Generation | 2009: 77.7 | 77.7
not on website | 15759 | 416 | Southwest | Generation | 2010: 238 | 238
not on website | 14519 | 433 | Fortis Christina Lake | Load | 2006: 15.5 | 15.5
not on website | 14624 | 466 | Downtown Edmonton - 249 KV Supply | Load | 2008: 84.09 | 84.09
not on website | 700 | 535 | North West Transmission Development | Load / Generation | 2013: 583 | 583
not on website | 16613 | 536 | South East Transmission Reinforcement | Load / Generation | 2012: 96 | 96
not on website | 16888 | 577 | Cranberry Lake 827S install 30 MVAR SVC | Load / Generation | 2009: 11.2 | 11.2
not on website | 234 | 626 | ENMAX South 69kV Conversion | Load | 2014: 14 | 14
not on website | 457 | 629 | Heartland (CTI) | CTI | 2015: 700 | 700
not on website | 277 | 664 | Calgary Business District | Load | 2011: 60.1 | 60.1
not on website | 766 | 671 | Yellowhead | Load | 2012: 141 | 141
not on website | 759 | 673 | Salt Creek | Load | 2012: 47.9 | 47.9
not on website | 17608 | 702 | Fortis Alberta Hardisty Area System Upgrade | Load | 2009: 10.39 | 10.39
not on website | 2338 | 719 | ECTP (for Shepard) | Generation | 2016: 161 | 161
not on website | 1884 &1045 | 737 | WATL & EATL (CTI) | CTI | 2015: 3700 | 3700
Stakeholder Engagement | 17278 | 786 | Edmonton Region 240kV Line Upgrades | Load / Generation | 2016: 190 | 190
Stakeholder Engagement | 21190 | 787 | SATR - P886 Cassill – Bowmanton | Load / Generation | 2016: 386 | 386
Stakeholder Engagement | 21190 | 787 | SATR - All Other | Generation | 2016: 1052 | 1052
Stakeholder Engagement | 1570 | 791 | North Ft McMurray Transmission Development | Load | 2013: 352.3 | 352.3
not on website | 645 | 811 | Central East | Load / Generation | 2016: 337 | 337
Stakeholder Engagement | 278 | 812 | Hanna | Load / Generation | 2016: 997 | 997
Stakeholder Engagement | 1368 | 813 | Red Deer | Load / Generation | 2017: 384 | 384
not on website | 271 | 817 | North Central Region Transmission Development | Load | 2014: 103 | 103
not on website | 846 | 834 | Livock 240/144kV Reinforcement Project | Load | 2013: 57.6 | 57.6
Stakeholder Engagement | 2303 | 850 | S & W Edmonton | Load | 2018: 239.9 | 239.9
not on website | 861 | 878 | Athabasca Area Telecommunication Upgrade | Load / Generation | 2012: 17.3 | 17.3
Stakeholder Engagement | 21529 | 922 | ENMAX No. 65 Substation (CTI) | CTI | 2013: 45 | 45
not on website | 303 | 943 | 9L66 240 kV Line Relocation | Other | 2011: 0.8 | 0.8
not on website | 1015 | 1092 | NE Voltage Support | Load | 2012: 13.2 | 13.2
not on website | 1518 | 1101 | Christina Lake | Load / Generation | 2015: 490 | 490
Stakeholder Engagement | 3386 | 1117 | FATD-East | Generation | 2016: 445 | 445
Stakeholder Engagement | 1570 | 1180 | North West Fort MacMurray | Load / Generation | 2015: 41 | 41
Stakeholder Engagement | 3588 | 1186 | Thickwood | CTI | 2018: 130.452 | 130.452
not on website | 2596 | 1332 | AESO BUCC/SDC Fortis Airdrie Telecom | Operation / Reliability | 2013: 0.8 | 0.8
not on website | 2768 | 1343 | Fidler | Generation | 2015: 77 | 77
Stakeholder Engagement | 3386 | 1354 | FATD - Third Circuit | Load / Generation | 2017: 25 | 25
Stakeholder Engagement | 21038 | 1456 | Calgary Downtown Transmission Reinforcement | Load / Generation | 2021: 101.7 | 101.7
not on website | 21030 | 1590 | West FtMc 500KV (CTI) | CTI | 2019: 1430 | 1430
Stakeholder Engagement | 20736 | 1655 | Sunnybrook and Livock Interconnection w/FMM | CTI | 2019: 37 | 37
Stakeholder Engagement | 22274 | 1781 | 1781 - Provost to Edgerton and Nilrem to Vermilon (PENV) | Load / Generation | 2023: 242 | 242
Stakeholder Engagement | 22040 | 1381 | 1381 - Rebuild 138 kV line between Beamer and Shell substations. (807L Capacity Increase) | Load / Generation | 2023: 1399 | 1399
Stakeholder Engagement | 17074 | 1785 | 1785 - Add new 144 kV line from Clairmont Lake to Poplar Hill substation northwest of Grande Prairie. (GP Loop) | Load / Generation
Stakeholder Engagement | 23105 | 1784 | 1784 - Add voltage support in Rycroft area. | Load
Stakeholder Engagement | not yet filed | 7064 | 7064 - Chapel Rock 491S (500kV), Pincher Creek Area to Chapel Rock 240 kV Lines | Generation / Other
Stakeholder Engagement | not yet filed | 7001 | New Tinchebray Gaetz 240 kV (CETO P1) | Generation
not on website |  |  | Grande Prairie Supply (New 240/144 kV sub and 144 kV to Rycroft) | Load / Transfer in issue
Stakeholder Engagement | 21561 |  | Fox Creek Reinforcement (Little Smokey / Bickerdike 240 kV) | Load / Transfer in issue
not on website |  |  | Little Smoky Transformer Replacement | Load
Stakeholder Engagement | not yet filed |  | Intertie Restoration (1201L BC Hydro Scope) Based on high level assessment of the cost | Other
not on website |  |  | City of Edmonton 72 kV Upgrades | Load
not on website |  |  | New Yasa to E.Edm 138 kV | Load
not on website |  |  | E. Edmonton Transformer Upgrade | Load
not on website | 2768 | 1343 | 1343 - Fidler (2nd Transformer) 80% of 1st Tx Capacity Milestone - Approx Mid Term $10M | Generation
not on website |  |  | New Acheson to North St. Albert 138 kV | Load
not on website |  |  | Rebuild North Calder to Viscount 138 kV | Load
not on website |  |  | Janet to Chestermiere new 138 kV | Load
not on website |  |  | Rebuild Chappice Lake-Cypress 138 kV (658L Rebuild) | Generation
Stakeholder Engagement | not yet filed |  | Rebuild Viscount to Cardiff 138 kV | Load | 2028: 233 | 233
Stakeholder Engagement | not yet filed | 7001 | 2nd Tinchbray-Gaetz 240kV circuit (CETO P2) | Generation
|  |  | Totals |  | 60.2 | 12.8 | 84.09 | 99.29 | 238 | 60.9 | 315.4 | 1038.7 | 117 | 5008 | 3568 | 409 | 370.352 | 1467 | 0 | 101.7 | 0 | 1641 | 233 | 0 | 14824.432
Notes:
1. Costs for projects in the 5/10/20 year timeframes have been grouped for the appropriate time frames.
2. For the project drivers, if the project has both load and generation drivers then the project was classified as 'Load / Generation'.
3. Actual Cost Data is the latest available reported by TFO's to the AESO as required under ISO Rule 9.1.3.
4. The cost estimate totals for 2021, 2023 and 2028 in rows 41, 44-62 have cost sources from various resources, e.g. OOM level, NID level or PPS estimate.
5. Cost data reported by TFOs to the AUC as part of DACDA proceedings are not tracked in the AESO system.