## EEA Events
Year | Count of Events | Month | Quarter | Start Date | End Date | Length in Hours | length in minutes | Highest Level Declared | Comment(s)
2006 | 1 | July | Q3 | 2006-07-24 09:19 | 2006-07-24 11:10 | 1.8458 | 110.75 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2006 | 1 | July | Q3 | 2006-07-24 11:10 | 2006-07-24 15:16 | 4.0917 | 245.5 | EEA2 | Energy Emergency Alert 2 (Operating reserves are being used to supply energy requirements. Power service is maintained to all firm load customers.)
2006 | 1 | July | Q3 | 2006-07-24 15:16 | 2006-07-24 16:15 | 0.99556 | 59.7333 | EEA1 | Downgraded to Emergency Alert 1.
2006 | 1 | July | Q3 | 2006-07-24 16:15 | 2006-07-24 16:34 | 0.30417 | 18.25 | EEA2 | Energy Emergency Alert 2 (Operating reserves are being used to supply energy requirements. Power service is maintained to all firm load customers.)
2006 | 1 | July | Q3 | 2006-07-24 16:34 | 2006-07-24 17:25 | 0.86472 | 51.8833 | EEA3 | Energy Emergency Alert 3 (Power service is interrupted for some firm load customers to maintain the minimum required regulating reserve and the integrity of the overall system.)
2006 | 1 | July | Q3 | 2006-07-24 17:25 | 2006-07-24 17:36 | 0.17194 | 10.3167 | EEA2 | Downgraded to Energy Emergency Alert 2.
2006 | 2 | September | Q3 | 2006-09-05 15:41 | 2006-09-05 17:33 | 1.8592 | 111.55 | EEA1 | Emergency Energy Alert 1 requested from PNSC
2006 | 3 | October | Q4 | 2006-10-04 21:01 | 2006-10-04 22:18 | 1.2969 | 77.8167 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2006 | 4 | October | Q4 | 2006-10-05 07:01 | 2006-10-05 12:11 | 5.1606 | 309.6333 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2006 | 5 | October | Q4 | 2006-10-05 19:33 | 2006-10-05 21:31 | 1.9569 | 117.4167 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2006 | 6 | October | Q4 | 2006-10-09 20:40 | 2006-10-09 21:25 | 0.75389 | 45.2333 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2006 | 7 | November | Q4 | 2006-11-22 16:21 | 2006-11-22 18:20 | 1.9892 | 119.35 | EEA1 | Energy Emergency Alert 1 issued for AIES.
2007 | 8 | July | Q3 | 2007-07-13 12:46 | 2007-07-13 13:43 | 0.93889 | 56.3333 | EEA1 | AESO requested PNSC to issue an EEA1 and they complied
2007 | 9 | July | Q3 | 2007-07-16 12:24 | 2007-07-16 18:21 | 5.95 | 357 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2007 | 10 | July | Q3 | 2007-07-17 14:27 | 2007-07-17 16:35 | 2.1331 | 127.9833 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2007 | 11 | July | Q3 | 2007-07-23 12:14 | 2007-07-23 14:58 | 2.7436 | 164.6167 | EEA1 | EEA1 issued for Alberta
2007 | 11 | July | Q3 | 2007-07-23 15:54 | 2007-07-23 16:28 | 0.56806 | 34.0833 | EEA1 | EEA1 issued for Alberta
2007 | 12 | July | Q3 | 2007-07-23 16:28 | 2007-07-23 16:34 | 0.083889 | 5.0333 | EEA2 | EEA2 issued for Alberta
2007 | 12 | July | Q3 | 2007-07-23 16:34 | 2007-07-23 19:09 | 2.5964 | 155.7833 | EEA1 | EEA2 cancelled. Back to EEA1
2008 | 13 | September | Q3 | 2008-09-16 14:20 | 2008-09-16 19:24 | 5.0619 | 303.7167 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2008 | 14 | September | Q3 | 2008-09-16 20:16 | 2008-09-16 20:54 | 0.6325 | 37.95 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2008 | 15 | September | Q3 | 2008-09-30 13:13 | 2008-09-30 14:55 | 1.7 | 102 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2008 | 16 | October | Q4 | 2008-10-01 15:23 | 2008-10-01 17:25 | 2.0328 | 121.9667 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2008 | 17 | November | Q4 | 2008-11-04 17:20 | 2008-11-04 19:00 | 1.6625 | 99.75 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2008 | 18 | December | Q4 | 2008-12-14 17:50 | 2008-12-14 18:44 | 0.89917 | 53.95 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2008 | 19 | December | Q4 | 2008-12-18 17:52 | 2008-12-18 18:03 | 0.18389 | 11.0333 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2009 | 20 | January | Q1 | 2009-01-21 17:24 | 2009-01-21 18:36 | 1.1867 | 71.2 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2009 | 21 | January | Q1 | 2009-01-23 07:59 | 2009-01-23 08:55 | 0.93417 | 56.05 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2009 | 22 | September | Q3 | 2009-09-23 13:07 | 2009-09-23 13:40 | 0.55 | 33 | EEA1 | AIES in Energy Emergency Alert 1.
2009 | 23 | September | Q3 | 2009-09-23 13:40 | 2009-09-23 14:45 | 1.0833 | 65 | EEA2 | AIES in Energy Emergency Alert 2.
2009 | 23 | September | Q3 | 2009-09-23 14:45 | 2009-09-23 16:31 | 1.7656 | 105.9333 | EEA1 | AIES in Energy Emergency Alert 1.
2010 | 24 | May | Q2 | 2010-05-17 10:51 | 2010-05-17 11:21 | 0.48417 | 29.05 | EEA1 | EEA1 declared for AIES
2010 | 25 | May | Q2 | 2010-05-17 14:18 | 2010-05-17 18:08 | 3.8281 | 229.6833 | EEA1 | AIES in EEA1
2010 | 26 | May | Q2 | 2010-05-18 12:31 | 2010-05-18 17:04 | 4.55 | 273 | EEA1 | AIES in EEA1..EEA1 declared by VRC per AESO request..
2011 | 27 | January | Q1 | 2011-01-29 17:29 | 2011-01-29 18:37 | 1.1333 | 68 | EEA1 | AIES in EEA1..AIES requested VRC to declare EEA1..
2011 | 28 | February | Q1 | 2011-02-16 18:17 | 2011-02-16 20:00 | 1.7211 | 103.2667 | EEA1 | Alberta is in Energy Emergency Alert 1 VRC notified, as well as BC, SPC and Alberta TFOs
2011 | 29 | June | Q2 | 2011-06-22 10:13 | 2011-06-22 12:16 | 2.0508 | 123.05 | EEA1 | EEA1 asked for and declared from WECC RC for AESO.
2011 | 30 | June | Q2 | 2011-06-29 11:52 | 2011-06-29 12:18 | 0.43139 | 25.8833 | EEA1 | Energy Emergency Alert 1 issued Energy Emergency Alert 1 requested from WECC RC. Wecc RC complied with request.
2011 | 31 | September | Q3 | 2011-09-07 13:26 | 2011-09-07 17:12 | 3.7667 | 226 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.) WECC RC contacted.
2011 | 32 | November | Q4 | 2011-11-07 17:23 | 2011-11-07 18:22 | 0.985 | 59.1 | EEA1 | AESO has declared an Energy Emergency Alert Level 1. (EEA1) Declaration as per Step 14 in OPP 801. WECC RC notified.
2011 | 33 | November | Q4 | 2011-11-08 17:12 | 2011-11-08 18:42 | 1.4994 | 89.9667 | EEA1 | AESO has declared an Energy Emergency Alert Level 1. (EEA1) Declaration as per Step 14 in OPP 801. WECC RC notified.
2011 | 34 | December | Q4 | 2011-12-14 16:57 | 2011-12-14 19:26 | 2.4758 | 148.55 | EEA1 | Energy Emergency Alert 1 declared
2012 | 35 | January | Q1 | 2012-01-17 17:20 | 2012-01-17 19:28 | 2.1303 | 127.8167 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2012 | 36 | January | Q1 | 2012-01-18 17:44 | 2012-01-18 18:12 | 0.46278 | 27.7667 | EEA1 | Energy Emergency Alert 1 (All resources in the energy merit order have been dispatched. The AIES is maintaining sufficient operating reserves.)
2012 | 37 | July | Q3 | 2012-07-09 13:38 | 2012-07-09 14:11 | 0.5525 | 33.15 | EEA1 | WECC declares; AIES in EEA1.
2012 | 37 | July | Q3 | 2012-07-09 14:11 | 2012-07-09 17:05 | 2.8986 | 173.9167 | EEA3 | WECC declares; AIES in EEA3.
2012 | 37 | July | Q3 | 2012-07-09 17:05 | 2012-07-09 17:42 | 0.61389 | 36.8333 | EEA2 | WECC declares; AIES in EEA2.
2012 | 37 | July | Q3 | 2012-07-09 17:42 | 2012-07-09 18:48 | 1.1122 | 66.7333 | EEA1 | WECC declares; AIES in EEA1.
2012 | 38 | November | Q4 | 2012-11-20 16:43 | 2012-11-20 18:15 | 1.5275 | 91.65 | EEA1 | WECC declares; AIES in EEA1.
2013 | 39 | May | Q2 | 2013-05-04 09:41 | 2013-05-04 14:09 | 4.4667 | 268 | EEA1 | WECC declares; AIES in EEA1 (supply shortfall), 4 thermal units offline
2013 | 40 | May | Q2 | 2013-05-09 14:51 | 2013-05-09 17:58 | 3.1167 | 187 | EEA1 | WECC declares; AIES in EEA1 (supply shortfall), 4 thermal units offline
2013 | 41 | June | Q2 | 2013-06-28 10:28 | 2013-06-28 19:00 | 8.5333 | 512 | EEA2 | WECC declares; AIES in EEA1 (supply shortfall), 4 thermal units offline
2013 | 42 | June | Q2 | 2013-06-29 11:08 | 2013-06-29 13:52 | 2.7333 | 164 | EEA2 | WECC declares; AIES in EEA1 (supply shortfall), 4 thermal units offline
2013 | 43 | July | Q3 | 2013-07-02 11:22 | 2013-07-02 18:04 | 6.7 | 402 | EEA3 | WECC declares; AIES in EEA1 (supply shortfall), 201MW of firm load shed
2013 | 44 | September | Q3 | 2013-09-03 14:49 | 2013-09-03 18:05 | 3.2667 | 196 | EEA1 | 1201L on scheduled maintenance, Sheerness offline, high load and temperatures
2013 | 45 | September | Q3 | 2013-09-04 12:47 | 2013-09-04 18:50 | 6.05 | 363 | EEA2 | 1201L on scheduled maintenance, Sask tie tripped, now wind and high temperatures
2013 | 46 | September | Q3 | 2013-09-05 13:41 | 2013-09-05 18:00 | 4.3167 | 259 | EEA2 | 1201L on scheduled outage, high temperatures and demand, low wind and coal outages; Sask Power is short of reserves and is not supplying energy to AB
2014 | 47 | July | Q3 | 2014-07-30 10:36 | 2014-07-30 10:54 | 0.3 | 18 | EEA1 | AESO declares; AIES in EEA1
2014 | 47 | July | Q3 | 2014-07-30 10:54 | 2014-07-30 16:42 | 5.8 | 348 | EEA2 | AESO declares; AIES in EEA1
2017 | 48 | July | Q3 | 2017-07-26 16:00 | 2017-07-26 16:08 | 0.13333 | 8 | EEA1 | EEA 1 Declared for the AIES
2017 | 48 | July | Q3 | 2017-07-26 16:08 | 2017-07-26 19:00 | 2.8667 | 172 | EEA2 | EEA 2 Declared for the AIES
2017 | 49 | September | Q3 | 2017-09-26 13:27 | 2017-09-26 14:11 | 0.74333 | 44.6 | EEA1 | AESO has declared EEA1.
2018 | 50 | May | Q2 | 2018-05-14 16:41 | 2018-05-14 18:08 | 1.4494 | 86.9667 | EEA1 | "Effective 16:41mpt "AESO has declared an EEA1.
2018 | 51 | August | Q3 | 2018-08-09 15:07 | 2018-08-09 15:40 | 0.54778 | 32.8667 | EEA1 | AIES is declaring an EEA1 as of 15:07
2018 | 51 | August | Q3 | 2018-08-09 15:40 | 2018-08-09 16:40 | 0.99194 | 59.5167 | EEA2 | AIES is declaring an EEA2 as of 15:39
2019 | 52 | February | Q1 | 2019-02-03 17:25 | 2019-02-03 19:15 | 1.8333 | 110 | EEA1 | As of 17:25 MPT, the AESO has declared an EEA1
2019 | 53 | February | Q1 | 2019-02-04 07:04 | 2019-02-04 08:14 | 1.1667 | 70 | EEA2 | As of 7:04 MPT, the AESO has declared an EEA2.
2020 | 54 | January | Q1 | 2020-01-13 17:18 | 2020-01-13 19:15 | 1.95 | 117 | EEA1 | Effective as of 17:18 MST the AESO is declaring an EEA1.
2020 | 55 | January | Q1 | 2020-01-13 19:15 | 2020-01-13 21:28 | 2.2167 | 133 | EEA2 | Effective as of 19:15 MST the AESO is declaring an EEA2.
2020 | 56 | January | Q1 | 2020-01-16 08:15 | 2020-01-16 11:16 | 3.0167 | 181 | EEA1 | The AESO is declaring a EEA1 as of 08:15 MST
2021 | 57 | June | Q2 | 2021-06-29 16:34 | 2021-06-29 18:09 | 1.5778 | 94.6667 | EEA2 | Effective 16:34 MPT , the AESO has declared an EEA1.
2021 | 58 | July | Q3 | 2021-07-07 15:52 | 2021-07-07 18:06 | 2.2333 | 134 | EEA2 | Effective 15:52 MPT the AESO has declared an Energy Emergency Alert 2.
2021 | 59 | July | Q3 | 2021-07-14 16:46 | 2021-07-14 19:34 | 2.8 | 168 | EEA2 | EEA2 declared as of 16:46 MPT
2021 | 60 | December | Q4 | 2021-12-27 19:29 | 2021-12-28 01:00 | 5.5167 | 331 | EEA2 | The AESO is declaring a EEA2 as of 1929.
2022 | 61 | September | Q3 | 2022-09-27 17:50 | 2022-09-27 18:14 | 0.405 | 24.3 | EEA2 | Effective 17:50, AESO has declared an EEA2.
2022 | 61 | September | Q3 | 2022-09-27 18:14 | 2022-09-27 20:45 | 2.5117 | 150.7 | EEA3 | Effective 18:14, AESO has declared an EEA3.
2022 | 62 | September | Q3 | 2022-09-28 15:18 | 2022-09-28 16:18 | 0.99056 | 59.4333 | EEA2 | Effective 15:18 AESO has declared an EEA 2.
2022 | 62 | September | Q3 | 2022-09-28 16:18 | 2022-09-28 17:15 | 0.965 | 57.9 | EEA3 | Effective 16:17 the AESO has declared an EEA 3.
2022 | 63 | November | Q4 | 2022-11-29 16:28 | 2022-11-29 16:47 | 0.31639 | 18.9833 | EEA2 | Effective 16:28 AESO has declared an EEA 2.
2022 | 63 | November | Q4 | 2022-11-29 16:47 | 2022-11-29 18:05 | 1.3 | 78 | EEA3 | The AESO is declaring an EEA-3 as of 16:47
2022 | 64 | December | Q4 | 2022-12-01 16:54 | 2022-12-01 18:18 | 1.4103 | 84.6167 | EEA3 | The AESO is declaring an EEA-3 as of 16:53
2022 | 65 | December | Q4 | 2022-12-20 16:47 | 2022-12-20 18:10 | 1.3775 | 82.65 | EEA3 | The AESO is declaring an EEA-3 as of 16:47.
2022 | 66 | December | Q4 | 2022-12-21 08:25 | 2022-12-21 12:20 | 3.9144 | 234.8667 | EEA3 | The AESO is declaring an EEA-3 as of 08:25 MPT.
2022 | 67 | December | Q4 | 2022-12-21 16:24 | 2022-12-21 18:29 | 2.0908 | 125.45 | EEA3 | The AESO is declaring an EEA-3 as of 16:24 MPT.
2023 | 68 | June | Q2 | 2023-06-07 15:49 | 2023-06-07 21:50 | 6.0125 | 360.75 | EEA3 | Energy Emergency Alert 3 declared for AIES
2023 | 69 | August | Q3 | 2023-08-28 15:08 | 2023-08-28 20:04 | 4.9303 | 295.8167 | EEA3 | Effective 15:08 MPT, the AESO has declared an EEA 3
2023 | 70 | August | Q3 | 2023-08-29 17:30 | 2023-08-29 20:02 | 2.5361 | 152.1667 | EEA3 | Effective 17:29 MPT, the AESO has declared an EEA 3
2024 | 71 | January | Q1 | 2024-01-12 16:15 | 2024-01-12 21:12 | 4.95 | 297 | EEA3 | AESO is in EEA3 as of 16:15
2024 | 72 | January | Q1 | 2024-01-13 15:30 | 2024-01-13 20:41 | 5.1803 | 310.8167 | EEA3 | AESO is in EEA3 as of 15:30
2024 | 73 | January | Q1 | 2024-01-14 15:42 | 2024-01-14 22:12 | 6.5058 | 390.35 | EEA3 | AESO is declaring EEA3 as of 15:42.
2024 | 74 | January | Q1 | 2024-01-15 08:00 | 2024-01-15 09:05 | 1.0833 | 65 | EEA3 | AESO is declaring EEA3 as of 8:00
2024 | 75 | April | Q2 | 2024-04-03 19:27 | 2024-04-03 20:40 | 1.2253 | 73.5167 | EEA3 | Energy Emergency Alert 3 declared for AIES as of 19:26.
2024 | 76 | April | Q2 | 2024-04-05 06:49 | 2024-04-05 11:00 | 4.1833 | 251 | EEA3 | Energy Emergency Alert 3 declared for AIES as of 6:49.