## Substation Capabilities Table
Substation Information |  |  |  | Bus 1 Information |  |  | Bus 2 Information |  |  | Bus 3 Information | Column8 | Column9 | Bus 4 Information | Column10 | Column11 | Date Updated
Name | Facility Code | TFO | Planning Area | Number | Voltage (kV) | Capability (MW) | Number | Voltage (kV) | Capability (MW) | Number | Voltage (kV) | Capability (MW) | Number | Voltage (kV) | Capability (MW)
Al Rothbauer | 321S | AltaLink | 04-Medicine Hat | 976 | 138 | 220 | [9 empty] | 2023-03-22
Amoco Empress | 163S | AltaLink | 48-Empress | 262 | 240 | 160 | 267 | 138 | 125 | [6 empty] | 2023-03-22
Anderson | 801S | ATCO | 43-Sheerness | 1484 | 240 | 1006 | 1485 | 144 | 85 | [6 empty] | 2023-03-22
Ardenville Wind Farm | 418S | AltaLink | 53-Fort Macleod | 739 | 138 | 41 | [9 empty] | 2023-03-22
Badlands | 981S | ATCO | 43-Sheerness | 1632 | 138 | 56 | [9 empty] | 2023-03-22
Bardo | 197S | AltaLink | 31-Wetaskiwin | Capability Not Calculated | [11 empty] | 2023-03-22
Bassano | 435S | AltaLink | 47-Brooks | 399 | 138 | 83 | [9 empty] | 2023-03-22
Battle River | 757S | ATCO | 36-Alliance/Battle River | 1489 | 240 | 540 | 1491 | 144 | 425 | 1469 | 240 | 108 | 1492 | 72 | 99 | 2023-03-22
Battle Sands | 594S | AltaLink | 32-Wainwright | 609 | 138 | 90 | [9 empty] | 2023-03-22
Bauer | 918S | ATCO | 13-Lloydminster | 1113 | 144 | 108 | [9 empty] | 2023-03-22
Big Knife Creek | 843S | ATCO | 36-Alliance/Battle River | 1401 | 72 | 59 | [9 empty] | 2023-03-22
Big Valley | 778S | ATCO | 42-Hanna | 1442 | 72 | 8 | [9 empty] | 2023-03-22
Bigfoot | 756S | ATCO | 36-Alliance/Battle River | 1498 | 72 | 49 | [9 empty] | 2023-03-22
Bindloss | 914S | ATCO | 48-Empress | 1454 | 144 | 100 | [9 empty] | 2023-03-22
Black Diamond | 392S | AltaLink | 46-High River | 238 | 138 | 34 | 241 | 69 | 16 | [6 empty] | 2023-03-22
Blackie | 253S | AltaLink | 45-Strathmore/Blackie | 253 | 138 | 14 | [9 empty] | 2023-03-22
Blackspring Ridge | 485S | AltaLink | 49-Stavely | 736 | 240 | 197 | [9 empty] | 2023-03-22
Blue Trail | 528S | AltaLink | 53-Fort Macleod | 328 | 138 | 40 | [9 empty] | 2023-03-22
Bonnyville | 700S | ATCO | 28-Cold Lake | Capability Not Calculated | [11 empty] | 2023-03-22
Bowmanton | 244S | AltaLink | 04-Medicine Hat | 669 | 240 | 1225 | 659 | 138 | 268 | 645 | 138 | 35 |  |  |  | 2023-03-22
Bowron | 674S | City of Lethbridge | 54-Lethbridge | 698 | 138 | 16 | [9 empty] | 2023-03-22
Briker | 880S | ATCO | 13-Lloydminster | 1314 | 144 | 101 | [9 empty] | 2023-03-22
Brooks | 121S | AltaLink | 47-Brooks | 256 | 138 | 325 | [9 empty] | 2023-03-22
Buffalo Bird | 601S | ATCO | 42-Hanna | 996 | 138 | 182 | [9 empty] | 2023-03-22
Buffalo Creek | 526S | AltaLink | 32-Wainwright | 79 | 138 | 131 | [9 empty] | 2023-03-22
Bullpound | 803S | ATCO | 43-Sheerness | 1463 | 144 | 70 | [9 empty] | 2023-03-22
Bullshead | 523S | AltaLink | 04-Medicine Hat | 271 | 138 | 214 | [9 empty] | 2023-03-22
Burdett | 368S | AltaLink | 52-Vauxhall | 269 | 138 | 1 | [9 empty] | 2023-03-22
Carseland | 525S | AltaLink | 45-Strathmore/Blackie | 252 | 138 | 20 | [9 empty] | 2023-03-22
Cassils | 324S | AltaLink | 47-Brooks | 918 | 240 | 1121 | [9 empty] | 2023-03-22
Castle River | 239S | AltaLink | 53-Fort Macleod | 234 | 138 | 70 | [9 empty] | 2023-03-22
Castle Rock Ridge | 205S | AltaLink | 53-Fort Macleod | 221 | 240 | 431 | [9 empty] | 2023-03-22
Castor | 759S | ATCO | 42-Hanna | 1404 | 72 | 55 | [9 empty] | 2023-03-22
Cavalier |  | AltaLink | 45-Strathmore/Blackie | 247 | 138 | 5 | [9 empty] | 2023-03-22
Cavendish | 893S | ATCO | 48-Empress | 1456 | 144 | 100 | [9 empty] | 2023-03-22
Chappice Lake | 649S | AltaLink | 04-Medicine Hat | 320 | 138 | 35 | [9 empty] | 2023-03-22
Chestermere | 419S | AltaLink | 6-Calgary | 949 | 138 | 3 | [9 empty] | 2023-03-22
Chin Chute | 315S | AltaLink | 54-Lethbridge | 406 | 138 | 8 | [9 empty] | 2023-03-22
Chinook | 181S | City of Lethbridge | 54-Lethbridge | 367 | 138 | 15 | [9 empty] | 2023-03-22
Clipper | 656S | AltaLink | 32-Wainwright | 484 | 138 | 84 | [9 empty] | 2023-03-22
Coalbanks | 111S | City of Lethbridge | 54-Lethbridge | 679 | 138 | 15 | [9 empty] | 2023-03-22
Coaldale | 254S | AltaLink | 54-Lethbridge | 690 | 138 | 8 | [9 empty] | 2023-03-22
Coleman | 799S | AltaLink | 53-Fort Macleod | 232 | 138 | 133 | [9 empty] | 2023-03-22
Conrad | 135S | AltaLink | 52-Vauxhall | 291 | 138 | 2 | [9 empty] | 2023-03-22
Cordel | 755S | ATCO | 36-Alliance/Battle River | 1499 | 240 | 554 | [9 empty] | 2023-03-22
Coronation | 773S | ATCO | 42-Hanna | 1465 | 72 | 15 | [9 empty] | 2023-03-22
Cowley Ridge | 322S | AltaLink | 53-Fort Macleod | 264 | 69 | 7 | [9 empty] | 2023-03-22
Coyote Lake | 963S | ATCO | 43-Sheerness | 1447 | 240 | 791 | 1421 | 144 | 347 | [6 empty] | 2023-03-22
Cutting Lake | 227S | AltaLink | 47-Brooks | 445 | 138 | 90 | [9 empty] | 2023-03-22
Cypress | 562S | AltaLink | 48-Empress | 677 | 240 | 159 | 674 | 138 | 121 | [6 empty] | 2023-03-22
Drywood | 415S | AltaLink | 55-Glenwood | 233 | 138 | 122 | 226 | 69 | 82 | [6 empty] | 2023-03-22
Duchess | 339S | AltaLink | 47-Brooks | 250 | 138 | 91 | [9 empty] | 2023-03-22
East Stavely | 928S | AltaLink | 49-Stavely | 279 | 138 | 30 | [9 empty] | 2023-03-22
Edgerton | 899S | AltaLink | 37-Provost | 362 | 138 | 171 | [9 empty] | 2023-03-22
Empress | 394S | AltaLink | 48-Empress | 266 | 138 | 124 | [9 empty] | 2023-03-22
Empress Liquids | 164S | AltaLink | 48-Empress | 263 | 138 | 78 | [9 empty] | 2023-03-22
Enchant | 447S | AltaLink | 52-Vauxhall | 286 | 138 | 11 | [9 empty] | 2023-03-22
Excel | 910S | ATCO | 42-Hanna | 1459 | 144 | 92 | [9 empty] | 2023-03-22
Fidler | 312S | AltaLink | 53-Fort Macleod | 751 | 240 | 431 | 752 | 138 | 213 | [6 empty] | 2023-03-22
Fincastle | 336S | AltaLink | 52-Vauxhall | 31 | 138 | 2 | [9 empty] | 2023-03-22
Foothills | 237S | AltaLink | 46-High River | 617 | 240 | 337 | 640 | 138 | 58 | [6 empty] | 2023-03-22
Fort Macleod | 15S | AltaLink | 53-Fort Macleod | 237 | 138 | 18 | [9 empty] | 2023-03-22
Garden City | 226S | AltaLink | 55-Glenwood | 251 | 138 | 15 | [9 empty] | 2023-03-22
Garden Plain | 1045S | ATCO | 42-Hanna | 542002 | 240 | 478 | [9 empty] | 2023-03-22
Ghost Pine | 114S | ATCO | 42-Hanna | 603 | 144 | 24 | [9 empty] | 2023-03-22
Gleichen | 179S | AltaLink | 45-Strathmore/Blackie | 254 | 138 | 6 | [9 empty] | 2023-03-22
Glenwood | 229S | AltaLink | 55-Glenwood | 245 | 69 | 21 | [9 empty] | 2023-03-22
Goose Lake | 103S | AltaLink | 53-Fort Macleod | 346 | 240 | 429 | 296 | 138 | 306 | [6 empty] | 2023-03-22
Granlea | 1024S | AltaLink | 04-Medicine Hat | 994 | 240 | 860 | [9 empty] | 2023-03-22
Granum | 604S | AltaLink | 49-Stavely | 894 | 138 | 28 | [9 empty] | 2023-03-22
Grizzly Bear | 708S | ATCO | 13-Lloydminster | 1308 | 138 | 134 | [9 empty] | 2023-03-22
Halkirk | 615S | ATCO | 42-Hanna | 1435 | 240 | 233 | [9 empty] | 2023-03-22
Halsbury | 306S | AltaLink | 48-Empress | 798 | 240 | 268 | [9 empty] | 2023-03-22
Hanna | 763S | ATCO | 42-Hanna | 1408 | 72 | 32 | [9 empty] | 2023-03-22
Hansman Lake | 650S | AltaLink | 37-Provost | 649 | 240 | 645 | 648 | 138 | 451 | [6 empty] | 2023-03-22
Hardisty | 377S | AltaLink | 32-Wainwright | 73 | 138 | 220 | [9 empty] | 2023-03-22
Hartell | 512S | AltaLink | 46-High River | 243 | 138 | 34 | [9 empty] | 2023-03-22
Hays | 421S | AltaLink | 52-Vauxhall | 401 | 138 | 11 | [9 empty] | 2023-03-22
Hayter | 277S | AltaLink | 37-Provost | 220 | 138 | 187 | [9 empty] | 2023-03-22
Heatburg | 948S | ATCO | 42-Hanna | 1429 | 144 | 69 | [9 empty] | 2023-03-22
Heisler | 764S | ATCO | 36-Alliance/Battle River | 1464 | 144 | 129 | 1400 | 72 | 42 | [6 empty] | 2023-03-22
High River | 65S | AltaLink | 46-High River | 242 | 138 | 33 | 236 | 69 | 21 | [6 empty] | 2023-03-22
Highland | 572S | ATCO | 42-Hanna | 549045 | 138 | 180 | [9 empty] | 2023-03-22
Hilda | 662S | AltaLink | 48-Empress | 540004 | 138 | 60 | [9 empty] | 2023-03-22
Hill | 751S | ATCO | 13-Lloydminster | 1393 | 144 | 183 | [9 empty] | 2023-03-22
Hillridge | 139S | AltaLink | 54-Lethbridge | 389 | 138 | 5 | [9 empty] | 2023-03-22
HRT Express | 329S | AltaLink | 32-Wainwright | 37 | 138 | 107 | [9 empty] | 2023-03-22
Hughenden | 213S | AltaLink | 37-Provost | 75 | 138 | 137 | [9 empty] | 2023-03-22
Hull | 257S | AltaLink | 52-Vauxhall | 2400 | 138 | 5 | [9 empty] | 2023-03-22
Hussar | 431S | AltaLink | 45-Strathmore/Blackie | 315 | 138 | 5 | [9 empty] | 2023-03-22
Irish Creek | 706S | ATCO | 13-Lloydminster | 1377 | 144 | 170 | [9 empty] | 2023-03-22
Janet | 74S | AltaLink | 6-Calgary | Capability Not Calculated | [11 empty] | 2023-03-22
Jarrow | 252S | AltaLink | 32-Wainwright | 72 | 138 | 94 | [9 empty] | 2023-03-22
Jenner | 275S | AltaLink | 48-Empress | 260 | 240 | 271 | 292 | 138 | 104 | [6 empty] | 2023-03-22
Kettle's Hill | 383S | AltaLink | 53-Fort Macleod | 402 | 138 | 111 | [9 empty] | 2023-03-22
Killarney Lake | 267S | AltaLink | 37-Provost | 219 | 138 | 157 | [9 empty] | 2023-03-22
Kitscoty | 705S | ATCO | 13-Lloydminster | 1387 | 144 | 161 | [9 empty] | 2023-03-22
Lac La Biche | 157S | AltaLink | 27-Athabasca/Lac La Biche | Capability Not Calculated | [11 empty] | 2023-03-22
Lakesend | 508S | AltaLink | 42-Hanna | 716 | 138 | 87 | [9 empty] | 2023-03-22
Lakeview | 593S | City of Lethbridge | 54-Lethbridge | 697 | 138 | 15 | [9 empty] | 2023-03-22
Lanfine | 959S | ATCO | 42-Hanna | 1438 | 240 | 522 | 19438 | 144 | 347 | [6 empty] | 2023-03-22
Langdon | 102S | AltaLink | 6-Calgary | Capability Not Calculated | [11 empty] | 2023-03-22
Lindbergh | 969S | ATCO | 28-Cold Lake | Capability Not Calculated | [11 empty] | 2023-03-22
Little Bow | 991S | AltaLink | 49-Stavely | 549026 | 240 | 84 | [9 empty] | 2023-03-22
Lloydminster | 716S | ATCO | 13-Lloydminster | 1455 | 144 | 175 | [9 empty] | 2023-03-22
Loyalist | 903S | ATCO | 42-Hanna | 1458 | 144 | 86 | [9 empty] | 2023-03-22
Lundbreck | 513S | AltaLink | 53-Fort Macleod | 347 | 69 | 7 | [9 empty] | 2023-03-22
Macdonald | 146S | City of Lethbridge | 54-Lethbridge | 696 | 138 | 15 | [9 empty] | 2023-03-22
Magcan | 142S | AltaLink | 46-High River | 240 | 138 | 34 | [9 empty] | 2023-03-22
Magrath | 225S | AltaLink | 55-Glenwood | 694 | 138 | 15 | 693 | 69 | 15 | [6 empty] | 2023-03-22
Mannix Mine | 765S | ATCO | 36-Alliance/Battle River | 1488 | 72 | 58 | [9 empty] | 2023-03-22
Marion Lake | 873S | ATCO | 42-Hanna | 1437 | 72 | 91 | [9 empty] | 2023-03-22
McBride Lake | 240S | AltaLink | 53-Fort Macleod | 901 | 138 | 18 | [9 empty] | 2023-03-22
McNeill Station | 840S | AltaLink | 48-Empress | Capability Not Calculated | [11 empty] | 2023-03-22
Metiskow | 648S | AltaLink | 37-Provost | 74 | 138 | 455 | 87 | 240 | 392 | [6 empty] | 2023-03-22
Michichi Creek | 802S | ATCO | 42-Hanna | 1448 | 144 | 226 | 1449 | 72 | 48 | [6 empty] | 2023-03-22
Milo | 356S | AltaLink | 47-Brooks | 943 | 240 | 1327 | [9 empty] | 2023-03-22
Monarch | 492S | AltaLink | 54-Lethbridge | 400 | 138 | 16 | [9 empty] | 2023-03-22
Monitor | 774S | ATCO | 42-Hanna | 1471 | 144 | 235 | 1472 | 72 | 20 | [6 empty] | 2023-03-22
Namaka | 428S | AltaLink | 45-Strathmore/Blackie | 340 | 138 | 5 | [9 empty] | 2023-03-22
Nevis | 766S | ATCO | 42-Hanna | 1422 | 240 | 484 | 1423 | 144 | 77 | [6 empty] | 2023-03-22
Newell | 2075S | AltaLink | 47-Brooks | 1012 | 240 | 1176 | [9 empty] | 2023-03-22
Nilrem | 574S | AltaLink | 32-Wainwright | 1427 | 240 | 455 | 19427 | 138 | 340 | [6 empty] | 2023-03-22
North Holden | 395S | AltaLink | 56-Vegreville | 68 | 138 | 123 | [9 empty] | 2023-03-22
North Lethbridge | 370S | AltaLink | 54-Lethbridge | 167 | 240 | 376 | 692 | 138 | 15 | [6 empty] | 2023-03-22
Oakland | 946S | ATCO | 43-Sheerness | 1440 | 240 | 1019 | [9 empty] | 2023-03-22
Okotoks | 678S | AltaLink | 46-High River | 239 | 138 | 34 | [9 empty] | 2023-03-22
Oldman River | 806S | AltaLink | 53-Fort Macleod | 230 | 138 | 65 | [9 empty] | 2023-03-22
Oyen | 767S | ATCO | 42-Hanna | 1474 | 144 | 134 | 1475 | 72 | 29 | [6 empty] | 2023-03-22
Paintearth Creek | 863S | ATCO | 36-Alliance/Battle River | 1403 | 240 | 582 | [9 empty] | 2023-03-22
Peace Butte | 404S | AltaLink | 04-Medicine Hat | 284 | 138 | 111 | [9 empty] | 2023-03-22
Peigan | 59S | AltaLink | 53-Fort Macleod | 165 | 240 | 423 | 166 | 138 | 208 | [6 empty] | 2023-03-22
Pemukan | 932S | ATCO | 42-Hanna | 1419 | 240 | 710 | 19419 | 144 | 261 | [6 empty] | 2023-03-22
Picture Butte | 120S | AltaLink | 54-Lethbridge | 451 | 240 | 311 | [9 empty] | 2023-03-22
Pincher Creek | 396S | AltaLink | 53-Fort Macleod | 224 | 138 | 131 | 223 | 69 | 60 | [6 empty] | 2023-03-22
Provost | 545S | AltaLink | 37-Provost | 86 | 138 | 134 | [9 empty] | 2023-03-22
Queenstown | 504S | AltaLink | 45-Strathmore/Blackie | 333 | 138 | 63 | [9 empty] | 2023-03-22
Rangeland Yarrow | 995S | AltaLink | 55-Glenwood | 228 | 69 | 24 | [9 empty] | 2023-03-22
Rattlesnake Ridge | 719S | AltaLink | 04-Medicine Hat | 873 | 138 | 1 | [9 empty] | 2023-03-22
Raymond Reservoir | 313S | AltaLink | 55-Glenwood | 413 | 69 | 10 | [9 empty] | 2023-03-22
Red Deer | 63S | AltaLink | 35-Red Deer | Capability Not Calculated | [11 empty] | 2023-03-22
Ribstone Creek | 892S | ATCO | 42-Hanna | 1477 | 144 | 103 | [9 empty] | 2023-03-22
Richdale | 776S | ATCO | 42-Hanna | 1478 | 72 | 22 | [9 empty] | 2023-03-22
Riverbend | 618S | AltaLink | 54-Lethbridge | 699 | 138 | 15 | [9 empty] | 2023-03-22
Rosyth | 296S | AltaLink | 32-Wainwright | 373 | 138 | 77 | [9 empty] | 2023-03-22
Rowley | 768S | ATCO | 42-Hanna | 1436 | 144 | 129 | [9 empty] | 2023-03-22
Russell | 632S | AltaLink | 53-Fort Macleod | 656 | 138 | 131 | [9 empty] | 2023-03-22
Sand Hills Sub | 341S | AltaLink | 48-Empress | 111 | 138 | 116 | [9 empty] | 2023-03-22
Sandy Point | 204S | AltaLink | 48-Empress | 53 | 138 | 44 | [9 empty] | 2023-03-22
SC1 | 266S | AltaLink | 49-Stavely | Capability Not Calculated | [11 empty] | 2023-03-22
Sedalia | 363S | ATCO | 42-Hanna | 831 | 240 | 395 | [9 empty] | 2023-03-22
Sedgewick | 137S | AltaLink | 32-Wainwright | 78 | 138 | 97 | [9 empty] | 2023-03-22
Shamrock | 1018S | AltaLink | 04-Medicine Hat | 990 | 240 | 156 | [9 empty] | 2023-03-22
Sheerness | 807S | ATCO | 43-Sheerness | 1481 | 240 | 83 | 1486 | 240 | 65 | [6 empty] | 2023-03-22
Shell Waterton | 502S | AltaLink | 55-Glenwood | 231 | 69 | 50 | [9 empty] | 2023-03-22
Soderglen | 243S | AltaLink | 53-Fort Macleod | 358 | 138 | 43 | [9 empty] | 2023-03-22
Spring Coulee | 385S | AltaLink | 55-Glenwood | 246 | 69 | 18 | [9 empty] | 2023-03-22
SS-65 |  | ENMAX | 6-Calgary | Capability Not Calculated | [11 empty] | 2023-03-22
St. Paul | 707S | ATCO | 56-Vegreville | 1372 | 144 | 170 | [9 empty] | 2023-03-22
Stavely | 349S | AltaLink | 49-Stavely | 235 | 138 | 30 | [9 empty] | 2023-03-22
Stettler | 769S | ATCO | 42-Hanna | 1428 | 144 | 84 | 1439 | 72 | 83 | [6 empty] | 2023-03-22
Stirling | 67S | AltaLink | 55-Glenwood | 293 | 138 | 8 | 280 | 69 | 9 | [6 empty] | 2023-03-22
Strathmore | 151S | AltaLink | 45-Strathmore/Blackie | 259 | 138 | 4 | [9 empty] | 2023-03-22
Strome | 223S | AltaLink | 56-Vegreville | 76 | 138 | 136 | [9 empty] | 2023-03-22
Suffield | 895S | AltaLink | 04-Medicine Hat | 270 | 138 | 63 | [9 empty] | 2023-03-22
Sullivan Lake | 775S | ATCO | 42-Hanna | 1406 | 72 | 41 | [9 empty] | 2023-03-22
Summerview | 354S | AltaLink | 53-Fort Macleod | 336 | 138 | 21 | [9 empty] | 2023-03-22
Sunken Lake | 221S | AltaLink | 37-Provost | 112 | 138 | 84 | [9 empty] | 2023-03-22
Taber | 83S | AltaLink | 52-Vauxhall | 272 | 138 | 3 | [9 empty] | 2023-03-22
Taber Wind Farm | 134S | AltaLink | 52-Vauxhall | 343 | 138 | 2 | [9 empty] | 2023-03-22
Taylor Hydro Plant |  | AltaLink | 55-Glenwood | 670 | 69 | 15 | [9 empty] | 2023-03-22
Three Hills | 770S | ATCO | 42-Hanna | 1433 | 144 | 87 | [9 empty] | 2023-03-22
Tilley | 498S | AltaLink | 47-Brooks | 275 | 138 | 127 | [9 empty] | 2023-03-22
Tinchebray | 972S | ATCO | 36-Alliance/Battle River | 1431 | 240 | 313 | [9 empty] | 2023-03-22
Travers | 554S | AltaLink | 49-Stavely | 737 | 240 | 212 | [9 empty] | 2023-03-22
Tucuman | 478S | AltaLink | 32-Wainwright | 483 | 138 | 303 | [9 empty] | 2023-03-22
Uplands | 241S | City of Lethbridge | 54-Lethbridge | 691 | 138 | 15 | [9 empty] | 2023-03-22
Vauxhall | 158S | AltaLink | 52-Vauxhall | 274 | 138 | 7 | [9 empty] | 2023-03-22
Vegreville | 709S | ATCO | 56-Vegreville | 1367 | 144 | 173 | [9 empty] | 2023-03-22
Vermilion | 710S | ATCO | 13-Lloydminster | 1383 | 144 | 300 | [9 empty] | 2023-03-22
Veteran | 771S | ATCO | 42-Hanna | 1470 | 144 | 108 | [9 empty] | 2023-03-22
Vilna | 777S | ATCO | 56-Vegreville | 1357 | 144 | 156 | [9 empty] | 2023-03-22
Vulcan | 255S | AltaLink | 49-Stavely | 244 | 138 | 36 | [9 empty] | 2023-03-22
Wainwright | 51S | AltaLink | 32-Wainwright | 297 | 138 | 120 | [9 empty] | 2023-03-22
Wardlow | 230S | AltaLink | 48-Empress | 344 | 138 | 87 | [9 empty] | 2023-03-22
Ware Junction | 132S | AltaLink | 47-Brooks | 225 | 240 | 1125 | [9 empty] | 2023-03-22
Warner | 344S | AltaLink | 55-Glenwood | 278 | 69 | 9 | [9 empty] | 2023-03-22
Waterton | 379S | AltaLink | 55-Glenwood | 227 | 69 | 99 | [9 empty] | 2023-03-22
Watt Lake | 956S | ATCO | 56-Vegreville | 1361 | 144 | 44 | [9 empty] | 2023-03-22
West Brooks | 28S | AltaLink | 47-Brooks | 430 | 240 | 1106 | 276 | 138 | 562 | [6 empty] | 2023-03-22
Westfield | 107S | AltaLink | 52-Vauxhall | 277 | 138 | 1 | [9 empty] | 2023-03-22
Wheatland | 609S | ATCO | 43-Sheerness | 759 | 144 | 50 | [9 empty] | 2023-03-22
Whitbylake | 819S | ATCO | 56-Vegreville | 1350 | 144 | 179 | [9 empty] | 2023-03-22
Whitla | 251S | AltaLink | 04-Medicine Hat | 662 | 240 | 1281 | [9 empty] | 2023-03-22
Windrise | 1063S | AltaLink | 53-Fort Macleod | 549031 | 138 | 43 | [9 empty] | 2023-03-22
Windy Flats | 138S | AltaLink | 53-Fort Macleod | 746 | 240 | 418 | 654 | 138 | 219 | 745 | 138 | 204 |  |  |  | 2023-03-22
Windy Point | 112S | AltaLink | 53-Fort Macleod | 543 | 138 | 64 | [9 empty] | 2023-03-22
Wintering Hills | 804S | ATCO | 43-Sheerness | 1460 | 144 | 50 | [9 empty] | 2023-03-22
Woolchester | 1019S | AltaLink | 04-Medicine Hat | 549003 | 240 | 635 | [9 empty] | 2023-03-22
Wyndham | 269S | AltaLink | 45-Strathmore/Blackie | 5251 | 138 | 20 | [9 empty] | 2023-03-22
Youngstown | 772S | ATCO | 42-Hanna | 1476 | 72 | 24 | [9 empty] | 2023-03-22
Youngstown Express | 2037S | ATCO | 42-Hanna | 1480 | 72 | 17 | [9 empty] | 2023-03-22

## Line Capabilities Table
Line Name | Voltage (kV) | Substation Name | Facility Code | Planning Area | TFO | Capability* (MW) | Date Updated | *The T-tap connection capability for transmission lines will vary along the line depending on the T-tap location. As the T-tap location nears each substation, the T-tap capability approaches the MW value shown.
1002L | 240 | Amoco Empress | 163S | 48-Empress | AltaLink | 158 | 2023-03-22
1002L | 240 | Jenner | 275S | 48-Empress | AltaLink | 265 | 2023-03-22
1005AL | 240 | Little Bow | 991S | 49-Stavely | AltaLink | 84 | 2023-03-22
1005L | 240 | Picture Butte | 120S | 54-Lethbridge | AltaLink | 311 | 2023-03-22
1005L | 240 | Milo | 356S | 47-Brooks | AltaLink | 117 | 2023-03-22
100L | 138 | Tilley | 498S | 47-Brooks | AltaLink | 58 | 2023-03-22
100L | 138 | Suffield | 895S | 04-Medicine Hat | AltaLink | 62 | 2023-03-22
1011L | 240 | Amoco Empress | 163S | 48-Empress | AltaLink | 158 | 2023-03-22
1011L | 240 | Cypress | 562S | 48-Empress | AltaLink | 158 | 2023-03-22
1034L | 240 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 466 | 2023-03-22
1034L | 240 | Cassils | 324S | 47-Brooks | AltaLink | 466 | 2023-03-22
1035L | 240 | Newell | 2075S | 47-Brooks | AltaLink | 466 | 2023-03-22
1035L | 240 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 466 | 2023-03-22
1036L | 240 | Milo | 356S | 47-Brooks | AltaLink | 142 | 2023-03-22
1036L | 240 | Travers | 554S | 49-Stavely | AltaLink | 212 | 2023-03-22
1037L | 240 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 418 | 2023-03-22
1037L | 240 | Foothills | 237S | 46-High River | AltaLink | 337 | 2023-03-22
1038L | 240 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 418 | 2023-03-22
1038L | 240 | Foothills | 237S | 46-High River | AltaLink | 337 | 2023-03-22
1041L | 240 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 359 | 2023-03-22
1041L | 240 | Travers | 554S | 49-Stavely | AltaLink | 212 | 2023-03-22
1042L | 240 | Blackspring Ridge | 485S | 49-Stavely | AltaLink | 197 | 2023-03-22
1042L | 240 | Travers | 554S | 49-Stavely | AltaLink | 197 | 2023-03-22
1047L | 240 | Nilrem | 574S | 32-Wainwright | AltaLink | 455 | 2023-03-22
1047L | 240 | Hansman Lake | 650S | 37-Provost | AltaLink | 466 | 2023-03-22
1048L | 240 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 384 | 2023-03-22
1048L | 240 | Peigan | 59S | 53-Fort Macleod | AltaLink | 423 | 2023-03-22
1049L | 240 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 385 | 2023-03-22
1049L | 240 | Peigan | 59S | 53-Fort Macleod | AltaLink | 423 | 2023-03-22
1051L | 240 | West Brooks | 28S | 47-Brooks | AltaLink | 466 | 2023-03-22
1051L | 240 | Cassils | 324S | 47-Brooks | AltaLink | 466 | 2023-03-22
1052L | 240 | West Brooks | 28S | 47-Brooks | AltaLink | 466 | 2023-03-22
1052L | 240 | Cassils | 324S | 47-Brooks | AltaLink | 466 | 2023-03-22
1053L | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 466 | 2023-03-22
1053L | 240 | Cassils | 324S | 47-Brooks | AltaLink | 466 | 2023-03-22
1071L | 240 | Castle Rock Ridge | 205S | 53-Fort Macleod | AltaLink | 431 | 2023-03-22
1071L | 240 | Fidler | 312S | 53-Fort Macleod | AltaLink | 431 | 2023-03-22
1072L | 240 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 429 | 2023-03-22
1072L | 240 | Castle Rock Ridge | 205S | 53-Fort Macleod | AltaLink | 431 | 2023-03-22
1075L | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 466 | 2023-03-22
1075L | 240 | West Brooks | 28S | 47-Brooks | AltaLink | 466 | 2023-03-22
1087L | 240 | Newell | 2075S | 47-Brooks | AltaLink | 466 | 2023-03-22
1087L | 240 | Cassils | 324S | 47-Brooks | AltaLink | 466 | 2023-03-22
1088L | 240 | Newell | 2075S | 47-Brooks | AltaLink | 466 | 2023-03-22
1088L | 240 | Cassils | 324S | 47-Brooks | AltaLink | 466 | 2023-03-22
1106L | 240 | Foothills | 237S | 46-High River | AltaLink | 337 | 2023-03-22
1106L | 240 |  | SS-65 | 6-Calgary | Enmax | 466 | 2023-03-22
1107L | 240 | Foothills | 237S | 46-High River | AltaLink | 337 | 2023-03-22
1107L | 240 |  | SS-65 | 6-Calgary | Enmax | 466 | 2023-03-22
1148L | 240 | Shamrock | 1018S | 04-Medicine Hat | AltaLink | 156 | 2023-03-22
1148L | 240 | Whitla | 251S | 04-Medicine Hat | AltaLink | 156 | 2023-03-22
13L/158L | 69 | Black Diamond | 392S | 46-High River | AltaLink | 16 | 2023-03-22
13L/158L | 69 | High River | 65S | 46-High River | AltaLink | 16 | 2023-03-22
161L | 138 | Vulcan | 255S | 49-Stavely | AltaLink | 36 | 2023-03-22
161L | 138 | Queenstown | 504S | 45-Strathmore/Blackie | AltaLink | 62 | 2023-03-22
162L | 69 | Glenwood | 229S | 55-Glenwood | AltaLink | 21 | 2023-03-22
162L | 69 | Drywood | 415S | 55-Glenwood | AltaLink | 37 | 2023-03-22
164L | 138 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 104 | 2023-03-22
164L | 138 | Drywood | 415S | 55-Glenwood | AltaLink | 122 | 2023-03-22
170L | 138 | Coleman | 799S | 53-Fort Macleod | AltaLink | 133 | 2023-03-22
170L | 138 | Russell | 632S | 53-Fort Macleod | AltaLink | 131 | 2023-03-22
172EL | 138 | Hillridge | 139S | 54-Lethbridge | AltaLink | 5 | 2023-03-22
172L | 138 | Chinook | 181S | 54-Lethbridge | City of Lethbridge | 15 | 2023-03-22
172L | 138 | Coaldale | 254S | 54-Lethbridge | AltaLink | 8 | 2023-03-22
172L | 138 | Coaldale | 254S | 54-Lethbridge | AltaLink | 8 | 2023-03-22
172L | 138 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 15 | 2023-03-22
172L | 138 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 15 | 2023-03-22
172L | 138 | Taber | 83S | 52-Vauxhall | AltaLink | 3 | 2023-03-22
174L | 138 | Bardo | 197S | 31-Wetaskiwin | AltaLink | 77 | 2023-03-22
174L | 138 | North Holden | 395S | 56-Vegreville | AltaLink | 89 | 2023-03-22
180AL | 138 | Granum | 604S | 49-Stavely | AltaLink | 28 | 2023-03-22
180L | 138 | Fort Macleod | 15S | 53-Fort Macleod | AltaLink | 17 | 2023-03-22
180L | 138 | Vulcan | 255S | 49-Stavely | AltaLink | 36 | 2023-03-22
180L | 138 | East Stavely | 928S | 49-Stavely | AltaLink | 30 | 2023-03-22
180L | 138 | East Stavely | 928S | 49-Stavely | AltaLink | 30 | 2023-03-22
185AL | 69 | Drywood | 415S | 55-Glenwood | AltaLink | 24 | 2023-03-22
185AL | 69 | Rangeland Yarrow | 995S | 55-Glenwood | AltaLink | 24 | 2023-03-22
185L | 69 | Waterton | 379S | 55-Glenwood | AltaLink | 93 | 2023-03-22
185L | 69 | Waterton | 379S | 55-Glenwood | AltaLink | 43 | 2023-03-22
185L | 69 | Pincher Creek | 396S | 53-Fort Macleod | AltaLink | 54 | 2023-03-22
185L | 69 | Drywood | 415S | 55-Glenwood | AltaLink | 74 | 2023-03-22
197L | 138 | Stavely | 349S | 49-Stavely | AltaLink | 30 | 2023-03-22
197L | 138 | East Stavely | 928S | 49-Stavely | AltaLink | 30 | 2023-03-22
207L | 138 | Coalbanks | 111S | 54-Lethbridge | City of Lethbridge | 15 | 2023-03-22
207L | 138 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 15 | 2023-03-22
225AL | 69 | Raymond Reservoir | 313S | 55-Glenwood | AltaLink | 10 | 2023-03-22
225L | 69 | Magrath | 225S | 55-Glenwood | AltaLink | 15 | 2023-03-22
225L | 69 | Magrath | 225S | 55-Glenwood | AltaLink | 11 | 2023-03-22
225L | 69 | Glenwood | 229S | 55-Glenwood | AltaLink | 21 | 2023-03-22
225L | 69 | Spring Coulee | 385S | 55-Glenwood | AltaLink | 18 | 2023-03-22
225L | 69 | Spring Coulee | 385S | 55-Glenwood | AltaLink | 18 | 2023-03-22
225L | 69 | Stirling | 67S | 55-Glenwood | AltaLink | 5 | 2023-03-22
300L/725BL | 138 | McBride Lake | 240S | 53-Fort Macleod | AltaLink | 18 | 2023-03-22
398L | 138 | Hayter | 277S | 37-Provost | AltaLink | 187 | 2023-03-22
398L | 138 | Provost | 545S | 37-Provost | AltaLink | 132 | 2023-03-22
408L | 138 | Jarrow | 252S | 32-Wainwright | AltaLink | 72 | 2023-03-22
408L | 138 | Wainwright | 51S | 32-Wainwright | AltaLink | 115 | 2023-03-22
412L | 138 | Pincher Creek | 396S | 53-Fort Macleod | AltaLink | 131 | 2023-03-22
412L | 138 | Russell | 632S | 53-Fort Macleod | AltaLink | 131 | 2023-03-22
413L | 138 | Castle River | 239S | 53-Fort Macleod | AltaLink | 70 | 2023-03-22
413L | 138 | Russell | 632S | 53-Fort Macleod | AltaLink | 70 | 2023-03-22
434L | 138 | Foothills | 237S | 46-High River | AltaLink | 58 | 2023-03-22
434L | 138 | High River | 65S | 46-High River | AltaLink | 33 | 2023-03-22
463AL | 138 | Monarch | 492S | 54-Lethbridge | AltaLink | 16 | 2023-03-22
463L | 138 | Fort Macleod | 15S | 53-Fort Macleod | AltaLink | 18 | 2023-03-22
463L | 138 | Chinook | 181S | 54-Lethbridge | City of Lethbridge | 15 | 2023-03-22
472AL | 138 | Sunken Lake | 221S | 37-Provost | AltaLink | 84 | 2023-03-22
472L | 138 | Hughenden | 213S | 37-Provost | AltaLink | 137 | 2023-03-22
472L | 138 | Metiskow | 648S | 37-Provost | AltaLink | 138 | 2023-03-22
491L | 138 | Jarrow | 252S | 32-Wainwright | AltaLink | 94 | 2023-03-22
497L | 138 | Windrise | 1063S | 53-Fort Macleod | AltaLink | 43 | 2023-03-22
497L | 138 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 44 | 2023-03-22
507L | 138 | Hull | 257S | 52-Vauxhall | AltaLink | 5 | 2023-03-22
507L | 138 | Taber | 83S | 52-Vauxhall | AltaLink | 3 | 2023-03-22
508L | 69 | Warner | 344S | 55-Glenwood | AltaLink | 9 | 2023-03-22
508L | 69 | Stirling | 67S | 55-Glenwood | AltaLink | 9 | 2023-03-22
514BL | 69 | Cowley Ridge | 322S | 53-Fort Macleod | AltaLink | 7 | 2023-03-22
514L | 69 | Pincher Creek | 396S | 53-Fort Macleod | AltaLink | 7 | 2023-03-22
514L | 69 | Lundbreck | 513S | 53-Fort Macleod | AltaLink | 7 | 2023-03-22
591L | 69 | Waterton | 379S | 55-Glenwood | AltaLink | 50 | 2023-03-22
591L | 69 | Shell Waterton | 502S | 55-Glenwood | AltaLink | 50 | 2023-03-22
600L | 138 | Peace Butte | 404S | 04-Medicine Hat | AltaLink | 111 | 2023-03-22
600L | 138 | Bullshead | 523S | 04-Medicine Hat | AltaLink | 109 | 2023-03-22
601L | 138 | Wardlow | 230S | 48-Empress | AltaLink | 87 | 2023-03-22
601L | 138 | Jenner | 275S | 48-Empress | AltaLink | 86 | 2023-03-22
603L | 138 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 42 | 2023-03-22
603L | 138 | Soderglen | 243S | 53-Fort Macleod | AltaLink | 43 | 2023-03-22
607AL | 138 | Taber Wind Farm | 134S | 52-Vauxhall | AltaLink | 2 | 2023-03-22
607L | 138 | Conrad | 135S | 52-Vauxhall | AltaLink | 2 | 2023-03-22
607L | 138 | Fincastle | 336S | 52-Vauxhall | AltaLink | 2 | 2023-03-22
608AL | 138 | Blue Trail | 528S | 53-Fort Macleod | AltaLink | 40 | 2023-03-22
608L | 138 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 40 | 2023-03-22
608L | 138 | Ardenville Wind Farm | 418S | 53-Fort Macleod | AltaLink | 41 | 2023-03-22
610L | 138 | Fincastle | 336S | 52-Vauxhall | AltaLink | 2 | 2023-03-22
610L | 138 | Taber | 83S | 52-Vauxhall | AltaLink | 3 | 2023-03-22
612L | 138 | Fincastle | 336S | 52-Vauxhall | AltaLink | 2 | 2023-03-22
612L | 138 | Burdett | 368S | 52-Vauxhall | AltaLink | 1 | 2023-03-22
613L | 138 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 106 | 2023-03-22
613L | 138 | Pincher Creek | 396S | 53-Fort Macleod | AltaLink | 131 | 2023-03-22
616AL | 138 | Kettle's Hill | 383S | 53-Fort Macleod | AltaLink | 111 | 2023-03-22
616L | 138 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 137 | 2023-03-22
616L | 138 | Peigan | 59S | 53-Fort Macleod | AltaLink | 93 | 2023-03-22
624L | 138 | Fidler | 312S | 53-Fort Macleod | AltaLink | 21 | 2023-03-22
624L | 138 | Summerview | 354S | 53-Fort Macleod | AltaLink | 21 | 2023-03-22
646L | 138 | Foothills | 237S | 46-High River | AltaLink | 58 | 2023-03-22
646L | 138 | Okotoks | 678S | 46-High River | AltaLink | 34 | 2023-03-22
658AL | 138 | Hilda | 662S | 48-Empress | AltaLink | 60 | 2023-03-22
658L | 138 | Cypress | 562S | 48-Empress | AltaLink | 58 | 2023-03-22
658L | 138 | Chappice Lake | 649S | 04-Medicine Hat | AltaLink | 35 | 2023-03-22
666L | 138 | West Brooks | 28S | 47-Brooks | AltaLink | 109 | 2023-03-22
666L | 138 | Tilley | 498S | 47-Brooks | AltaLink | 127 | 2023-03-22
667L | 138 | Macdonald | 146S | 54-Lethbridge | City of Lethbridge | 15 | 2023-03-22
667L | 138 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 15 | 2023-03-22
668L | 138 | Empress | 394S | 48-Empress | AltaLink | 78 | 2023-03-22
668L | 138 | Cypress | 562S | 48-Empress | AltaLink | 120 | 2023-03-22
669L | 138 | Amoco Empress | 163S | 48-Empress | AltaLink | 124 | 2023-03-22
669L | 138 | Cypress | 562S | 48-Empress | AltaLink | 120 | 2023-03-22
674L | 138 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 35 | 2023-03-22
674L | 138 | Chappice Lake | 649S | 04-Medicine Hat | AltaLink | 35 | 2023-03-22
675L | 138 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 267 | 2023-03-22
675L | 138 | Al Rothbauer | 321S | 04-Medicine Hat | AltaLink | 220 | 2023-03-22
676L | 138 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 268 | 2023-03-22
676L | 138 | Bullshead | 523S | 04-Medicine Hat | AltaLink | 214 | 2023-03-22
679L | 138 | Tucuman | 478S | 32-Wainwright | AltaLink | 165 | 2023-03-22
679L | 138 | Nilrem | 574S | 32-Wainwright | AltaLink | 224 | 2023-03-22
680L | 138 | Tucuman | 478S | 32-Wainwright | AltaLink | 165 | 2023-03-22
680L | 138 | Nilrem | 574S | 32-Wainwright | AltaLink | 224 | 2023-03-22
681L | 138 | Hardisty | 377S | 32-Wainwright | AltaLink | 220 | 2023-03-22
681L | 138 | Tucuman | 478S | 32-Wainwright | AltaLink | 211 | 2023-03-22
691L | 138 | Chestermere | 419S | 6-Calgary | AltaLink | 3 | 2023-03-22
691L | 138 | Janet | 74S | 6-Calgary | AltaLink | 2 | 2023-03-22
696L/7L696 | 138 | Lakesend | 508S | 42-Hanna | AltaLink | 87 | 2023-03-22
696L/7L696 | 138 | Ribstone Creek | 892S | 42-Hanna | ATCO | 85 | 2023-03-22
6L02 | 69 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 56 | 2023-03-22
6L02 | 69 | Mannix Mine | 765S | 36-Alliance/Battle River | ATCO | 55 | 2023-03-22
6L02 | 69 | Mannix Mine | 765S | 36-Alliance/Battle River | ATCO | 58 | 2023-03-22
6L02 | 69 | Stettler | 769S | 42-Hanna | ATCO | 66 | 2023-03-22
6L02 | 69 | Marion Lake | 873S | 42-Hanna | ATCO | 91 | 2023-03-22
6L02 | 69 | Marion Lake | 873S | 42-Hanna | ATCO | 82 | 2023-03-22
6L03 | 69 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 53 | 2023-03-22
6L03 | 69 | Sullivan Lake | 775S | 42-Hanna | ATCO | 41 | 2023-03-22
6L05 | 69 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 58 | 2023-03-22
6L05 | 69 | Heisler | 764S | 36-Alliance/Battle River | ATCO | 42 | 2023-03-22
6L05 | 69 | Big Knife Creek | 843S | 36-Alliance/Battle River | ATCO | 59 | 2023-03-22
6L05 | 69 | Big Knife Creek | 843S | 36-Alliance/Battle River | ATCO | 46 | 2023-03-22
6L08 | 69 | Bigfoot | 756S | 36-Alliance/Battle River | ATCO | 49 | 2023-03-22
6L08 | 69 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 48 | 2023-03-22
6L09 | 69 | Hanna | 763S | 42-Hanna | ATCO | 18 | 2023-03-22
6L09 | 69 | Oyen | 767S | 42-Hanna | ATCO | 19 | 2023-03-22
6L09 | 69 | Youngstown | 772S | 42-Hanna | ATCO | 23 | 2023-03-22
6L09 | 69 | Youngstown | 772S | 42-Hanna | ATCO | 23 | 2023-03-22
6L09 | 69 | Richdale | 776S | 42-Hanna | ATCO | 22 | 2023-03-22
6L09 | 69 | Richdale | 776S | 42-Hanna | ATCO | 20 | 2023-03-22
6L12 | 69 | Sullivan Lake | 775S | 42-Hanna | ATCO | 14 | 2023-03-22
6L15 | 69 | Hanna | 763S | 42-Hanna | ATCO | 20 | 2023-03-22
6L15 | 69 | Sullivan Lake | 775S | 42-Hanna | ATCO | 16 | 2023-03-22
6L17 | 69 | Castor | 759S | 42-Hanna | ATCO | 55 | 2023-03-22
6L21 | 69 | Youngstown Express | 2037S | 42-Hanna | ATCO | 17 | 2023-03-22
6L25 | 69 | Coronation | 773S | 42-Hanna | ATCO | 15 | 2023-03-22
6L44 | 69 | Stettler | 769S | 42-Hanna | ATCO | 8 | 2023-03-22
6L44 | 69 | Big Valley | 778S | 42-Hanna | ATCO | 8 | 2023-03-22
6L56 | 69 | Hanna | 763S | 42-Hanna | ATCO | 22 | 2023-03-22
6L56 | 69 | Michichi Creek | 802S | 42-Hanna | ATCO | 32 | 2023-03-22
701L | 138 | Strome | 223S | 56-Vegreville | AltaLink | 136 | 2023-03-22
701L | 138 | North Holden | 395S | 56-Vegreville | AltaLink | 81 | 2023-03-22
701L/7L701 | 138 | Strome | 223S | 56-Vegreville | AltaLink | 135 | 2023-03-22
702L | 138 | Sedgewick | 137S | 32-Wainwright | AltaLink | 97 | 2023-03-22
702L | 138 | Hardisty | 377S | 32-Wainwright | AltaLink | 65 | 2023-03-22
702L/7L702 | 138 | Sedgewick | 137S | 32-Wainwright | AltaLink | 97 | 2023-03-22
702L/7L702 | 138 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 114 | 2023-03-22
703BL | 138 | HRT Express | 329S | 32-Wainwright | AltaLink | 107 | 2023-03-22
703L | 138 | Hughenden | 213S | 37-Provost | AltaLink | 137 | 2023-03-22
703L | 138 | Hardisty | 377S | 32-Wainwright | AltaLink | 105 | 2023-03-22
704L | 138 | Tucuman | 478S | 32-Wainwright | AltaLink | 86 | 2023-03-22
704L | 138 | Wainwright | 51S | 32-Wainwright | AltaLink | 77 | 2023-03-22
715AL | 138 | Hansman Lake | 650S | 37-Provost | AltaLink | 107 | 2023-03-22
715L | 138 | Provost | 545S | 37-Provost | AltaLink | 134 | 2023-03-22
722L | 138 | Westfield | 107S | 52-Vauxhall | AltaLink | 1 | 2023-03-22
722L | 138 | Burdett | 368S | 52-Vauxhall | AltaLink | 1 | 2023-03-22
725AL | 138 | Riverbend | 618S | 54-Lethbridge | AltaLink | 15 | 2023-03-22
725L | 138 | Coalbanks | 111S | 54-Lethbridge | City of Lethbridge | 15 | 2023-03-22
725L | 138 | Fort Macleod | 15S | 53-Fort Macleod | AltaLink | 18 | 2023-03-22
725L | 138 | Bowron | 674S | 54-Lethbridge | City of Lethbridge | 16 | 2023-03-22
725L | 138 | Bowron | 674S | 54-Lethbridge | City of Lethbridge | 16 | 2023-03-22
727AL | 138 | Magcan | 142S | 46-High River | AltaLink | 34 | 2023-03-22
727L | 138 | High River | 65S | 46-High River | AltaLink | 33 | 2023-03-22
727L | 138 | Okotoks | 678S | 46-High River | AltaLink | 34 | 2023-03-22
733L | 138 | Strathmore | 151S | 45-Strathmore/Blackie | AltaLink | 4 | 2023-03-22
733L | 138 | Gleichen | 179S | 45-Strathmore/Blackie | AltaLink | 6 | 2023-03-22
733L | 138 | Namaka | 428S | 45-Strathmore/Blackie | AltaLink | 5 | 2023-03-22
733L | 138 | Namaka | 428S | 45-Strathmore/Blackie | AltaLink | 5 | 2023-03-22
734L | 138 | Uplands | 241S | 54-Lethbridge | City of Lethbridge | 15 | 2023-03-22
734L | 138 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 15 | 2023-03-22
748L | 138 | Killarney Lake | 267S | 37-Provost | AltaLink | 134 | 2023-03-22
748L | 138 | Hayter | 277S | 37-Provost | AltaLink | 187 | 2023-03-22
749AL | 138 | Killarney Lake | 267S | 37-Provost | AltaLink | 157 | 2023-03-22
749L | 138 | Metiskow | 648S | 37-Provost | AltaLink | 143 | 2023-03-22
749L | 138 | Edgerton | 899S | 37-Provost | AltaLink | 171 | 2023-03-22
749L/7L749 | 138 | Edgerton | 899S | 37-Provost | AltaLink | 159 | 2023-03-22
753L | 138 | Blackie | 253S | 45-Strathmore/Blackie | AltaLink | 14 | 2023-03-22
753L | 138 | High River | 65S | 46-High River | AltaLink | 33 | 2023-03-22
760AL | 138 | Empress Liquids | 164S | 48-Empress | AltaLink | 78 | 2023-03-22
760L | 138 | Amoco Empress | 163S | 48-Empress | AltaLink | 95 | 2023-03-22
760L | 138 | Amoco Empress | 163S | 48-Empress | AltaLink | 107 | 2023-03-22
760L | 138 | Empress | 394S | 48-Empress | AltaLink | 123 | 2023-03-22
763AL | 138 | Enchant | 447S | 52-Vauxhall | AltaLink | 11 | 2023-03-22
763L | 138 | Vauxhall | 158S | 52-Vauxhall | AltaLink | 7 | 2023-03-22
763L | 138 | Vauxhall | 158S | 52-Vauxhall | AltaLink | 7 | 2023-03-22
763L | 138 | Hull | 257S | 52-Vauxhall | AltaLink | 5 | 2023-03-22
763L | 138 | West Brooks | 28S | 47-Brooks | AltaLink | 70 | 2023-03-22
765L | 138 | Strathmore | 151S | 45-Strathmore/Blackie | AltaLink | 4 | 2023-03-22
765L | 138 | Chestermere | 419S | 6-Calgary | AltaLink | 3 | 2023-03-22
769AL | 138 | Clipper | 656S | 32-Wainwright | AltaLink | 84 | 2023-03-22
769BL | 138 | Battle Sands | 594S | 32-Wainwright | AltaLink | 90 | 2023-03-22
769L | 138 | Rosyth | 296S | 32-Wainwright | AltaLink | 77 | 2023-03-22
769L | 138 | Hardisty | 377S | 32-Wainwright | AltaLink | 90 | 2023-03-22
770L | 138 | Coaldale | 254S | 54-Lethbridge | AltaLink | 8 | 2023-03-22
770L | 138 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 15 | 2023-03-22
782L | 138 | Wyndham | 269S | 45-Strathmore/Blackie | AltaLink | 20 | 2023-03-22
782L | 138 | Carseland | 525S | 45-Strathmore/Blackie | AltaLink | 20 | 2023-03-22
786L | 138 | Coleman | 799S | 53-Fort Macleod | AltaLink | 99 | 2023-03-22
794L/7L794 | 138 | Lac La Biche | 157S | 27-Athabasca/Lac La Biche | AltaLink | 96 | 2023-03-22
794L/7L794 | 138 | Whitbylake | 819S | 56-Vegreville | ATCO | 95 | 2023-03-22
795L | 138 | Brooks | 121S | 47-Brooks | AltaLink | 84 | 2023-03-22
795L | 138 | Hays | 421S | 52-Vauxhall | AltaLink | 11 | 2023-03-22
7L110 | 138 | Monitor | 774S | 42-Hanna | ATCO | 86 | 2023-03-22
7L110 | 138 | Loyalist | 903S | 42-Hanna | ATCO | 86 | 2023-03-22
7L116 | 138 | Excel | 910S | 42-Hanna | ATCO | 92 | 2023-03-22
7L116 | 138 | Lanfine | 959S | 42-Hanna | ATCO | 92 | 2023-03-22
7L117 | 138 | Irish Creek | 706S | 13-Lloydminster | ATCO | 170 | 2023-03-22
7L117 | 138 | Vermilion | 710S | 13-Lloydminster | ATCO | 111 | 2023-03-22
7L127 | 138 | Monitor | 774S | 42-Hanna | ATCO | 235 | 2023-03-22
7L127 | 138 | Pemukan | 932S | 42-Hanna | ATCO | 227 | 2023-03-22
7L128 | 138 | Michichi Creek | 802S | 42-Hanna | ATCO | 222 | 2023-03-22
7L128 | 138 | Coyote Lake | 963S | 43-Sheerness | ATCO | 204 | 2023-03-22
7L129 | 138 | Buffalo Creek | 526S | 32-Wainwright | AltaLink | 131 | 2023-03-22
7L129 | 138 | Vermilion | 710S | 13-Lloydminster | ATCO | 93 | 2023-03-22
7L130 | 138 | Kitscoty | 705S | 13-Lloydminster | ATCO | 161 | 2023-03-22
7L130 | 138 | Vermilion | 710S | 13-Lloydminster | ATCO | 122 | 2023-03-22
7L132 | 138 | Oyen | 767S | 42-Hanna | ATCO | 134 | 2023-03-22
7L132 | 138 | Lanfine | 959S | 42-Hanna | ATCO | 125 | 2023-03-22
7L137 | 138 | Rowley | 768S | 42-Hanna | ATCO | 125 | 2023-03-22
7L137 | 138 | Three Hills | 770S | 42-Hanna | ATCO | 87 | 2023-03-22
7L139 | 138 | St. Paul | 707S | 56-Vegreville | ATCO | 147 | 2023-03-22
7L139 | 138 | Whitbylake | 819S | 56-Vegreville | ATCO | 113 | 2023-03-22
7L14 | 138 | Kitscoty | 705S | 13-Lloydminster | ATCO | 156 | 2023-03-22
7L14 | 138 | Hill | 751S | 13-Lloydminster | ATCO | 172 | 2023-03-22
7L143 | 138 | Nevis | 766S | 42-Hanna | ATCO | 77 | 2023-03-22
7L143 | 138 | Stettler | 769S | 42-Hanna | ATCO | 84 | 2023-03-22
7L153 | 138 | Wheatland | 609S | 43-Sheerness | ATCO | 50 | 2023-03-22
7L153 | 138 | Wintering Hills | 804S | 43-Sheerness | ATCO | 50 | 2023-03-22
7L159 | 138 | Three Hills | 770S | 42-Hanna | ATCO | 87 | 2023-03-22
7L159 | 138 | Heatburg | 948S | 42-Hanna | ATCO | 64 | 2023-03-22
7L16 | 138 | Nevis | 766S | 42-Hanna | ATCO | 56 | 2023-03-22
7L16 | 138 | Heatburg | 948S | 42-Hanna | ATCO | 69 | 2023-03-22
7L171 | 138 | Michichi Creek | 802S | 42-Hanna | ATCO | 38 | 2023-03-22
7L171 | 138 | Wintering Hills | 804S | 43-Sheerness | ATCO | 50 | 2023-03-22
7L224 | 138 | Hansman Lake | 650S | 37-Provost | AltaLink | 90 | 2023-03-22
7L224 | 138 | Monitor | 774S | 42-Hanna | ATCO | 146 | 2023-03-22
7L238 | 138 | Buffalo Bird | 601S | 42-Hanna | ATCO | 182 | 2023-03-22
7L238 | 138 | Lanfine | 959S | 42-Hanna | ATCO | 181 | 2023-03-22
7L25 | 138 | Rowley | 768S | 42-Hanna | ATCO | 129 | 2023-03-22
7L25 | 138 | Michichi Creek | 802S | 42-Hanna | ATCO | 107 | 2023-03-22
7L42 | 138 | Lloydminster | 716S | 13-Lloydminster | ATCO | 175 | 2023-03-22
7L42 | 138 | Hill | 751S | 13-Lloydminster | ATCO | 167 | 2023-03-22
7L50 | 138 | Buffalo Creek | 526S | 32-Wainwright | AltaLink | 80 | 2023-03-22
7L50 | 138 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 132 | 2023-03-22
7L53 | 138 | Bonnyville | 700S | 28-Cold Lake | ATCO | 124 | 2023-03-22
7L53 | 138 | Irish Creek | 706S | 13-Lloydminster | ATCO | 127 | 2023-03-22
7L65 | 138 | Vegreville | 709S | 56-Vegreville | ATCO | 126 | 2023-03-22
7L65 | 138 | Vermilion | 710S | 13-Lloydminster | ATCO | 117 | 2023-03-22
7L70 | 138 | Bonnyville | 700S | 28-Cold Lake | ATCO | 114 | 2023-03-22
7L70 | 138 | St. Paul | 707S | 56-Vegreville | ATCO | 170 | 2023-03-22
7L701 | 138 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 176 | 2023-03-22
7L749 | 138 | Lloydminster | 716S | 13-Lloydminster | ATCO | 92 | 2023-03-22
7L760 | 138 | Oyen | 767S | 42-Hanna | ATCO | 103 | 2023-03-22
7L77 | 138 | North Holden | 395S | 56-Vegreville | AltaLink | 123 | 2023-03-22
7L77 | 138 | Vegreville | 709S | 56-Vegreville | ATCO | 94 | 2023-03-22
7L79 | 138 | Veteran | 771S | 42-Hanna | ATCO | 102 | 2023-03-22
7L79 | 138 | Veteran | 771S | 42-Hanna | ATCO | 108 | 2023-03-22
7L79 | 138 | Ribstone Creek | 892S | 42-Hanna | ATCO | 103 | 2023-03-22
7L79 | 138 | Pemukan | 932S | 42-Hanna | ATCO | 106 | 2023-03-22
7L85 | 138 | Anderson | 801S | 43-Sheerness | ATCO | 85 | 2023-03-22
7L85 | 138 | Bullpound | 803S | 43-Sheerness | ATCO | 70 | 2023-03-22
7L85 | 138 | Bullpound | 803S | 43-Sheerness | ATCO | 70 | 2023-03-22
7L85 | 138 | Wintering Hills | 804S | 43-Sheerness | ATCO | 50 | 2023-03-22
7L85AL | 138 | Badlands | 981S | 43-Sheerness | ATCO | 56 | 2023-03-22
7L92 | 138 | Vegreville | 709S | 56-Vegreville | ATCO | 114 | 2023-03-22
7L92 | 138 | Vilna | 777S | 56-Vegreville | ATCO | 156 | 2023-03-22
7L92 | 138 | Vilna | 777S | 56-Vegreville | ATCO | 140 | 2023-03-22
7L92 | 138 | Whitbylake | 819S | 56-Vegreville | ATCO | 147 | 2023-03-22
7LA128 | 138 | Highland | 572S | 42-Hanna | AltaLink | 180 | 2023-03-22
7LA129 | 138 | Bauer | 918S | 13-Lloydminster | ATCO | 108 | 2023-03-22
7LA159 | 138 | Ghost Pine | 114S | 42-Hanna | ATCO | 24 | 2023-03-22
7LA53 | 138 | Lindbergh | 969S | 28-Cold Lake | ATCO | 87 | 2023-03-22
7LA65 | 138 | Grizzly Bear | 708S | 13-Lloydminster | ATCO | 134 | 2023-03-22
7LA701 | 138 | Heisler | 764S | 36-Alliance/Battle River | ATCO | 129 | 2023-03-22
7LA760 | 138 | Bindloss | 914S | 48-Empress | ATCO | 100 | 2023-03-22
7LA92 | 138 | Watt Lake | 956S | 56-Vegreville | ATCO | 44 | 2023-03-22
7LB749 | 138 | Briker | 880S | 13-Lloydminster | ATCO | 101 | 2023-03-22
7LB760 | 138 | Cavendish | 893S | 48-Empress | ATCO | 100 | 2023-03-22
812AL | 138 | Hartell | 512S | 46-High River | AltaLink | 34 | 2023-03-22
812L | 138 | Black Diamond | 392S | 46-High River | AltaLink | 34 | 2023-03-22
812L | 138 | High River | 65S | 46-High River | AltaLink | 33 | 2023-03-22
813L | 138 | Macdonald | 146S | 54-Lethbridge | City of Lethbridge | 15 | 2023-03-22
813L | 138 | Uplands | 241S | 54-Lethbridge | City of Lethbridge | 15 | 2023-03-22
814L | 138 | Brooks | 121S | 47-Brooks | AltaLink | 233 | 2023-03-22
814L | 138 | West Brooks | 28S | 47-Brooks | AltaLink | 154 | 2023-03-22
820AL | 138 | Chin Chute | 315S | 54-Lethbridge | AltaLink | 8 | 2023-03-22
820L | 138 | Coaldale | 254S | 54-Lethbridge | AltaLink | 8 | 2023-03-22
820L | 138 | Stirling | 67S | 55-Glenwood | AltaLink | 8 | 2023-03-22
821L | 138 | Vauxhall | 158S | 52-Vauxhall | AltaLink | 7 | 2023-03-22
821L | 138 | Hays | 421S | 52-Vauxhall | AltaLink | 11 | 2023-03-22
823L | 138 | Macdonald | 146S | 54-Lethbridge | City of Lethbridge | 15 | 2023-03-22
823L | 138 | Lakeview | 593S | 54-Lethbridge | City of Lethbridge | 15 | 2023-03-22
824L | 138 | Lakeview | 593S | 54-Lethbridge | City of Lethbridge | 15 | 2023-03-22
824L | 138 | Riverbend | 618S | 54-Lethbridge | AltaLink | 15 | 2023-03-22
827L | 138 | Brooks | 121S | 47-Brooks | AltaLink | 233 | 2023-03-22
827L | 138 | West Brooks | 28S | 47-Brooks | AltaLink | 154 | 2023-03-22
830L | 138 | Cypress | 562S | 48-Empress | AltaLink | 25 | 2023-03-22
831AL | 138 | Cutting Lake | 227S | 47-Brooks | AltaLink | 90 | 2023-03-22
831L | 138 | Brooks | 121S | 47-Brooks | AltaLink | 90 | 2023-03-22
831L | 138 | Duchess | 339S | 47-Brooks | AltaLink | 91 | 2023-03-22
850L | 138 | Carseland | 525S | 45-Strathmore/Blackie | AltaLink | 20 | 2023-03-22
850L | 138 | Okotoks | 678S | 46-High River | AltaLink | 34 | 2023-03-22
851L | 138 | Blackie | 253S | 45-Strathmore/Blackie | AltaLink | 14 | 2023-03-22
851L | 138 | Carseland | 525S | 45-Strathmore/Blackie | AltaLink | 20 | 2023-03-22
853AL | 138 | Bassano | 435S | 47-Brooks | AltaLink | 83 | 2023-03-22
853L | 138 | West Brooks | 28S | 47-Brooks | AltaLink | 75 | 2023-03-22
853L | 138 | Queenstown | 504S | 45-Strathmore/Blackie | AltaLink | 63 | 2023-03-22
863L | 138 | Magrath | 225S | 55-Glenwood | AltaLink | 15 | 2023-03-22
863L | 138 | Riverbend | 618S | 54-Lethbridge | AltaLink | 15 | 2023-03-22
869L | 138 | Amoco Empress | 163S | 48-Empress | AltaLink | 44 | 2023-03-22
869L | 138 | Sandy Point | 204S | 48-Empress | AltaLink | 44 | 2023-03-22
871L | 138 | Amoco Empress | 163S | 48-Empress | AltaLink | 116 | 2023-03-22
871L | 138 | Sand Hills Sub | 341S | 48-Empress | AltaLink | 116 | 2023-03-22
876L | 138 | Gleichen | 179S | 45-Strathmore/Blackie | AltaLink | 6 | 2023-03-22
876L | 138 | Blackie | 253S | 45-Strathmore/Blackie | AltaLink | 14 | 2023-03-22
879AL | 138 | Rattlesnake Ridge | 719S | 04-Medicine Hat | AltaLink | 1 | 2023-03-22
879L | 138 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 3 | 2023-03-22
879L | 138 | Burdett | 368S | 52-Vauxhall | AltaLink | 1 | 2023-03-22
880L | 138 | Al Rothbauer | 321S | 04-Medicine Hat | AltaLink | 154 | 2023-03-22
880L | 138 | Bullshead | 523S | 04-Medicine Hat | AltaLink | 128 | 2023-03-22
885L | 138 | Metiskow | 648S | 37-Provost | AltaLink | 437 | 2023-03-22
885L | 138 | Hansman Lake | 650S | 37-Provost | AltaLink | 451 | 2023-03-22
886L | 138 | Namaka | 428S | 45-Strathmore/Blackie | AltaLink | 5 | 2023-03-22
886L | 138 | Hussar | 431S | 45-Strathmore/Blackie | AltaLink | 5 | 2023-03-22
891L | 138 | Garden City | 226S | 55-Glenwood | AltaLink | 15 | 2023-03-22
892L | 138 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 35 | 2023-03-22
892L | 138 | Suffield | 895S | 04-Medicine Hat | AltaLink | 62 | 2023-03-22
893AL | 138 | Windy Point | 112S | 53-Fort Macleod | AltaLink | 64 | 2023-03-22
893L | 138 | Fidler | 312S | 53-Fort Macleod | AltaLink | 93 | 2023-03-22
893L | 138 | Oldman River | 806S | 53-Fort Macleod | AltaLink | 65 | 2023-03-22
912L | 240 | Red Deer | 63S | 35-Red Deer | AltaLink | 342 | 2023-03-22
912L | 240 | Nevis | 766S | 42-Hanna | ATCO | 466 | 2023-03-22
923L | 240 | Newell | 2075S | 47-Brooks | AltaLink | 466 | 2023-03-22
923L | 240 | Milo | 356S | 47-Brooks | AltaLink | 466 | 2023-03-22
924L | 240 | Langdon | 102S | 6-Calgary | AltaLink | 378 | 2023-03-22
924L | 240 | Milo | 356S | 47-Brooks | AltaLink | 466 | 2023-03-22
927L | 240 | Langdon | 102S | 6-Calgary | AltaLink | 408 | 2023-03-22
927L | 240 | Milo | 356S | 47-Brooks | AltaLink | 466 | 2023-03-22
931L | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 466 | 2023-03-22
931L | 240 | West Brooks | 28S | 47-Brooks | AltaLink | 466 | 2023-03-22
933L/9L933 | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 414 | 2023-03-22
933L/9L933 | 240 | Anderson | 801S | 43-Sheerness | ATCO | 466 | 2023-03-22
934L/9L934 | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 297 | 2023-03-22
934L/9L934 | 240 | Anderson | 801S | 43-Sheerness | ATCO | 466 | 2023-03-22
935L | 240 | Cassils | 324S | 47-Brooks | AltaLink | 466 | 2023-03-22
935L | 240 | Milo | 356S | 47-Brooks | AltaLink | 466 | 2023-03-22
940L | 240 | Picture Butte | 120S | 54-Lethbridge | AltaLink | 311 | 2023-03-22
940L | 240 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 303 | 2023-03-22
944L | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 466 | 2023-03-22
944L | 240 | Jenner | 275S | 48-Empress | AltaLink | 265 | 2023-03-22
945L | 240 | Jenner | 275S | 48-Empress | AltaLink | 265 | 2023-03-22
945L | 240 | Cypress | 562S | 48-Empress | AltaLink | 158 | 2023-03-22
948L/9L948 | 240 | Hansman Lake | 650S | 37-Provost | AltaLink | 300 | 2023-03-22
948L/9L948 | 240 | Paintearth Creek | 863S | 36-Alliance/Battle River | ATCO | 432 | 2023-03-22
949L | 240 | Jenner | 275S | 48-Empress | AltaLink | 265 | 2023-03-22
949L | 240 | Halsbury | 306S | 48-Empress | AltaLink | 267 | 2023-03-22
950L/9L950 | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 298 | 2023-03-22
950L/9L950 | 240 | Anderson | 801S | 43-Sheerness | ATCO | 466 | 2023-03-22
951L | 240 | Ware Junction | 132S | 47-Brooks | AltaLink | 466 | 2023-03-22
951L | 240 | Jenner | 275S | 48-Empress | AltaLink | 265 | 2023-03-22
953L/9L953 | 240 | Nilrem | 574S | 32-Wainwright | AltaLink | 455 | 2023-03-22
953L/9L953 | 240 | Cordel | 755S | 36-Alliance/Battle River | ATCO | 466 | 2023-03-22
954L | 240 | Metiskow | 648S | 37-Provost | AltaLink | 392 | 2023-03-22
954L | 240 | Hansman Lake | 650S | 37-Provost | AltaLink | 390 | 2023-03-22
955L | 240 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 429 | 2023-03-22
955L | 240 | Peigan | 59S | 53-Fort Macleod | AltaLink | 398 | 2023-03-22
956L | 240 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 429 | 2023-03-22
956L | 240 | Peigan | 59S | 53-Fort Macleod | AltaLink | 398 | 2023-03-22
964AL | 240 | Granlea | 1024S | 04-Medicine Hat | AltaLink | 466 | 2023-03-22
964L | 240 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 466 | 2023-03-22
964L | 240 | Whitla | 251S | 04-Medicine Hat | AltaLink | 466 | 2023-03-22
966L/9L966 | 240 | Hansman Lake | 650S | 37-Provost | AltaLink | 466 | 2023-03-22
966L/9L966 | 240 | Pemukan | 932S | 42-Hanna | ATCO | 466 | 2023-03-22
967L | 240 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 418 | 2023-03-22
967L | 240 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 368 | 2023-03-22
968L | 240 | Windy Flats | 138S | 53-Fort Macleod | AltaLink | 418 | 2023-03-22
968L | 240 | North Lethbridge | 370S | 54-Lethbridge | AltaLink | 368 | 2023-03-22
983AL | 240 | Woolchester | 1019S | 04-Medicine Hat | AltaLink | 466 | 2023-03-22
983L | 240 | Bowmanton | 244S | 04-Medicine Hat | AltaLink | 466 | 2023-03-22
983L | 240 | Whitla | 251S | 04-Medicine Hat | AltaLink | 466 | 2023-03-22
994L | 240 | Goose Lake | 103S | 53-Fort Macleod | AltaLink | 429 | 2023-03-22
994L | 240 | Fidler | 312S | 53-Fort Macleod | AltaLink | 431 | 2023-03-22
9L100 | 240 | Anderson | 801S | 43-Sheerness | ATCO | 65 | 2023-03-22
9L100 | 240 | Sheerness | 807S | 43-Sheerness | ATCO | 65 | 2023-03-22
9L16 | 240 | Cordel | 755S | 36-Alliance/Battle River | ATCO | 287 | 2023-03-22
9L16 | 240 | Tinchebray | 972S | 36-Alliance/Battle River | ATCO | 313 | 2023-03-22
9L20 | 240 | Cordel | 755S | 36-Alliance/Battle River | ATCO | 466 | 2023-03-22
9L20 | 240 | Nevis | 766S | 36-Alliance/Battle River | ATCO | 335 | 2023-03-22
9L24 | 240 | Oakland | 946S | 43-Sheerness | ATCO | 466 | 2023-03-22
9L24 | 240 | Lanfine | 959S | 42-Hanna | ATCO | 466 | 2023-03-22
9L27 | 240 | Cordel | 755S | 36-Alliance/Battle River | ATCO | 466 | 2023-03-22
9L27 | 240 | Paintearth Creek | 863S | 36-Alliance/Battle River | ATCO | 466 | 2023-03-22
9L29 | 240 | Oakland | 946S | 43-Sheerness | ATCO | 466 | 2023-03-22
9L29 | 240 | Coyote Lake | 963S | 43-Sheerness | ATCO | 466 | 2023-03-22
9L46 | 240 | Pemukan | 932S | 42-Hanna | ATCO | 320 | 2023-03-22
9L46 | 240 | Lanfine | 959S | 42-Hanna | ATCO | 466 | 2023-03-22
9L46AL | 240 | Sedalia | 363S | 42-Hanna | ATCO | 395 | 2023-03-22
9L59 | 240 | Anderson | 801S | 43-Sheerness | ATCO | 466 | 2023-03-22
9L59 | 240 | Tinchebray | 972S | 36-Alliance/Battle River | ATCO | 313 | 2023-03-22
9L59AL | 240 | Garden Plain | 1045S | 42-Hanna | ATCO | 466 | 2023-03-22
9L70 | 240 | Anderson | 801S | 43-Sheerness | ATCO | 466 | 2023-03-22
9L70 | 240 | Oakland | 946S | 43-Sheerness | ATCO | 466 | 2023-03-22
9L79 | 240 | Cordel | 755S | 36-Alliance/Battle River | ATCO | 108 | 2023-03-22
9L79 | 240 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 108 | 2023-03-22
9L80 | 240 | Cordel | 755S | 36-Alliance/Battle River | ATCO | 466 | 2023-03-22
9L80 | 240 | Battle River | 757S | 36-Alliance/Battle River | ATCO | 466 | 2023-03-22
9L93 | 240 | Halkirk | 615S | 42-Hanna | ATCO | 233 | 2023-03-22
9L93 | 240 | Tinchebray | 972S | 36-Alliance/Battle River | ATCO | 232 | 2023-03-22
9L97 | 240 | Anderson | 801S | 43-Sheerness | ATCO | 466 | 2023-03-22
9L97 | 240 | Oakland | 946S | 43-Sheerness | ATCO | 466 | 2023-03-22
9L99 | 240 | Anderson | 801S | 43-Sheerness | ATCO | 83 | 2023-03-22
9L99 | 240 | Sheerness | 807S | 43-Sheerness | ATCO | 83 | 2023-03-22
CHD-1 | 69 | Magrath | 225S | 55-Glenwood | AltaLink | 15 | 2023-03-22
CHD-1 | 69 | Taylor Hydro Plant |  | 55-Glenwood | AltaLink | 15 | 2023-03-22
PCES01L | 138 | Namaka | 428S | 45-Strathmore/Blackie | AltaLink | 5 | 2023-03-22
PCES01L | 138 | Cavalier |  | 45-Strathmore/Blackie | AltaLink | 5 | 2023-03-22