# Frequency Response and Frequency Bias Setting

# BAL-003-AB1-1.1

# Standard Effective Date: August 1, 2019

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X1 |  |  |  |  |  |  |  |  |  |
| R2 |  | X1 |  |  |  |  |  |  |  |  |  |
| R3 |  | X1 |  |  |  |  |  |  |  |  |  |
| R4 |  | X1 |  |  |  |  |  |  |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 The ISO, unless the interconnected electric system is not synchronously connected to the Interconnection.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |
| R3 |  |  |  |
| R4 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	The ISO must:

(a) achieve an annual frequency response measure (as calculated in accordance with Appendix A) that is equal to or more negative than its frequency response obligation; and

(b) report, in accordance with Appendix A, the annual frequency response measure calculated pursuant to requirement R1(a),

which obligations the ISO may meet through participation in a frequency response sharing group which the ISO has designated as its agent.

M1.	Evidence of achieving an annual frequency response measure as required in requirement R1, and of reporting the annual frequency response measure as required in requirement R1 exists. Evidence may include dated data plus documented formula in either hardcopy or electronic format that shows an annual frequency response measure was achieved that is equal to or more negative than the frequency response obligation, a dated document in hard copy or electronic format showing submission of a completed report, or other equivalent evidence.

### Entity Response (Required):

Question: Did the ISO designate a frequency response sharing group as its agent to meet the obligations of requirement R1? ☐ Yes ☐ No If No, complete the remaining sections of this RSAW for requirement R1. If, Yes, provide evidence of ISO’s membership in a frequency response sharing group.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to BAL-003-AB1-1.1, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1(a)) Verify the ISO achieved an annual frequency response measure that is equal to or more negative than its frequency response obligation. |
| --- | --- |
|  | (R1(a)) Verify the ISO calculated the annual frequency response in accordance with Appendix A. |
|  | (R1(b)) Verify the ISO reported the annual frequency response measure calculated pursuant to requirement R1(a). |
|  | (R1(b)) Verify the ISO reported the annual frequency response in accordance with Appendix A. |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	The ISO must, if it is not receiving overlap regulation service and uses a fixed frequency bias setting:

R2.1 implement the frequency bias setting determined in accordance with Appendix A, as validated by the Electric Reliability Organization, into its area control error calculation during the implementation period specified by the Electric Reliability Organization; and

R2.2 use this frequency bias setting until directed to change by the Electric Reliability Organization.

M2.	Evidence of implementing the frequency bias setting as validated by the Electric Reliability Organization into the area control error calculation as required in requirement R2 exists. Evidence may include a dated document in hard copy or electronic format showing the frequency bias setting as validated by the Electric Reliability Organization was implemented into the area control error calculation within the implementation period specified, or other equivalent evidence.

### Entity Response (Required):

Question: Is the ISO not receiving overlap regulation service and uses a fixed frequency bias setting? ☐ Yes ☐ No If No, how was this determination ascertained to demonstrate that the requirement is not applicable. If Yes, complete the remaining sections of this RSAW for requirement R2.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to BAL-003-AB1-1.1, R2

(This section to be completed by the Compliance Monitoring Entity):

|  | (R2) Verify the ISO, while not receiving overlap regulation services and using a fixed frequency bias setting: |
| --- | --- |
|  | (R2.1) Implemented the frequency bias setting determined in accordance with Appendix A, as validated by the Electric Reliability Organization, into its area control error calculation during the implementation period specified by the Electric Reliability Organization; and |
|  | (R2.2) Used this frequency bias setting until directed to change by the Electric Reliability Organization. |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	The ISO must, if it is not receiving overlap regulation service and is utilizing a variable frequency bias setting, maintain a frequency bias setting that is:

R3.1 less than zero at all times; and

R3.2 equal to or more negative than its frequency response obligation when frequency varies from 60 Hz by more than +/- 0.036 Hz.

M3.	Evidence of maintaining a frequency bias setting as required in requirement R3 exists. Evidence may include a dated report in hard copy or electronic format showing the average clock-minute average frequency bias setting was less than zero and, during periods when the clock-minute average frequency was outside of the range 59.964 Hz to 60.036 Hz, was equal to or more negative than the frequency response obligation, or other equivalent evidence.

### Entity Response (Required):

Question: Is the ISO not receiving overlap regulation service and uses a variable frequency bias setting? ☐ Yes ☐ No If No, how was this determination ascertained to demonstrate that the requirement is not applicable. If Yes, complete the remaining sections of this RSAW for requirement R3.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to BAL-003-AB1-1.1, R3

(This section to be completed by the Compliance Monitoring Entity):

|  | (R3) Verify the ISO, while not receiving overlap regulation service and using a variable frequency bias setting, maintained a frequency bias setting that is: |
| --- | --- |
|  | (R3.1) Less than zero at all times; and |
|  | (R3.2) Equal to or more negative than its frequency response obligation when frequency varies from 60 Hz by more than +/- 0.036 Hz. |
| Note to Auditor: |  |

### Auditor Notes:

## R4 Supporting Evidence and Documentation

R4.	The ISO must, if it is performing overlap regulation service, modify its frequency bias setting in its area control error calculation, in order to represent the frequency bias setting for the combined balancing authority area, to be equivalent to either:

R4.1 the sum of the frequency bias settings, as shown on the NERC FRS Form 1 and FRS Form 2 for the participating balancing authorities and as validated by the Electric Reliability Organization, or

R4.2 the frequency bias setting shown on the NERC FRS Form 1 and FRS Form 2 for the entirety of the participating balancing authority areas.

M4.	Evidence of modifying the frequency bias setting in the area control error calculation as required in requirement R4 exists. Evidence may include a dated operating log, database or list, in hard copy or electronic format, showing that when overlap regulation service was performed the frequency bias setting was modified in the area control error calculation, or other equivalent evidence.

### Entity Response (Required):

Question: Did the ISO perform overlap regulation service? ☐ Yes ☐ No If Yes, complete the remaining sections of this RSAW for requirement R4. If No, how was this determination ascertained to demonstrate that the requirement is not applicable?

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to BAL-003-AB1-1.1, R4

(This section to be completed by the Compliance Monitoring Entity):

|  | (R4) Verify the ISO, while performing overlap regulation service, modified its frequency bias setting in its area control error calculation, in order to represent the frequency bias setting for the combined balancing authority area, to be equivalent to either: |
| --- | --- |
|  | (R4.1) The sum of the frequency bias settings, as shown on the NERC FRS Form 1 and FRS Form 2 for the participating balancing authorities and as validated by the Electric Reliability Organization, or |
|  | (R4.2) The frequency bias setting shown on the NERC FRS Form 1 and FRS Form 2 for the entirety of the participating balancing authority areas. |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |