# Cyber Security – Supply Chain Risk Management

# CIP-013-AB-2

# Standard Effective Date: October 1, 2024

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements1

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X | X2 | X3 | X4 | X5 | X | X | X6 |  |  |
| R2 |  | X | X2 | X3 | X4 | X5 | X | X | X6 |  |  |
| R3 |  | X | X2 | X3 | X4 | X5 | X | X | X6 |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 For the purpose of the requirements contained herein, the list of functional entities marked in the table above will be collectively referred to as “Responsible Entities.” For requirements in this standard where a specific functional entity or subset of functional entities are the applicable entity or entities, the functional entity or entities are specified explicitly. Additionally, for the purpose of the requirements contained herein, the following facilities, systems, and equipment owned by each Responsible Entity marked in the table above are those to which these requirements are applicable. For requirements in this reliability standard where a specific type of facilities, system, or equipment or subset of facilities, systems, and equipment are applicable, these are specified explicitly. - Legal owner of an electric distribution system and legal owner of a transmission facility: One or more of the following facilities, systems and equipment that operate at, or control elements that operate at, a nominal voltage of 25 kV or less and are owned by a legal owner of an electric distribution system or a legal owner of a transmission facility for the protection or restoration of the bulk electric system: - Each underfrequency load shedding or under voltage load shed system that: - Is part of a load shedding program that is subject to one or more requirements in a reliability standard; and - Performs automatic load shedding under a common control system owned by the Responsible Entity, without human operator initiation, of 300 MW or more. - Each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard. - Each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to any transmission facility or electric distribution system where the protection system is subject to one or more requirements in a reliability standard. - Each cranking path and group of elements meeting the initial switching requirements from a blackstart resource up to and including the first point of connection of the starting station service of the next generating unit(s) or aggregated generating facility(ies) to be started. - Responsible Entities marked in the table above other than a legal owner of an electric distribution system: all bulk electric system facilities - Exemptions: The following are exempt from CIP-013-AB-2: - Cyber assets at facilities regulated by the Canadian Nuclear Safety Commission. - Cyber assets associated with communication networks and data communication links between discrete electronic security perimeters. - [Intentionally left blank.] - For the legal owner of an electric distribution system, the systems and equipment that are not included in section (a) above. - Responsible Entities that identify that they have no BES cyber systems categorized as high impact or medium impact according to the identification and categorization process required by CIP-002-AB-5.1 or any subsequent version of that reliability standard. 2 The legal owner of an aggregated generating facility that is part of the bulk electric system. 3 The operator of an aggregated generating facility that is part of the bulk electric system. 4 The legal owner of a generating unit that is part of the bulk electric system. 5 The operator of a generating unit that is part of the bulk electric system. 6 A legal owner of an electric distribution system that owns one or more of the following facilities, systems, and equipment for the protection or restoration of the bulk electric system: - Each underfrequency load shedding or under voltage load shed system that: - Is part of a load shedding program that is subject to one or more requirements in a reliability standard; and - Performs automatic load shedding under a common control system owned by the Responsible Entity, without human operator initiation, of 300 MW or more. - Each remedial action scheme where the remedial action scheme is subject to one or more requirements in a reliability standard; and - Each protection system (excluding underfrequency load shedding and under voltage load shed) that applies to an electric distribution system where the protection system is subject to one or more requirements in a reliability standard.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |
| R3 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	Each Responsible Entity shall develop one or more documented supply chain cyber security risk management plan(s) for high and medium impact BES cyber systems and their associated electronic access control or monitoring systems and physical access control systems. The plan(s) shall include: [Alberta Risk Rating: Medium] [Time Horizon: Operations Planning]

1.1. One or more process(es) used in planning for the procurement of BES cyber systems and their associated electronic access control or monitoring systems and physical access control systems to identify and assess cyber security risk(s) to the bulk electric system from vendor products or services resulting from: (i) procuring and installing vendor equipment and software; and (ii) transitions from one vendor(s) to another vendor(s).

1.2. One or more process(es) used in procuring BES cyber systems, and their associated electronic access control or monitoring systems and physical access control systems, that address the following, as applicable:

1.2.1. Notification by the vendor of vendor-identified incidents related to the products or services provided to the Responsible Entity that pose cyber security risk to the Responsible Entity;

1.2.2. Coordination of responses to vendor-identified incidents related to the products or services provided to the Responsible Entity that pose cyber security risk to the Responsible Entity;

1.2.3. Notification by vendors when remote or onsite access should no longer be granted to vendor representatives;

1.2.4. Disclosure by vendors of known vulnerabilities related to the products or services provided to the Responsible Entity;

1.2.5. Verification of software integrity and authenticity of all software and patches provided by the vendor for use in the BES cyber system and their associated electronic access control or monitoring systems and physical access control systems; and

1.2.6. Coordination of controls for vendor-initiated remote access.

M1.	Evidence shall include one or more documented supply chain cyber security risk management plan(s) as specified in the Requirement.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-013-AB-2, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) Verify the Responsible Entity has developed one or more documented supply chain cyber security risk management plan(s) for high and medium impact BES cyber systems and their associated electronic access control or monitoring systems and physical access control systems. |
| --- | --- |
|  | (Part 1.1) Verify the plans collectively contain one or more process(es) used in planning for the procurement of BES cyber systems and their associated electronic access control or monitoring systems and physical access control systems. Verify these processes collectively will result in the identification and assessment of cyber security risk(s) to the bulk electric system from vendor products or services resulting from: (i) procuring and installing vendor equipment and software; and (ii) transitions from one vendor(s) to another vendor(s). |
|  | (Part 1.2) Verify the plans collectively contain one or more process(es) used in procuring BES cyber systems, and their associated electronic access control or monitoring systems and physical access control systems, and that these processes address the areas identified in Part 1.2.1 through Part 1.2.6. If any of the areas identified in Part 1.2.1 through Part 1.2.6 are not applicable, verify the entity has documented the reason it is not applicable. |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	Each Responsible Entity shall implement its supply chain cyber security risk management plan(s) specified in Requirement R1. [Alberta Risk Rating: Medium] [Time Horizon: Operations Planning]

Note: Implementation of the plan does not require the Responsible Entity to renegotiate or abrogate existing contracts (including amendments to master agreements and purchase orders). Additionally, the following issues are beyond the scope of Requirement R2: (1) the actual terms and conditions of a procurement contract; and (2) vendor performance and adherence to a contract.

M2.	Evidence shall include documentation to demonstrate implementation of the supply chain cyber security risk management plan(s), which could include, but is not limited to, correspondence, policy documents, or working documents that demonstrate use of the supply chain cyber security risk management plan.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-013-AB-2, R2

(This section to be completed by the Compliance Monitoring Entity):

|  | (R2) For procurements of medium or high impact BES cyber systems begun on or after the effective date of CIP-013-AB-2 verify the Responsible Entity has implemented its documented supply chain cyber security risk management plans specified in Requirement R1. |
| --- | --- |
|  | (R2) For procurements of electronic access control or monitoring systems and physical access control systems associated with medium or high impact BES cyber systems begun on or after the effective date of CIP-013-AB-2, verify the Responsible Entity has implemented its documented supply chain cyber security risk management plans specified in Requirement R1. |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	Each Responsible Entity shall review and obtain CIP senior manager or delegate approval of its supply chain cyber security risk management plan(s) specified in Requirement R1 at least once every 15 months. [Alberta Risk Rating: Medium] [Time Horizon: Operations Planning]

M3.	Evidence shall include the dated supply chain cyber security risk management plan(s) approved by the CIP senior manager or delegate(s) and additional evidence to demonstrate review of the supply chain cyber security risk management plan(s). Evidence may include, but is not limited to, policy documents, revision history, records of review, or workflow evidence from a document management system that indicate review of supply chain risk management plan(s) at least once every 15 months; and documented approval by the CIP senior manager or delegate.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-013-AB-2, R3

(This section to be completed by the Compliance Monitoring Entity):

|  | (R3) Verify the Responsible Entity has reviewed its supply chain cyber security risk management plans specified in Requirement R1 on or before the effective date of CIP-013-AB-1, and at least once every 15 months thereafter. |
| --- | --- |
|  | (R3) Verify the Responsible Entity has obtained CIP senior manager or delegate approval of its supply chain cyber security risk management plans specified in Requirement R1 on or before the effective date of CIP-013-AB-1, and at least once every 15 months thereafter. |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |