# Physical Security

# CIP-014-AB-2

# Standard Effective Date: July 1, 2020

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X |  |  |  |  |  |  |  |  |  |
| R2 |  | X |  |  |  |  |  |  |  |  |  |
| R3 |  |  |  |  |  |  | X1 |  |  |  |  |
| R4 |  | X |  |  |  |  | X1 | X2 |  |  |  |
| R5 |  | X |  |  |  |  | X1 | X2 |  |  |  |
| R6 |  | X |  |  |  |  | X1 | X2 |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 The legal owner of a transmission facility that the ISO notifies pursuant to requirement R2. 2 The operator of a transmission facility that the legal owner of a transmission facility notifies pursuant to requirement R3.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |
| R3 |  |  |  |
| R4 |  |  |  |
| R5 |  |  |  |
| R6 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	The ISO must perform an initial risk assessment and subsequent risk assessments of existing transmission substations and those planned to be in service within 24 months that meet any of the following criteria:

- transmission facilities operated at 500 kV or higher;

- transmission facilities that are operating between 200 kV and 499 kV at a single substation, where the substation is connected at 200 kV or higher voltages to 3 or more other substations and has an aggregate weighted value exceeding 3000 according to the table below, with the “aggregate weighted value” for a substation determined by summing the “weight value per line” shown in the table below for each incoming and each outgoing bulk electric system transmission line that is connected to another transmission substation:

| Voltage Value of a Line | Weight Value per Line |
| --- | --- |
| 200 kV to 299 kV | 700 |
| 300 kV to 499 kV | 1300 |

- transmission facilities at a single substation location that are critical to the derivation of interconnection reliability operating limits and their associated contingencies;

and those risk assessments must consist of a transmission analysis or transmission analyses designed to identify those transmission substations that if rendered inoperable or damaged could result in instability, uncontrolled separation, or cascading.

R1.1 The ISO must perform subsequent risk assessments at least once every 30 months on a rolling basis.

R1.2 Intentionally left blank

M1.	Evidence of performing an initial risk assessment and subsequent risk assessments as required in requirement R1 exists. Evidence may include dated written or electronic documentation of the risk assessment of the transmission substations, or other equivalent evidence.

M1.1 Evidence of performing subsequent risk assessments as required in requirement R1.1 exists. Evidence may include dated written or electronic documentation of the subsequent risk assessments, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-014-AB-2, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) Review the ISO’s process for determining transmission substations subject to identification in accordance with requirement R1. |
| --- | --- |
|  | (R1) Verify the ISO performed a risk assessment of existing transmission substations and those planned to be in service within 24 months that meet any of the criteria identified in sections (i), (ii), and (iii). |
|  | (R1) Verify the ISO’s risk assessments consist of a transmission analysis or transmission analyses designed to identify transmission substations that if rendered inoperable or damaged could result in instability, uncontrolled separation, or cascading. |
|  | (R1.1) Verify that the ISO performed subsequent risk assessments at least once every 30 months on a rolling basis. |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	The ISO must notify the legal owner of a transmission facility of the transmission substations identified through the application of requirement R1 within 30 days following the completed requirement R1 risk assessment.

R2.1 The ISO must, if a transmission substation previously identified under requirement R1 is removed from the identification during a subsequent risk assessment performed according to requirement R1, within 30 days following the subsequent risk assessment, notify the legal owner of a transmission facility of the removal.

M2.	Evidence of notifying the legal owner of a transmission facility of the transmission substations identified through the application of requirements R1 as required in requirement R2. Evidence may include dated emails or other equivalent evidence.

M2.1 Evidence of notifying the legal owner of a transmission facility of the transmission substations removed through the application of requirements R1 as required in requirement R2. Evidence may include dated emails or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-014-AB-2, R2

(This section to be completed by the Compliance Monitoring Entity):

|  | (R2) Verify the ISO notified the legal owner of a transmission facility of the identified transmission substation within 30 days following the completed requirement R1 risk assessment. |
| --- | --- |
|  | (R2.1) Verify the ISO notified the legal owner of a transmission facility of the removed transmission substation within 30 days following the subsequent requirement R1 risk assessment. |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	The legal owner of a transmission facility must,

(a) if a transmission substation is identified under requirement R1; and

(b) if the legal owner of a transmission facility does not operate the transmission substation; then

within 7 days following the notification under requirement R2, provide notification of the identification to the operator of a transmission facility that has operational control of the associated primary control centre.

R3.1 The legal owner of a transmission facility must,

(a) if a transmission substation previously identified under requirement R1 is removed from the identification during a subsequent risk assessment performed according to requirement R1; and

(b) if the legal owner of a transmission facility does not operate the transmission substation; then

within 7 days following the notification under requirement R2.1, provide notification of the removal to the operator of a transmission facility that has operational control of the associated primary control centre.

M3.	Evidence of notifying the operator of the transmission facility of the transmission substations identified through the application of requirements R1 as required in requirement R3 exists. Evidence may include dated written or electronic notifications or communications, or other equivalent evidence.

M3.1 Evidence of notifying the operator of the transmission facility of the transmission substations removed through the application of requirements R1 as required in requirement R3.1 exists. Evidence may include dated written or electronic notifications or communications, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-014-AB-2, R3

(This section to be completed by the Compliance Monitoring Entity):

|  | (R3) If a transmission substation is identified under requirement R1, and if the legal owner of a transmission facility does not operate the transmission substation, then: Verify that within 7 days following the notification under requirement R2, the legal owner of a transmission facility provided notification of the identification to the operator of a transmission facility that has operational control of the associated primary control centre. |
| --- | --- |
|  | (R3.1) If a transmission substation previously identified under requirement R1 is removed from the identification during a subsequent risk assessment performed according to requirement R1, and if the legal owner of a transmission facility does not operate the transmission substation, then: Verify that within 7 days following the notification under requirement R2.1, the legal owner of a transmission facility provided notification of the removal to the operator of a transmission facility that has operational control of the associated primary control centre. |
| Note to Auditor: |  |

### Auditor Notes:

## R4 Supporting Evidence and Documentation

R4.	Each of:

(a) the legal owner of a transmission facility with a transmission substation identified in the notification provided under requirement R2;

(b) the operator of a transmission facility with a primary control centre that controls any of the substations identified in the notification provided under requirement R3; and

(c) the ISO in respect of its primary control centre;

must conduct an evaluation of the potential threats and vulnerabilities of a physical attack to each of those respective facilities, which evaluation must consider the following:

R4.1 unique characteristics of the identified transmission substations and primary control centres;

R4.2 prior history of attack on similar facilities taking into account the frequency, geographic proximity, and severity of past physical security related events; and

R4.3 intelligence or threat warnings received from sources such as law enforcement, the Electric Reliability Organization, the Electricity Information Sharing and Analysis Center, U.S. federal governmental agencies, Canadian governmental agencies, or their successors.

M4.	Evidence of conducting an evaluation of the potential threats and vulnerabilities of a physical attack as required in requirement R4 exists. Evidence may include dated written or electronic documentation that each of the legal owner of a transmission facility, the operator of a transmission facility, and the ISO conducted an evaluation of the potential threats and vulnerabilities of a physical attack to their respective transmission stations, transmission substations and primary control centres, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-014-AB-2, R4

(This section to be completed by the Compliance Monitoring Entity):

|  | (R4) Verify the entity conducted an evaluation of the potential threats and vulnerabilities of a physical attack to each of its respective facilities identified in requirement R4, which considered the following: |
| --- | --- |
|  | (R4.1) Unique characteristics as described in sub-requirement R4.1. |
|  | (R4.2) Prior history of attack on similar facilities taking into account the frequency, geographic proximity, and severity of past physical security related events. |
|  | (R4.3) Intelligence or threat warnings as described in sub-requirement R4.3. |
| Note to Auditor: |  |

### Auditor Notes:

## R5 Supporting Evidence and Documentation

R5.	Each of the legal owner of a transmission facility with a transmission substation identified in accordance with requirement R2, the operator of a transmission facility with a primary control centre that controls any of the substations identified in the notification provided under requirement R3, and the ISO in respect of its primary control centre, must:

(a) develop and implement one or more documented physical security plans that covers any respective transmission substations, and primary control centre;

(b) develop such physical security plans:

(i) within 180 days following the applicable notifications received in accordance with requirement R2 or requirement R3; or

(ii) for the ISO’s primary control centre, within 180 days of the effective date of this reliability standard; and

(c) implement such physical security plans according to the timeline specified in the physical security plans.

R5.1 Each physical security plan must include the following attributes:

R5.1.1 resiliency or security measures designed collectively to deter, detect, delay, assess, communicate, and respond to potential physical threats and vulnerabilities identified during the evaluation conducted in requirement R4;

R5.1.2 law enforcement contact and coordination information;

R5.1.3 a timeline for executing the physical security enhancements and modifications specified in the physical security plan; and

R5.1.4 provisions to evaluate evolving physical threats, and their corresponding security measures, to each transmission substations, or primary control centres.

M5.	Evidence of developing and implementing one or more documented physical security plans as required in requirement R5 exists. Evidence may include dated written or electronic documentation of its physical security plans that covers their respective identified and verified transmission substations, and primary control centres, and additional evidence demonstrating execution of the physical security plan according to the timeline specified in the physical security plan, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-014-AB-2, R5

(This section to be completed by the Compliance Monitoring Entity):

|  | (R5(a)) Verify the entity implemented one or more physical security plans that covers any respective transmission substations, and primary control centre. |
| --- | --- |
|  | (R5(b)) Verify the physical security plan(s) was developed: - within 180 days following the applicable notifications received in accordance with requirement R2 or requirement R3; or - for the ISO’s primary control centre, within 180 days of the effective date of this reliability standard |
|  | (R5(c)) Verify the entity implemented such physical security plans according to the timeline specified in the physical security plan(s). |
|  | (R5.1) Verify each security plan includes the following attributes: |
|  | (R5.1.1) Resiliency or security measures designed collectively to deter, detect, delay, assess, communicate, and respond to potential physical threats and vulnerabilities identified during the evaluation conducted in requirement R4. |
|  | (R5.1.2) Law enforcement contact and coordination information. |
|  | (R5.1.3) A timeline for executing physical security enhancements and modifications specified in the physical security plan. |
|  | (R5.1.4) Provisions to evaluate evolving physical threats, and their corresponding security measures, to each transmission substations, or primary control centres. |
| Note to Auditor: |  |

### Auditor Notes:

## R6 Supporting Evidence and Documentation

R6.	Each of:

(a) the legal owner of a transmission facility with a transmission substation identified in accordance with requirement R2;

(b) the operator of a transmission facility with a primary control centre that controls any of the substations identified in the notification provided under requirement R3; and

(c) the ISO in respect of its primary control centre,

must have an unaffiliated third party review the evaluation performed under requirement R4 and any security plans developed under requirement R5.

R6.1 Each legal owner of a transmission facility, operator of a transmission facility, and the ISO must select an unaffiliated third party reviewer from the following:

(a) an entity or organization with electric industry physical security experience and whose review staff has at least one member who holds either a Certified Protection Professional or Physical Security Professional certification;

(b) an entity or organization approved by the NERC;

(c) a governmental agency with physical security expertise; or

(d) an entity or organization with demonstrated law enforcement, government, or military physical security expertise.

R6.2 Each of the legal owner of a transmission facility, the operator of a transmission facility, and the ISO must ensure that the unaffiliated third party review is completed within 90 days of completing the security plans developed in requirement R5.

R6.3 Each of the legal owner of a transmission facility, the operator of a transmission facility, and the ISO must, if the unaffiliated third party reviewer recommends changes to the evaluation performed under requirement R4 or any security plans developed under requirement R5 and within 60 days of the completion of the unaffiliated third party review, for each recommendation:

(a) modify its evaluation or security plans consistent with the recommendation; or

(b) document the reasons for not modifying the evaluation or security plans consistent with the recommendation.

R6.4 Each of the legal owner of a transmission facility, the operator of a transmission facility, and the ISO must implement procedures for protecting sensitive or confidential information made available to the unaffiliated third party reviewer and to protect or exempt sensitive or confidential information developed pursuant to this reliability standard from public disclosure.

M6.	Evidence of having an unaffiliated third party review the evaluation performed as required in requirement R6 exists. Evidence may include written or electronic documentation demonstrating that each of the legal owner of a transmission facility, operator of a transmission facility, and the ISO had an unaffiliated third party review the evaluation performed under requirement R4 and any security plans developed under requirement R5, or other equivalent evidence.

M6.1 Evidence of selecting an unaffiliated third party reviewer as required in requirement R6.1 exists. Evidence may include documentation demonstrating the selection of an unaffiliated third party reviewer and a statutory declaration confirming that the third party is unaffiliated, or other equivalent evidence.

M6.2 Evidence of ensuring that the unaffiliated third party review is completed as required in requirement R6.2 exists. Evidence may include a dated documented review performed by the unaffiliated third party, or other equivalent evidence.

M6.3 Evidence of modifying, or documenting the reasons for not modifying, the evaluation or security plans as required in requirement R6.3 exists. Evidence may include a modified evaluation or security plans, or documented reasons for not modifying the evaluation or security plans in accordance with the recommended change, or other equivalent evidence.

M6.4 Evidence of implementing procedures as required in requirement R6.4 exists. Evidence may include written or electronic documentation of procedures to protect information, such as a non-disclosure agreement, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to CIP-014-AB-2, R6

(This section to be completed by the Compliance Monitoring Entity):

|  | (R6) Verify the entity had an unaffiliated third party review the evaluation performed under requirement R4 and any security plans developed under requirement R5. |
| --- | --- |
|  | (R6.1) Verify the entity selected an unaffiliated third party reviewer that meets the criteria identified in R6.1 sections (a), (b), (c), or (d). |
|  | (R6.2) Verify the unaffiliated third party review was completed within 90 days of completion of the security plans developed in requirement R5. |
|  | (R6.3) If the unaffiliated third party reviewer recommended changes to the evaluation performed under requirement R4 or any security plans developed under requirement R5, verify the entity modified its evaluation or security plans consistent with the unaffiliated reviewing party’s recommendation, or that the entity documented the reason(s) for not modifying the security plans consistent with the recommendation, within 60 days of the completion of the unaffiliated third party review, for each recommendation. |
|  | (R6.4) Verify the entity implemented procedures for protecting sensitive or confidential information made available to the unaffiliated third party reviewer and to protect or exempt sensitive or confidential information developed pursuant to this reliability standard from public disclosure. |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |