# Operating Personnel Communications Protocols

# COM-002-AB-4

# Standard Effective Date: April 1, 2024

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X |  |  |  |  |  | X |  |  |  |
| R2 |  | X |  |  |  |  |  | X |  |  |  |
| R3 |  |  |  | X1 |  | X2 |  |  |  | X3 |  |
| R4 |  | X |  |  |  |  |  | X |  |  |  |
| R5 |  | X |  |  |  |  |  | X |  |  |  |
| R6 |  | X |  | X1 |  | X2 |  | X |  | X3 |  |
| R7 |  | X |  |  |  |  |  | X |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 The operator of an aggregated generating facility that is part of the bulk electric system. 2 The operator of a generating unit that is part of the bulk electric system. 3 The operator of an electric distribution system that is directly connected to the transmission system or to transmission facilities within the City of Medicine Hat.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |
| R3 |  |  |  |
| R4 |  |  |  |
| R5 |  |  |  |
| R6 |  |  |  |
| R7 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	The ISO and each operator of a transmission facility shall develop documented communication protocols for its operating personnel that issue or receive operating instructions, including directives. The protocols shall, at a minimum:

R1.1 require its operating personnel that issues or receives an oral or written operating instruction to use the English language;

R1.2 require its operating personnel that issues an oral two-party, person-to-person operating instruction to take one of the following actions:

(a) confirm the receiver’s response if the repeated information is correct;

(b) reissue the operating instruction if the repeated information is incorrect or if requested by the receiver; or

(c) take an alternative action if a response is not received or if the operating instruction was not understood by the receiver.

R1.3 require its operating personnel that receives an oral two-party, person-to-person operating instruction to take one of the following actions:

(a) repeat, not necessarily verbatim, the operating instruction and receive confirmation from the issuer that the response was correct; or

(b) request that the issuer reissue the operating instruction;

R1.4 require its operating personnel that issues a written or oral single-party to multiple-party burst operating instruction to confirm or verify that the operating instruction was received by at least one receiver of the operating instruction;

R1.5 specify the instances that require time identification when issuing an oral or written operating instruction and the format for that time identification; and

R1.6 specify the nomenclature for transmission interface system elements and interface transmission facilities when issuing an oral or written operating instruction.

M1.	Evidence of having developed documented communication protocols for operating personnel that issue or receive operating instructions, including directives, as required in requirement R1 exists. Evidence may include documented communication protocols or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to COM-002-AB-4, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) Verify the ISO or operator of a transmission facility developed documented communication protocols for its operating personnel that issue or receive operating instructions, including directives. The protocols shall, at a minimum include R1.1 through R1.6. |
| --- | --- |
|  | (R1.1) Verify the communication protocols require operating personnel that issue or receive an oral or written operating instructions to use the English language; |
|  | (R1.2) Verify the communication protocols require operating personnel that issue an oral two-party, person-to-person operating instruction to take one of the following actions: (a) confirm the receiver’s response if the repeated information is correct; (b) reissue the operating instruction if the repeated information is incorrect or if requested by the receiver; or (c) take an alternative action if a response is not received or if the operating instruction was not understood by the receiver. |
|  | (R1.3) Verify the communication protocols require operating personnel that receive an oral two-party, person-to-person operating instruction to take one of the following actions: (a) repeat, not necessarily verbatim, the operating instruction and receive confirmation from the issuer that the response was correct; or (b) request that the issuer reissue the operating instruction; |
|  | (R1.4) Verify the communication protocols require operating personnel that issue a written or oral single-party to multiple-party burst operating instruction to confirm or verify that the operating instruction was received by at least one receiver of the operating instruction; |
|  | (R1.5) Verify the communication protocols specify the instances that require time identification when issuing an oral or written operating instruction and the format for that time identification; and |
|  | (R1.6) Verify the communication protocols specify the nomenclature for transmission interface system elements and interface transmission facilities when issuing an oral or written operating instruction. |
| Note to Auditor: For the purposes of COM-002-AB-4, “operating instruction” means a command by operating personnel responsible for the real-time operation of the interconnected electric system to change or preserve the state, status, output, or input of a system element. A directive is a type of an operating instruction. (a discussion of general information and of potential options or alternatives to resolve interconnected electric system operating concerns is not a command and is not considered an operating instruction.) |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	The ISO and each operator of a transmission facility shall conduct initial training for each of its operating personnel responsible for the real-time operation of the interconnected electric system on the documented communications protocols developed in accordance with requirement R1 prior to that individual operator issuing an operating instruction, including directives.

M2.	Evidence of conducting initial training for each of its operating personnel for the real-time operation of the interconnected electric system as required in requirement R2 exists. Evidence may include initial training records, such as dated class rosters, training certificates, lesson plans, course materials, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to COM-002-AB-4, R2

(This section to be completed by the Compliance Monitoring Entity):

|  | (R2) Verify the ISO or operator of a transmission facility conducted initial training for each of its operating personnel responsible for the real-time operation of the interconnected electric system on the documented communications protocols developed in accordance with requirement R1 prior to that individual operator issuing an operating instruction, including directives. |
| --- | --- |
| Note to Auditor: Requirement R2 requires only initial training; continuing training is not required. Training records should reflect applicable operating personnel. Evidence of operating instructions, including directives, should include dates and applicable operating personnel names to ensure compliance with R2. |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	Each operator of an electric distribution system, operator of a generating unit, and the operator of an aggregated generating facility shall conduct initial training for each of its operating personnel who can receive an oral two-party, person-to-person operating instruction prior to that individual operator receiving an oral two-party, person-to-person operating instruction, including directives, to either:

(a) repeat, not necessarily verbatim, the operating instruction and receive confirmation from the issuer that the response was correct; or

(b) request that the issuer reissue the operating instruction.

M3.	Evidence of conducting initial training for operating personnel who can receive an oral two-party, person-to-person operating instruction, including directives, as required in requirement R3 exists. Evidence may include initial training records, such as dated class rosters, training certificates, lesson plans, course materials, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to COM-002-AB-4, R3

(This section to be completed by the Compliance Monitoring Entity):

|  | (R3) Verify the operator of an electric distribution system, operator of a generating unit, or operator of an aggregated generating facility conducted initial training for each of its operating personnel who can receive an oral two-party, person-to-person operating instruction prior to that individual operator receiving an oral two-party, person-to-person operating instruction, including directives. |
| --- | --- |
|  | (R3) Verify the training states to either: (a) repeat, not necessarily verbatim, the operating instruction and receive confirmation from the issuer that the response was correct; or (b) request that the issuer reissue the operating instruction. |
| Note to Auditor: Requirement R3 requires only initial training; continuing training is not required. Training records should reflect applicable operating personnel. Evidence of operating instructions, including directives, should include dates and applicable operating personnel names to ensure compliance with R3. |  |

### Auditor Notes:

## R4 Supporting Evidence and Documentation

R4.	The ISO and each operator of a transmission facility shall at least once every 12 months:

R4.1 assess adherence to the documented communications protocols in requirement R1 by its operating personnel that issue or receive operating instructions, including directives, provide feedback to those operating personnel, and take corrective action, as deemed appropriate by the entity, to address deviations from the documented protocols; and

R4.2 assess the effectiveness of its documented communications protocols in requirement R1 for its operating personnel that issue or receive operating instructions, include directives, and modify its documented communication protocols, as necessary.

M4.	Evidence of assessing the adherence to and effectiveness of the documented communication protocols in requirement R1 as required in requirement R4 exists. Evidence may include documented assessments, dated operator logs or other evidence of feedback, corrective actions taken, modified documented communication protocols, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to COM-002-AB-4, R4

(This section to be completed by the Compliance Monitoring Entity):

|  | (R4) Verify the ISO or operator of a transmission facility assessed R4.1 and R4.2 at least once every 12 months. |
| --- | --- |
|  | (R4.1) Verify the ISO or operator of a transmission facility assessed adherence to the documented communications protocols in requirement R1 by its operating personnel that issue or receive operating instructions, including directives, provide feedback to those operating personnel, and take corrective action, as deemed appropriate by the entity, to address deviations from the documented protocols; and |
|  | (R4.2) Verify the ISO or operator of a transmission facility assessed the effectiveness of its documented communications protocols in requirement R1 for its operating personnel that issue or receive operating instructions, including directives, and modify its documented communication protocols, as necessary. |
| Note to Auditor: When sampling, consider what criteria was used to select operating instructions, including directives, to assess adherence to the documented communication protocols. |  |

### Auditor Notes:

## R5 Supporting Evidence and Documentation

R5.	The ISO and operator of a transmission facility that issues an oral two-party, person-to-person operating instructions during an emergency, excluding written or oral single-party to multiple-party burst operating instruction, shall either:

(a) confirm the receiver’s response if the repeated information is correct (in accordance with requirement R6);

(b) reissue the operating instruction if the repeated information is incorrect or if requested by the receiver; or

(c) take an alternative action, if a response is not received or if the operating instruction was not understood by the receiver.

M5.	Evidence of confirming receiver’s response, reissuing the operating instruction during an emergency, or taking an alternative action as required in requirement R5 exists. Evidence may include dated and time-stamped voice recordings, dated and time-stamped transcripts of voice recordings, dated operator logs, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to COM-002-AB-4, R5

(This section to be completed by the Compliance Monitoring Entity):

|  | (R5) Verify the ISO or operator of a transmission facility that issued an oral two-party, person-to-person operating instructions during an emergency, excluding written or oral single-party to multiple-party burst operating instruction, performed either R5(a), R5(b) or R5(c). |
| --- | --- |
|  | (R5(a)) Verify the ISO or operator of a transmission facility confirmed the receiver’s response if the repeated information was correct (in accordance with requirement R6); |
|  | (R5(b)) Verify the ISO or operator of a transmission facility reissued the operating instruction if the repeated information was incorrect or if requested by the receiver; or |
|  | (R5(c)) Verify the ISO or operator of a transmission facility took an alternative action, if a response was not received or if the operating instruction was not understood by the receiver. |
| Note to Auditor: When evaluating evidence, the operating instructions reviewed are limited to being issued during an emergency condition for this requirement. |  |

### Auditor Notes:

## R6 Supporting Evidence and Documentation

R6.	The ISO and each operator of an electric distribution system, operator of a generating unit, operator of an aggregated generating facility, and operator of transmission facility that receives an oral two-party, person-to-person operating instructions during an emergency, excluding written or oral single-party to multiple-party burst operating instruction, shall either:

(a) repeat, not necessarily verbatim, the operating instruction and receive confirmation from the issuer that the response was correct, or

(b) request that the issuer reissue the operating instruction.

M6.	Evidence of repeating the operating instruction during an emergency or requesting that the issuer reissue the operating instruction as required in requirement R6 exists. Evidence may include dated and time-stamped voice recordings, dated and time-stamped transcripts of voice recordings, dated operator logs, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to COM-002-AB-4, R6

(This section to be completed by the Compliance Monitoring Entity):

|  | (R6) Verify the ISO, operator of an electric distribution system, operator of a generating unit, operator of an aggregated generating facility, or operator of transmission facility that received an oral two-party, person-to-person operating instructions during an emergency, excluding written or oral single-party to multiple-party burst operating instruction performed R6(a) or R6(b). |
| --- | --- |
|  | (R6(a)) repeated, not necessarily verbatim, the operating instruction and received confirmation from the issuer that the response was correct, or |
|  | (R6(b)) requested that the issuer reissue the operating instruction. |
| Note to Auditor: When evaluating evidence, the operating instructions reviewed are limited to being received during an emergency condition for this requirement. |  |

### Auditor Notes:

## R7 Supporting Evidence and Documentation

R7.	The ISO and each operator of a transmission facility that issues a written or oral single-party to multiple-party burst operating instruction during an emergency shall confirm or verify that the operating instruction was received by at least one receiver of the operating instruction.

M7.	Evidence of confirming or verifying that a written or oral operating instruction during an emergency was received by at least one receiver as required in requirement R7 exists. Evidence may include dated and time-stamped voice recordings, dated and time-stamped transcripts of voice recordings, dated operator logs, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to COM-002-AB-4, R7

(This section to be completed by the Compliance Monitoring Entity):

|  | (R7) Verify the ISO or operator of a transmission facility that issued a written or oral single-party to multiple-party burst operating instruction during an emergency confirmed or verified that the operating instruction was received by at least one receiver of the operating instruction. |
| --- | --- |
| Note to Auditor: When evaluating evidence, the operating instructions reviewed are limited to being issued during an emergency condition for this requirement. Confirmation or verification of only one receiver is required. |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |