# System Restoration Coordination

# EOP-006-AB-3

# Standard Effective Date: October 1, 2023

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X |  |  |  |  |  |  |  |  |  |
| R2 |  | X |  |  |  |  |  |  |  |  |  |
| R3 |  | X |  |  |  |  |  |  |  |  |  |
| R4 |  | X |  |  |  |  |  |  |  |  |  |
| R5 |  | X |  |  |  |  |  |  |  |  |  |
| R6 |  | X |  |  |  |  |  |  |  |  |  |
| R7 |  | X |  |  |  |  |  |  |  |  |  |
| R8 |  | X |  |  |  |  |  |  |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable:

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |
| R3 |  |  |  |
| R4 |  |  |  |
| R5 |  |  |  |
| R6 |  |  |  |
| R7 |  |  |  |
| R8 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	The ISO must develop a restoration plan for its area and implement it following a disturbance in which:

(a) one or more areas of the interconnected electric system shuts down; and

(b) the use of blackstart resources is required to restore the shut down area.

The restoration plan must include:

R1.1 a strategy to be employed during restoration events for restoring the interconnected electric system including minimum criteria for meeting the objectives of the ISO’s restoration plan;

R1.2 criteria and conditions for re-establishing connections between each operator of a transmission facility within its area, with transmission operators in other reliability coordinator areas, and with other reliability coordinators;

R1.3 reporting requirements for the entities within the ISO’s area during a restoration event;

R1.4 criteria for sharing information regarding restoration with neighbouring reliability coordinators and with operators of transmission facilities within the ISO’s area; and

R1.5 identification of the ISO as the primary contact for disseminating information regarding restoration to neighbouring reliability coordinators, and to operators of transmission facilities within its area.

R1.6 Intentionally left blank.

M1.	Evidence of developing and implementing a restoration plan as required in requirement R1 exists. Evidence of developing a restoration plan may include a dated copy of the restoration plan, or other equivalent evidence. Evidence of implementing a restoration plan may include operator logs, operating documentation, voice recordings, communication documentation, or other equivalent evidence.

### Entity Response (Required):

Question: Has the ISO experienced a need to implement its restoration plan? ☐ Yes ☐ No If Yes, provide a dated list of instances in which the ISO experienced a need to implement its restoration plan. [Note: A separate spreadsheet or other document may be used. If so, provide the document reference below.]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to EOP-006-AB-3, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) Verify the ISO had a restoration plan for its area which includes the following elements: |
| --- | --- |
|  | (R1.1) a strategy to be employed during restoration events for restoring the interconnected electric system including minimum criteria for meeting the objectives of the ISO’s restoration plan; |
|  | (R1.2) criteria and conditions for re-establishing connections between each operator of a transmission facility within its area, with transmission operators in other reliability coordinator areas, and with other reliability coordinators; |
|  | (R1.3) reporting requirements for the entities within the ISO’s area during a restoration event; |
|  | (R1.4) criteria for sharing information regarding restoration with neighbouring reliability coordinators and with operators of transmission facilities within the ISO’s area; and |
|  | (R1.5) identification of the ISO as the primary contact for disseminating information regarding restoration to neighbouring reliability coordinators, and to operators of transmission facilities within its area. |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	The ISO must distribute its most recent restoration plan to each operator of a transmission facility, as referenced in the ISO’s restoration plan, and to neighbouring reliability coordinators within thirty (30) days of creation or revision.

M2.	Evidence of distributing the restoration plan as required in requirement R2 exists. Evidence may include dated e-mails with receipts, a dated posting to a secure website with notification to affected entities, dated registered mail receipts, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to EOP-006-AB-3, R2

(This section to be completed by the Compliance Monitoring Entity):

| (R2) Verify the ISO distributed its most recent restoration plan: |  |
| --- | --- |
|  | (R2) To each operator of a transmission facility, as referenced in the ISO’s restoration plan, and |
|  | (R2) To neighbouring reliability coordinators, |
|  | (R2) Within thirty (30) days of creation or revision. |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	The ISO must review its restoration plan within thirteen (13) months of the last review.

M3.	Evidence of reviewing the restoration plan as required in requirement R3 exists. Evidence may include a dated review signature sheet, revision histories, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to EOP-006-AB-3, R3

(This section to be completed by the Compliance Monitoring Entity):

|  | (R3) Verify the ISO reviewed its restoration plan within thirteen (13) months of the last review. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R4 Supporting Evidence and Documentation

R4.	The ISO must review its neighbouring reliability coordinator’s restoration plans and provide written notification of any conflicts identified during that review to the applicable reliability coordinator within sixty (60) days of receipt.

R4.1 If the ISO identifies any conflicts between its restoration plan and any of its neighbouring reliability coordinator’s plans, the conflicts must be resolved within thirty (30) days of receipt of the ISO’s written notification.

M4.	Evidence of reviewing each neighbouring reliability coordinator’s restoration plans and providing notification of any conflicts, where applicable, within the timelines as required in requirement R4 exists. Evidence may include dated emails, dated electronic receipts, or other equivalent evidence.

M4.1 Evidence of resolving any conflicts within the timelines as required in requirement R4.1 exists. Evidence may include dated emails, dated electronic receipts, a dated updated plan, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to EOP-006-AB-3, R4

(This section to be completed by the Compliance Monitoring Entity):

|  | (R4) Verify the ISO reviewed each neighbouring reliability coordinator’s restoration plans within sixty (60) days of receipt. |
| --- | --- |
|  | (R4) Verify written notification of any conflicts discovered were provided to the applicable reliability coordinator within sixty (60) days of receipt. |
|  | (R4.1) Verify any conflicts identified were resolved within thirty (30) days of receipt of the ISO’s written notification. |
| Note to Auditor: |  |

### Auditor Notes:

## R5 Supporting Evidence and Documentation

R5.	The ISO must review the restoration plans of operators of transmission facilities within its area that are required to be submitted to the ISO in accordance with EOP-005-AB-3 or any subsequent version of that reliability standard.

R5.1 The ISO must determine whether each of the restoration plans referenced in requirement R5 is coordinated and compatible with the ISO’s restoration plan and each of the other restoration plans referenced in requirement R5. The ISO must provide the operator of a transmission facility with written notification of approval or disapproval of its restoration plan, with stated reasons, within thirty (30) days after the ISO’s receipt of the restoration plan.

M5.	Evidence of reviewing restoration plans of each operator of a transmission facility as required in requirement R5 exists. Evidence may include a dated review signature sheet, dated electronic receipts, dated emails, or other equivalent evidence.

M5.1 Evidence of approving or disapproving, and providing notification of any conflicts and resolving any conflicts within the timelines as required in requirement R5.1 exists. Evidence may include dated emails, dated electronic receipts, a dated updated plan, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to EOP-006-AB-3, R5

(This section to be completed by the Compliance Monitoring Entity):

|  | (R5) Verify the ISO reviewed the restoration plans of operators of transmission facilities within its area that are required to be submitted to the ISO in accordance with EOP-005-AB-3 or any subsequent version of that reliability standard. |
| --- | --- |
|  | (R5.1) Verify the ISO determined whether each of the restoration plans in requirement R5 is coordinated and compatible with the ISO’s restoration plan. |
|  | (R5.1) Verify the ISO determined whether each of the restoration plans is coordinated and compatible with each of the other restoration plans. |
|  | (R5.1) Verify the ISO provided the operator of a transmission facility with written notification of the approval or disapproval of its restoration plan, with stated reasons, within thirty (30) days following the receipt of the restoration plan. |
| Note to Auditor: |  |

### Auditor Notes:

## R6 Supporting Evidence and Documentation

R6.	The ISO must have within its primary and backup control rooms, so that it is available to all of its real-time operating personnel, a copy of its latest approved restoration plan prior to its effective date.

M6.	Evidence of having copies of restoration plans as required in requirement R6 exists. Evidence may include dated emails, dated electronic receipts, restoration plan documentation, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to EOP-006-AB-3, R6

(This section to be completed by the Compliance Monitoring Entity):

|  | (R6) Verify the ISO had a copy of its latest restoration plan available to its real-time operating personnel prior to its effective date: |
| --- | --- |
|  | (R6) Within the primary control room. |
|  | (R6) Within the backup control room. |
| Note to Auditor: If the restoration plans are available only in electronic form, evaluate what processes the ISO will use to ensure the plans remain available to real-time operating personnel when electronic versions are not available. |  |

### Auditor Notes:

## R7 Supporting Evidence and Documentation

R7.	The ISO must include within its operations training program, annual interconnected electric system restoration training for its real-time operating personnel. This training program must address the following:

R7.1 the coordination role of the ISO; and

R7.2 re-establishing WECC Paths 1 and 83.

M7.	Evidence of including the interconnected electric system restoration training as required in requirement R7 exists. Evidence may include an electronic or a hard copy training program, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to EOP-006-AB-3, R7

(This section to be completed by the Compliance Monitoring Entity):

|  | (R7) Verify the ISO included annual interconnected electric system restoration training for its real-time operating personnel within its operations training program. |
| --- | --- |
|  | (R7.1) Verify the interconnected electric system restoration training addresses the coordination role of the ISO. |
|  | (R7.2) Verify the interconnected electric system restoration training addresses re-establishing WECC Paths 1 and 83. |
| Note to Auditor: Requirement R7 specifies content for training to be included in the operations training program. Verification of completion of training may be used as documentation that the training content was included in the program but actual performance of the training required is assessed by PER-005-AB-2 requirement R1.3. |  |

### Auditor Notes:

## R8 Supporting Evidence and Documentation

R8.	The ISO must conduct two (2) scheduled instances of a system restoration drill, exercise, or simulation per calendar year, which must provide an opportunity for each operator of a transmission facility, operator of a generating unit and operator of an aggregated generating facility to attend as dictated by the particular scope of the drill, exercise, or simulation that is being conducted.

R8.1 The ISO must request each operator of a transmission facility, operator of a generating unit and operator of an aggregated generating facility, as identified in the ISO’s restoration plan, to participate in a drill, exercise, or simulation at least once every two calendar years.

M8.	Evidence of conducting two scheduled instances of a system restoration drill, exercise, or simulation per calendar year and providing an opportunity for entities to attend, as required in requirement R8 exists. Evidence of conducting the required drills, exercises or simulations may include dated training records, or other equivalent evidence. Evidence of providing an opportunity for each operator of a transmission facility, operator of a generating unit and operator of an aggregated generating facility to attend, as required in requirement R8, may include dated records of the ISO’s invitation, or other equivalent evidence.

M8.1 Evidence of requesting that each operator of a transmission facility, operator of a generating unit and operator of an aggregated generating facility, as identified in the ISO’s restoration plan, participate in a drill, exercise, or simulation, as required in requirement R8.1 exists. Evidence may include dated records of the ISO’s request, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to EOP-006-AB-3, R8

(This section to be completed by the Compliance Monitoring Entity):

|  | (R8) Verify the ISO conducted two scheduled instances of a system restoration drill, exercise, or simulation per calendar year. |
| --- | --- |
|  | (R8) Verify the ISO provided an opportunity for each of the following entities to attend as dictated by the particular scope of the drill, exercise, or simulation that is being conducted: |
|  | (R8) Each operator of a transmission facility, |
|  | (R8) Each operator of a generating unit, |
|  | (R8) Each operator of an aggregated generating facility. |
|  | (R8.1) Verify the ISO requested each of the following entities, as identified in the ISO’s restoration plan, to participate in a drill, exercise, or simulation at least once every two calendar years: |
|  | (R8.1) Each operator of a transmission facility, |
|  | (R8.1) Each operator of a generating unit, |
|  | (R8.1) Each operator of an aggregated generating facility. |
| Note to Auditor: The ISO must provide the opportunity for listed entities to participate in a drill, exercise, or simulation at least twice per calendar year. This results in four such opportunities every two calendar years. Requirement R8.1 requires that the ISO request each listed entity, as identified in the ISO’s restoration plan, to participate at least once every two calendar years. |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |