# Establish and Communicate System Operating Limits

# FAC-014-AB1-2

# Standard Effective Date: August 30, 2016

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X |  |  |  |  |  |  |  |  |  |
| R2 | X |  |  |  |  |  |  |  |  |  |  |
| R3 | X |  |  |  |  |  |  |  |  |  |  |
| R4 | X |  |  |  |  |  |  |  |  |  |  |
| R5 |  | X |  |  |  |  |  |  |  |  |  |
| R6 |  | X |  |  |  |  |  |  |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable:

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R5 |  |  |  |
| R6 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	The ISO must ensure that system operating limits, including interconnection reliability operating limits, for its area are established and that the system operating limits (including interconnection reliability operating limits) are consistent with its system operating limit methodology.

M1.	Evidence that the ISO’s system operating limits, including interconnection reliability operating limits, for its area are established and consistent with its system operating limit methodology. Evidence may include, but is not limited to, dated reports, voice recordings, business practices or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to FAC-014-AB1-2, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) Verify the ISO has ensured that system operating limits, including interconnection reliability operating limits, for its area were established and that the system operating limits (including interconnection reliability operating limits) were consistent with its system operating limit methodology. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R5 Supporting Evidence and Documentation

R5.	The ISO must provide its system operating limits and interconnection reliability operating limits in the operating horizon to:

(a) each adjacent reliability coordinator;

(b) each operator of a transmission facility within its area that has a reliability-related need for those limits; and

(c) each entity that has a reliability-related need for those limits and provides a written request for delivery of those limits.

R5.1 For each interconnection reliability operating limit, the ISO must provide the following supporting information:

R5.1.1 identification and status of the associated system element (or group of system elements) that is (are) critical to the derivation of the interconnection reliability operating limit;

R5.1.2 the value of the interconnection reliability operating limit and its associated Tv;

R5.1.3 the associated contingency(ies); and

R5.1.4 the type of limitation represented by the interconnection reliability operating limit (e.g., voltage collapse, angular stability).

R5.2 Intentionally left blank.

R5.3 The ISO must provide its system operating limits (including the subset of system operating limits that are interconnection reliability operating limits) in the planning horizon to adjacent planning authorities.

R5.4 Intentionally left blank.

M5.	Evidence to confirm the ISO provided its system operating limits and interconnection reliability operating limits and supporting information as required in requirement R5 exists. Evidence may include, but is not limited to, records of email communication to appropriate recipients that identify contents submitted, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to FAC-014-AB1-2, R5

(This section to be completed by the Compliance Monitoring Entity):

| (R5) Verify the ISO provided its system operating limits and interconnection reliability operating limits to the following: |  |
| --- | --- |
|  | (R5(a)) Each adjacent reliability coordinator; |
|  | (R5(b)) Each operator of a transmission facility within its area that has a reliability-related need for those limits; and |
|  | (R5(c)) Each entity that has a reliability-related need for those limits and provides a written request for delivery of those limits. |
| (R5.1) Verify that for each interconnection reliability operating limit, the ISO provided the following supporting information: |  |
|  | (R5.1.1) Identification and status of the associated system element (or group of system elements) that is (are) critical to the derivation of the interconnection reliability operating limit; |
|  | (R5.1.2) The value of the interconnection reliability operating limit and its associated Tv. |
|  | (R5.1.3) The associated contingency(ies). |
|  | (R5.1.4) The type of limitation represented by the interconnection reliability operating limit (e.g., voltage collapse, angular stability). |
|  | (R5.3) Verify the ISO provided its system operating limits (including the subset of system operating limits that are interconnection reliability operating limits) in the planning horizon to adjacent planning authorities. |
| Note to Auditor: |  |

### Auditor Notes:

## R6 Supporting Evidence and Documentation

R6.	The ISO must identify and develop a list of the subset of multiple contingencies from reliability standard TPL-003-AB, which result in stability limits as determined if any that exist in its planning horizon.

R6.1 Intentionally left blank.

R6.2 Intentionally left blank.

M6.	Evidence that the ISO identified and listed the subset of multiple contingencies as required in requirement R6 exists. Evidence may include, but is not limited to, dated reports, letters, or other documentation containing the list of multiple contingencies.

M6.1 Intentionally left blank.

M6.2 Intentionally left blank

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to FAC-014-AB1-2, R6

(This section to be completed by the Compliance Monitoring Entity):

|  | (R6) Verify the ISO identified and developed a list of the subset of multiple contingencies from reliability standard TPL-003-AB, which result in stability limits as determined, if any that exist in its planning horizon. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |

Requirement R6 is referenced in requirement R3.3 of FAC-011-AB.