# Evaluation of Interchange Transactions

# INT-006-AB-4

# Standard Effective Date: October 1, 2018

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X |  |  |  |  |  |  |  |  |  |
| R2 |  | X |  |  |  |  |  |  |  |  |  |
| R3 |  | X |  |  |  |  |  |  |  |  |  |
| R4 |  | X |  |  |  |  |  |  |  |  |  |
| R5 |  | X |  |  |  |  |  |  |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable:

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |
| R3 |  |  |  |
| R4 |  |  |  |
| R5 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	The ISO must approve or deny each on-time arranged interchange or emergency arranged interchange that it receives and must do so prior to the expiration of the time period defined in Appendix 1, column B.

R1.1 The ISO must, when it is either the source balancing authority or sink balancing authority deny the arranged interchange or curtail confirmed interchange if it does not expect to be capable of supporting the magnitude of the interchange, including ramping, throughout the duration of the arranged interchange.

R1.2 The ISO must deny the arranged interchange or curtail confirmed interchange if the scheduling path (proper connectivity of adjacent balancing authorities) between it and its adjacent balancing authorities is invalid.

M1.	Evidence of either approving or denying arranged interchange as required in requirement R1 exists. Evidence may include, but is not limited to, dated and time stamped electronic logs or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to INT-006-AB-4, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) select a sample of on-time arranged interchanges or emergency arranged interchanges received by the ISO and verify it either approved or denied the interchanges within the time defined in Appendix 1, column B of INT-006-AB-4. |
| --- | --- |
|  | (R1.1) For the sample of on-time arranged interchanges, verify whether the ISO denied the arranged interchanges or curtailed the confirmed interchange when it did not expect to be capable of supporting the magnitude of the interchange, including ramping, throughout the duration of the arranged interchange. |
|  | (R1.2) For the sample of on-time arranged interchanges, verify whether the ISO denied the arranged interchange or curtailed the confirmed interchange when the scheduling path between it and its adjacent balancing authorities was invalid. |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	The ISO must approve or deny each on-time arranged interchange or emergency arranged interchange that it receives and must do so prior to the expiration of the time period defined in Appendix 1, column B.

R2.1 The ISO must deny the arranged interchange or curtail confirmed interchange if the transmission path (proper connectivity of adjacent transmission service providers) between it and its adjacent transmission service providers is invalid.

M2.	Evidence of either approving or denying arranged interchange as required in requirement R2 exists. Evidence may include, but is not limited to, dated and time stamped electronic logs or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to INT-006-AB-4, R2

(This section to be completed by the Compliance Monitoring Entity):

|  | (R2) Select a sample of on-time arranged interchanges or emergency arranged interchanges received by the ISO and verify it either approved or denied the interchanges within the time defined in Appendix 1, column B of INT-006-AB-4. |
| --- | --- |
|  | (R2.1) For the sample of on-time arranged interchanges, verify whether the ISO denied the arranged interchanges or curtailed the confirmed interchange when the transmission path between it and its adjacent transmission service providers was invalid. |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	The ISO must, when it receives a reliability adjustment arranged interchange, approve or deny it prior to the expiration of the time period defined in Appendix 1, column B.

M3.	Evidence of either approving or denying reliability adjustment arranged interchange as required in requirement R3 exists. Evidence may include, but is not limited to, dated and time stamped electronic logs, studies or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to INT-006-AB-4, R3

(This section to be completed by the Compliance Monitoring Entity):

|  | (R3) Select a sample of instances where the ISO received a reliability adjustment arranged interchange, and verify the ISO approved or denied the request within the time period defined in Appendix 1, column B of INT-006-AB-4. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R4 Supporting Evidence and Documentation

R4.	The ISO must when it is a sink balancing authority confirm that none of the following conditions exist prior to transitioning an arranged interchange to confirmed interchange:

(a) it is a reliability adjustment arranged interchange, the time period specified in Appendix 1, column B has elapsed, and the ISO or the source balancing authority associated with the arranged interchange has not communicated its approval of the transition;

(b) it is not a reliability adjustment arranged interchange, the time period specified in Appendix 1, column B, has elapsed, and not all balancing authorities and transmission service providers associated with the arranged interchange have communicated their approval of the transition; or

(c) it is not a reliability adjustment arranged interchange, the time period specified in Appendix 1, column B, has elapsed, and any entity associated with the arranged interchange has communicated its denial of the transition.

M4.	Evidence of confirming none of the conditions exist prior to transitioning an arranged interchange to confirmed interchange as required in requirement R4 exists. Evidence may include, but is not limited to, an interchange transaction without an implemented e-tag, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to INT-006-AB-4, R4

(This section to be completed by the Compliance Monitoring Entity):

|  | (R4) For a sample of arranged interchanges transitioned to confirmed interchanges, review evidence to verify that none of the conditions in R4 existed. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R5 Supporting Evidence and Documentation

R5.	For each arranged interchange that is transitioned to confirmed interchange, the ISO must, when it is the sink balancing authority, notify the following entities of the on-time confirmed interchange such that the notification is delivered in time to be incorporated into scheduling systems prior to ramp start as specified in Appendix 1, column D:

R5.1 the source balancing authority;

R5.2 each intermediate balancing authority;

R5.3 each reliability coordinator associated with each balancing authority included in the arranged interchange;

R5.4 each transmission service provider included in the arranged interchange; and

R5.5 each purchasing selling entity included in the arranged interchange.

M5.	Evidence of notifying entities of the on-time confirmed interchange as required in requirement R5 exists. Evidence may include, but is not limited to, dated and time stamped electronic logs, voice recordings or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to INT-006-AB-4, R5

(This section to be completed by the Compliance Monitoring Entity):

|  | (R5) For a sample of confirmed interchanges, verify notification was delivered in accordance with Appendix 1, column D of INT-006-AB-4: |
| --- | --- |
|  | (R5.1) The source balancing authority. |
|  | (R5.2) Each intermediate balancing authority. |
|  | (R5.3) Each reliability coordinator associated with each balancing authority included in the arranged interchange. |
|  | (R5.4) Each transmission service provider included in the arranged interchange. |
|  | (R5.5) Each purchasing selling entity included in the arranged interchange. |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |