# Coordination Among Reliability Coordinators

# IRO-014-AB-3

# Standard Effective Date: December 1, 2019

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X |  |  |  |  |  |  |  |  |  |
| R2 |  | X |  |  |  |  |  |  |  |  |  |
| R3 |  | X |  |  |  |  |  |  |  |  |  |
| R4 |  | X |  |  |  |  |  |  |  |  |  |
| R5 |  | X |  |  |  |  |  |  |  |  |  |
| R6 |  | X |  |  |  |  |  |  |  |  |  |
| R7 |  | X |  |  |  |  |  |  |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable:

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |
| R3 |  |  |  |
| R4 |  |  |  |
| R5 |  |  |  |
| R6 |  |  |  |
| R7 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	The ISO must have and implement operating procedures, operating processes, or operating plans, for activities that require notification or coordination of actions that may impact adjacent reliability coordinator areas, to support the reliability of the Interconnection. These operating procedures, operating processes, or operating plans must include the following:

R1.1 criteria and processes for notifications;

R1.2 energy and capacity shortages;

R1.3 control of voltage, including the coordination of reactive resources;

R1.4 exchange of information including planned and unplanned outage information to support its operational planning analysis and real time assessments; and

R1.5 provisions for periodic communications to support reliable operations.

M1.	Evidence of having and implementing operating procedures, operating processes, or operating plans as required in requirement R1 exists. Evidence may include dated, current in effect documentation with the specified elements, notes from periodic communications, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to IRO-014-AB-3, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) Verify the ISO’s operating procedures, operating processes, or operating plans, for activities that require notification or coordination of actions that may impact adjacent reliability coordinator areas, to support the reliability of the Interconnection, include the following: |
| --- | --- |
|  | (Part 1.1) Criteria and process for notification; |
|  | (Part 1.2) Energy and capacity shortages; |
|  | (Part 1.3) Control of voltage, including the coordination of reactive resources; |
|  | (Part 1.4) Exchange of information including planned and unplanned outage information to support its operational planning analyses and real time assessments; and |
|  | (Part 1.5) Provisions for periodic communications to support reliable operations. |
|  | (R1) Verify the ISO implemented its operating procedures, operating processes, and operating plans, for activities that require notification or coordination of actions that may impact adjacent reliability coordinator areas, to support the reliability of the Interconnection. |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	The ISO must maintain its operating procedures, operating processes, and operating plans identified in requirement R1 as follows:

R2.1 review and update annually with no more than 15 months between reviews;

R2.2 obtain written agreement from all of the reliability coordinators required to take the indicated actions for each update; and

R2.3 distribute to all reliability coordinators that are required to take the indicated actions within 30 days of an update.

M2.	Evidence of maintaining its operating procedures, operating processes, and operating plans as required in requirement R2 exists. Evidence may include dated documentation with confirmation of receipt, dated notice of acceptance or agreement to take specified actions, dated electronic communications with confirmation of receipt and acceptance or agreement to take specified actions, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to IRO-014-AB-3, R2

(This section to be completed by the Compliance Monitoring Entity):

|  | (R2) Verify the ISO maintained its operating procedures, operating processes, or operating plans identified in Requirement R1 according to the following: |
| --- | --- |
|  | (R2.1) Reviewed and updated annually with no more than 15 months between reviews. |
|  | (R2.2) Obtained written agreement from all of the reliability coordinators required to take the indicated action for each update(s). |
|  | (R2.3) Distributed update to all reliability coordinators required to take action within 30 days of the update. |
| Note to Auditor: Annually, in this context, means at least once per calendar year with no more than 15 months between reviews. |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	The ISO, upon identification of an expected or actual emergency in Alberta, must notify other impacted reliability coordinators.

M3.	Evidence of notifying impacted reliability coordinators as required in requirement R3 exists. Evidence may include voice recordings or transcripts of voice recordings, electronic communications, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to IRO-014-AB-3, R3

(This section to be completed by the Compliance Monitoring Entity):

|  | (R3) For all, or a sample of, expected or actual emergencies in Alberta, verify the ISO notified other impacted reliability coordinators. |
| --- | --- |
| Note to Auditor: Auditors are encouraged to monitor compliance during the most critical events on the ISO’s system. |  |

### Auditor Notes:

## R4 Supporting Evidence and Documentation

R4.	The ISO must operate as though the emergency exists during each instance where the ISO and another reliability coordinator disagree on the existence of an emergency.

M4.	Evidence of operating as though an emergency existed as required in requirement R4 exists. Evidence may include dated operator logs, voice recordings or transcripts of voice recordings, electronic communication, or other equivalent evidence

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to IRO-014-AB-3, R4

(This section to be completed by the Compliance Monitoring Entity):

|  | (R4) For all, or a sample of, instances where the ISO disagreed with other reliability coordinators regarding the existence of an emergency, verify the ISO operated as though an emergency existed. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R5 Supporting Evidence and Documentation

R5.	The ISO must, when it identifies an emergency in Alberta, develop an action plan to resolve the emergency during those instances where another impacted reliability coordinator disagrees on the existence of an emergency.

M5.	Evidence of developing an action plan to resolve the emergency as required in requirement R5 exists. Evidence may include dated operator logs, voice recordings or transcripts of voice recordings, electronic communications, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to IRO-014-AB-3, R5

(This section to be completed by the Compliance Monitoring Entity):

|  | (R5) For all, or a sample of, instances where the ISO identified an emergency in Alberta and impacted reliability coordinators disagreed on the existence of an emergency, verify the ISO developed an action plan to resolve the emergency. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R6 Supporting Evidence and Documentation

R6.	The ISO must, when impacted, implement the action plan developed by another reliability coordinator that identifies an emergency during those instances where the ISO and the other reliability coordinator disagree on the existence of an emergency, unless such actions would violate safety, equipment, regulatory, or statutory requirements.

M6.	Evidence of implementing the action plan as required in requirement R6 exists. Evidence may include dated operator logs, voice recordings or transcripts of voice recordings, electronic communications, or dated documentation, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to IRO-014-AB-3, R6

(This section to be completed by the Compliance Monitoring Entity):

|  | (R6) For all, or a sample of, instances where the ISO received an action plan from a reliability coordinator that identified an emergency and the ISO and the other reliability coordinator disagreed on the existence of an emergency, verify the ISO implemented the action plan. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R7 Supporting Evidence and Documentation

R7.	The ISO must, when requested and able, assist another reliability coordinator if the requesting reliability coordinator has implemented its emergency procedures, unless such actions cannot be physically implemented or would violate safety, equipment, regulatory, or statutory requirements.

M7.	Evidence of assisting reliability coordinators as required in requirement R7 exists. Evidence may include dated operator logs, voice recordings or transcripts of voice recordings, electronic communications, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to IRO-014-AB-3, R7

(This section to be completed by the Compliance Monitoring Entity):

|  | (R7) For all, or a sample of, instances where assistance was requested by another reliability coordinator that had implemented its emergency procedures, verify the ISO provided such assistance, if able. If assistance was available and not provided, review evidence to verify that such actions could not be physically implemented or would violate safety, equipment, regulatory, or statutory requirements. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |