# Analysis and Mitigation of Transmission and Generation Protection System Misoperation

# PRC-004-AB2-1

# Standard Effective Date: April 1, 2019

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  |  | X1 |  | X2 |  | X |  |  |  |  |
| R2 |  |  | X1 |  | X2 |  | X |  |  |  |  |
| R3 |  | X |  |  |  |  |  |  |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 The legal owner of an aggregated generating facility that: - is directly connected to the transmission system or to transmission facilities within the City of Medicine Hat; - has a maximum authorized real power rating greater than 4.5 MW; and - has protection systems that directly affect the reliability of the bulk electric system. 2 The legal owner of a generating unit that: - is not part of an aggregated generating facility; - has a maximum authorized real power rating greater than 4.5 MW; - is directly connected to the transmission system or to transmission facilities within the City of Medicine Hat; and - has protection systems that directly affect the reliability of the bulk electric system.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |
| R3 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	Each legal owner of a transmission facility, legal owner of a generating unit and legal owner of an aggregated generating facility must analyze misoperations of its protection systems affecting the reliability of the bulk electric system, and develop and implement a corrective action plan to avoid future misoperations of a similar nature.

M1.	Evidence of analyzing misoperations, and developing and implementing a corrective action plan as required in requirement R1 exists. Evidence may include reports that include analysis and corrective action plans, emails, work orders, or other equivalent evidence.

### Entity Response (Required):

Question: Did any misoperation occur during the compliance audit period? ☐ Yes ☐ No If Yes, provide a list of misoperations. If No, describe how this was determined in the narrative section below.

### Evidence Requested (Required):

Provide the following evidence, or other evidence to demonstrate compliance.

Provide a list of all misoperations of the entity’s protection systems affecting the reliability of the bulk electric system during the audit period.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-004-AB2-1, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) Verify the entity has a method to determine if its protection systems misoperated and if it used this method to analyze all protection system operations to identify misoperations. |
| --- | --- |
|  | (R1) Determine if the entity has had any misoperations of its protection systems affecting the reliability of the bulk electric system. |
|  | (R1) Verify the entity analyzed all misoperations of its protection systems affecting the reliability of the bulk electric system. |
|  | (R1) Verify if identified misoperations resulted in the development and implementation of corrective action plans to avoid future misoperations of a similar nature. |
| Note to Auditor: The method to determine which operations may be misoperations can be informal and does not require a detailed or written process, but an entity needs some way to determine if a protection system operated correctly or not. |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	Each legal owner of a transmission facility, legal owner of a generating unit and legal owner of an aggregated generating facility must provide to the ISO documentation of its misoperations analyses and corrective action plans upon request by the ISO.

M2.	Evidence of providing to the ISO documentation of misoperations analyses and corrective action plans as required in requirement R2 exists. Evidence may include emails, dated correspondence, or other equivalent evidence.

### Entity Response (Required):

Question: Have there been any requests for misoperations analyses and corrective action plans from the ISO during the compliance audit period? ☐ Yes ☐ No If Yes, provide a list of such requests.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-004-AB2-1, R2

(This section to be completed by the Compliance Monitoring Entity):

|  | (R2) If the entity had any misoperations as determined in requirement R1, determine if the entity provided documentation of its misoperations analyses and corrective action plans to the ISO upon request by the ISO. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	The ISO must provide to the WECC documentation of the misoperations analyses and corrective action plans upon request by the WECC.

M3.	Evidence of providing to the WECC documentation of the misoperations analyses and corrective action plans as required in requirement R3 exists. Evidence may include emails, dated correspondence, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-004-AB2-1, R3

(This section to be completed by the Compliance Monitoring Entity):

|  | (R3) Check for dated copies of emails, documents, or other correspondence that verifies that the ISO, upon request by WECC, provided WECC with analysis of any misoperations that occurred during the audit period, and any corrective action plans that were drafted in response to any identified misoperations. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |