# Automatic Underfrequency Load Shedding

# PRC-006-AB-3

# Standard Effective Date: January 1, 2022

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 | X |  |  |  |  |  |  |  |  |  |  |
| RD.B.1 |  | X |  |  |  |  |  |  |  |  |  |
| R2 | X |  |  |  |  |  |  |  |  |  |  |
| RD.B.2 |  | X |  |  |  |  |  |  |  |  |  |
| R3 | X |  |  |  |  |  |  |  |  |  |  |
| RD.B.3 |  | X |  |  |  |  |  |  |  |  |  |
| R4 | X |  |  |  |  |  |  |  |  |  |  |
| RD.B.4 |  | X |  |  |  |  |  |  |  |  |  |
| R5 | X |  |  |  |  |  |  |  |  |  |  |
| R6 |  | X |  |  |  |  |  |  |  |  |  |
| R7 | X |  |  |  |  |  |  |  |  |  |  |
| R8 |  |  |  |  |  |  | X1 |  | X2 |  | X3 |
| R9 |  |  |  |  |  |  | X1 |  | X2 |  | X3 |
| R10 |  |  |  |  |  |  | X1 |  |  |  |  |
| R11 | X |  |  |  |  |  |  |  |  |  |  |
| RD.B.11 |  | X |  |  |  |  |  |  |  |  |  |
| R12 | X |  |  |  |  |  |  |  |  |  |  |
| RD.B.12 |  | X |  |  |  |  |  |  |  |  |  |
| R13 | X |  |  |  |  |  |  |  |  |  |  |
| R14 | X |  |  |  |  |  |  |  |  |  |  |
| R15 | X |  |  |  |  |  |  |  |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 The legal owner of a transmission facility that has responsibility in an underfrequency load shedding program the ISO establishes. 2 The legal owner of an electric distribution system that has responsibility in an underfrequency load shedding program the ISO establishes. 3 A market participant receiving service under Rate DTS of the ISO tariff that has responsibility in an underfrequency load shedding program the ISO establishes.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| RD.B.1 |  |  |  |
| RD.B.2 |  |  |  |
| RD.B.3 |  |  |  |
| RD.B.4 |  |  |  |
| R6 |  |  |  |
| R8 |  |  |  |
| R9 |  |  |  |
| R10 |  |  |  |
| RD.B.11 |  |  |  |
| RD.B.12 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## RD.B.1 Supporting Evidence and Documentation

RD.B.1.	The ISO must participate, through its involvement in the WECC UFLS Review Group or its successor, in a joint regional review with the other planning coordinators in the WECC regional entity area that develops and documents criteria, including consideration of historical events and system studies, to select portions of the bulk electric system that may form islands.

MD.B.1.	Evidence of participating in a joint regional review as required in requirement RD.B.1 exists. Evidence may include reports, or other documentation of its criteria, developed as part of the joint regional review with other planning coordinators in the WECC regional entity area, to select portions of the bulk electric system that may form islands, including how system studies and historical events were considered to develop the criteria per requirement RD.B.1, meeting minutes showing attendance at the WECC UFLS Review Group or its successor, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-006-AB-3, RD.B.1

(This section to be completed by the Compliance Monitoring Entity):

| (RD.B.1) Review the evidence to verify the ISO has: |  |
| --- | --- |
|  | (RD.B.1) Participated in a joint regional review with other planning coordinators in the WECC regional entity area. |
|  | (RD.B.1) The joint regional review developed and documented criteria in selecting portions of the bulk electric system that may form islands. |
| Note to Auditor: The ISO must demonstrate some type of participation in this review to develop and document the criteria to select portions of the bulk electric system that may form islands. |  |

### Auditor Notes:

## RD.B.2 Supporting Evidence and Documentation

RD.B.2.	The ISO must identify one or more islands from the regional review, set out in requirement RD.B.1, to serve as a basis for designing a region-wide coordinated underfrequency load shedding program including:

RD.B.2.1 those islands selected by applying the criteria in requirement RD.B.1; and

RD.B.2.2 any portions of the bulk electric system designed to detach from the Interconnection as a result of the operation of a protection system or remedial action scheme.

MD.B.2.	Evidence of identifying one or more islands from the regional review as required in requirement RD.B.2 exists. Evidence may include reports, memorandums, e-mails, or other documentation supporting its identification of an island, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-006-AB-3, RD.B.2

(This section to be completed by the Compliance Monitoring Entity):

| (RD.B.2) Review the evidence to verify the ISO has: |  |
| --- | --- |
|  | (RD.B.2) Identified one or more islands from the regional review (per RD.B.1) to serve as a basis for designing a region-wide coordinated underfrequency load shedding program, including: |
|  | (RD.B.2.1) Islands selected by applying the criteria in RD.B.1; and |
|  | (RD.B.2.2) Any portions of the bulk electric system designed to detach from the Interconnection as a result of a protection system or remedial action scheme operation. |
| Note to Auditor: The ISO should provide documentation of the criteria determined in RD.B.1. The ISO must identify all applicable islands meeting the criteria determined in RD.B.1 and identified portions of the bulk electric system designed to detach from the Interconnection as a result of a protection system or remedial action scheme operation. |  |

### Auditor Notes:

## RD.B.3 Supporting Evidence and Documentation

RD.B.3.	The ISO must adopt an underfrequency load shedding program;

(a) coordinated across the WECC regional entity area; and

(b) modified as appropriate for Alberta;

including notification to the UFLS entities of the adopted underfrequency load shedding program and a schedule for implementation within Alberta.

MD.B.3.	Evidence of adopting an underfrequency load shedding program as required in requirement RD.B.3 exists. Evidence may include reports, memorandums, e-mails, program plans, or other documentation of its adoption of a underfrequency load shedding program, or other equivalent evidence.

### Entity Response (Required):

Question: Has the ISO adopted the WECC Off Nominal Frequency Load Shedding Plan? ☐ Yes ☐ No

### Entity Response (Required):

Question: If Yes to the previous question, has the ISO modified its underfrequency load shedding program or established a Sub-Area of the WECC Off Nominal Frequency Load Shedding Plan for AESO? ☐ Yes ☐ No

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-006-AB-3, RD.B.3

(This section to be completed by the Compliance Monitoring Entity):

| (RD.B.3) Review the evidence to verify the ISO has adopted an underfrequency load shedding program which: |  |
| --- | --- |
|  | (RD.B.3) Has been coordinated across the WECC regional area and modified as appropriate for Alberta; |
|  | (RD.B.3) Demonstrates the ISO has communicated its adoption to the underfrequency load shedding entities; |
|  | (RD.B.3) Includes notification to the underfrequency load shedding entities of the underfrequency load shedding program; and |
|  | (RD.B.3) Includes a schedule for implementation within Alberta. |
| Note to Auditor: Documentation of adoption of the WECC Off Nominal Frequency Load Shedding Plan without modifications, or by adopting the appropriate sub-area plan satisfies the requirement for adopting a plan that has been coordinated across the WECC Region. If any modifications are made specifically for AESO, the ISO must show documentation of how its modified underfrequency load shedding program is coordinated with the WECC Off Nominal Frequency Load Shedding Plan. The ISO must demonstrate how its adopted underfrequency load shedding program is implemented among the underfrequency load shedding entities. |  |

### Auditor Notes:

## RD.B.4 Supporting Evidence and Documentation

RD.B.4.	The ISO must participate in a coordinated underfrequency load shedding design assessment with the other planning coordinators in the WECC regional entity area at least once every five years.

RD.B.4.1 Intentionally left blank.

RD.B.4.2 Intentionally left blank.

RD.B.4.3 Intentionally left blank.

RD.B.4.4 Intentionally left blank.

RD.B.4.5 Intentionally left blank.

RD.B.4.6 Intentionally left blank.

RD.B.4.7 Intentionally left blank.

MD.B.4.	Evidence of participating in a coordinated underfrequency load shedding design assessment as required in requirement RD.B.4 exists. Evidence may include dated documentation of the ISO’s participation in a coordinated underfrequency load shedding design assessment with the other planning coordinators in the WECC or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-006-AB-3, RD.B.4

(This section to be completed by the Compliance Monitoring Entity):

|  | (RD.B.4) Review the evidence to verify the ISO has participated in a coordinated underfrequency load shedding design assessment with the other planning coordinators in the WECC regional entity area at least once every five years. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R6 Supporting Evidence and Documentation

R6.	The ISO must maintain the set of underfrequency load shedding data necessary to model its underfrequency load shedding program for use in event analyses and assessments of the underfrequency load shedding program at least once each calendar year, with no more than 15 months between maintenance activities.

M6.	Evidence of maintaining underfrequency load shedding data as required in requirement R6 exists. Evidence may include underfrequency load shedding data, data requests, data input forms, other dated documentation or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-006-AB-3, R6

(This section to be completed by the Compliance Monitoring Entity):

| (R6) Review the evidence to verify the ISO has: |  |
| --- | --- |
|  | (R6) Maintained a set of underfrequency load shedding data for use in event analyses and assessments of the underfrequency load shedding program. |
|  | (R6) A set of underfrequency load shedding data that includes model data sufficient to be effective when the entity is performing an event analysis or assessment of the underfrequency load shedding program. |
|  | (R6) Documentation demonstrating the set of underfrequency load shedding data was maintained at least once each calendar year but with no more than 15 months between maintenance activities. |
| Note to Auditor: Examples of “model data sufficient to be effective” can be subjective. Potential examples may include underfrequency trip settings of generating facilities, overfrequency trip settings of generating facilities, and automatic load restoration that impacts frequency stabilization. |  |

### Auditor Notes:

## R8 Supporting Evidence and Documentation

R8.	Each legal owner of a transmission facility, legal owner of an electric distribution system and market participant receiving service under Rate DTS of the ISO tariff must provide data to support maintenance of the underfrequency load shedding program, to the ISO according to the schedule the ISO specifies.

M8.	Evidence of providing data to the ISO as required in requirement R8 exists. Evidence may include responses to data requests, spreadsheets, letters or other dated documentation or other equivalent evidence.

### Evidence Requested (Required):

Provide the following evidence, or other evidence to demonstrate compliance.

The schedule specified by the ISO to receive data to support maintenance of the underfrequency load shedding program.

Dated evidence such as responses to data requests, spreadsheets, letters or other dated documentation or other equivalent evidence that entity provided data to the ISO according to the schedule specified by the ISO to support maintenance of the underfrequency load shedding program.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-006-AB-3, R8

(This section to be completed by the Compliance Monitoring Entity):

|  | (R8) Review the evidence to verify the entity has dated documentation the data was provided to the ISO in accordance with the established schedule. |
| --- | --- |
| Note to Auditor: Requirement R6 requires the ISO to maintain the set of underfrequency load shedding data necessary to model its underfrequency load shedding program for use in event analyses and assessments of the underfrequency load shedding program at least once each calendar year, with no more than 15 months between maintenance activities. It is anticipated, but not required, that the schedule established by the ISO to receive data under requirement R8 would be consistent with requirement R6. If the entity states it notified the ISO of no changes to its data since its last submission verify the ISO’s schedule allows for this type of submission. |  |

### Auditor Notes:

## R9 Supporting Evidence and Documentation

R9.	Each legal owner of a transmission facility, legal owner of an electric distribution system and market participant receiving service under Rate DTS of the ISO tariff must provide, as the ISO determines, automatic tripping of load in accordance with the underfrequency load shedding program design, and schedule for implementation, including any corrective action plan.

M9.	Evidence of providing automatic tripping of load as required in requirement R9 exists. Evidence may include:

- spreadsheets summarizing feeder load armed with underfrequency load shedding relays;

- the relay settings and implementation date;

- schedules for implementation of the underfrequency load shedding program or any required corrective action plan; or

- other equivalent evidence.

### Evidence Requested (Required):

Provide the following evidence, or other evidence to demonstrate compliance.

Documentation of the underfrequency load shedding program design and schedule for implementation, including any corrective action plan as determined by the ISO.

Dated evidence such as spreadsheets summarizing feeder load armed with underfrequency load shedding relays, the relay settings and implementation date, schedules for implementation of the underfrequency load shedding program or any required corrective action plan, or other equivalent evidence that the entity provided automatic tripping of load in accordance with the underfrequency load shedding program design and schedule for implementation, including any corrective action plan, as determined by the ISO.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-006-AB-3, R9

(This section to be completed by the Compliance Monitoring Entity):

|  | (R9) Review the evidence to verify the entity provided automatic tripping of load in accordance with the underfrequency load shedding program design and schedule for implementation, including any corrective action plan, as determined by the ISO. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R10 Supporting Evidence and Documentation

R10.	Each legal owner of a transmission facility must provide, as the ISO determines, automatic switching of its existing capacitor banks, transmission lines, and reactors to control over-voltage as a result of underfrequency load shedding if required by the underfrequency load shedding program and schedule for implementation, including any corrective action plan.

M10.	Evidence of providing automatic switching of capacitor banks, transmission lines, and reactors as required in requirement R10 exists. Evidence may include:

- relay settings and, in some cases, the tripping logic and the implementation date;

- schedules for implementation of the underfrequency load shedding program or any required corrective action plan; or

- other equivalent evidence.

### Entity Response (Required):

Question: Is the entity required by the ISO’s underfrequency load shedding program to provide automatic switching to control over-voltage resulting from underfrequency load shedding? ☐ Yes ☐ No [If Yes, provide details, state if corrective action plans were included, and proceed to the compliance narrative section below. If No, proceed to the compliance narrative section below.]

### Evidence Requested (Required):

Provide the following evidence, or other evidence to demonstrate compliance.

Requirements of the ISO’s underfrequency load shedding program and schedule for implementation, including any corrective action plan, for entity to provide automatic switching to control over-voltage as a result of underfrequency load shedding.

Dated evidence such as relay settings and, in some cases, the tripping logic and the implementation date, schedules for implementation of the underfrequency load shedding program or any required corrective action plan, or other equivalent evidence that the entity provided, as determined by the ISO, automatic switching of its existing capacitor banks, transmission lines, and reactors to control over-voltage as a result of underfrequency load shedding if required by the underfrequency load shedding program and schedule for implementation, including any corrective action plan.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-006-AB-3, R10

(This section to be completed by the Compliance Monitoring Entity):

|  | (R10) Review the evidence to verify the entity provided, as determined by the ISO, automatic switching of its existing capacitor banks, transmission lines, and reactors to control over-voltage as a result of underfrequency load shedding if required by the underfrequency load shedding program and schedule for implementation, including any corrective action plan. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## RD.B.11 Supporting Evidence and Documentation

RD.B.11.	The ISO must, if a bulk electric system islanding event in Alberta results in system frequency excursions below the initializing set points of the ISO’s underfrequency load shedding program, participate in and document a coordinated event assessment with all affected planning coordinators within one year of event actuation to evaluate:

RD.B.11.1 the performance of the underfrequency load shedding equipment; and

RD.B.11.2 the effectiveness of the underfrequency load shedding program.

MD.B.11.	Evidence of participating in and documenting a coordinated event assessment with all affected planning coordinators as required in requirement RD.B.11 exists. Evidence may include reports, data gathered from an historical event, other dated documentation, or other equivalent evidence.

### Entity Response (Required):

Question: Did the ISO experience a bulk electric system islanding event in Alberta that resulted in system frequency excursions below the initializing set points of the ISO’s underfrequency load shedding program that affected other planning coordinators in the WECC regional area? ☐ Yes ☐ No [If Yes, provide evidence of the assessment of the event.]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-006-AB-3, RD.B.11

(This section to be completed by the Compliance Monitoring Entity):

| (RD.B.11) Review the evidence to verify the ISO has: |  |
| --- | --- |
|  | (RD.B.11) Responded to the applicability Question and provided evidence of compliance if the response was Yes, which demonstrates the following: |
|  | (RD.B.11) Participated in an assessment with all affected planning coordinators within one year of event actuation. |
|  | (RD.B.11.1) Post event assessment includes an evaluation of the performance of the underfrequency load shedding equipment |
|  | (RD.B.11.2) Post event assessment includes an evaluation of the effectiveness of the underfrequency load shedding program |
| Note to Auditor: If the ISO did not experience a bulk electric system islanding event in Alberta that resulted in system frequency excursions below initializing set points of the ISO’s underfrequency load shedding program that affected other planning coordinators in the WECC regional area, no further compliance assessment is necessary. The requirement is event driven. If a bulk electric system islanding event in Alberta results in system frequency excursions below the initializing set points of the ISO’s under frequency load shedding program and the event affected other planning coordinators in the WECC regional area, the ISO must show participation in such assessment by one or more of the following ways: - Provided its assessment of the event to the WECC UFLS Review Group (Review Group) or its successor. - Provided all data requests of the Review Group. - Reviewed the dated BES islanding event report, description or other documentation to understand the event. Requirement RD.B.11 specifies the assessment must be completed within “one year” of the event actuation. A period of one year is considered to be 365 days from the date of the event actuation. |  |

### Auditor Notes:

## RD.B.12 Supporting Evidence and Documentation

RD.B.12.	The ISO must, if an islanding event assessment (per RD.B.11) identifies deficiencies in the underfrequency load shedding program, participate in and document a coordinated underfrequency load shedding design assessment of the underfrequency load shedding program with the other planning coordinators in the WECC regional area to consider the identified deficiencies within 2 years of event actuation.

MD.B.12.	Evidence of participating in and documenting a coordinated underfrequency load shedding design assessment of the underfrequency load shedding program with the other planning coordinators as required in requirement RD.B.12 exists. Evidence may include reports, data gathered from an historical event, dated documentation, or other equivalent evidence.

### Entity Response (Required):

Question: Did the ISO experience a bulk electric system islanding event in Alberta that resulted in system frequency excursions below the initializing set points of the ISO’s underfrequency load shedding program that affected other planning coordinators in the WECC regional area? ☐ Yes ☐ No [If Yes, proceed to the next question. If No, proceed to the Narrative section below.]

### Entity Response (Required):

Question: Did the assessment conducted under requirement RD.B.11 identify any underfrequency load shedding program deficiencies? ☐ Yes ☐ No [If Yes, provide evidence of the assessment and deficiencies identified.]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-006-AB-3, RD.B.12

(This section to be completed by the Compliance Monitoring Entity):

| (RD.B.12) Review the evidence to verify the ISO has: |  |
| --- | --- |
|  | (RD.B.12) Responded to the applicability Questions and provided evidence of compliance if the response was Yes. |
|  | (RD.B.12) Participated in and documented a coordinated underfrequency load shedding design assessment of the underfrequency load shedding program with the other planning coordinators in the WECC regional area to consider the identified deficiencies within 2 years of event actuation. |
| Note to Auditor: If the entity did not experience a bulk electric system islanding event in Alberta that resulted in system frequency excursions below initializing set points of the ISO’s underfrequency load shedding program that affected other planning coordinators in the WECC regional area, or, conducted an assessment of the effectiveness of the program and equipment but did not identify deficiencies, no further compliance assessment is necessary. Requirement RD.B.12 specifies that the design assessment must be completed within “2 years” of the event actuation. A period of “2 years” is considered to be 730 days from the date of the event actuation. |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |