# Under Voltage Load Shedding

# PRC-010-AB-2

# Standard Effective Date: January 1, 2022

## Audit Summary

| Entity | Entity name; or the ISO. |
| --- | --- |
| Functional Entity Type(s) | Functional entity types applicable to the Entity during the audit period; or the ISO. |
| Audit ID |  |
| Audit Period (Audit start date or standard effective date, whichever comes later) (Audit end date or standard withdrawal/supersede date, whichever comes first) | From: Click or tap to enter a date. To: Click or tap to enter a date. |
| Audit Assessment Start Date (Scheduled or Spot Check) | Click or tap to enter a date. |
| Compliance Monitoring Entity | Alberta Electric System Operator (AESO) for Alberta Entities or WECC on behalf of the Market Surveillance Administrator (MSA) for the ISO. |
| Date of Audit Completion | Click or tap to enter a date. |

The Reliability Standard Audit Worksheet (RSAW) is not an authoritative document. It adds transparency and encourages consistency in the Alberta Reliability Standard monitoring processes. RSAWs provide information related to the compliance assessment approach for each Alberta Reliability Standard. The Compliance Monitoring Entity may apply additional monitoring and assessment methods not documented in the RSAW and reserves the right to request additional evidence not listed in the RSAW. The Entity completes the applicable fields and submits the RSAW to the Compliance Monitoring Entity as requested during a compliance monitoring activity. The Compliance Monitoring Entity completes the document and its compliance assessment in the auditor notes section and retains it as an audit working paper to support the audit conclusions.

### Applicability of Requirements

|  | Req. Removed | ISO | LO AGF | OP AGF | LO GU | OP GU | LO TF | OP TF | LO DS | OP DS | MP DTS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| R1 |  | X |  |  |  |  |  |  |  |  |  |
| R2 |  |  |  |  |  |  | X1 |  | X2 |  | X3 |
| R3 |  | X |  |  |  |  |  |  |  |  |  |
| R4 |  | X |  |  |  |  |  |  |  |  |  |
| R5 |  | X |  |  |  |  |  |  |  |  |  |
| R6 |  | X |  |  |  |  |  |  |  |  |  |
| R7 |  |  |  |  |  |  | X1 |  | X2 |  | X3 |
| R8 |  | X |  |  |  |  |  |  |  |  |  |

LO AGF - Legal owner of an aggregated generating facility

OP AGF - Operator of an aggregated generating facility

LO GU - Legal owner of a generating unit

OP GU - Operator of a generating unit

LO TF - Legal owner of a transmission facility

OP TF - Operator of a transmission facility

LO DS - Legal owner of an electric distribution system

OP DS - Operator of an electric distribution system

MP DTS - Market participant receiving service under Rate DTS of the ISO tariff

### Applicability of Requirements Qualifiers, if applicable: 1 The legal owner of a transmission facility that has responsibility in an under voltage load shed program the ISO establishes. 2 The legal owner of an electric distribution system that has responsibility in an under voltage load shed program the ISO establishes. 3 A market participant receiving service under Rate DTS of the ISO tariff that has responsibility in an under voltage load shed program the ISO establishes.

### Findings

(This section to be completed by the Compliance Monitoring Entity)

| Req. | Finding | Summary and Documentation | Functions Monitored |
| --- | --- | --- | --- |
| R1 |  |  |  |
| R2 |  |  |  |
| R3 |  |  |  |
| R4 |  |  |  |
| R5 |  |  |  |
| R6 |  |  |  |
| R7 |  |  |  |
| R8 |  |  |  |

| Req. | Areas of Concern |
| --- | --- |

| Req. | Recommendations |
| --- | --- |

| Req. | (Positive) Observations |
| --- | --- |

### Subject Matter Experts

Identify the Subject Matter Expert(s) responsible for this Reliability Standard.

Entity Response (Required; Insert additional rows if needed):

| SME Name | Title | Organization | Requirement(s) |
| --- | --- | --- | --- |

## R1 Supporting Evidence and Documentation

R1.	The ISO must, if it is developing an under voltage load shed program, evaluate its effectiveness and subsequently provide the under voltage load shed program’s specifications and implementation schedule to the under voltage load shed entities responsible for implementing the under voltage load shed program. The evaluation must include studies and analyses that show that:

(a) the implementation of the under voltage load shed program resolves the identified under voltage issues that led to its development and design; and

(b) the under voltage load shed program is integrated with consideration given to the following at the discretion of the ISO:

coordination with generating unit and aggregated generating facility voltage ride-through capabilities and other protection and control systems, including transmission line protection, automatic reclosing, remedial action schemes, and other under voltage load shed programs or schemes.

M1.	Evidence of evaluating under voltage load shed programs and providing its specifications and implementation schedule to the under voltage load shed entities as required in requirement R1 exists. Evidence may include date-stamped studies and analyses, reports, or other documentation detailing the effectiveness of the under voltage load shed program, and date-stamped communications showing that the under voltage load shed program specifications and implementation schedule were provided to under voltage load shed entities, or other equivalent evidence.

### Entity Response (Required):

Question: Has the ISO developed or implemented any under voltage load shed program(s)? ☐ Yes ☐ No If Yes, provide a list of under voltage load shed programs. [Note: A separate spreadsheet or other document may be used. If so, provide the document reference below.]

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-010-AB-2, R1

(This section to be completed by the Compliance Monitoring Entity):

|  | (R1) Determine if the ISO developed an under voltage load shed program. If yes, verify the ISO evaluated the program’s effectiveness including studies and analysis that show: |
| --- | --- |
|  | (R1(a)) Implementation of the under voltage load shed program resolves the identified under voltage issues that led to its development and design; and |
|  | (R1(b)) The under voltage load shed program is integrated with consideration given to the following at the discretion of the ISO: - coordination with generating unit and aggregated generating facility voltage ride-through capabilities, and other protection and control systems, including transmission line protection, automatic reclosing, remedial action schemes, and other under voltage load shed programs or schemes. |
|  | (R1) Verify the ISO provided the under voltage load shed program’s specifications and implementation schedule to the under voltage load shed entities responsible for implementing the under voltage load shed program. |
| Note to Auditor: |  |

### Auditor Notes:

## R2 Supporting Evidence and Documentation

R2.	Each legal owner of a transmission facility, legal owner of an electric distribution system, and market participant receiving service under Rate DTS of the ISO tariff must adhere to the under voltage load shed program specifications and implementation schedule the ISO determines and associated with any corrective action plans in accordance with requirement R5.

M2.	Evidence of adhering to specifications, implementation of the under voltage load shed program and any corrective action plans as required in requirement R2 exists. Evidence may include date-stamped documentation on the completion of actions and may include identifying the equipment armed with under voltage load shed relays, the under voltage load shed relay settings, associated load summaries, work management program records, work orders, and maintenance records, or other equivalent evidence.

### Entity Response (Required):

Question: Was the entity subject to under voltage load shed program specifications or implementation schedules determined by the ISO associated with under voltage load shed program development per requirement R1 or with any corrective action plans per requirement R5? ☐ Yes ☐ No If No, describe how this was determined in the narrative section below. If Yes, provide a list of under voltage load shed program specifications and implementation schedules. [Note: A separate spreadsheet or other document may be used. If so, provide the document reference below.]

### Evidence Requested (Required):

Provide the following evidence, or other evidence to demonstrate compliance.

Under voltage load shed program specifications and implementation schedules determined by the ISO associated with under voltage load shed program development per requirement R1 or with any corrective action plans per requirement R5.

Date-stamped documentation demonstrating the entity adhered to the under voltage load shed program specifications and implementation schedule by completion of specified actions within the specified timeframes.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-010-AB-2, R2

(This section to be completed by the Compliance Monitoring Entity):

|  | (R2) Verify the entity adhered to the under voltage load shed program specifications and implementation schedules determined by the ISO associated with under voltage load shed program development per requirement R1 or with any corrective action plans per requirement R5. |
| --- | --- |
| Note to Auditor: |  |

### Auditor Notes:

## R3 Supporting Evidence and Documentation

R3.	The ISO must perform a comprehensive assessment to evaluate the effectiveness of each of its under voltage load shed programs at least once every 60 months. Each assessment must include, studies and analyses that evaluate whether the under voltage load shed program:

(a) resolves the identified under voltage issues for which the under voltage load shed program is designed; and

(b) is integrated with consideration given to the following at the discretion of the ISO: coordination with generating unit and aggregated generating facility voltage ride-through capabilities and other protection and control systems, including transmission line protection, automatic reclosing, remedial action schemes, and other under voltage load shed programs or schemes.

M3.	Evidence of performing a comprehensive assessment to evaluate the effectiveness of each under voltage load shed program as required in requirement R3 exists. Evidence may include date-stamped reports or other documentation detailing the assessment of each under voltage load shed program, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-010-AB-2, R3

(This section to be completed by the Compliance Monitoring Entity):

|  | (R3) Verify the ISO performed a comprehensive assessment to evaluate the effectiveness of each of its under voltage load shed programs at least once every 60 months. The assessment included studies and analyses that evaluate whether the under voltage load shed program: |
| --- | --- |
|  | (R3(a)) Resolves the identified under voltage issues for which the under voltage load shed program is designed; and |
|  | (R3(b)) Is integrated with consideration given to the following at the discretion of the ISO: coordination with generating unit and aggregated generating facility voltage ride-through capabilities, and other protection and control systems, including transmission line protection, automatic reclosing, remedial action schemes, and other under voltage load shed programs or schemes. |
| Note to Auditor: |  |

### Auditor Notes:

## R4 Supporting Evidence and Documentation

R4.	The ISO must, within 12 months of an event that resulted in a voltage excursion for which its under voltage load shed programs were designed to operate, perform an assessment to evaluate:

(a) whether its under voltage load shed program resolved the under voltage issues associated with the event; and

(b) the performance (i.e., operation and non-operation) of the under voltage load shed program equipment.

M4.	Evidence of performing an assessment to evaluate the under voltage load shed program as required in requirement R4 exists. Evidence may include date-stamped event data, event analysis reports, or other documentation detailing the assessment of the under voltage load shed program and performance of the associated equipment, or other equivalent evidence

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-010-AB-2, R4

(This section to be completed by the Compliance Monitoring Entity):

|  | (R4) Determine if the ISO had an event that resulted in a voltage excursion for which its under voltage load shed programs were designed to operate. If yes, verify the ISO performed an assessment to evaluate: |
| --- | --- |
|  | (R4(a)) whether its under voltage load shed program resolved the under voltage issues associated with the event; and |
|  | (R4(b)) the performance (i.e., operation and non-operation) of the under voltage load shed program equipment. |
|  | (R4) Verify the assessment was completed within 12 months of the event. |
| Note to Auditor: |  |

### Auditor Notes:

## R5 Supporting Evidence and Documentation

R5.	The ISO must, when it identifies deficiencies during an assessment performed in either requirement R3 or R4, develop a corrective action plan to address the deficiencies and subsequently provide the corrective action plan, including an implementation schedule, to under voltage load shed entities within 3 months of completing the assessment in either requirement R3 or R4.

M5.	Evidence of developing a corrective action plan and providing it to under voltage load shed entities as required in requirement R5 exists. Evidence may include:

- a date-stamped corrective action plan that addresses identified deficiencies and may also include date-stamped reports or other documentation supporting the corrective action plan;

- date-stamped communications showing that the corrective action plan and an associated implementation schedule were provided to under voltage load shed entities, or

- other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-010-AB-2, R5

(This section to be completed by the Compliance Monitoring Entity):

|  | (R5) Determine if the ISO identified deficiencies during an assessment of the effectiveness of its under voltage load shed programs performed in either requirement R3 or R4. If yes, verify the ISO: |
| --- | --- |
|  | (R5) Developed a corrective action plan to address the deficiencies |
|  | (R5) Provided the corrective action plan, including an implementation schedule, to under voltage load shed entities |
|  | (R5) Provided the corrective action plan within 3 months of completing the assessment in either requirement R3 or R4. |
| Note to Auditor: |  |

### Auditor Notes:

## R6 Supporting Evidence and Documentation

R6.	The ISO must, if it has an under voltage load shed program in its area, collect data necessary to model the under voltage load shed program in its area for use in event analyses and assessments of the under voltage load shed program at least once each calendar year.

M6.	Evidence of collecting data necessary to model each under voltage load shed program as required in requirement R6 exists. Evidence may include date-stamped spreadsheets, data reports, or other documentation demonstrating the under voltage load shed program data was updated, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-010-AB-2, R6

(This section to be completed by the Compliance Monitoring Entity):

|  | (R6) Determine if the ISO has an under voltage load shed program in its area. If yes, verify the ISO: |
| --- | --- |
|  | (R6) Collected data necessary to model the under voltage load shed program in its area for use in event analyses and assessments of the under voltage load shed program |
|  | (R6) Collected the data at least once each calendar year. |
| Note to Auditor: |  |

### Auditor Notes:

## R7 Supporting Evidence and Documentation

R7.	Each legal owner of a transmission facility, legal owner of an electric distribution system, and market participant receiving service under Rate DTS of the ISO tariff must provide data to support maintenance of the under voltage load shed program, to the ISO according to the schedule the ISO specifies.

M7.	Evidence of providing data to the ISO in accordance with requirement R7 exists. Evidence may include date-stamped emails, letters, or other documentation demonstrating data was provided to the ISO as specified, or other equivalent evidence.

### Evidence Requested (Required):

Provide the following evidence, or other evidence to demonstrate compliance.

Date-stamped documentation demonstrating the schedule specified by the ISO to support maintenance of the under voltage load shed program.

Date-stamped documentation demonstrating data was provided to the ISO according to the schedule specified by the ISO to support maintenance of the under voltage load shed program.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-010-AB-2, R7

(This section to be completed by the Compliance Monitoring Entity):

|  | (R7) Verify the entity provided data to the ISO according to the schedule specified by the ISO to support maintenance of the under voltage load shed program. |
| --- | --- |
| Note to Auditor: The intent is for entities to review the data annually and provide changes to the ISO so that the ISO can keep the databases current and accurate for performing event analyses and other assessments of the under voltage load shed program. |  |

### Auditor Notes:

## R8 Supporting Evidence and Documentation

R8.	The ISO must, if it has an under voltage load shed program in its area, provide its under voltage load shed program data to:

(a) planning coordinators within its Interconnection;

(b) transmission planners within its Interconnection; and

(c) other entities with a reliability need,

within 30 days of a written request.

M8.	Evidence of providing its under voltage load shed data as required in requirement R8 exists. Evidence may include date-stamped emails, letters, or other documentation demonstrating that the under voltage load shed program data was provided within 30 days of receipt of a written request, or other equivalent evidence.

### Entity Response (Required):

Compliance Narrative:

Provide a brief explanation of how you comply with this Requirement. References to supplied evidence, including links to the appropriate page are recommended.

### Entity Evidence (Required):

| The following information is requested for each document submitted as evidence. Also, evidence submitted should be highlighted and bookmarked/annotated, as appropriate, to identify the exact location where evidence of compliance may be found. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

### Audit Team Evidence Reviewed

(This section to be completed by the Compliance Monitoring Entity):

### Compliance Assessment Approach Specific to PRC-010-AB-2, R8

(This section to be completed by the Compliance Monitoring Entity):

|  | (R8) Determine if the ISO has an under voltage load shed program in its area. If yes, verify the ISO provided its under voltage load shed program data to: |
| --- | --- |
|  | (R8(a)) planning coordinators within its Interconnection; |
|  | (R8(b)) transmission planners within its Interconnection; and |
|  | (R8(c)) other entities with a reliability need. |
|  | (R8) Verify the ISO provided the data within 30 days of a written request. |
| Note to Auditor: |  |

### Auditor Notes:

# Additional Information

Bolded terms in the Alberta Reliability Standard RSAW refer to terms in the Consolidated Authoritative Document Glossary.

# Revision History for RSAW

| Version | Issue Date | Description |
| --- | --- | --- |
| 1.0 | 2026-04-01 | Initial version |