## Information Page 1
Information documents are not authoritative. Information documents are for information purposes only and are intended to provide guidance. In the event of any discrepancy between an information document and any authoritative document1 in effect, the authoritative document governs.
1 Purpose
This information document relates to the following authoritative documents:
• Rate DTS of the ISO tariff, Demand Transmission Service;
• Rate PSC of the ISO tariff, Primary Service Credit; and
• Rate STS of the ISO tariff, Supply Transmission Service.
The purpose of this information document is to allow a market participant to estimate the monthly
charges for system access service under the rates and riders of the ISO tariff. Including Rate DTS,
Demand Transmission Service, Rate PSC, Primary Service Credit, and Rate STS, Supply
Transmission Service.
The calculations in this nformation document provide estimated charges only. The AESO calculates
certain actual charges on an hourly basis rather than on average monthly amounts, and actual charges
will differ from the estimated charges.
2 Completing the Bill Estimator
This section describes how a market participant may complete the bill estimator to estimate monthly
charges for system access service.
Initial Steps
Select the appropriate ISO tariff from the dropdown menu on cell "J10" of the A - Inputs and Summary sheet
and confirm that the PILON calculator applies to the project by checking the effective date in cell "J11".
Enter information identifying the service at the top of the A - Inputs and Summary sheet, which will replace
the default text. Enter the values used to estimate a bill on the same sheet and, for Quarterly Rider C
amounts, on the B - Rate DTS and Riders sheet. Enter information and values only in the cells
highlighted in yellow. Input messages have been provided for cells where information is to be entered.
Estimate Details
Provide estimate details by making the applicable choices in rows (a) through (h) of the A - Inputs and
Summary sheet. The choices in these cells affect other input cells as well as calculations on this and
other sheets.
1 “Authoritative document” is the general name given by the AESO to categories of documents made by the AESO
under the authority of the Electric Utilities Act and associated regulations, and that contain binding legal requirements for
either market participants or the AESO, or both. Authoritative documents include: the ISO rules, the reliability standards
and the ISO tariff.
Information Document
Bill Estimator for Tariff
ID #2021-015T

## Information Page 2
Billing Determinants
On the A - Inputs and Summary sheet, in row (i), enter contract capacities for all services under
Rate DTS and Rate STS, which are connected at the same substation.
In row (l), enter the coincidence factor reflecting the percentage of highest metered demand in row (k)
which is on-line at the time of system peak.
In row (p), enter the load or capacity factor reflecting the average demand during the month as a
percentage of the highest metered demand during the month.
In row (y), enter the value for the Rider E adjustment, as applicable and as provided in the Rider E
applicable and as provided in the current ISO tariff on the AESO website.
In rows (z) and (aa), confirm the values for the Rider F charge or credit and the Rider J charge, as
applicable, and as provided in the current ISO tariff on the AESO website.
On the B - Rate DTS and Riders sheet, in rows 2(a) to 2(e), enter the values for the Rider C charges or
credits, as applicable and as provided in the Rider C quarterly deferral estimate on the AESO website.
For additional definitions of billing determinants see the Consolidated Authoritative Documents Glossary
on the AESO website and the Rate DTS, Rate STS, and other relevant rate and rider sheets in the ISO
tariff.
3 Bill Estimates
After all relevant values have been selected or entered on the A - Inputs and Summary sheet and, for
Quarterly Rider C amounts, on the B - Rate DTS and Riders sheet, the charges under Rate DTS,
Rate PSC and Rate STS are summarized at the bottom of the A - Inputs and Summary sheet, on both a
monthly and annual basis.
Additional detail on calculations of the monthly Rate DTS, Rate PSC, and Rate STS charges are provided
on the B - Rate DTS and Riders, C - Rate PSC and Rider, and D - Rate STS and Riders sheets. All
sheets are set up for printing, each as a single letter-size page.
4 Limitations
The AESO calculates the operating reserve charge under Rate DTS as the sum of amounts calculated
over all hours in the settlement period. The operating reserve charge estimate in this calculator
approximates the hourly calculation using a percentage of pool price multiplied by metered energy.
Please refer to the Rate DTS section in the ISO tariff and to information document #2011-004T,
Operating Reserve Charge Calculation, for more information.
The AESO calculates the transmission constraint rebalancing charge under Rate DTS as the sum of
amounts calculated over hours in which transmission constraint rebalancing payments are made during
the settlement period. The transmission constraint rebalancing charge estimate in this calculator
approximates the hourly calculation using a constant $/MWh charge multiplied by metered energy.
Refer to information document ID #2016-017T, Transmission Constraint Rebalancing Charge,
for more information.
Information Document
Bill Estimator for Tariff
ID #2021-015T

## Information Page 3
For confirmation on billing information or for questions relating to actual AESO charges, please contact the
AESO.
Attachments
Attachment A - Inputs and Summary
Attachment B - Rate DTS and Riders
Attachment C - Rate PSC and Rider
Attachment D - Rate STS and Riders
Revision History
Date | Description
2021-01-01 | Initial release.
Information Document
Bill Estimator for Tariff
ID #2021-015T

## A Inputs and Summary
Attachment A: Inputs and Summary
Market Participant: |  | Name of Market Participant |  |  | Tariff: | AESO 2021
Account: |  | Account ID |  |  | Effective: | 2021-01-01
Date: |  | Date Prepared |  |  | To: | Current
ESTIMATE DETAILS |  |  |  | Choice | Relates to
(a) | Is estimate for Rate DTS, Rate STS or both? |  |  | DTS Only | —
(b) | Any other market participant at substation? |  |  | No | —
(c) | Does Primary Service Credit apply to service? |  |  | No | Rate DTS
(d) | Is this a regulated generating unit within its base life? |  |  | No | Rate STS
(e) | Include Deferral Account Adjustment Rider C? |  |  | No | Rates DTS and PSC
(f) | Include Losses Calibration Factor Rider E? |  |  | No | Rate STS
(g) | Include Balancing Pool Consumer Allocation Rider F? |  |  | No | Rate DTS
(h) | Include Wind Forecasting Service Cost Recovery Rider J? |  |  | No | Rate STS
|  |  |  | This Market Participant |  | Other
BILLING DETERMINANTS |  |  | Units | Rate DTS | Rate STS | Participant
(i) | Contract capacity: |  | MW | 20 | 0 | 0
(j) | Substation fraction (SF): |  | — | 1 | NA | NA
(k) | Highest metered demand in settlement period: |  | MW | 20 | 0 | NA
(l) | Coincidence factor with 15-minute system peak: |  | % | 75% | NA | NA
(m) | Coincident metered demand: |  | MW | 15 | NA | NA
(n) | Highest metered demand in previous 24 months: |  | MW | 20 | NA | NA
(o) | Billing cap’y (highest of 90%×(i), (k) or 90%×(n)): |  | MW | 20 | NA | NA
(p) | Load or capacity factor: |  | % | 65% | 50% | NA
(q) | Hours in month: |  | hours | 730 | 730 | NA
(r) | Metered energy: |  | MWh | 9490 | 0 | NA
(s) | Pool price: |  | $/MWh | 53.93 | 53.93 | NA
(t) | % of pool price for OR charge estimate: |  | % | 6.19% | NA | NA
(u) | Apparent power difference (when PF < 90%): |  | MVA | 0 | NA | NA
(v) | Loss factor: |  | % | NA | 3.61% | NA
(w) | Regulated generating unit MW: |  | MW | NA | 0 | NA
(x) | Quarterly Rider C charge (credit): |  | % | Attachm’t B | NA | NA
(y) | Quarterly Rider E calibrat’n factor charge (credit): |  | % | NA | -0.5% | NA
(z) | Balancing Pool Rider F charge (credit): |  | $/MWh | 2.3 | NA | NA
(aa) | Wind Forecasting Cost Recovery Rider J charge: |  | $/MWh | NA | 0.08 | NA
BILL ESTIMATES: MONTHLY |  |  | Rate DTS | Rate PSC | Rate STS | Total
(1) | Transmission service charge (credit): |  | 361751.0338 | NA | NA | 361751.0338
(2) | Deferral Account Adjustment Rider C: |  | NA | NA | — | NA
(3) | Losses Calibration Factor Rider E: |  | — | — | NA | NA
(4) | Balancing Pool Consumer Allocation Rider F: |  | NA | — | — | NA
(5) | Wind Forecasting Service Cost Recovery Rider J: |  | — | — | NA | NA
(6) | Total monthly charges: |  | 361751.0338 | 0 | NA | 361751.0338
BILL ESTIMATES: ANNUAL (Monthly × 12) |  |  | Rate DTS | Rate PSC | Rate STS | Total
(7) | Transmission service charge (credit): |  | 4341012.406 | NA | NA | 4341012.406
(8) | Deferral Account Adjustment Rider C: |  | NA | NA | — | NA
(9) | Losses Calibration Factor Rider E: |  | — | — | NA | NA
(10) | Balancing Pool Consumer Allocation Rider F: |  | NA | — | — | NA
(11) | Wind Forecasting Service Cost Recovery Rider J: |  | — | — | NA | NA
(12) | Total annual charges: |  | 4341012.406 | 0 | NA | 4341012.406
Information Document
Bill Estimator for Tariff
ID #2021-015T

## B Rate DTS and Riders
Attachment B: Rate DTS Bill Estimate Under 2021 ISO Tariff
Market Participant: |  | Name of Market Participant | [5 empty] | Tariff: | AESO 2021
Account: |  | Account ID | [5 empty] | Effective: | 2021-01-01
Date: |  | Date Prepared | [5 empty] | To: | Current
| Billing Quantity |  |  |  |  | Reference | Volume
| (j) | Substation fraction (SF) |  |  |  | Glossary | 1
| (k) | Highest metered demand |  |  |  | Glossary | 20 | MW
| (m) | Coincident metered demand |  |  |  | DTS:3(2) | 15 | MW
| (o) | Billing capacity |  |  |  | Glossary | 20 | MW
| (r) | Metered energy |  |  |  | Glossary | 9490 | MWh
| (s) | Pool price |  |  |  | Glossary | 53.93 | /MWh
| (t) | % of pool price for operating reserve charge |  |  |  | DTS:4(2) | 6.19%
| (u) | Apparent power difference |  |  |  | DTS:7(b) | 0 | MVA
Rate or Rider Component |  |  |  |  | Charge |  | Volume |  | Amount
Rate DTS: Demand Transmission Service
Connection Charge
Bulk System Charge
3(a) | Coincident metered demand |  |  |  | 11085 | /MW/month | 15 | MW | 166275
3(b) | Metered energy |  |  |  | 1.22 | /MWh | 9490 | MWh | 11577.8
Regional System Charge
3(c) | Billing capacity |  |  |  | 2893 | /MW/month | 20 | MW | 57860
3(d) | Metered energy |  |  |  | 0.93 | /MWh | 9490 | MWh | 8825.7
Point of Delivery Charge
3(e) | Substation fraction |  |  |  | 14860 | /month | 1 |  | 14860
3(f) | First (7.5 × SF) MW of billing capacity |  |  |  | 4891 | /MW/month | 7.5 | MW | 36682.5
3(g) | Next (9.5 × SF) MW of billing capacity |  |  |  | 2900 | /MW/month | 9.5 | MW | 27550
3(h) | Next (23 × SF) MW of billing capacity |  |  |  | 1942 | /MW/month | 3 | MW | 5826
3(i) | All remaining MW of billing capacity |  |  |  | 1195 | /MW/month | 0 | MW | 0
Operating Reserve Charge Estimate
4 | Metered energy |  | pool price | 6.19% | 3.3383 | /MWh | 9490 | MWh | 31680.1538
Transmission Constraint Rebalancing Charge Estimate
5 | Metered energy |  |  |  | 0.002 | /MWh | 9490 | MW | 18.98
Voltage Control Charge
6 | Metered energy |  |  |  | 0.01 | /MWh | 9490 | MWh | 94.9
Other System Support Services Charge
7(a) | Highest metered demand |  |  |  | 25 | /MW/month | 20 | MW | 500
7(b) | Apparent power difference |  |  |  | 400 | /MVA/month | 0 | MVA | 0
Total Rate DTS charge | [8 empty] | 361751.0338
Rider C: Deferral Account Adjustment Rider
2(a) | Connection charge |  |  |  | 1% |  | NA |  | NA
2(b) | Operating reserve charge |  |  |  | 1.04% |  | NA |  | NA
2(c) | Transmission constraint rebalancing |  |  |  | 0% |  | NA |  | NA
2(d) | Voltage control charge |  |  |  | 9.94% |  | NA |  | NA
2(e) | Other system support services |  |  |  | -10.61% |  | NA |  | NA
Total Rider C charge or credit | [8 empty] | NA
Rider F: Balancing Pool Consumer Allocation Rider
2 | Rider F credit |  |  |  | NA | /MWh | NA |  | NA
Total estimated charge in settlement period under Rate DTS: | [8 empty] | 361751.0338
Information Document
Bill Estimator for Tariff
ID #2021-015T

## C Rate PSC and Rider
Attachment C: Rate PSC Bill Estimate Under 2021 ISO Tariff
Market Participant: |  | Name of Market Participant |  |  |  | Tariff: | AESO 2021
Account: |  | Account ID |  |  |  | Effective: | 2021-01-01
Date: |  | Date Prepared |  |  |  | To: | Current
| Billing Quantity |  |  | Reference | Volume
| (j) | Substation fraction (SF) |  | Glossary | 1
| (o) | Billing capacity |  | Glossary | 20 | MW
Rate or Rider Component |  |  | Credit |  | Volume |  | Amount
Rate PSC: Primary Service Credit
2(a) | Substation fraction |  | 11739 | /month | NA |  | NA
2(b) | First (7.5 × SF) MW of billing capacity |  | 3864 | /MW/month | NA | MW | NA
2(c) | Next (9.5 × SF) MW of billing capacity |  | 2291 | /MW/month | NA | MW | NA
2(d) | Next (23 × SF) MW of billing capacity |  | 1534 | /MW/month | NA | MW | NA
2(e) | All remaining MW of billing capacity |  | 1195 | /MW/month | NA | MW | NA
Total Rate PSC credit | [6 empty] | NA
Rider C: Deferral Account Adjustment Rider
2(a) | Primary service credit |  | 1% |  | NA |  | NA
Total Rider C charge (credit) | [6 empty] | NA
Total estimated credit in settlement period under Rate PSC: | [6 empty] | NA
Information Document
Bill Estimator for Tariff
ID #2021-015T

## D Rate STS and Riders
Attachment D: Rate STS Bill Estimate Under 2021 ISO Tariff
Market Participant: |  | Name of Market Participant | [5 empty] | Tariff: | AESO 2021
Account: |  | Account ID | [5 empty] | Effective: | 2021-01-01
Date: |  | Date Prepared | [5 empty] | To: | Current
| Billing Quantity |  |  |  |  | Reference | Volume
| (r) | Metered energy |  |  |  | Glossary | NA
| (s) | Pool price |  |  |  | Glossary | NA
| (v) | Loss factor |  |  |  | Glossary | NA
| (w) | Regulated generating unit MW |  |  |  | Appendix A | NA
Rate or Rider Component |  |  |  |  | Charge |  | Volume |  | Amount
Rate STS: Supply Transmission Service
Losses Charge
2 | Metered energy |  | pool price | × NA | = NA | /MWh | NA |  | NA
Regulated Generating Unit Connection Cost
3 | Regulated generating unit MW |  |  |  | 0 | /MW | NA |  | NA
Total Rate STS charge | [8 empty] | NA
Rider E: Losses Calibration Factor Rider
2 | Metered energy |  | pool price | × NA | = NA | /MWh | NA |  | NA
Rider J: Wind Forecasting Service Cost Recovery Rider
2 | Rider J charge |  |  |  | NA | /MWh | NA |  | NA
Total estimated charge in settlement period under Rate STS: | [8 empty] | NA
Information Document
Bill Estimator for Tariff
ID #2021-015T

## Lookup (hidden)
| Tariff | AESO 2015 | AESO 2016 | AESO 2017 | AESO 2018 | AESO 2019 | AESO 2020 | AESO 2021
| Effective On | 2016-01-01 | 2016-04-01 | 2017-01-01 | 2018-01-01 | 2019-01-01 | 2020-04-01 | 2021-01-01
| End Date | 2016-03-31 | 2016-12-31 | 2017-12-31 | 2018-12-31 | 2020-03-31 | 2020-12-31 | Current
Bulk System Charge | Coincident metered demand | 9305 | 10175 | 10670 | 10177 | 10524 | 10814 | 11085
Bulk System Charge | metered energy | 1.09 | 1.17 | 1.25 | 1.2 | 1.26 | 1.13 | 1.22
Regional System Charge | Billing capacity | 2162 | 2333 | 2356 | 2281 | 2359 | 2799 | 2893
Regional System Charge | Metered Energy | 0.76 | 0.81 | 0.87 | 0.84 | 0.87 | 0.86 | 0.93
Rate DTS Charge | (e) Substation fraction (SF) | 7865 | 8604 | 8789 | 8635 | 9062 | 14291 | 14860
Rate DTS Charge | (f) First (7.5 × SF) MW of billing capacity | 3184 | 3484 | 3559 | 3496 | 3669 | 4703 | 4891
Rate DTS Charge | (g) Next (9.5 × SF) MW of billing capacity | 1994 | 2182 | 2229 | 2190 | 2298 | 2789 | 2900
Rate DTS Charge | (h) Next (23 × SF) MW of billing capacity | 1391 | 1522 | 1555 | 1527 | 1603 | 1867 | 1942
Rate DTS Charge | (i) All remaining MW of billing capacity | 901 | 986 | 1007 | 989 | 1038 | 1150 | 1195
Rate PSC Credit | (e) Substation fraction (SF) | -6213 | -6797 | -6943 | -6822 | -7159 | -11290 | -11739
Rate PSC Credit | (f) First (7.5 × SF) MW of billing capacity | -2515 | -2752 | -2812 | -2762 | -2899 | -3715 | -3864
Rate PSC Credit | (g) Next (9.5 × SF) MW of billing capacity | -1575 | -1724 | -1761 | -1730 | -1815 | -2203 | -2291
Rate PSC Credit | (h) Next (23 × SF) MW of billing capacity | -1099 | -1202 | -1228 | -1206 | -1266 | -1475 | -1534
Rate PSC Credit | (i) All remaining MW of billing capacity | -901 | -986 | -1007 | -989 | -1038 | -1150 | -1195
Operating Reserve Charge | Pool price | 41.49 | 40.99 | 31.82 | 42.58 | 57.52 | 57.81 | 53.93
Operating Reserve Charge | Multiplier | 6.41% | 6.66% | 6.99% | 6.44% | 8.5% | 7.13% | 6.19%
Transmission Constraint Rebalancing Charge | Metered energy | 0 | 0.06 | 0.07 | 0.002 | 0.002 | 0.002 | 0.002
Voltage Control Charge | Metered energy | 0.05 | 0.06 | 0.07 | 0.09 | 0.05 | 0.05 | 0.01
Other System Support Services Charge | Highest metered demand | 41 | 46 | 46 | 46 | 36 | 24 | 25
Other System Support Services Charge | Regulated Generating Unit Connection Cost | 149 | 122 | 95 | 75 | 45 | 15 | 0
Other System Support Services Charge | Apparent Power Difference | 400 | 400 | 400 | 400 | 400 | 400 | 400
Rider F | Rider F | -3.25 | -3.25 | 1.1 | 3.1 | 2.9 | 2.5 | 2.3