## Disclaimer
Disclaimer
The information contained in this document is for information purposes only. As such, the AESO makes no warranties or representations as to the accuracy, completeness or fitness for any particular purpose with respect to the information contained herein, whether express or implied. While the AESO has made every attempt to ensure information is obtained from reliable sources, the AESO is not responsible for any errors or omissions. Consequently, any reliance placed on the information contained herein is at the user’s sole risk.
The data presented in this data file are for the Alberta Balancing Authority area which also includes Fort Nelson, British Columbia.
Energy and loads are counted once and only once.

## AIL and System Load Energy
System Load Annual Energy by Scenario (GWh)
Reference Case |  |  |  |  | Low Growth |  |  |  |  | High Coal-to-Gas |  |  |  |  | No Coal-to-Gas |  |  |  |  | Large-hydro Addition |  |  |  |  | Western Integration |  |  |  |  | High Cogeneration
Year | Total AIL Energy | Total On-site Generation Energy | BTF Energy (Energy Served by On-site Generation) | System Load Energy** | Year | Total AIL Energy | Total On-site Generation Energy | BTF Energy (Energy Served by On-site Generation) | System Load Energy** | Year | Total AIL Energy | Total On-site Generation Energy | BTF Energy (Energy Served by On-site Generation) | System Load Energy** | Year | Total AIL Energy | Total On-site Generation Energy | BTF Energy (Energy Served by On-site Generation) | System Load Energy** | Year | Total AIL Energy | Total On-site Generation Energy | BTF Energy (Energy Served by On-site Generation) | System Load Energy** | Year | Total AIL Energy | Total On-site Generation Energy | BTF Energy (Energy Served by On-site Generation) | System Load Energy** | Year | Total AIL Energy | Total On-site Generation Energy | BTF Energy (Energy Served by On-site Generation) | System Load Energy**
| [A] |  | [B] | [A] - [B] |  | [A] |  | [B] | [A] - [B] |  | [A] |  | [B] | [A] - [B] |  | [A] |  | [B] | [A] - [B] |  | [A] |  | [B] | [A] - [B] |  | [A] |  | [B] | [A] - [B] |  | [A] |  | [B] | [A] - [B]
2014* | 79950 | - | 17370 | 62580 | 2014* | 79950 | - | 17370 | 62580 | 2014* | 79950 | - | 17370 | 62580 | 2014* | 79950 | - | 17370 | 62580 | 2014* | 79950 | - | 17370 | 62580 | 2014* | 79950 | - | 17370 | 62580 | 2014* | 79950 | - | 17370 | 62580
2015* | 80257 | - | 17780 | 62477 | 2015* | 80257 | - | 17780 | 62477 | 2015* | 80257 | - | 17780 | 62477 | 2015* | 80257 | - | 17780 | 62477 | 2015* | 80257 | - | 17780 | 62477 | 2015* | 80257 | - | 17780 | 62477 | 2015* | 80257 | - | 17780 | 62477
2016* | 79560 | - | 17449 | 62112 | 2016* | 79560 | - | 17449 | 62112 | 2016* | 79560 | - | 17449 | 62112 | 2016* | 79560 | - | 17449 | 62112 | 2016* | 79560 | - | 17449 | 62112 | 2016* | 79560 | - | 17449 | 62112 | 2016* | 79560 | - | 17449 | 62112
2017 | 82607 | 34392 | 18757 | 63850 | 2017 | 82080 | 34359 | 18427 | 63653 | 2017 | 82607 | 34392 | 18757 | 63850 | 2017 | 82607 | 34392 | 18757 | 63850 | 2017 | 82607 | 34392 | 18757 | 63850 | 2017 | 82607 | 34392 | 18757 | 63850 | 2017 | 82607 | 34392 | 18757 | 63850
2018 | 83884 | 35480 | 18940 | 64944 | 2018 | 83122 | 35442 | 18582 | 64541 | 2018 | 83884 | 35480 | 18940 | 64944 | 2018 | 83884 | 35480 | 18940 | 64944 | 2018 | 83884 | 35480 | 18940 | 64944 | 2018 | 83884 | 35479 | 18940 | 64945 | 2018 | 83884 | 35480 | 18940 | 64944
2019 | 85467 | 35328 | 19246 | 66221 | 2019 | 84175 | 35220 | 18705 | 65470 | 2019 | 85467 | 35328 | 19246 | 66221 | 2019 | 85467 | 35328 | 19246 | 66221 | 2019 | 85467 | 35328 | 19246 | 66221 | 2019 | 85467 | 35329 | 19246 | 66221 | 2019 | 85467 | 35328 | 19246 | 66221
2020 | 86536 | 35529 | 19643 | 66892 | 2020 | 84783 | 35370 | 18998 | 65785 | 2020 | 86536 | 35528 | 19643 | 66893 | 2020 | 86536 | 35528 | 19643 | 66893 | 2020 | 86536 | 35529 | 19643 | 66892 | 2020 | 86536 | 35529 | 19644 | 66892 | 2020 | 86536 | 35529 | 19643 | 66892
2021 | 87295 | 36323 | 20239 | 67056 | 2021 | 84934 | 35965 | 19546 | 65388 | 2021 | 87295 | 36319 | 20235 | 67060 | 2021 | 87295 | 36308 | 20225 | 67070 | 2021 | 87295 | 36323 | 20239 | 67056 | 2021 | 87295 | 36321 | 20237 | 67058 | 2021 | 87295 | 38034 | 20215 | 67080
2022 | 87872 | 36635 | 20553 | 67319 | 2022 | 85066 | 35919 | 19742 | 65324 | 2022 | 87872 | 36616 | 20545 | 67327 | 2022 | 87872 | 36528 | 20484 | 67388 | 2022 | 87872 | 36632 | 20552 | 67320 | 2022 | 87872 | 36639 | 20554 | 67318 | 2022 | 87872 | 39998 | 20476 | 67397
2023 | 88253 | 36543 | 20477 | 67776 | 2023 | 85116 | 35948 | 19748 | 65368 | 2023 | 88253 | 36555 | 20492 | 67761 | 2023 | 88253 | 36381 | 20379 | 67873 | 2023 | 88253 | 36535 | 20477 | 67775 | 2023 | 88253 | 36542 | 20481 | 67771 | 2023 | 88253 | 41666 | 20414 | 67839
2024 | 89223 | 36614 | 20567 | 68657 | 2024 | 85653 | 36014 | 19821 | 65831 | 2024 | 89223 | 36599 | 20559 | 68664 | 2024 | 89223 | 36472 | 20474 | 68749 | 2024 | 89223 | 36638 | 20583 | 68640 | 2024 | 89223 | 36631 | 20581 | 68642 | 2024 | 89223 | 41740 | 20496 | 68728
2025 | 89939 | 36603 | 20496 | 69442 | 2025 | 85775 | 35815 | 19738 | 66036 | 2025 | 89939 | 36743 | 20584 | 69355 | 2025 | 89939 | 36506 | 20432 | 69506 | 2025 | 89939 | 36754 | 20588 | 69351 | 2025 | 89939 | 36599 | 20502 | 69436 | 2025 | 89939 | 42430 | 20650 | 69289
2026 | 90677 | 36879 | 20554 | 70123 | 2026 | 85977 | 35752 | 19691 | 66286 | 2026 | 90677 | 37022 | 20641 | 70036 | 2026 | 90677 | 36666 | 20420 | 70257 | 2026 | 90677 | 36841 | 20543 | 70134 | 2026 | 90677 | 36793 | 20514 | 70163 | 2026 | 90677 | 42927 | 20836 | 69841
2027 | 91682 | 36810 | 20552 | 71130 | 2027 | 86399 | 35665 | 19691 | 66708 | 2027 | 91682 | 36956 | 20636 | 71046 | 2027 | 91682 | 36562 | 20402 | 71280 | 2027 | 91682 | 36788 | 20536 | 71146 | 2027 | 91682 | 36773 | 20534 | 71148 | 2027 | 91682 | 43459 | 21017 | 70665
2028 | 92708 | 36598 | 20423 | 72284 | 2028 | 86882 | 35616 | 19636 | 67246 | 2028 | 92708 | 36896 | 20593 | 72115 | 2028 | 92708 | 36366 | 20298 | 72409 | 2028 | 92708 | 36755 | 20518 | 72190 | 2028 | 92708 | 36750 | 20506 | 72201 | 2028 | 92708 | 43979 | 21116 | 71592
2029 | 93389 | 36525 | 20586 | 72803 | 2029 | 86958 | 35264 | 19492 | 67466 | 2029 | 93389 | 37164 | 20940 | 72449 | 2029 | 93389 | 36450 | 20522 | 72867 | 2029 | 93389 | 36677 | 20679 | 72710 | 2029 | 93389 | 36721 | 20681 | 72708 | 2029 | 93389 | 44206 | 21110 | 72279
2030 | 94304 | 36512 | 20805 | 73499 | 2030 | 87273 | 34897 | 19355 | 67918 | 2030 | 94304 | 37510 | 21356 | 72949 | 2030 | 94304 | 36517 | 20807 | 73497 | 2030 | 94304 | 36842 | 20988 | 73317 | 2030 | 94304 | 36679 | 20895 | 73410 | 2030 | 94304 | 44498 | 21196 | 73108
2031 | 95287 | 36850 | 21014 | 74273 | 2031 | 87760 | 34862 | 19358 | 68402 | 2031 | 95287 | 37824 | 21528 | 73759 | 2031 | 95287 | 36474 | 20816 | 74471 | 2031 | 95287 | 36832 | 21008 | 74278 | 2031 | 95287 | 36661 | 20917 | 74370 | 2031 | 95287 | 44915 | 21343 | 73944
2032 | 96350 | 37062 | 21144 | 75205 | 2032 | 88276 | 35003 | 19457 | 68819 | 2032 | 96350 | 37761 | 21499 | 74850 | 2032 | 96350 | 36496 | 20868 | 75482 | 2032 | 96350 | 37036 | 21131 | 75219 | 2032 | 96350 | 36881 | 21055 | 75294 | 2032 | 96350 | 45449 | 21602 | 74747
2033 | 96809 | 37167 | 21369 | 75440 | 2033 | 88337 | 34965 | 19438 | 68899 | 2033 | 96809 | 38038 | 21809 | 74999 | 2033 | 96809 | 36821 | 21201 | 75608 | 2033 | 96809 | 37148 | 21361 | 75448 | 2033 | 96809 | 37173 | 21370 | 75439 | 2033 | 96809 | 45720 | 21654 | 75155
2034 | 97586 | 37062 | 21319 | 76267 | 2034 | 88677 | 35004 | 19458 | 69220 | 2034 | 97586 | 38086 | 21816 | 75770 | 2034 | 97586 | 36925 | 21258 | 76328 | 2034 | 97586 | 37240 | 21395 | 76191 | 2034 | 97586 | 37243 | 21390 | 76196 | 2034 | 97586 | 46362 | 21758 | 75828
2035 | 98216 | 37436 | 21698 | 76518 | 2035 | 88960 | 35008 | 19477 | 69483 | 2035 | 98216 | 38083 | 21994 | 76222 | 2035 | 98216 | 37284 | 21625 | 76590 | 2035 | 98216 | 37104 | 21584 | 76632 | 2035 | 98216 | 37582 | 21756 | 76460 | 2035 | 98216 | 46709 | 21904 | 76312
2036 | 98967 | 37585 | 21814 | 77153 | 2036 | 89448 | 34922 | 19487 | 69962 | 2036 | 98967 | 37946 | 21966 | 77001 | 2036 | 98967 | 37416 | 21739 | 77228 | 2036 | 98967 | 37254 | 21697 | 77270 | 2036 | 98967 | 37694 | 21859 | 77108 | 2036 | 98967 | 47155 | 22117 | 76850
2037 | 99209 | 37699 | 22023 | 77186 | 2037 | 89476 | 34742 | 19390 | 70086 | 2037 | 99209 | 37909 | 22113 | 77097 | 2037 | 99209 | 37705 | 22028 | 77182 | 2037 | 99209 | 37538 | 21975 | 77234 | 2037 | 99209 | 37822 | 22067 | 77143 | 2037 | 99209 | 47061 | 22025 | 77184
*Actuals
**Differences due to rounding
Source: AESO

## AIL and System Load Peak
System Load at AIL Peak (MW)
Reference Case |  |  |  |  | Low Growth |  |  |  |  | High Coal-to-Gas |  |  |  |  | No Coal-to-Gas |  |  |  |  | Large-hydro Addition |  |  |  |  | Western Integration |  |  |  |  | High Cogeneration
Season Year | Total AIL Peak Load | Total On-site Generation | BTF Energy (Energy Served by On-site Generation) | System Load at AIL Peak** | Season Year | Total AIL Peak Load | Total On-site Generation | BTF Energy (Energy Served by On-site Generation) | System Load at AIL Peak** | Season Year | Total AIL Peak Load | Total On-site Generation | BTF Energy (Energy Served by On-site Generation) | System Load at AIL Peak** | Season Year | Total AIL Peak Load | Total On-site Generation | BTF Energy (Energy Served by On-site Generation) | System Load at AIL Peak** | Season Year | Total AIL Peak Load | Total On-site Generation | BTF Energy (Energy Served by On-site Generation) | System Load at AIL Peak** | Season Year | Total AIL Peak Load | Total On-site Generation | BTF Energy (Energy Served by On-site Generation) | System Load at AIL Peak** | Season Year | Total AIL Peak Load | Total On-site Generation | BTF Energy (Energy Served by On-site Generation) | System Load at AIL Peak**
| [A] |  | [B] | [A] - [B] |  | [A] |  | [B] | [A] - [B] |  | [A] |  | [B] | [A] - [B] |  | [A] |  | [B] | [A] - [B] |  | [A] |  | [B] | [A] - [B] |  | [A] |  | [B] | [A] - [B] |  | [A] |  | [B] | [A] - [B]
2014* | 11229 | - | 2243 | 8986 | 2014* | 11229 | - | 2243 | 8986 | 2014* | 11229 | - | 2243 | 8986 | 2014* | 11229 | - | 2243 | 8986 | 2014* | 11229 | - | 2243 | 8986 | 2014* | 11229 | - | 2243 | 8986 | 2014* | 11229 | - | 2243 | 8986
2015* | 10982 | - | 2400 | 8582 | 2015* | 10982 | - | 2400 | 8582 | 2015* | 10982 | - | 2400 | 8582 | 2015* | 10982 | - | 2400 | 8582 | 2015* | 10982 | - | 2400 | 8582 | 2015* | 10982 | - | 2400 | 8582 | 2015* | 10982 | - | 2400 | 8582
2016* | 11458 | - | 2362 | 9096 | 2016* | 11458 | - | 2362 | 9096 | 2016* | 11458 | - | 2362 | 9096 | 2016* | 11458 | - | 2362 | 9096 | 2016* | 11458 | - | 2362 | 9096 | 2016* | 11458 | - | 2362 | 9096 | 2016* | 11458 | - | 2362 | 9096
2017 | 11539 | 4493 | 2530 | 9009 | 2017 | 11456 | 4493 | 2488 | 8968 | 2017 | 11539 | 4493 | 2530 | 9009 | 2017 | 11539 | 4493 | 2530 | 9009 | 2017 | 11539 | 4493 | 2530 | 9009 | 2017 | 11539 | 4493 | 2530 | 9009 | 2017 | 11539 | 4493 | 2530 | 9009
2018 | 11737 | 4498 | 2560 | 9177 | 2018 | 11609 | 4498 | 2515 | 9094 | 2018 | 11737 | 4498 | 2560 | 9177 | 2018 | 11737 | 4498 | 2560 | 9177 | 2018 | 11737 | 4498 | 2560 | 9177 | 2018 | 11737 | 4498 | 2560 | 9177 | 2018 | 11737 | 4498 | 2560 | 9177
2019 | 11939 | 4507 | 2605 | 9333 | 2019 | 11717 | 4485 | 2525 | 9192 | 2019 | 11939 | 4507 | 2605 | 9333 | 2019 | 11939 | 4507 | 2605 | 9333 | 2019 | 11939 | 4507 | 2605 | 9333 | 2019 | 11939 | 4507 | 2605 | 9333 | 2019 | 11939 | 4507 | 2605 | 9333
2020 | 12018 | 4528 | 2648 | 9370 | 2020 | 11762 | 4513 | 2564 | 9198 | 2020 | 12018 | 4528 | 2648 | 9370 | 2020 | 12018 | 4528 | 2648 | 9370 | 2020 | 12018 | 4528 | 2648 | 9370 | 2020 | 12018 | 4528 | 2648 | 9370 | 2020 | 12018 | 4528 | 2648 | 9370
2021 | 12144 | 4563 | 2687 | 9458 | 2021 | 11800 | 4522 | 2604 | 9196 | 2021 | 12144 | 4563 | 2687 | 9458 | 2021 | 12144 | 4563 | 2687 | 9458 | 2021 | 12144 | 4563 | 2687 | 9458 | 2021 | 12144 | 4563 | 2687 | 9458 | 2021 | 12144 | 4781 | 2687 | 9458
2022 | 12260 | 4809 | 2807 | 9453 | 2022 | 11847 | 4717 | 2701 | 9146 | 2022 | 12260 | 4799 | 2797 | 9463 | 2022 | 12260 | 4799 | 2797 | 9463 | 2022 | 12260 | 4809 | 2807 | 9453 | 2022 | 12260 | 4821 | 2807 | 9453 | 2022 | 12260 | 5236 | 2797 | 9463
2023 | 12321 | 4590 | 2725 | 9596 | 2023 | 11855 | 4508 | 2629 | 9226 | 2023 | 12321 | 4590 | 2725 | 9596 | 2023 | 12321 | 4590 | 2725 | 9596 | 2023 | 12321 | 4590 | 2725 | 9596 | 2023 | 12321 | 4590 | 2725 | 9596 | 2023 | 12321 | 5245 | 2725 | 9596
2024 | 12428 | 4594 | 2735 | 9693 | 2024 | 11895 | 4520 | 2639 | 9256 | 2024 | 12428 | 4604 | 2735 | 9693 | 2024 | 12428 | 4538 | 2700 | 9728 | 2024 | 12428 | 4604 | 2735 | 9693 | 2024 | 12428 | 4594 | 2735 | 9693 | 2024 | 12428 | 5237 | 2723 | 9705
2025 | 12557 | 4840 | 2811 | 9746 | 2025 | 11934 | 4717 | 2702 | 9232 | 2025 | 12557 | 4840 | 2811 | 9746 | 2025 | 12557 | 4779 | 2765 | 9792 | 2025 | 12557 | 4840 | 2811 | 9746 | 2025 | 12557 | 4840 | 2811 | 9746 | 2025 | 12557 | 5578 | 2834 | 9723
2026 | 12678 | 4893 | 2825 | 9853 | 2026 | 11974 | 4729 | 2703 | 9271 | 2026 | 12678 | 4893 | 2825 | 9853 | 2026 | 12678 | 4820 | 2779 | 9899 | 2026 | 12678 | 4893 | 2825 | 9853 | 2026 | 12678 | 4893 | 2825 | 9853 | 2026 | 12678 | 5671 | 2873 | 9805
2027 | 12814 | 4893 | 2826 | 9988 | 2027 | 12025 | 4729 | 2704 | 9321 | 2027 | 12814 | 4902 | 2836 | 9978 | 2027 | 12814 | 4893 | 2826 | 9988 | 2027 | 12814 | 4893 | 2826 | 9988 | 2027 | 12814 | 4893 | 2826 | 9988 | 2027 | 12814 | 5763 | 2912 | 9902
2028 | 12945 | 4662 | 2754 | 10191 | 2028 | 12075 | 4508 | 2632 | 9443 | 2028 | 12945 | 4672 | 2754 | 10191 | 2028 | 12945 | 4650 | 2742 | 10203 | 2028 | 12945 | 4672 | 2754 | 10191 | 2028 | 12945 | 4672 | 2754 | 10191 | 2028 | 12945 | 5604 | 2854 | 10091
2029 | 13089 | 4667 | 2764 | 10325 | 2029 | 12125 | 4498 | 2626 | 9499 | 2029 | 13089 | 4725 | 2802 | 10286 | 2029 | 13089 | 4667 | 2764 | 10325 | 2029 | 13089 | 4667 | 2764 | 10325 | 2029 | 13089 | 4701 | 2788 | 10301 | 2029 | 13089 | 5640 | 2846 | 10242
2030 | 13231 | 4675 | 2812 | 10419 | 2030 | 12176 | 4456 | 2607 | 9569 | 2030 | 13231 | 4676 | 2812 | 10419 | 2030 | 13231 | 4675 | 2812 | 10419 | 2030 | 13231 | 4675 | 2812 | 10419 | 2030 | 13231 | 4702 | 2812 | 10419 | 2030 | 13231 | 5699 | 2875 | 10355
2031 | 13354 | 4975 | 2913 | 10442 | 2031 | 12226 | 4714 | 2692 | 9534 | 2031 | 13354 | 4984 | 2922 | 10432 | 2031 | 13354 | 4902 | 2866 | 10489 | 2031 | 13354 | 4975 | 2913 | 10442 | 2031 | 13354 | 4875 | 2839 | 10515 | 2031 | 13354 | 6040 | 2991 | 10363
2032 | 13486 | 4975 | 2914 | 10573 | 2032 | 12277 | 4714 | 2692 | 9585 | 2032 | 13486 | 4984 | 2924 | 10563 | 2032 | 13486 | 4902 | 2867 | 10620 | 2032 | 13486 | 4975 | 2914 | 10573 | 2032 | 13486 | 4930 | 2870 | 10617 | 2032 | 13486 | 6066 | 2994 | 10493
2033 | 13603 | 4748 | 2849 | 10754 | 2033 | 12329 | 4480 | 2621 | 9708 | 2033 | 13603 | 4857 | 2881 | 10722 | 2033 | 13603 | 4748 | 2849 | 10754 | 2033 | 13603 | 4748 | 2849 | 10754 | 2033 | 13603 | 4748 | 2849 | 10754 | 2033 | 13603 | 5854 | 2916 | 10687
2034 | 13721 | 4748 | 2849 | 10872 | 2034 | 12381 | 4508 | 2635 | 9746 | 2034 | 13721 | 4873 | 2897 | 10824 | 2034 | 13721 | 4748 | 2849 | 10872 | 2034 | 13721 | 4785 | 2881 | 10840 | 2034 | 13721 | 4785 | 2881 | 10840 | 2034 | 13721 | 5972 | 2965 | 10756
2035 | 13815 | 4763 | 2870 | 10945 | 2035 | 12422 | 4488 | 2628 | 9794 | 2035 | 13815 | 4837 | 2929 | 10887 | 2035 | 13815 | 4763 | 2870 | 10945 | 2035 | 13815 | 4763 | 2870 | 10945 | 2035 | 13815 | 4800 | 2902 | 10913 | 2035 | 13815 | 5976 | 2963 | 10852
2036 | 13881 | 4984 | 2951 | 10931 | 2036 | 12454 | 4656 | 2662 | 9792 | 2036 | 13881 | 5056 | 2998 | 10883 | 2036 | 13881 | 4984 | 2951 | 10931 | 2036 | 13881 | 4984 | 2951 | 10931 | 2036 | 13881 | 4984 | 2951 | 10931 | 2036 | 13881 | 6158 | 3011 | 10870
2037 | 13947 | 5025 | 2992 | 10955 | 2037 | 12484 | 4656 | 2662 | 9822 | 2037 | 13947 | 5036 | 2992 | 10955 | 2037 | 13947 | 5025 | 2992 | 10955 | 2037 | 13947 | 5025 | 2992 | 10955 | 2037 | 13947 | 5036 | 2992 | 10955 | 2037 | 13947 | 6254 | 3041 | 10905
*Actuals
**Differences due to rounding
Source: AESO

## DTS Energy
Demand Transmission Service (DTS) Energy (GWh)
Reference Case
Year | DTS Energy
2014* | 59037
2015* | 58941
2016* | 58537
2017 | 60247
2018 | 61303
2019 | 62524
2020 | 63161
2021 | 63327
2022 | 63569
2023 | 64010
2024 | 64858
2025 | 65615
2026 | 66271
2027 | 67245
2028 | 68357
2029 | 68846
2030 | 69505
2031 | 70261
2032 | 71164
2033 | 71379
2034 | 72178
2035 | 72411
2036 | 73024
2037 | 73042
*Actuals
Source: AESO

## 6-Region Non-coincident Peak
Non-coincident Peak by Region* (MW)
Reference Case | [6 empty] | Low Growth
Season Year | Northwest | Northeast | Edmonton | Central | South | Calgary | Season Year | Northwest | Northeast | Edmonton | Central | South | Calgary
2006** | 1134 | 1861 | 1986 | 1818 | 1335 | 1615 | 2006** | 1134 | 1861 | 1986 | 1818 | 1335 | 1615
2007** | 1153 | 1752 | 1972 | 1839 | 1401 | 1633 | 2007** | 1153 | 1752 | 1972 | 1839 | 1401 | 1633
2008** | 1106 | 1912 | 2022 | 1843 | 1336 | 1700 | 2008** | 1106 | 1912 | 2022 | 1843 | 1336 | 1700
2009** | 1132 | 2071 | 2126 | 1867 | 1297 | 1704 | 2009** | 1132 | 2071 | 2126 | 1867 | 1297 | 1704
2010** | 1145 | 2193 | 2075 | 1936 | 1315 | 1687 | 2010** | 1145 | 2193 | 2075 | 1936 | 1315 | 1687
2011** | 1217 | 2207 | 2092 | 2008 | 1366 | 1697 | 2011** | 1217 | 2207 | 2092 | 2008 | 1366 | 1697
2012** | 1234 | 2322 | 2094 | 2021 | 1397 | 1648 | 2012** | 1234 | 2322 | 2094 | 2021 | 1397 | 1648
2013** | 1261 | 2522 | 2144 | 2079 | 1360 | 1757 | 2013** | 1261 | 2522 | 2144 | 2079 | 1360 | 1757
2014** | 1239 | 2623 | 2185 | 2134 | 1403 | 1728 | 2014** | 1239 | 2623 | 2185 | 2134 | 1403 | 1728
2015** | 1207 | 2741 | 2141 | 2095 | 1449 | 1743 | 2015** | 1207 | 2741 | 2141 | 2095 | 1449 | 1743
2016** | 1221 | 2897 | 2171 | 2216 | 1325 | 1737 | 2016** | 1221 | 2897 | 2171 | 2216 | 1325 | 1737
2017 | 1274 | 2939 | 2286 | 2137 | 1377 | 1651 | 2017 | 1252 | 2906 | 2286 | 2122 | 1377 | 1651
2018 | 1328 | 3079 | 2302 | 2155 | 1394 | 1668 | 2018 | 1280 | 3028 | 2303 | 2127 | 1385 | 1654
2019 | 1329 | 3147 | 2336 | 2180 | 1395 | 1674 | 2019 | 1280 | 3060 | 2319 | 2133 | 1387 | 1658
2020 | 1331 | 3232 | 2350 | 2183 | 1397 | 1674 | 2020 | 1282 | 3088 | 2327 | 2136 | 1388 | 1655
2021 | 1333 | 3272 | 2361 | 2188 | 1400 | 1682 | 2021 | 1285 | 3094 | 2327 | 2142 | 1389 | 1655
2022 | 1336 | 3301 | 2372 | 2207 | 1404 | 1691 | 2022 | 1287 | 3096 | 2327 | 2147 | 1389 | 1655
2023 | 1343 | 3328 | 2383 | 2211 | 1408 | 1712 | 2023 | 1293 | 3113 | 2327 | 2151 | 1390 | 1655
2024 | 1349 | 3395 | 2405 | 2225 | 1418 | 1733 | 2024 | 1299 | 3132 | 2333 | 2165 | 1394 | 1659
2025 | 1356 | 3430 | 2427 | 2239 | 1428 | 1749 | 2025 | 1306 | 3136 | 2339 | 2179 | 1398 | 1663
2026 | 1366 | 3467 | 2450 | 2266 | 1438 | 1771 | 2026 | 1315 | 3141 | 2344 | 2192 | 1403 | 1668
2027 | 1376 | 3495 | 2479 | 2286 | 1453 | 1794 | 2027 | 1325 | 3120 | 2350 | 2213 | 1408 | 1672
2028 | 1388 | 3531 | 2508 | 2306 | 1467 | 1819 | 2028 | 1335 | 3137 | 2356 | 2232 | 1413 | 1676
2029 | 1399 | 3566 | 2539 | 2328 | 1483 | 1844 | 2029 | 1345 | 3142 | 2362 | 2252 | 1418 | 1680
2030 | 1411 | 3593 | 2568 | 2351 | 1499 | 1870 | 2030 | 1354 | 3160 | 2368 | 2272 | 1423 | 1684
2031 | 1423 | 3620 | 2595 | 2374 | 1515 | 1895 | 2031 | 1364 | 3165 | 2373 | 2292 | 1428 | 1688
2032 | 1433 | 3645 | 2621 | 2396 | 1531 | 1917 | 2032 | 1375 | 3145 | 2379 | 2312 | 1433 | 1693
2033 | 1444 | 3673 | 2644 | 2417 | 1545 | 1939 | 2033 | 1385 | 3150 | 2385 | 2333 | 1437 | 1697
2034 | 1452 | 3699 | 2667 | 2437 | 1558 | 1955 | 2034 | 1393 | 3167 | 2391 | 2353 | 1442 | 1701
2035 | 1456 | 3721 | 2685 | 2452 | 1569 | 1965 | 2035 | 1398 | 3171 | 2397 | 2368 | 1447 | 1705
2036 | 1461 | 3743 | 2698 | 2462 | 1576 | 1976 | 2036 | 1402 | 3185 | 2403 | 2377 | 1450 | 1710
2037 | 1462 | 3763 | 2711 | 2470 | 1582 | 1983 | 2037 | 1404 | 3185 | 2409 | 2386 | 1454 | 1714
*Excludes transmission losses
**Actuals
Source: AESO

## Gen Additions & Capacity
Generation Additions and Installed Capacity (MW)
Reference Case
| 2022 | 2027 | 2032 | 2037
Forecast Alberta winter peak demand | 12260 | 12814 | 13486 | 13947 | Estimated Requirements
Estimated market reserve margin | 15% | 15% | 15% | 15%
Effective generation capacity required to meet peak demand + reserve margin | 14099 | 14736 | 15509 | 16039
Existing generation capacity | 16423 | 16423 | 16423 | 16423 | Current Capacity
Effective existing generation capacity | 14641 | 14641 | 14641 | 14641
Retirements to 2022 | 869 |  |  |  | Retirements
Retirements to 2027 |  | 1409
Retirements to 2032 |  |  | 3928
Retirements to 2037 |  |  |  | 5509
Coal-to-Gas Conversions | 1581 | 2371 | 2371 | 790 | Conversions
Net effective generating capacity after retirements | 13772 | 13232 | 10713 | 9132 | Net Capacity and Additions
Total effective generating capacity required | 327 | 1504 | 4796 | 6907
Additions by fuel type
Coal-fired | 0 | 0 | 0 | 0 | Forecast Generation Additions by Fuel Type
Cogeneration | 295 | 385 | 475 | 610
Combined Cycle | 43 | 953 | 3683 | 5048
Simple Cycle | 143 | 333 | 570 | 1853
Hydro | 0 | 0 | 350 | 350
Wind | 1600 | 3600 | 5000 | 5000
Solar | 200 | 400 | 700 | 1000
Other | 42 | 42 | 42 | 42
Total additions | 2323 | 5713 | 10820 | 13903 | Forecast Additions
Total effective additions | 523 | 1713 | 4945 | 7728
Capacity by fuel type
Coal-fired | 3849 | 2904 | 0 | 0 | Forecast Generation Capacity by Fuel Type
Cogeneration | 5024 | 5114 | 5204 | 5339
Combined Cycle | 1746 | 2656 | 5386 | 6751
Simple Cycle | 1059 | 1249 | 1486 | 2769
Coal-to-Gas | 1581 | 2371 | 2371 | 790
Hydro | 894 | 894 | 1244 | 1244
Wind | 3045 | 5045 | 6445 | 6445
Solar | 200 | 400 | 700 | 1000
Other | 479 | 479 | 479 | 479
Total effective generation capacity | 14294 | 15329 | 15658 | 16859 | Total Forecast Generation Capacity
Total installed capacity | 17877 | 21112 | 23315 | 24817
Low Growth
| 2022 | 2027 | 2032 | 2037
Forecast Alberta winter peak demand | 11847 | 12025 | 12277 | 12484 | Estimated Requirements
Estimated market reserve margin | 15% | 15% | 15% | 15%
Effective generation capacity required to meet peak demand + reserve margin | 13624 | 13828 | 14119 | 14356
Existing generation capacity | 16423 | 16423 | 16423 | 16423 | Current Capacity
Effective existing generation capacity | 14641 | 14641 | 14641 | 14641
Retirements to 2022 | 869 |  |  |  | Retirements
Retirements to 2027 |  | 1409
Retirements to 2032 |  |  | 3928
Retirements to 2037 |  |  |  | 5509
Coal-to-Gas Conversions | 1581 | 2371 | 2371 | 790 | Conversions
Net effective generating capacity after retirements | 13772 | 13232 | 10713 | 9132 | Net Capacity and Additions
Total effective generating capacity required | -148 | 596 | 3406 | 5224
Additions by fuel type
Coal-fired | 0 | 0 | 0 | 0 | Forecast Generation Additions by Fuel Type
Cogeneration | 205 | 205 | 205 | 205
Combined Cycle | 43 | 43 | 3228 | 4138
Simple Cycle | 0 | 0 | 48 | 1473
Hydro | 0 | 0 | 350 | 350
Wind | 1500 | 3250 | 4300 | 4300
Solar | 200 | 400 | 700 | 1000
Other | 42 | 42 | 42 | 42
Total additions | 1990 | 3940 | 8873 | 11508 | Forecast Additions
Total effective additions | 290 | 290 | 3698 | 6033
Capacity by fuel type
Coal-fired | 3849 | 2904 | 0 | 0 | Forecast Generation Capacity by Fuel Type
Cogeneration | 4934 | 4934 | 4934 | 4934
Combined Cycle | 1746 | 1746 | 4931 | 5841
Simple Cycle | 916 | 916 | 964 | 2389
Coal-to-Gas | 1581 | 2371 | 2371 | 790
Hydro | 894 | 894 | 1244 | 1244
Wind | 2945 | 4695 | 5745 | 5745
Solar | 200 | 400 | 700 | 1000
Other | 479 | 479 | 479 | 479
Total effective generation capacity | 14062 | 13907 | 14410 | 15164 | Total Forecast Generation Capacity
Total installed capacity | 17544 | 19339 | 21368 | 22422
High Coal-to-Gas
| 2022 | 2027 | 2032 | 2037
Forecast Alberta winter peak demand | 12260 | 12814 | 13486 | 13947 | Estimated Requirements
Estimated market reserve margin | 15% | 15% | 15% | 15%
Effective generation capacity required to meet peak demand + reserve margin | 14099 | 14736 | 15509 | 16039
Existing generation capacity | 16423 | 16423 | 16423 | 16423 | Current Capacity
Effective existing generation capacity | 14641 | 14641 | 14641 | 14641
Retirements to 2022 | 869 |  |  |  | Retirements
Retirements to 2027 |  | 869
Retirements to 2032 |  |  | 869
Retirements to 2037 |  |  |  | 2450
Coal-to-Gas Conversions | 1581 | 2526 | 5430 | 3849 | Conversions
Net effective generating capacity after retirements | 13772 | 13772 | 13772 | 12191 | Net Capacity and Additions
Total effective generating capacity required | 327 | 964 | 1737 | 3848
Additions by fuel type
Coal-fired | 0 | 0 | 0 | 0 | Forecast Generation Additions by Fuel Type
Cogeneration | 295 | 385 | 475 | 610
Combined Cycle | 43 | 498 | 1408 | 4138
Simple Cycle | 0 | 0 | 0 | 0
Hydro | 0 | 0 | 350 | 350
Wind | 1600 | 3600 | 5000 | 5000
Solar | 200 | 400 | 700 | 1000
Other | 42 | 42 | 42 | 42
Total additions | 2180 | 4925 | 7975 | 11140 | Forecast Additions
Total effective additions | 380 | 925 | 2100 | 4965
Capacity by fuel type
Coal-fired | 3849 | 2904 | 0 | 0 | Forecast Generation Capacity by Fuel Type
Cogeneration | 5024 | 5114 | 5204 | 5339
Combined Cycle | 1746 | 2201 | 3111 | 5841
Simple Cycle | 916 | 916 | 916 | 916
Coal-to-Gas | 1581 | 2526 | 5430 | 3849
Hydro | 894 | 894 | 1244 | 1244
Wind | 3045 | 5045 | 6445 | 6445
Solar | 200 | 400 | 700 | 1000
Other | 479 | 479 | 479 | 479
Total effective generation capacity | 14152 | 14697 | 15872 | 17156 | Total Forecast Generation Capacity
Total installed capacity | 17734 | 20479 | 23529 | 25113
No Coal-to-Gas
| 2022 | 2027 | 2032 | 2037
Forecast Alberta winter peak demand | 12260 | 12814 | 13486 | 13947 | Estimated Requirements
Estimated market reserve margin | 15% | 15% | 15% | 15%
Effective generation capacity required to meet peak demand + reserve margin | 14099 | 14736 | 15509 | 16039
Existing generation capacity | 16423 | 16423 | 16423 | 16423 | Current Capacity
Effective existing generation capacity | 14641 | 14641 | 14641 | 14641
Retirements to 2022 | 869 |  |  |  | Retirements
Retirements to 2027 |  | 3780
Retirements to 2032 |  |  | 6299
Retirements to 2037 |  |  |  | 6299
Coal-to-Gas Conversions | 0 | 0 | 0 | 0 | Conversions
Net effective generating capacity after retirements | 13772 | 10861 | 8342 | 8342 | Net Capacity and Additions
Total effective generating capacity required | 327 | 3875 | 7167 | 7697
Additions by fuel type
Coal-fired | 0 | 0 | 0 | 0 | Forecast Generation Additions by Fuel Type
Cogeneration | 295 | 385 | 475 | 610
Combined Cycle | 43 | 1863 | 5048 | 5048
Simple Cycle | 143 | 1140 | 1900 | 1948
Hydro | 0 | 0 | 350 | 350
Wind | 1600 | 3600 | 5000 | 5000
Solar | 200 | 400 | 700 | 1000
Other | 42 | 42 | 42 | 42
Total additions | 2323 | 7430 | 13515 | 13998 | Forecast Additions
Total effective additions | 523 | 3430 | 7640 | 7823
Capacity by fuel type
Coal-fired | 5430 | 3309 | 0 | 0 | Forecast Generation Capacity by Fuel Type
Cogeneration | 5024 | 5114 | 5204 | 5339
Combined Cycle | 1746 | 3566 | 6751 | 6751
Simple Cycle | 1059 | 2056 | 2816 | 2864
Coal-to-Gas | 0 | 0 | 0 | 0
Hydro | 894 | 894 | 1244 | 1244
Wind | 3045 | 5045 | 6445 | 6445
Solar | 200 | 400 | 700 | 1000
Other | 479 | 479 | 479 | 479
Total effective generation capacity | 14294 | 15081 | 15982 | 16164 | Total Forecast Generation Capacity
Total installed capacity | 17877 | 20863 | 23639 | 24122
Large-hydro Addition
| 2022 | 2027 | 2032 | 2037
Forecast Alberta winter peak demand | 12260 | 12814 | 13486 | 13947 | Estimated Requirements
Estimated market reserve margin | 15% | 15% | 15% | 15%
Effective generation capacity required to meet peak demand + reserve margin | 14099 | 14736 | 15509 | 16039
Existing generation capacity | 16423 | 16423 | 16423 | 16423 | Current Capacity
Effective existing generation capacity | 14641 | 14641 | 14641 | 14641
Retirements to 2022 | 869 |  |  |  | Retirements
Retirements to 2027 |  | 1409
Retirements to 2032 |  |  | 3928
Retirements to 2037 |  |  |  | 5509
Coal-to-Gas Conversions | 1581 | 2371 | 2371 | 790 | Conversions
Net effective generating capacity after retirements | 13772 | 13232 | 10713 | 9132 | Net Capacity and Additions
Total effective generating capacity required | 327 | 1504 | 4796 | 6907
Additions by fuel type
Coal-fired | 0 | 0 | 0 | 0 | Forecast Generation Additions by Fuel Type
Cogeneration | 295 | 385 | 475 | 610
Combined Cycle | 43 | 953 | 3683 | 4138
Simple Cycle | 48 | 48 | 333 | 1568
Hydro | 0 | 0 | 520 | 1520
Wind | 1600 | 3600 | 5000 | 5000
Solar | 200 | 400 | 700 | 1000
Other | 42 | 42 | 42 | 42
Total additions | 2228 | 5428 | 10753 | 13878 | Forecast Additions
Total effective additions | 428 | 1428 | 4793 | 7118
Capacity by fuel type
Coal-fired | 3849 | 2904 | 0 | 0 | Forecast Generation Capacity by Fuel Type
Cogeneration | 5024 | 5114 | 5204 | 5339
Combined Cycle | 1746 | 2656 | 5386 | 5841
Simple Cycle | 964 | 964 | 1249 | 2484
Coal-to-Gas | 1581 | 2371 | 2371 | 790
Hydro | 894 | 894 | 1414 | 2414
Wind | 3045 | 5045 | 6445 | 6445
Solar | 200 | 400 | 700 | 1000
Other | 479 | 479 | 479 | 479
Total effective generation capacity | 14199 | 15044 | 15505 | 16249 | Total Forecast Generation Capacity
Total installed capacity | 17782 | 20827 | 23248 | 24791
Western Integration
| 2022 | 2027 | 2032 | 2037
Forecast Alberta winter peak demand | 12260 | 12814 | 13486 | 13947 | Estimated Requirements
Estimated market reserve margin | 15% | 15% | 15% | 15%
Effective generation capacity required to meet peak demand + reserve margin | 14099 | 14736 | 15509 | 16039
Existing generation capacity | 16423 | 16423 | 16423 | 16423 | Current Capacity
Effective existing generation capacity | 14641 | 14641 | 14641 | 14641
Retirements to 2022 | 869 |  |  |  | Retirements
Retirements to 2027 |  | 1409
Retirements to 2032 |  |  | 3928
Retirements to 2037 |  |  |  | 5509
Coal-to-Gas Conversions | 1581 | 2371 | 2371 | 790 | Conversions
Net effective generating capacity after retirements | 13772 | 13232 | 10713 | 9132 | Net Capacity and Additions
Total effective generating capacity required | 327 | 1504 | 4796 | 6907
Additions by fuel type
Coal-fired | 0 | 0 | 0 | 0 | Forecast Generation Additions by Fuel Type
Cogeneration | 295 | 385 | 475 | 610
Combined Cycle | 43 | 953 | 4138 | 4593
Simple Cycle | 0 | 0 | 0 | 1235
Hydro | 0 | 0 | 350 | 350
Wind | 1600 | 3600 | 5000 | 5000
Solar | 200 | 400 | 700 | 1000
Other | 42 | 42 | 42 | 42
Total additions | 2180 | 5380 | 10705 | 12830 | Forecast Additions
Total effective additions | 380 | 1380 | 4830 | 6655
Capacity by fuel type
Coal-fired | 3849 | 2904 | 0 | 0 | Forecast Generation Capacity by Fuel Type
Cogeneration | 5024 | 5114 | 5204 | 5339
Combined Cycle | 1746 | 2656 | 5841 | 6296
Simple Cycle | 916 | 916 | 916 | 2151
Coal-to-Gas | 1581 | 2371 | 2371 | 790
Hydro | 894 | 894 | 1244 | 1244
Wind | 3045 | 5045 | 6445 | 6445
Solar | 200 | 400 | 700 | 1000
Other | 479 | 479 | 479 | 479
Total effective generation capacity | 14152 | 14997 | 15543 | 15787 | Total Forecast Generation Capacity
Total installed capacity | 17734 | 20779 | 23200 | 23744
High Cogeneration
| 2022 | 2027 | 2032 | 2037
Forecast Alberta winter peak demand | 12260 | 12814 | 13486 | 13947 | Estimated Requirements
Estimated market reserve margin | 15% | 15% | 15% | 15%
Effective generation capacity required to meet peak demand + reserve margin | 14099 | 14736 | 15509 | 16039
Existing generation capacity | 16423 | 16423 | 16423 | 16423 | Current Capacity
Effective existing generation capacity | 14641 | 14641 | 14641 | 14641
Retirements to 2022 | 869 |  |  |  | Retirements
Retirements to 2027 |  | 1409
Retirements to 2032 |  |  | 3928
Retirements to 2037 |  |  |  | 5509
Coal-to-Gas Conversions | 1581 | 2371 | 2371 | 790 | Conversions
Net effective generating capacity after retirements | 13772 | 13232 | 10713 | 9132 | Net Capacity and Additions
Total effective generating capacity required | 327 | 1504 | 4796 | 6907
Additions by fuel type
Coal-fired | 0 | 0 | 0 | 0 | Forecast Generation Additions by Fuel Type
Cogeneration | 755 | 1300 | 1660 | 1930
Combined Cycle | 43 | 43 | 2773 | 3683
Simple Cycle | 0 | 0 | 190 | 1520
Hydro | 0 | 0 | 350 | 350
Wind | 1600 | 3600 | 5000 | 5000
Solar | 200 | 400 | 700 | 1000
Other | 42 | 42 | 42 | 42
Total additions | 2640 | 5385 | 10715 | 13525 | Forecast Additions
Total effective additions | 840 | 1385 | 4840 | 7350
Capacity by fuel type
Coal-fired | 3849 | 2904 | 0 | 0 | Forecast Generation Capacity by Fuel Type
Cogeneration | 5484 | 6029 | 6389 | 6659
Combined Cycle | 1746 | 1746 | 4476 | 5386
Simple Cycle | 916 | 916 | 1106 | 2436
Coal-to-Gas | 1581 | 2371 | 2371 | 790
Hydro | 894 | 894 | 1244 | 1244
Wind | 3045 | 5045 | 6445 | 6445
Solar | 200 | 400 | 700 | 1000
Other | 479 | 479 | 479 | 479
Total effective generation capacity | 14612 | 15002 | 15553 | 16482 | Total Forecast Generation Capacity
Total installed capacity | 18194 | 20784 | 23210 | 24439

## Generation Capacity by Type
Capacity by Scenario and Fuel Type (MW)
Reference Case
Year | Coal-fired | Cogeneration | Combined Cycle | Simple Cycle | Coal-to- Gas | Hydro | Wind | Solar | Other | Total
2017* | 6299 | 4934 | 1746 | 916 | 0 | 894 | 1445 | 0 | 479 | 16713
2022 | 3849 | 5024 | 1746 | 1059 | 1581 | 894 | 3045 | 200 | 479 | 17877
2027 | 2904 | 5114 | 2656 | 1249 | 2371 | 894 | 5045 | 400 | 479 | 21112
2032 | 0 | 5204 | 5386 | 1486 | 2371 | 1244 | 6445 | 700 | 479 | 23315
2037 | 0 | 5339 | 6751 | 2769 | 790 | 1244 | 6445 | 1000 | 479 | 24817
Low Growth
Year | Coal-fired | Cogeneration | Combined Cycle | Simple Cycle | Coal-to- Gas | Hydro | Wind | Solar | Other | Total
2017* | 6299 | 4934 | 1746 | 916 | 0 | 894 | 1445 | 0 | 479 | 16713
2022 | 3849 | 4934 | 1746 | 916 | 1581 | 894 | 2945 | 200 | 479 | 17544
2027 | 2904 | 4934 | 1746 | 916 | 2371 | 894 | 4695 | 400 | 479 | 19339
2032 | 0 | 4934 | 4931 | 964 | 2371 | 1244 | 5745 | 700 | 479 | 21368
2037 | 0 | 4934 | 5841 | 2389 | 790 | 1244 | 5745 | 1000 | 479 | 22422
High Coal-to-Gas
Year | Coal-fired | Cogeneration | Combined Cycle | Simple Cycle | Coal-to- Gas | Hydro | Wind | Solar | Other | Total
2017* | 6299 | 4934 | 1746 | 916 | 0 | 894 | 1445 | 0 | 479 | 16713
2022 | 3849 | 5024 | 1746 | 916 | 1581 | 894 | 3045 | 200 | 479 | 17734
2027 | 2904 | 5114 | 2201 | 916 | 2526 | 894 | 5045 | 400 | 479 | 20479
2032 | 0 | 5204 | 3111 | 916 | 5430 | 1244 | 6445 | 700 | 479 | 23529
2037 | 0 | 5339 | 5841 | 916 | 3849 | 1244 | 6445 | 1000 | 479 | 25113
No Coal-to-Gas
Year | Coal-fired | Cogeneration | Combined Cycle | Simple Cycle | Coal-to- Gas | Hydro | Wind | Solar | Other | Total
2017* | 6299 | 4934 | 1746 | 916 | 0 | 894 | 1445 | 0 | 479 | 16713
2022 | 5430 | 5024 | 1746 | 1059 | 0 | 894 | 3045 | 200 | 479 | 17877
2027 | 3309 | 5114 | 3566 | 2056 | 0 | 894 | 5045 | 400 | 479 | 20863
2032 | 0 | 5204 | 6751 | 2816 | 0 | 1244 | 6445 | 700 | 479 | 23639
2037 | 0 | 5339 | 6751 | 2864 | 0 | 1244 | 6445 | 1000 | 479 | 24122
Large-hydro Addition
Year | Coal-fired | Cogeneration | Combined Cycle | Simple Cycle | Coal-to- Gas | Hydro | Wind | Solar | Other | Total
2017* | 6299 | 4934 | 1746 | 916 | 0 | 894 | 1445 | 0 | 479 | 16713
2022 | 3849 | 5024 | 1746 | 964 | 1581 | 894 | 3045 | 200 | 479 | 17782
2027 | 2904 | 5114 | 2656 | 964 | 2371 | 894 | 5045 | 400 | 479 | 20827
2032 | 0 | 5204 | 5386 | 1249 | 2371 | 1414 | 6445 | 700 | 479 | 23248
2037 | 0 | 5339 | 5841 | 2484 | 790 | 2414 | 6445 | 1000 | 479 | 24792
Western Integration
Year | Coal-fired | Cogeneration | Combined Cycle | Simple Cycle | Coal-to- Gas | Hydro | Wind | Solar | Other | Total
2017* | 6299 | 4934 | 1746 | 916 | 0 | 894 | 1445 | 0 | 479 | 16713
2022 | 3849 | 5024 | 1746 | 916 | 1581 | 894 | 3045 | 200 | 479 | 17734
2027 | 2904 | 5114 | 2656 | 916 | 2371 | 894 | 5045 | 400 | 479 | 20779
2032 | 0 | 5204 | 5841 | 916 | 2371 | 1244 | 6445 | 700 | 479 | 23200
2037 | 0 | 5339 | 6296 | 2151 | 790 | 1244 | 6445 | 1000 | 479 | 23744
High Cogeneration
Year | Coal-fired | Cogeneration | Combined Cycle | Simple Cycle | Coal-to- Gas | Hydro | Wind | Solar | Other | Total
2017* | 6299 | 4934 | 1746 | 916 | 0 | 894 | 1445 | 0 | 479 | 16713
2022 | 3849 | 5484 | 1746 | 916 | 1581 | 894 | 3045 | 200 | 479 | 18194
2027 | 2904 | 6029 | 1746 | 916 | 2371 | 894 | 5045 | 400 | 479 | 20784
2032 | 0 | 6389 | 4476 | 1106 | 2371 | 1244 | 6445 | 700 | 479 | 23210
2037 | 0 | 6659 | 5386 | 2436 | 790 | 1244 | 6445 | 1000 | 479 | 24439
*Future Capacity as of the end of year, Existing Capacity includes under-construction projects.
Source: AESO

## Scenario Load & Gen
Reference Case and Scenario Load Peak and Installed Generation by Type (MW)
2022 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration
Demand | AIL Peak | 12260 | 11847 | 12260 | 12260 | 12260 | 12260 | 12260
Generation | Coal-fired | 3849 | 3849 | 3849 | 5430 | 3849 | 3849 | 3849
| Cogeneration | 5024 | 4934 | 5024 | 5024 | 5024 | 5024 | 5484
| Combined Cycle | 1746 | 1746 | 1746 | 1746 | 1746 | 1746 | 1746
| Simple Cycle | 1059 | 916 | 916 | 1059 | 964 | 916 | 916
| Coal-to-Gas | 1581 | 1581 | 1581 | 0 | 1581 | 1581 | 1581
| Hydro | 894 | 894 | 894 | 894 | 894 | 894 | 894
| Wind | 3045 | 2945 | 3045 | 3045 | 3045 | 3045 | 3045
| Solar | 200 | 200 | 200 | 200 | 200 | 200 | 200
| Other | 479 | 479 | 479 | 479 | 479 | 479 | 479
| Total | 17877 | 17544 | 17734 | 17877 | 17782 | 17734 | 18194
2027 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration
Demand | AIL Peak | 12814 | 12025 | 12814 | 12814 | 12814 | 12814 | 12814
Generation | Coal-fired | 2904 | 2904 | 2904 | 3309 | 2904 | 2904 | 2904
| Cogeneration | 5114 | 4934 | 5114 | 5114 | 5114 | 5114 | 6029
| Combined Cycle | 2656 | 1746 | 2201 | 3566 | 2656 | 2656 | 1746
| Simple Cycle | 1249 | 916 | 916 | 2056 | 964 | 916 | 916
| Coal-to-Gas | 2371 | 2371 | 2526 | 0 | 2371 | 2371 | 2371
| Hydro | 894 | 894 | 894 | 894 | 894 | 894 | 894
| Wind | 5045 | 4695 | 5045 | 5045 | 5045 | 5045 | 5045
| Solar | 400 | 400 | 400 | 400 | 400 | 400 | 400
| Other | 479 | 479 | 479 | 479 | 479 | 479 | 479
| Total | 21112 | 19339 | 20479 | 20863 | 20827 | 20779 | 20784
2032 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration
Demand | AIL Peak | 13486 | 12277 | 13486 | 13486 | 13486 | 13486 | 13486
Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cogeneration | 5204 | 4934 | 5204 | 5204 | 5204 | 5204 | 6389
| Combined Cycle | 5386 | 4931 | 3111 | 6751 | 5386 | 5841 | 4476
| Simple Cycle | 1486 | 964 | 916 | 2816 | 1249 | 916 | 1106
| Coal-to-Gas | 2371 | 2371 | 5430 | 0 | 2371 | 2371 | 2371
| Hydro | 1244 | 1244 | 1244 | 1244 | 1414 | 1244 | 1244
| Wind | 6445 | 5745 | 6445 | 6445 | 6445 | 6445 | 6445
| Solar | 700 | 700 | 700 | 700 | 700 | 700 | 700
| Other | 479 | 479 | 479 | 479 | 479 | 479 | 479
| Total | 23315 | 21368 | 23529 | 23639 | 23248 | 23200 | 23210
2037 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration
Demand | AIL Peak | 13947 | 12484 | 13947 | 13947 | 13947 | 13947 | 13947
Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cogeneration | 5339 | 4934 | 5339 | 5339 | 5339 | 5339 | 6659
| Combined Cycle | 6751 | 5841 | 5841 | 6751 | 5841 | 6296 | 5386
| Simple Cycle | 2769 | 2389 | 916 | 2864 | 2484 | 2151 | 2436
| Coal-to-Gas | 790 | 790 | 3849 | 0 | 790 | 790 | 790
| Hydro | 1244 | 1244 | 1244 | 1244 | 2414 | 1244 | 1244
| Wind | 6445 | 5745 | 6445 | 6445 | 6445 | 6445 | 6445
| Solar | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| Other | 479 | 479 | 479 | 479 | 479 | 479 | 479
| Total | 24817 | 22422 | 25113 | 24122 | 24792 | 23744 | 24439
Source: AESO

## Scenario Energy Load & Gen
Reference Case and Scenario Load Energy and Energy by Fuel Type (GWh)
2022 |  | Reference Case* | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration
Demand | Total AIL Energy | 87870 | 85070 | 87870 | 87870 | 87870 | 87870 | 87870
Generation | Coal-fired | 21290 | 20220 | 21500 | 23710 | 21280 | 21220 | 19200
| Cogeneration | 30460 | 29800 | 30460 | 30440 | 30460 | 30460 | 33930
| Combined Cycle | 10750 | 10730 | 10740 | 10730 | 10750 | 10760 | 10680
| Simple Cycle | 2140 | 1910 | 2030 | 1840 | 2110 | 2100 | 1780
| Coal-to-Gas | 1710 | 1530 | 1690 | 0 | 1770 | 1790 | 1360
| Hydro | 1910 | 1910 | 1910 | 1910 | 1910 | 1910 | 1910
| Wind | 9890 | 9530 | 9890 | 9890 | 9890 | 9890 | 9890
| Solar | 300 | 300 | 300 | 300 | 300 | 300 | 300
| Other | 2570 | 2570 | 2570 | 2570 | 2570 | 2570 | 2570
| Intertie | 6850 | 6570 | 6780 | 6480 | 6830 | 6870 | 6250
| Total | 87870 | 85070 | 87870 | 87870 | 87870 | 87870 | 87870
2027 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration
Demand | Total AIL Energy | 91680 | 86400 | 91680 | 91680 | 91680 | 91680 | 91680
Generation | Coal-fired | 13720 | 15030 | 15090 | 11450 | 13840 | 12750 | 13410
| Cogeneration | 30930 | 29680 | 30970 | 30810 | 30920 | 30920 | 37730
| Combined Cycle | 15920 | 10430 | 13240 | 21090 | 15920 | 15860 | 10100
| Simple Cycle | 1800 | 1960 | 1950 | 1620 | 1630 | 1580 | 1610
| Coal-to-Gas | 1630 | 2160 | 2210 | 0 | 1680 | 1560 | 1580
| Hydro | 1910 | 1920 | 1910 | 1910 | 1910 | 1910 | 1910
| Wind | 16900 | 15670 | 16900 | 16900 | 16900 | 16900 | 16900
| Solar | 590 | 590 | 590 | 590 | 590 | 590 | 590
| Other | 2550 | 2560 | 2560 | 2540 | 2550 | 2550 | 2550
| Intertie | 5730 | 6400 | 6260 | 4770 | 5740 | 7060 | 5300
| Total | 91680 | 86400 | 91680 | 91680 | 91680 | 91680 | 91680
2032 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration
Demand | Total AIL Energy | 96350 | 88280 | 96350 | 96350 | 96350 | 96350 | 96350
Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cogeneration | 31500 | 29520 | 31720 | 31280 | 31490 | 31480 | 40200
| Combined Cycle | 29070 | 26410 | 18330 | 33250 | 29040 | 30720 | 22150
| Simple Cycle | 1580 | 1140 | 2500 | 890 | 1490 | 980 | 1240
| Coal-to-Gas | 1060 | 880 | 7530 | 0 | 1080 | 720 | 890
| Hydro | 3880 | 3880 | 3890 | 3880 | 4060 | 3880 | 3890
| Wind | 21900 | 19430 | 21900 | 21900 | 21900 | 21900 | 21880
| Solar | 1010 | 1010 | 1010 | 1010 | 1010 | 1010 | 1010
| Other | 2540 | 2540 | 2570 | 2520 | 2540 | 2540 | 2540
| Intertie | 3810 | 3470 | 6900 | 1620 | 3740 | 3120 | 2550
| Total | 96350 | 88280 | 96350 | 96350 | 96350 | 96350 | 96350
2037 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration
Demand | Total AIL Energy | 99210 | 89480 | 99210 | 99210 | 99210 | 99210 | 99210
Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cogeneration | 32510 | 29560 | 32570 | 32510 | 32420 | 32550 | 42080
| Combined Cycle | 33220 | 28990 | 30460 | 33340 | 27940 | 32040 | 24350
| Simple Cycle | 860 | 750 | 930 | 920 | 880 | 1020 | 900
| Coal-to-Gas | 140 | 130 | 1740 | 0 | 160 | 190 | 150
| Hydro | 3870 | 3870 | 3880 | 3870 | 9330 | 3870 | 3870
| Wind | 21820 | 19360 | 21820 | 21820 | 21810 | 21820 | 21800
| Solar | 1420 | 1420 | 1420 | 1420 | 1420 | 1420 | 1420
| Other | 2520 | 2520 | 2530 | 2520 | 2530 | 2530 | 2520
| Intertie | 2850 | 2880 | 3860 | 2810 | 2720 | 3770 | 2120
| Total | 99210 | 89480 | 99210 | 99210 | 99210 | 99210 | 99210
Source: AESO
* Differences in yearly energy due to rounding

## Generation Capacity by Region
Generation Capacity by Scenario and Region (MW)
Reference Case
Year | Northwest | Northeast | Edmonton | Central | South | Calgary
2017* | 1033 | 3620 | 4975 | 2641 | 2988 | 1456
2022 | 1036 | 3665 | 4399 | 2837 | 4436 | 1504
2027 | 1284 | 3758 | 5309 | 3475 | 5736 | 1551
2032 | 1876 | 4303 | 4490 | 4345 | 6751 | 1551
2037 | 2256 | 5083 | 4009 | 4635 | 7188 | 1646
Low Growth
Year | Northwest | Northeast | Edmonton | Central | South | Calgary
2017* | 1033 | 3620 | 4975 | 2641 | 2988 | 1456
2022 | 989 | 3620 | 4399 | 2792 | 4288 | 1456
2027 | 1189 | 3620 | 4399 | 3287 | 5388 | 1456
2032 | 1639 | 4075 | 4490 | 4007 | 5653 | 1504
2037 | 2161 | 4265 | 3364 | 4345 | 6641 | 1646
High Coal-to-Gas
Year | Northwest | Northeast | Edmonton | Central | South | Calgary
2017* | 1033 | 3620 | 4975 | 2641 | 2988 | 1456
2022 | 989 | 3665 | 4399 | 2837 | 4388 | 1456
2027 | 1189 | 3710 | 4854 | 3582 | 5688 | 1456
2032 | 1639 | 3800 | 5309 | 4837 | 6488 | 1456
2037 | 1639 | 4390 | 5093 | 4937 | 7598 | 1456
No Coal-to-Gas
Year | Northwest | Northeast | Edmonton | Central | South | Calgary
2017* | 1033 | 3620 | 4975 | 2641 | 2988 | 1456
2022 | 1036 | 3665 | 4399 | 2837 | 4436 | 1504
2027 | 1664 | 3853 | 3728 | 3592 | 6428 | 1599
2032 | 2256 | 4995 | 3219 | 4535 | 6988 | 1646
2037 | 2256 | 5130 | 3219 | 4635 | 7188 | 1694
Large-hydro Addition
Year | Northwest | Northeast | Edmonton | Central | South | Calgary
2017* | 1033 | 3620 | 4975 | 2641 | 2988 | 1456
2022 | 989 | 3665 | 4399 | 2837 | 4388 | 1504
2027 | 1189 | 3710 | 5309 | 3427 | 5688 | 1504
2032 | 1734 | 4303 | 4490 | 4515 | 6656 | 1551
2037 | 2161 | 5628 | 3412 | 4805 | 7141 | 1646
Western Integration
Year | Northwest | Northeast | Edmonton | Central | South | Calgary
2017* | 1033 | 3620 | 4975 | 2641 | 2988 | 1456
2022 | 989 | 3665 | 4399 | 2837 | 4388 | 1456
2027 | 1189 | 3710 | 5309 | 3427 | 5688 | 1456
2032 | 1639 | 4255 | 4945 | 4297 | 6608 | 1456
2037 | 2114 | 4988 | 3364 | 4540 | 7141 | 1599
High Cogeneration
Year | Northwest | Northeast | Edmonton | Central | South | Calgary
2017* | 1033 | 3620 | 4975 | 2641 | 2988 | 1456
2022 | 989 | 4125 | 4399 | 2837 | 4388 | 1456
2027 | 1189 | 4580 | 4399 | 3472 | 5688 | 1456
2032 | 1734 | 4895 | 4490 | 4387 | 6201 | 1504
2037 | 2161 | 5813 | 2909 | 4770 | 7141 | 1646
*Future Capacity as of the end of year, Existing Capacity includes under-construction projects.
Source: AESO

## Scenario Region Load & Gen
Reference Case and Scenario Regional Load Peak and Installed Generation by Type (MW)
Northeast | [8 empty] | Northwest | [8 empty] | Edmonton | [8 empty] | Central | [8 empty] | South | [8 empty] | Calgary
2022 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2022 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2022 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2022 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2022 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2022 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration
Demand | Regional Non-coincident Peak | 3301 | 3096 | 3301 | 3301 | 3301 | 3301 | 3301 | Demand | Regional Non-coincident Peak | 1336 | 1287 | 1336 | 1336 | 1336 | 1336 | 1336 | Demand | Regional Non-coincident Peak | 2372 | 2327 | 2372 | 2372 | 2372 | 2372 | 2372 | Demand | Regional Non-coincident Peak | 2207 | 2147 | 2207 | 2207 | 2207 | 2207 | 2207 | Demand | Regional Non-coincident Peak | 1404 | 1389 | 1404 | 1404 | 1404 | 1404 | 1404 | Demand | Regional Non-coincident Peak | 1691 | 1655 | 1691 | 1691 | 1691 | 1691 | 1691
Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Generation | Coal-fired | 2519 | 2519 | 2519 | 4100 | 2519 | 2519 | 2519 | Generation | Coal-fired | 540 | 540 | 540 | 540 | 540 | 540 | 540 | Generation | Coal-fired | 790 | 790 | 790 | 790 | 790 | 790 | 790 | Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cogeneration | 3516 | 3471 | 3516 | 3516 | 3516 | 3516 | 3976 |  | Cogeneration | 147 | 147 | 147 | 147 | 147 | 147 | 147 |  | Cogeneration | 49 | 49 | 49 | 49 | 49 | 49 | 49 |  | Cogeneration | 1190 | 1145 | 1190 | 1190 | 1190 | 1190 | 1190 |  | Cogeneration | 110 | 110 | 110 | 110 | 110 | 110 | 110 |  | Cogeneration | 12 | 12 | 12 | 12 | 12 | 12 | 12
| Combined Cycle | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Combined Cycle | 73 | 73 | 73 | 73 | 73 | 73 | 73 |  | Combined Cycle | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Combined Cycle | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Combined Cycle | 373 | 373 | 373 | 373 | 373 | 373 | 373 |  | Combined Cycle | 1300 | 1300 | 1300 | 1300 | 1300 | 1300 | 1300
| Simple Cycle | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Simple Cycle | 490 | 442 | 442 | 490 | 442 | 442 | 442 |  | Simple Cycle | 250 | 250 | 250 | 250 | 250 | 250 | 250 |  | Simple Cycle | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Simple Cycle | 128 | 80 | 80 | 128 | 80 | 80 | 80 |  | Simple Cycle | 192 | 144 | 144 | 192 | 192 | 144 | 144
| Coal-to-Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Coal-to-Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Coal-to-Gas | 1581 | 1581 | 1581 | 0 | 1581 | 1581 | 1581 |  | Coal-to-Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Coal-to-Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Coal to Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Hydro | 485 | 485 | 485 | 485 | 485 | 485 | 485 |  | Hydro | 409 | 409 | 409 | 409 | 409 | 409 | 409 |  | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Wind | 100 | 100 | 100 | 100 | 100 | 100 | 100 |  | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Wind | 561 | 561 | 561 | 561 | 561 | 561 | 561 |  | Wind | 2384 | 2284 | 2384 | 2384 | 2384 | 2384 | 2384 |  | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Solar | 200 | 200 | 200 | 200 | 200 | 200 | 200 |  | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other | 149 | 149 | 149 | 149 | 149 | 149 | 149 |  | Other | 227 | 227 | 227 | 227 | 227 | 227 | 227 |  | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Other | 61 | 61 | 61 | 61 | 61 | 61 | 61 |  | Other | 42 | 42 | 42 | 42 | 42 | 42 | 42 |  | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | 3665 | 3620 | 3665 | 3665 | 3665 | 3665 | 4125 |  | Total | 1036 | 989 | 989 | 1036 | 989 | 989 | 989 |  | Total | 4399 | 4399 | 4399 | 4399 | 4399 | 4399 | 4399 |  | Total | 2837 | 2792 | 2837 | 2837 | 2837 | 2837 | 2837 |  | Total | 4436 | 4288 | 4388 | 4436 | 4388 | 4388 | 4388 |  | Total | 1504 | 1456 | 1456 | 1504 | 1504 | 1456 | 1456
2027 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2027 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2027 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2027 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2027 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2027 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration
Demand | Regional Non-coincident Peak | 3495 | 3120 | 3495 | 3495 | 3495 | 3495 | 3495 | Demand | Regional Non-coincident Peak | 1376 | 1325 | 1376 | 1376 | 1376 | 1376 | 1376 | Demand | Regional Non-coincident Peak | 2479 | 2350 | 2479 | 2479 | 2479 | 2479 | 2479 | Demand | Regional Non-coincident Peak | 2286 | 2213 | 2286 | 2286 | 2286 | 2286 | 2286 | Demand | Regional Non-coincident Peak | 1453 | 1408 | 1453 | 1453 | 1453 | 1453 | 1453 | Demand | Regional Non-coincident Peak | 1794 | 1672 | 1794 | 1794 | 1794 | 1794 | 1794
Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Generation | Coal-fired | 1729 | 1729 | 1729 | 2519 | 1729 | 1729 | 1729 | Generation | Coal-fired | 385 | 385 | 385 | 0 | 385 | 385 | 385 | Generation | Coal-fired | 790 | 790 | 790 | 790 | 790 | 790 | 790 | Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cogeneration | 3561 | 3471 | 3561 | 3561 | 3561 | 3561 | 4431 |  | Cogeneration | 147 | 147 | 147 | 147 | 147 | 147 | 147 |  | Cogeneration | 49 | 49 | 49 | 49 | 49 | 49 | 49 |  | Cogeneration | 1235 | 1145 | 1235 | 1235 | 1235 | 1235 | 1280 |  | Cogeneration | 110 | 110 | 110 | 110 | 110 | 110 | 110 |  | Cogeneration | 12 | 12 | 12 | 12 | 12 | 12 | 12
| Combined Cycle | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Combined Cycle | 73 | 73 | 73 | 73 | 73 | 73 | 73 |  | Combined Cycle | 910 | 0 | 455 | 910 | 910 | 910 | 0 |  | Combined Cycle | 0 | 0 | 0 | 455 | 0 | 0 | 0 |  | Combined Cycle | 373 | 373 | 373 | 828 | 373 | 373 | 373 |  | Combined Cycle | 1300 | 1300 | 1300 | 1300 | 1300 | 1300 | 1300
| Simple Cycle | 48 | 0 | 0 | 143 | 0 | 0 | 0 |  | Simple Cycle | 537 | 442 | 442 | 917 | 442 | 442 | 442 |  | Simple Cycle | 250 | 250 | 250 | 250 | 250 | 250 | 250 |  | Simple Cycle | 48 | 0 | 0 | 95 | 0 | 0 | 0 |  | Simple Cycle | 128 | 80 | 80 | 365 | 80 | 80 | 80 |  | Simple Cycle | 239 | 144 | 144 | 287 | 192 | 144 | 144
| Coal-to-Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Coal-to-Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Coal-to-Gas | 2371 | 2371 | 2371 | 0 | 2371 | 2371 | 2371 |  | Coal-to-Gas | 0 | 0 | 155 | 0 | 0 | 0 | 0 |  | Coal-to-Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Coal-to-Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Hydro | 485 | 485 | 485 | 485 | 485 | 485 | 485 |  | Hydro | 409 | 409 | 409 | 409 | 409 | 409 | 409 |  | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Wind | 300 | 300 | 300 | 300 | 300 | 300 | 300 |  | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Wind | 1261 | 1211 | 1261 | 1261 | 1261 | 1261 | 1261 |  | Wind | 3484 | 3184 | 3484 | 3484 | 3484 | 3484 | 3484 |  | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Solar | 400 | 400 | 400 | 400 | 400 | 400 | 400 |  | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other | 149 | 149 | 149 | 149 | 149 | 149 | 149 |  | Other | 227 | 227 | 227 | 227 | 227 | 227 | 227 |  | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Other | 61 | 61 | 61 | 61 | 61 | 61 | 61 |  | Other | 42 | 42 | 42 | 42 | 42 | 42 | 42 |  | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | 3758 | 3620 | 3710 | 3853 | 3710 | 3710 | 4580 |  | Total | 1284 | 1189 | 1189 | 1664 | 1189 | 1189 | 1189 |  | Total | 5309 | 4399 | 4854 | 3728 | 5309 | 5309 | 4399 |  | Total | 3475 | 3287 | 3582 | 3592 | 3427 | 3427 | 3472 |  | Total | 5736 | 5388 | 5688 | 6428 | 5688 | 5688 | 5688 |  | Total | 1551 | 1456 | 1456 | 1599 | 1504 | 1456 | 1456
2032 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2032 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2032 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2032 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2032 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2032 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration
Demand | Regional Non-coincident Peak | 3645 | 3145 | 3645 | 3645 | 3645 | 3645 | 3645 | Demand | Regional Non-coincident Peak | 1433 | 1375 | 1433 | 1433 | 1433 | 1433 | 1433 | Demand | Regional Non-coincident Peak | 2621 | 2379 | 2621 | 2621 | 2621 | 2621 | 2621 | Demand | Regional Non-coincident Peak | 2396 | 2312 | 2396 | 2396 | 2396 | 2396 | 2396 | Demand | Regional Non-coincident Peak | 1531 | 1433 | 1531 | 1531 | 1531 | 1531 | 1531 | Demand | Regional Non-coincident Peak | 1917 | 1693 | 1917 | 1917 | 1917 | 1917 | 1917
Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cogeneration | 3651 | 3471 | 3651 | 3651 | 3651 | 3651 | 4746 |  | Cogeneration | 147 | 147 | 147 | 147 | 147 | 147 | 147 |  | Cogeneration | 49 | 49 | 49 | 49 | 49 | 49 | 49 |  | Cogeneration | 1235 | 1145 | 1235 | 1235 | 1235 | 1235 | 1325 |  | Cogeneration | 110 | 110 | 110 | 110 | 110 | 110 | 110 |  | Cogeneration | 12 | 12 | 12 | 12 | 12 | 12 | 12
| Combined Cycle | 455 | 455 | 0 | 910 | 455 | 455 | 0 |  | Combined Cycle | 73 | 73 | 73 | 73 | 73 | 73 | 73 |  | Combined Cycle | 1820 | 1820 | 910 | 2730 | 1820 | 2275 | 1820 |  | Combined Cycle | 455 | 455 | 455 | 455 | 455 | 455 | 455 |  | Combined Cycle | 1283 | 828 | 373 | 1283 | 1283 | 1283 | 828 |  | Combined Cycle | 1300 | 1300 | 1300 | 1300 | 1300 | 1300 | 1300
| Simple Cycle | 48 | 0 | 0 | 285 | 48 | 0 | 0 |  | Simple Cycle | 680 | 442 | 442 | 1060 | 537 | 442 | 537 |  | Simple Cycle | 250 | 250 | 250 | 440 | 250 | 250 | 250 |  | Simple Cycle | 48 | 0 | 0 | 238 | 48 | 0 | 0 |  | Simple Cycle | 223 | 80 | 80 | 460 | 128 | 80 | 128 |  | Simple Cycle | 239 | 192 | 144 | 334 | 239 | 144 | 192
| Coal-to-Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Coal-to-Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Coal-to-Gas | 2371 | 2371 | 4100 | 0 | 2371 | 2371 | 2371 |  | Coal-to-Gas | 0 | 0 | 540 | 0 | 0 | 0 | 0 |  | Coal-to-Gas | 0 | 0 | 790 | 0 | 0 | 0 | 0 |  | Coal-to-Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Hydro | 350 | 350 | 350 | 350 | 350 | 350 | 350 |  | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Hydro | 485 | 485 | 485 | 485 | 655 | 485 | 485 |  | Hydro | 409 | 409 | 409 | 409 | 409 | 409 | 409 |  | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Wind | 400 | 400 | 400 | 400 | 400 | 400 | 400 |  | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Wind | 1961 | 1761 | 1961 | 1961 | 1961 | 1961 | 1961 |  | Wind | 4084 | 3584 | 4084 | 4084 | 4084 | 4084 | 4084 |  | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Solar | 100 | 100 | 100 | 100 | 100 | 100 | 100 |  | Solar | 600 | 600 | 600 | 600 | 600 | 600 | 600 |  | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other | 149 | 149 | 149 | 149 | 149 | 149 | 149 |  | Other | 227 | 227 | 227 | 227 | 227 | 227 | 227 |  | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Other | 61 | 61 | 61 | 61 | 61 | 61 | 61 |  | Other | 42 | 42 | 42 | 42 | 42 | 42 | 42 |  | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | 4303 | 4075 | 3800 | 4995 | 4303 | 4255 | 4895 |  | Total | 1876 | 1639 | 1639 | 2256 | 1734 | 1639 | 1734 |  | Total | 4490 | 4490 | 5309 | 3219 | 4490 | 4945 | 4490 |  | Total | 4345 | 4007 | 4837 | 4535 | 4515 | 4297 | 4387 |  | Total | 6751 | 5653 | 6488 | 6988 | 6656 | 6608 | 6201 |  | Total | 1551 | 1504 | 1456 | 1646 | 1551 | 1456 | 1504
2037 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2037 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2037 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2037 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2037 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration | 2037 |  | Reference Case | Low Growth | High Coal-to-Gas | No Coal-to-Gas | Large-hydro Addition | Western Integration | High Cogeneration
Demand | Regional Non-coincident Peak | 3763 | 3185 | 3763 | 3763 | 3763 | 3763 | 3763 | Demand | Regional Non-coincident Peak | 1462 | 1404 | 1462 | 1462 | 1462 | 1462 | 1462 | Demand | Regional Non-coincident Peak | 2711 | 2409 | 2711 | 2711 | 2711 | 2711 | 2711 | Demand | Regional Non-coincident Peak | 2470 | 2386 | 2470 | 2470 | 2470 | 2470 | 2470 | Demand | Regional Non-coincident Peak | 1582 | 1454 | 1582 | 1582 | 1582 | 1582 | 1582 | Demand | Regional Non-coincident Peak | 1983 | 1714 | 1983 | 1983 | 1983 | 1983 | 1983
Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Generation | Coal-fired | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cogeneration | 3786 | 3471 | 3786 | 3786 | 3786 | 3786 | 4971 |  | Cogeneration | 147 | 147 | 147 | 147 | 147 | 147 | 147 |  | Cogeneration | 49 | 49 | 49 | 49 | 49 | 49 | 49 |  | Cogeneration | 1235 | 1145 | 1235 | 1235 | 1235 | 1235 | 1370 |  | Cogeneration | 110 | 110 | 110 | 110 | 110 | 110 | 110 |  | Cogeneration | 12 | 12 | 12 | 12 | 12 | 12 | 12
| Combined Cycle | 910 | 455 | 455 | 910 | 455 | 910 | 455 |  | Combined Cycle | 73 | 73 | 73 | 73 | 73 | 73 | 73 |  | Combined Cycle | 2730 | 2275 | 2275 | 2730 | 2275 | 2275 | 1820 |  | Combined Cycle | 455 | 455 | 455 | 455 | 455 | 455 | 455 |  | Combined Cycle | 1283 | 1283 | 1283 | 1283 | 1283 | 1283 | 1283 |  | Combined Cycle | 1300 | 1300 | 1300 | 1300 | 1300 | 1300 | 1300
| Simple Cycle | 238 | 190 | 0 | 285 | 238 | 143 | 238 |  | Simple Cycle | 1060 | 965 | 442 | 1060 | 965 | 917 | 965 |  | Simple Cycle | 440 | 250 | 250 | 440 | 298 | 250 | 250 |  | Simple Cycle | 238 | 238 | 0 | 238 | 238 | 143 | 238 |  | Simple Cycle | 460 | 413 | 80 | 460 | 413 | 413 | 413 |  | Simple Cycle | 334 | 334 | 144 | 382 | 334 | 287 | 334
| Coal-to-Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Coal-to-Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Coal-to-Gas | 790 | 790 | 2519 | 0 | 790 | 790 | 790 |  | Coal-to-Gas | 0 | 0 | 540 | 0 | 0 | 0 | 0 |  | Coal-to-Gas | 0 | 0 | 790 | 0 | 0 | 0 | 0 |  | Coal-to-Gas | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hydro | 0 | 0 | 0 | 0 | 1000 | 0 | 0 |  | Hydro | 350 | 350 | 350 | 350 | 350 | 350 | 350 |  | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Hydro | 485 | 485 | 485 | 485 | 655 | 485 | 485 |  | Hydro | 409 | 409 | 409 | 409 | 409 | 409 | 409 |  | Hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Wind | 400 | 400 | 400 | 400 | 400 | 400 | 400 |  | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Wind | 1961 | 1761 | 1961 | 1961 | 1961 | 1961 | 1961 |  | Wind | 4084 | 3584 | 4084 | 4084 | 4084 | 4084 | 4084 |  | Wind | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Solar | 200 | 200 | 200 | 200 | 200 | 200 | 200 |  | Solar | 800 | 800 | 800 | 800 | 800 | 800 | 800 |  | Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other | 149 | 149 | 149 | 149 | 149 | 149 | 149 |  | Other | 227 | 227 | 227 | 227 | 227 | 227 | 227 |  | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Other | 61 | 61 | 61 | 61 | 61 | 61 | 61 |  | Other | 42 | 42 | 42 | 42 | 42 | 42 | 42 |  | Other | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | 5083 | 4265 | 4390 | 5130 | 5628 | 4988 | 5813 |  | Total | 2256 | 2161 | 1639 | 2256 | 2161 | 2114 | 2161 |  | Total | 4009 | 3364 | 5093 | 3219 | 3412 | 3364 | 2909 |  | Total | 4635 | 4345 | 4937 | 4635 | 4805 | 4540 | 4770 |  | Total | 7188 | 6641 | 7598 | 7188 | 7141 | 7141 | 7141 |  | Total | 1646 | 1646 | 1456 | 1694 | 1646 | 1599 | 1646
Source: AESO

## Generation Costs
Generation Cost Assumptions
| Unit | Combined Cycle1 | Simple Cycle | Coal-to-Gas | Wind | PV Solar
Installed Capacity | (MW) | 455 | 47.5 | 368-406 | 50 | 15
Avg. Capacity Factor2 | (%) | 56% - 71% | 3% - 25% | 2%-13% | 33% - 39% | 16% - 19%
Heat Rate | (GJ/MWh) | 6.7 | 9.6 | 10 - 12 | - | -
CO2 Emissions3 | (Tonne/MWh) | 0.375 | 0.5376 | 0.560-0.672 | - | -
Overnight Capital Costs | (2017 $Cdn/kW) | $1,500 - $1,950 | $1,000 - $1,500 | 225 | 2000 | $1,330 - $2,100
Fixed O&M | (2017 $Cdn/kW-yr) | 27 | 18 | 22 | 62 | 46
Variable O&M | (2017 $Cdn/MWh) | 8 | 4 | 4 | 0 | 0
Natural Gas Price4 | (2017 $Cdn/GJ) | $2.61 - $3.49
1. 1x1 combined cycle
2. Model output by technology over forecast horizon
3. Calculated using 56 kg CO2/GJ and Heat Rate
4. Range represents annual average prices between 2017 to 2039

## Monthly AIL Energy
Monthly Alberta Internal Load: Energy (GWh)
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2014* | 7127 | 6578 | 7026 | 6358 | 6235 | 6088 | 6723 | 6583 | 6281 | 6700 | 6954 | 7297
2015* | 7306 | 6561 | 6946 | 6272 | 6233 | 6324 | 6817 | 6770 | 6243 | 6648 | 6820 | 7317
2016* | 7342 | 6642 | 6837 | 6102 | 5844 | 6026 | 6580 | 6678 | 6294 | 6764 | 6880 | 7572
2017* | 7506 | 6672 | 7154 | 6378 | 6507 | 6388 | 6868 | 6853 | 6495 | 6853 | 7132 | 7566
2018 | 7503 | 6928 | 7253 | 6728 | 6581 | 6396 | 7008 | 6943 | 6598 | 6990 | 7277 | 7681
2019 | 7642 | 7036 | 7525 | 6835 | 6690 | 6506 | 7152 | 7022 | 6713 | 7112 | 7423 | 7810
2020 | 7722 | 7375 | 7566 | 6868 | 6731 | 6615 | 7238 | 7047 | 6788 | 7196 | 7538 | 7852
2021 | 7796 | 7213 | 7730 | 7067 | 6846 | 6614 | 7296 | 7112 | 6862 | 7273 | 7499 | 7986
2022 | 7873 | 7268 | 7668 | 7104 | 6908 | 6682 | 7301 | 7280 | 6904 | 7272 | 7564 | 8048
2023 | 7907 | 7311 | 7685 | 7106 | 6938 | 6720 | 7346 | 7301 | 6929 | 7325 | 7608 | 8075
2024 | 7986 | 7636 | 7698 | 7142 | 6973 | 6778 | 7446 | 7301 | 6991 | 7414 | 7719 | 8139
2025 | 8067 | 7427 | 7914 | 7173 | 7025 | 6858 | 7537 | 7340 | 7073 | 7497 | 7824 | 8204
2026 | 8138 | 7511 | 7967 | 7220 | 7075 | 6937 | 7603 | 7394 | 7143 | 7492 | 7932 | 8267
2027 | 8216 | 7601 | 8006 | 7436 | 7189 | 6945 | 7660 | 7465 | 7211 | 7644 | 7890 | 8417
2028 | 8310 | 7953 | 8051 | 7443 | 7260 | 7031 | 7670 | 7637 | 7248 | 7664 | 7973 | 8466
2029 | 8395 | 7752 | 8107 | 7506 | 7327 | 7106 | 7793 | 7692 | 7316 | 7762 | 8097 | 8535
2030 | 8477 | 7831 | 8169 | 7559 | 7391 | 7179 | 7885 | 7734 | 7403 | 7852 | 8195 | 8631
2031 | 8556 | 7885 | 8390 | 7600 | 7440 | 7258 | 7976 | 7768 | 7481 | 7933 | 8299 | 8701
2032 | 8632 | 8263 | 8400 | 7797 | 7539 | 7281 | 7967 | 7933 | 7532 | 7925 | 8252 | 8829
2033 | 8698 | 8051 | 8454 | 7822 | 7600 | 7349 | 8012 | 8005 | 7589 | 7999 | 8343 | 8888
2034 | 8777 | 8116 | 8503 | 7850 | 7664 | 7420 | 8103 | 8060 | 7644 | 8085 | 8425 | 8938
2035 | 8843 | 8168 | 8518 | 7898 | 7705 | 7469 | 8171 | 8086 | 7686 | 8158 | 8515 | 9000
2036 | 8891 | 8495 | 8537 | 7883 | 7713 | 7520 | 8266 | 8051 | 7752 | 8221 | 8610 | 9028
2037 | 8913 | 8238 | 8718 | 7882 | 7731 | 7573 | 8301 | 8073 | 7787 | 8262 | 8688 | 9044
*Actuals up to June 2017
Source: AESO

## Monthly Non-Firm Demand Energy
Monthly Non-Firm Demand: Energy (GWh)
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2014* | 0.04 | 0 | 0.03 | 0 | 0.15 | 0.13 | 0 | 0 | 2.25 | 10.81 | 0.78 | 0
2015* | 0 | 0 | 0 | 0 | 0.14 | 6.68 | 0 | 0 | 0.01 | 0 | 0 | 0
2016* | 0 | 0 | 0 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
*Actuals
Source: AESO

## Monthly Non-Reserved Demand NRG
Monthly Non-Reserved Demand: Energy (GWh)
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2014* | 1577 | 1457 | 1534 | 1377 | 1345 | 1305 | 1448 | 1387 | 1351 | 1469 | 1538 | 1581
2015* | 1598 | 1495 | 1647 | 1349 | 1328 | 1328 | 1597 | 1608 | 1251 | 1420 | 1521 | 1638
2016* | 1675 | 1541 | 1607 | 1344 | 1045 | 1161 | 1421 | 1538 | 1420 | 1501 | 1557 | 1639
2017 | 1622 | 1516 | 1623 | 1494 | 1478 | 1374 | 1526 | 1564 | 1507 | 1591 | 1682 | 1780
2018 | 1707 | 1540 | 1592 | 1467 | 1486 | 1412 | 1605 | 1549 | 1519 | 1581 | 1679 | 1802
2019 | 1731 | 1575 | 1669 | 1473 | 1518 | 1454 | 1547 | 1581 | 1536 | 1615 | 1721 | 1827
2020 | 1760 | 1652 | 1647 | 1573 | 1543 | 1475 | 1600 | 1595 | 1574 | 1625 | 1741 | 1859
2021 | 1823 | 1648 | 1742 | 1637 | 1624 | 1472 | 1664 | 1648 | 1637 | 1663 | 1780 | 1902
2022 | 1851 | 1680 | 1781 | 1672 | 1635 | 1528 | 1673 | 1651 | 1614 | 1710 | 1816 | 1942
2023 | 1824 | 1672 | 1785 | 1596 | 1610 | 1520 | 1706 | 1709 | 1639 | 1702 | 1768 | 1945
2024 | 1851 | 1730 | 1742 | 1629 | 1616 | 1491 | 1723 | 1632 | 1670 | 1734 | 1801 | 1949
2025 | 1851 | 1681 | 1781 | 1620 | 1598 | 1539 | 1633 | 1664 | 1674 | 1720 | 1792 | 1945
2026 | 1866 | 1691 | 1764 | 1640 | 1619 | 1499 | 1678 | 1694 | 1630 | 1704 | 1811 | 1958
2027 | 1864 | 1685 | 1763 | 1645 | 1634 | 1541 | 1679 | 1671 | 1639 | 1701 | 1774 | 1955
2028 | 1849 | 1727 | 1761 | 1612 | 1588 | 1570 | 1718 | 1689 | 1614 | 1618 | 1739 | 1939
2029 | 1872 | 1677 | 1783 | 1632 | 1600 | 1570 | 1691 | 1673 | 1639 | 1712 | 1775 | 1964
2030 | 1881 | 1693 | 1773 | 1677 | 1614 | 1602 | 1702 | 1635 | 1666 | 1756 | 1828 | 1978
2031 | 1899 | 1715 | 1810 | 1656 | 1621 | 1583 | 1711 | 1712 | 1718 | 1735 | 1854 | 1999
2032 | 1903 | 1782 | 1822 | 1715 | 1635 | 1603 | 1715 | 1748 | 1672 | 1720 | 1828 | 2000
2033 | 1929 | 1747 | 1851 | 1720 | 1647 | 1620 | 1787 | 1762 | 1726 | 1687 | 1873 | 2021
2034 | 1927 | 1739 | 1846 | 1722 | 1644 | 1602 | 1778 | 1740 | 1705 | 1725 | 1869 | 2021
2035 | 1962 | 1765 | 1865 | 1749 | 1697 | 1662 | 1842 | 1740 | 1706 | 1744 | 1910 | 2056
2036 | 1966 | 1832 | 1889 | 1726 | 1654 | 1650 | 1810 | 1730 | 1756 | 1828 | 1907 | 2066
2037 | 1996 | 1799 | 1931 | 1740 | 1697 | 1718 | 1803 | 1731 | 1750 | 1804 | 1960 | 2093
*Actuals
Source: AESO

## Monthly AIL Peak
Monthly Alberta Internal Load: Peak (MW)
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2014* | 10758 | 10902 | 10695 | 9783 | 9339 | 9681 | 10419 | 10272 | 9771 | 9957 | 11020 | 11169
2015* | 11229 | 10956 | 10743 | 9672 | 9312 | 10319 | 10520 | 10515 | 9747 | 9963 | 10836 | 10982
2016* | 10965 | 10643 | 10159 | 9216 | 9512 | 10028 | 10174 | 10244 | 9857 | 10074 | 10830 | 11458
2017* | 11432 | 11176 | 10730 | 9514 | 10084 | 10372 | 10586 | 10766 | 10113 | 10155 | 11328 | 11539
2018 | 11479 | 11466 | 11087 | 10608 | 9677 | 10050 | 10825 | 10941 | 10280 | 10326 | 11652 | 11737
2019 | 11642 | 11705 | 11677 | 10808 | 9839 | 10213 | 11111 | 10883 | 10435 | 10561 | 11856 | 11939
2020 | 11763 | 11825 | 11610 | 10603 | 9936 | 10766 | 11213 | 10977 | 10529 | 10655 | 11976 | 12018
2021 | 11887 | 11950 | 11738 | 11027 | 10036 | 10415 | 11328 | 11083 | 10634 | 10763 | 11819 | 12144
2022 | 11998 | 12063 | 11786 | 11126 | 10124 | 10507 | 11242 | 11434 | 10727 | 10793 | 11931 | 12260
2023 | 12121 | 12101 | 11755 | 11173 | 10165 | 10556 | 11286 | 11483 | 10772 | 10845 | 12034 | 12321
2024 | 12225 | 12200 | 11498 | 11261 | 10246 | 10645 | 11574 | 11310 | 10857 | 10995 | 12296 | 12428
2025 | 12278 | 12358 | 12139 | 11058 | 10345 | 10751 | 11687 | 11420 | 10961 | 11105 | 12481 | 12557
2026 | 12397 | 12479 | 12259 | 11160 | 10439 | 10850 | 11795 | 11526 | 11060 | 11138 | 12604 | 12678
2027 | 12531 | 12616 | 12394 | 11596 | 10549 | 10963 | 11920 | 11648 | 11174 | 11327 | 12452 | 12814
2028 | 12659 | 12748 | 12353 | 11710 | 10655 | 11073 | 11836 | 12044 | 11285 | 11378 | 12648 | 12945
2029 | 12889 | 12853 | 12426 | 11835 | 10771 | 11193 | 12053 | 12177 | 11406 | 11502 | 12960 | 13089
2030 | 13031 | 12993 | 12236 | 11958 | 10886 | 11311 | 12304 | 12022 | 11526 | 11687 | 13104 | 13231
2031 | 13065 | 13165 | 12931 | 11726 | 10985 | 11415 | 12425 | 12132 | 11630 | 11792 | 13286 | 13354
2032 | 13194 | 13297 | 13061 | 12183 | 11092 | 11525 | 12335 | 12550 | 11814 | 11806 | 13106 | 13486
2033 | 13308 | 13413 | 13087 | 12284 | 11187 | 11623 | 12442 | 12658 | 11841 | 11948 | 13219 | 13603
2034 | 13527 | 13480 | 13099 | 12386 | 11282 | 11721 | 12550 | 12766 | 11941 | 12051 | 13434 | 13721
2035 | 13622 | 13574 | 13120 | 12468 | 11357 | 11798 | 12724 | 12852 | 12020 | 12133 | 13697 | 13815
2036 | 13688 | 13640 | 12571 | 12165 | 11409 | 11852 | 12907 | 12603 | 12076 | 12247 | 13816 | 13881
2037 | 13647 | 13758 | 13516 | 12219 | 11460 | 11906 | 12966 | 12660 | 12130 | 12303 | 13882 | 13947
*Actuals to June 2017
Source: AESO

## Monthly Non-Reserved DemandPeak
Monthly Non-Reserved Demand: Peak (MW)
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2014* | 2289 | 2317 | 2263 | 2084 | 2005 | 1998 | 2142 | 2079 | 2026 | 2256 | 2359 | 2371
2015* | 2394 | 2547 | 2394 | 2196 | 2022 | 2288 | 2372 | 2455 | 2117 | 2272 | 2462 | 2493
2016* | 2466 | 2385 | 2402 | 2080 | 1855 | 2081 | 2197 | 2291 | 2226 | 2360 | 2502 | 2517
2017 | 2377 | 2382 | 2307 | 2290 | 2097 | 2142 | 2311 | 2287 | 2275 | 2311 | 2476 | 2539
2018 | 2424 | 2416 | 2286 | 2264 | 2144 | 2129 | 2344 | 2320 | 2244 | 2290 | 2474 | 2569
2019 | 2464 | 2496 | 2438 | 2346 | 2197 | 2190 | 2277 | 2313 | 2324 | 2334 | 2505 | 2610
2020 | 2506 | 2547 | 2404 | 2343 | 2226 | 2275 | 2329 | 2345 | 2384 | 2352 | 2557 | 2653
2021 | 2641 | 2658 | 2541 | 2584 | 2402 | 2330 | 2548 | 2487 | 2503 | 2479 | 2670 | 2734
2022 | 2726 | 2689 | 2595 | 2624 | 2360 | 2456 | 2494 | 2440 | 2486 | 2566 | 2698 | 2819
2023 | 2645 | 2715 | 2594 | 2613 | 2326 | 2359 | 2517 | 2517 | 2465 | 2454 | 2682 | 2813
2024 | 2688 | 2729 | 2563 | 2528 | 2413 | 2370 | 2561 | 2523 | 2557 | 2534 | 2725 | 2847
2025 | 2711 | 2740 | 2593 | 2536 | 2436 | 2368 | 2481 | 2475 | 2535 | 2530 | 2738 | 2824
2026 | 2733 | 2753 | 2627 | 2528 | 2425 | 2368 | 2499 | 2499 | 2558 | 2633 | 2809 | 2876
2027 | 2720 | 2753 | 2674 | 2619 | 2428 | 2449 | 2553 | 2549 | 2549 | 2514 | 2668 | 2878
2028 | 2686 | 2722 | 2599 | 2528 | 2341 | 2446 | 2525 | 2498 | 2425 | 2362 | 2674 | 2834
2029 | 2750 | 2755 | 2598 | 2580 | 2378 | 2499 | 2547 | 2504 | 2502 | 2545 | 2815 | 2838
2030 | 2752 | 2794 | 2600 | 2584 | 2347 | 2440 | 2634 | 2525 | 2554 | 2584 | 2847 | 2916
2031 | 2762 | 2887 | 2674 | 2616 | 2413 | 2461 | 2642 | 2566 | 2570 | 2618 | 2825 | 2924
2032 | 2845 | 2839 | 2680 | 2671 | 2430 | 2515 | 2588 | 2586 | 2570 | 2580 | 2829 | 2926
2033 | 2838 | 2849 | 2659 | 2611 | 2584 | 2481 | 2646 | 2551 | 2622 | 2520 | 2823 | 2961
2034 | 2785 | 2849 | 2625 | 2636 | 2449 | 2485 | 2610 | 2531 | 2603 | 2600 | 2797 | 2961
2035 | 2881 | 2881 | 2706 | 2677 | 2506 | 2509 | 2652 | 2646 | 2659 | 2663 | 2940 | 2939
2036 | 2838 | 2878 | 2744 | 2651 | 2459 | 2505 | 2658 | 2570 | 2648 | 2692 | 2829 | 2964
2037 | 2926 | 2948 | 2797 | 2678 | 2532 | 2647 | 2690 | 2594 | 2670 | 2698 | 2966 | 3006
*Actuals
Source: AESO

## Monthly Non-Firm Peak
Monthly Non-Firm Demand: Peak (MW)
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2014* | 2.97 | 0 | 2.83 | 0 | 4.95 | 2.74 | 0 | 0 | 16.75 | 18.9 | 17.13 | 0
2015* | 0 | 0 | 0 | 0 | 4.14 | 16.63 | 0 | 0 | 2.84 | 0 | 0 | 0
2016* | 0 | 0 | 0 | 5.38 | 1.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
*Actuals
Source: AESO